## Annex 5 LLFs
Western Power Distribution (West Midlands) plc - LLFs for year beginning 1 April 2021
Time periods | Period 1 | Period 2 | Period 3 | Period 4
| Peak | Winter | Night | Other
Monday to Friday Mar to Oct |  |  | 00:30 – 07:30 | 07:30 – 00:30
Monday to Friday Nov to Feb | 16:00 – 19:00 | 07:30 – 16:00 19:00 – 20:00 | 00:30 – 07:30 | 20:00 – 00:30
Saturday and Sunday All Year |  |  | 00:30 – 07:30 | 07:30 – 00:30
Notes | All the above times are in UK Clock time
Generic demand and generation LLFs
Metered voltage, respective periods and associated LLFCs
Metered voltage | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
132kV connected | 1.005 | 1.005 | 1.003 | 1.004
132/EHV connected | 1.009 | 1.009 | 1.009 | 1.009
132/HV connected | 1.011 | 1.011 | 1.009 | 1.01
EHV connected | 1.027 | 1.026 | 1.019 | 1.022
High Voltage Substation | 1.033 | 1.032 | 1.024 | 1.028
High Voltage Network | 1.051 | 1.048 | 1.033 | 1.039 | 23,145,146,322,323,365,367,575,577,HST,H00,H02,H03,H04,N30,N32,N33,N34
Low Voltage Substation | 1.067 | 1.064 | 1.056 | 1.058 | 19,128,143,144,570,572,574,SST,N20,N22,N23,N24,S00,S02,S03,S04
Low Voltage Network | 1.09 | 1.084 | 1.07 | 1.075 | 1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,20,21,22,24,25,26,27,30,34,35,36,40,41,42,46,47,49,85,86,87,88,95,96,97,98,99,107,108,109,110,111,112,121,124,127,129,132,141,142,571,573,625,626,632,633,LST,L00,L02,L03,L04,N10,N12,N13,N14
EHV site specific LLFs
Demand
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Hayford Fm Substation (LV Imp) | 1.09 | 1.084 | 1.07 | 1.075 | 628
Troughton Farm PV (Import) | 1.005 | 1.005 | 1.003 | 1.004 | 636
Air Liquide Station Road | 1.005 | 1.005 | 1.003 | 1.004 | 637
Tyseley Waste Import | 1.005 | 1.005 | 1.003 | 1.004 | 702
Takao Europe | 1.027 | 1.026 | 1.019 | 1.022 | 704
Four Ashes Incinerator Import | 1.027 | 1.026 | 1.019 | 1.022 | 705
Witches Farm Solar Import | 1.027 | 1.026 | 1.019 | 1.022 | 706
Uni of Birmingham Import | 1.006 | 1.006 | 1.005 | 1.006 | 707
South Staffs Water Import | 1.053 | 1.055 | 1.055 | 1.054 | 709
Wolverhampton WS Import | 1.027 | 1.026 | 1.019 | 1.022 | 710
Stoke CHP Import | 1.004 | 1.004 | 1.004 | 1.004 | 711
WBB Minerals Import | 1.027 | 1.026 | 1.019 | 1.022 | 712
Cauldon Cement Import | 1.037 | 1.038 | 1.038 | 1.037 | 713
Abson Gas Compressor Import | 1.027 | 1.026 | 1.029 | 1.022 | 714
Ervin Amasteel Import | 1.027 | 1.001 | 1.001 | 1.001 | 715
Hanford Waste Services Import | 1.027 | 1.026 | 1.019 | 1.004 | 716
NR Kidsgrove Import | 1.014 | 1.014 | 1.014 | 1.014 | 717
NR Stafford Import | 1.027 | 1.026 | 1.019 | 1.022 | 718
NR Nechells/Washwood Heath Imp | 1.001 | 1.001 | 1 | 1.001 | 719
NR Winson Green Import | 1.002 | 1.002 | 1.002 | 1.002 | 720
NR Smethwick Import | 1 | 1 | 1 | 1 | 721
NR Willenhall Import | 1 | 1 | 1 | 1 | 722
Northwick Import | 1.033 | 1.032 | 1.024 | 1.028 | 723
Inco Alloys | 1.033 | 1.032 | 1.024 | 1.028 | 724
Swancote Energy Import | 1.027 | 1.026 | 1.019 | 1.022 | 725
Springhill Solar Park Import | 1.033 | 1.032 | 1.024 | 1.028 | 726
NG Gas Wormington | 1.033 | 1.032 | 1.024 | 1.028 | 727
Greenfrog STOR Import | 1.033 | 1.032 | 1.024 | 1.028 | 728
Union Road/EMR Oldbury Import | 1.027 | 1.026 | 1.001 | 1.001 | 729
Quatt Import | 1.033 | 1.032 | 1.024 | 1.028 | 730
Knypersley Import | 1.033 | 1.032 | 1.024 | 1.028 | 740
Simplex Import | 1.033 | 1.032 | 1.024 | 1.028 | 742
Northwick STOR sub supply | 1.033 | 1.032 | 1.024 | 1.028 | 743
Star Aluminium Import | 1.033 | 1.032 | 1.024 | 1.028 | 744
Goodyear | 1.027 | 1.026 | 1.019 | 1.022 | 747
Battlefield Generation Import | 1.027 | 1.026 | 1.019 | 1.022 | 770
Says Farm PV Import | 1.027 | 1.026 | 1.019 | 1.022 | 771
Hayford Fm PV Embedded 2 (Imp) | 1.027 | 1.026 | 1.019 | 1.022 | 772
Rotherdale Farm PV Import | 1.027 | 1.026 | 1.019 | 1.022 | 773
Lower Newton Solar Farm (Imp) | 1.027 | 1.026 | 1.019 | 1.022 | 774
Wrockwardine Solar Farm (Imp) | 1.027 | 1.026 | 1.019 | 1.022 | 775
Condover Solar Farm (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 776
Tower Hill Farm PV (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 777
Hill House Farm Solar (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 778
Pitchford Farm Solar (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 779
Sundorne Solar Park (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 780
Hartlebury EFW (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 781
Upper Huntingford PV (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 782
Ring O Bells Solar (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 783
Hall Farm PV Awre (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 784
Northwick 5 Mile Dr PV Import | 1.033 | 1.032 | 1.024 | 1.028 | 785
Greenfrog STOR Extens (Import) | 1.033 | 1.032 | 1.024 | 1.028 | 786
Invista Textiles Gas (Import) | 1.033 | 1.032 | 1.024 | 1.028 | 787
Wickhamford PV (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 794
Yorkley Wood Farm PV (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 795
Awbridge Farm Diesel Gen (Imp) | 1.027 | 1.026 | 1.019 | 1.022 | 796
Bristol Rd Glos STOR (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 797
Actrees Farm PV (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 798
Sheriffhales Farm PV (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 799
Upper Wick Farm PV (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 801
Astley Solar Farm PV (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 866
Hayford Fm PV Embedded 1 (Imp) | 1.027 | 1.026 | 1.019 | 1.022 | 867
Sheriffhales CIC PV (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 868
Wolverhampton Power STOR (Imp) | 1.027 | 1.026 | 1.019 | 1.022 | 869
Moneystone Quarry PV (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 870
Heywood Grange Fm PV (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 871
Garreg Lwyd WF (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 872
Henley Solar Farm PV (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 873
Sudmeadow Rd Gen STOR (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 874
High Point Solar PV (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 875
Staunch Standby STOR (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 876
ISIS House STOR (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 877
Heywood Grange Bttry (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 878
Upper Meadowly Farm PV(Import) | 1.027 | 1.026 | 1.019 | 1.022 | 879
Javelin Park EFW (Import) | 1.027 | 1.026 | 1.018 | 1.018 | 880
Rock Farm ESS (Import) | 1.019 | 1.019 | 1.019 | 1.019 | 881
Bloxwich ESS (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 882
Hinksford Farm Gas (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 883
Chatterley Whitfield CHP (Imp) | 1.027 | 1.026 | 1.019 | 1.022 | 884
Larport Farm BESS (Import) | 1.035 | 1.035 | 1.035 | 1.035 | 885
Sandwell Power STOR (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 886
Wednesbury Power STOR (Import) | 1.027 | 1.026 | 1.019 | 1.022 | 887
Bourne Rd Lwr Strensham PV Imp | 1.027 | 1.026 | 1.019 | 1.022 | 888
Havannah Mills | 1.051 | 1.048 | 1.033 | 1.039 | 39
Cellarhead - Meaford | 1.009 | 1.009 | 1.008 | 1.009 | 2226
Stanner | 1.051 | 1.048 | 1.033 | 1.039 | 2818
Rugeley Power Station | 1 | 1 | 1 | 1 | 4018
Fort Dunlop LV Import | 1.09 | 1.084 | 1.07 | 1.075 | 7177
Cambridge Arms | 1.008 | 1.008 | 1.007 | 1.008 | 7294
Sudmeadow Rd STOR (Imps) | 1.027 | 1.009 | 1.009 | 1.009 | 7337
Bloxwich ESS (Imps) | 1.003 | 1.003 | 1.003 | 1.003 | 7371
EHV site specific LLFs
Generation
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Tyseley Waste Export | 1.001 | 1.001 | 1.001 | 1.001 | 703
Uni of Birmingham Export | 1.005 | 1.005 | 1.003 | 1.004 | 708
Quatt Export | 1.033 | 1.032 | 1.024 | 1.028 | 731
Wolverhampton WS Export | 0.999 | 0.999 | 0.999 | 0.999 | 732
Stoke CHP Export | 1.027 | 1.026 | 1.019 | 1.022 | 733
Hanford Waste Services Export | 1.002 | 1.002 | 1.002 | 1.003 | 734
NR Kidsgrove Export | 1.027 | 1.026 | 1.019 | 1.022 | 735
NR Stafford Export | 1.027 | 1.026 | 1.019 | 1.022 | 736
NR Winson Green Export | 1.027 | 1.026 | 1.019 | 1.022 | 737
NR Smethwick Export | 1.027 | 1.026 | 1.019 | 1.022 | 738
NR Willenhall Export | 1 | 1 | 1.019 | 1 | 739
NR Nechells/Washwood Heath Exp | 1 | 1 | 1 | 1 | 741
Redditch Gas Turbine Export | 1.033 | 1.032 | 1.024 | 1.028 | 745
Knypersley Export | 1.033 | 1.032 | 1.024 | 1.028 | 746
Northwick Export | 1.033 | 1.032 | 1.024 | 1.028 | 748
Swancote Energy Export | 1.053 | 1.053 | 1.019 | 1.022 | 749
Four Ashes Incinerator Export | 0.993 | 0.993 | 0.993 | 0.993 | 750
Witches Farm Solar Export | 1.027 | 1.051 | 1.019 | 1.051 | 751
Springhill Solar Park Export | 1.033 | 1.032 | 1.024 | 1.028 | 752
Greenfrog STOR Export | 1.033 | 1.032 | 1.024 | 1.028 | 753
Union Road/EMR Oldbury Export | 1.027 | 1.026 | 1.019 | 1.022 | 754
Battlefield Generation Export | 1.015 | 1.015 | 1.015 | 1.015 | 755
Says Farms PV Export | 1.027 | 1.024 | 1.019 | 1.023 | 756
Hayford Fm PV Embedded 2 (Exp) | 1.027 | 1.061 | 1.019 | 1.059 | 757
Rotherdale Farm PV Export | 1.027 | 1.027 | 1.019 | 1.027 | 758
Lower Newton Solar Farm (Exp) | 1.027 | 1.028 | 1.019 | 1.027 | 759
Wrockwardine Solar Farm (Exp) | 1.027 | 1.042 | 1.019 | 1.04 | 760
Condover Solar Farm (Export) | 1.027 | 1.001 | 1.019 | 1 | 761
Tower Hill Farm PV (Export) | 1.027 | 1.041 | 1.019 | 1.04 | 762
Hill House Farm Solar (Export) | 1.027 | 1.025 | 1.026 | 1.023 | 763
Pitchford Farm Solar (Export) | 1.027 | 1.019 | 1.019 | 1.019 | 764
Sundorne Solar Park (Export) | 1.027 | 1.014 | 1.019 | 1.014 | 765
Hartlebury EFW (Export) | 1.006 | 1.006 | 1.006 | 1.007 | 766
Upper Huntingford PV (Export) | 1.027 | 1.027 | 1.019 | 1.026 | 767
Ring O Bells Solar (Export) | 1.027 | 1.025 | 1.019 | 1.025 | 768
Hall Farm PV Awre (Export) | 1.027 | 1.034 | 1.019 | 1.033 | 769
Northwick 5 Mile Dr PV Export | 1.033 | 1.032 | 1.024 | 1.028 | 805
Greenfrog STOR Extens (Export) | 1.033 | 1.032 | 1.024 | 1.028 | 806
Invista Textiles Gas (Export) | 1.033 | 1.032 | 1.024 | 1.028 | 807
Wickhamford PV (Export) | 1.027 | 1.031 | 1.032 | 1.031 | 815
Yorkley Wood Farm PV (Export) | 1.027 | 1.028 | 1.019 | 1.028 | 816
Awbridge Farm Diesel Gen (Exp) | 1.027 | 1.026 | 1.019 | 1.022 | 817
Bristol Rd Glos STOR (Export) | 1.012 | 1.013 | 1.014 | 1.013 | 818
Actrees Farm PV (Export) | 1.027 | 1.041 | 1.019 | 1.04 | 819
Sheriffhales Farm PV (Export) | 1.027 | 1.024 | 1.019 | 1.024 | 820
Upper Wick Farm PV (Export) | 1.027 | 1.028 | 1.019 | 1.027 | 821
Astley Solar Farm PV (Export) | 1.027 | 1.051 | 1.019 | 1.05 | 824
Hayford Fm PV Embedded 1 (Exp) | 1.027 | 1.061 | 1.019 | 1.059 | 825
Sheriffhales CIC PV (Export) | 1.027 | 1.024 | 1.019 | 1.024 | 826
Wolverhampton Power STOR (Exp) | 1 | 1.001 | 1.019 | 1.001 | 827
Moneystone Quarry PV (Export) | 1.027 | 1.035 | 1.019 | 1.034 | 828
Heywood Grange Fm PV (Export) | 1.027 | 1.017 | 1.019 | 1.017 | 829
Garreg Lwyd WF (Export) | 1.063 | 1.061 | 1.071 | 1.072 | 830
Henley Solar Farm PV (Export) | 1.027 | 1.046 | 1.019 | 1.045 | 831
Sudmeadow Rd Gen STOR (Export) | 1.027 | 1.026 | 1.019 | 1.022 | 832
High Point Solar PV (Export) | 1.027 | 1.036 | 1.019 | 1.036 | 833
Staunch Standby STOR (Export) | 1.018 | 1.019 | 1.019 | 1.019 | 834
ISIS House STOR (Export) | 1.027 | 1.026 | 1.019 | 1.022 | 835
Heywood Grange Bttry (Export) | 1.027 | 1.026 | 1.019 | 1.022 | 836
Upper Meadowly Farm PV(Export) | 1.027 | 1.045 | 1.019 | 1.044 | 837
Javelin Park EFW (Export) | 1.01 | 1.01 | 1.013 | 1.014 | 838
Rock Farm Ess (Export) | 1.019 | 1.019 | 1.019 | 1.019 | 839
Bloxwich ESS (Export) | 1.027 | 1.026 | 1.019 | 1.022 | 840
Hinksford Farm Gas (Export) | 1.001 | 1.002 | 1.003 | 1.002 | 841
Chatterley Whitfield CHP (Exp) | 1.027 | 1.026 | 1.019 | 1.022 | 842
Larport Farm BESS (Export) | 1.034 | 1.035 | 1.035 | 1.035 | 843
Sandwell Power STOR (Export) | 1.027 | 1.026 | 1.019 | 1.022 | 844
Wednesbury Power STOR (Export) | 1.027 | 1.026 | 1.019 | 1.022 | 845
Bourne Rd Lwr Strensham PV Exp | 1.027 | 1.026 | 1.019 | 1.022 | 846
Star Aluminium Export | 1.033 | 1.032 | 1.024 | 1.028 | 915
Troughton Farm PV (Export) | 1.011 | 1.011 | 1.011 | 1.011 | 933
Fort Dunlop 132kV Export | 1.005 | 1.001 | 1.001 | 1.001 | 7070
Sudmeadow Rd STOR (Exps) | 1.006 | 1.007 | 1.007 | 1.007 | 7338
Bloxwich ESS (Exps) | 1.002 | 1.003 | 1.003 | 1.003 | 7375
Chatterley Power Station | 1.018 | 1.018 | 1.018 | 1.018 | 7413