## MIDE
Western Power Distribution (West Midlands) plc - LLFs for year beginning 1 April 2022
Time periods | Period 1 | Period 2 | Period 3 | Period 4
| Peak | Winter | Night | Other
Monday to Friday Mar to Oct |  |  | 00:30 – 07:30 | 07:30 – 00:30
Monday to Friday Nov to Feb | 16:00 – 19:00 | 07:30 – 16:00 19:00 – 20:00 | 00:30 – 07:30 | 20:00 – 00:30
Saturday and Sunday All Year |  |  | 00:30 – 07:30 | 07:30 – 00:30
Notes | All the above times are in UK Clock time
Generic demand and generation LLFs
Metered voltage, respective periods and associated LLFCs
Metered voltage | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
132kV connected | 1.007 | 1.006 | 1.004 | 1.005
132/EHV connected | 1.011 | 1.011 | 1.01 | 1.01
132/HV connected | 1.013 | 1.013 | 1.011 | 1.012
EHV connected | 1.034 | 1.033 | 1.023 | 1.027
High Voltage Substation | 1.041 | 1.039 | 1.029 | 1.034
High Voltage Network | 1.054 | 1.051 | 1.035 | 1.042 | 23, 145, 146, 322, 323, 365, 367, 575, 577, HST, H00, H02, H03, H04, N30, N32, N33, N34
Low Voltage Substation | 1.071 | 1.069 | 1.059 | 1.062 | 19, 128, 143, 144, 570, 572, 574, SST, N20, N22, N23, N24, S00, S02, S03, S04
Low Voltage Network | 1.093 | 1.088 | 1.073 | 1.078 | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 20, 21, 22, 24, 25, 26, 27, 30, 34, 35, 36, 40, 41, 42, 46, 47, 49, 85, 86, 87, 88, 95, 96, 97, 98, 99, 107, 108, 109, 110, 111, 112, 121, 124, 127, 129, 132, 141, 142, 571, 573, 625, 626, 632, 633, LST, L00, L02, L03, L04, N10, N12, N13, N14
EHV site specific LLFs
Demand
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Spare 132/HV 3 | 1.013 | 1.013 | 1.011 | 1.012 | 16
Spare 132/HV 4 | 1.013 | 1.013 | 1.011 | 1.012 | 17
Spare 132/HV 5 | 1.013 | 1.013 | 1.011 | 1.012 | 18
Spare 132/HV 6 | 1.013 | 1.013 | 1.011 | 1.012 | 28
Spare 132/HV 7 | 1.013 | 1.013 | 1.011 | 1.012 | 29
Spare 132/HV 8 | 1.013 | 1.013 | 1.011 | 1.012 | 31
Spare 132/HV 9 | 1.013 | 1.013 | 1.011 | 1.012 | 32
Spare 132/HV 10 | 1.013 | 1.013 | 1.011 | 1.012 | 33
Spare EHV 121 | 1.034 | 1.033 | 1.023 | 1.027 | 50
Spare EHV 122 | 1.034 | 1.033 | 1.023 | 1.027 | 51
Spare EHV 123 | 1.034 | 1.033 | 1.023 | 1.027 | 52
Spare EHV 124 | 1.034 | 1.033 | 1.023 | 1.027 | 53
Spare EHV 125 | 1.034 | 1.033 | 1.023 | 1.027 | 54
Spare EHV 126 | 1.034 | 1.033 | 1.023 | 1.027 | 55
Spare EHV 127 | 1.034 | 1.033 | 1.023 | 1.027 | 56
Spare EHV 128 | 1.034 | 1.033 | 1.023 | 1.027 | 57
Spare EHV 129 | 1.034 | 1.033 | 1.023 | 1.027 | 58
Spare EHV 130 | 1.034 | 1.033 | 1.023 | 1.027 | 59
Spare EHV 131 | 1.034 | 1.033 | 1.023 | 1.027 | 60
Spare EHV 133 | 1.034 | 1.033 | 1.023 | 1.027 | 62
Spare EHV 134 | 1.034 | 1.033 | 1.023 | 1.027 | 63
Spare EHV 135 | 1.034 | 1.033 | 1.023 | 1.027 | 64
Spare EHV 136 | 1.034 | 1.033 | 1.023 | 1.027 | 65
Spare EHV 137 | 1.034 | 1.033 | 1.023 | 1.027 | 66
Spare EHV 138 | 1.034 | 1.033 | 1.023 | 1.027 | 67
Spare EHV 139 | 1.034 | 1.033 | 1.023 | 1.027 | 68
Spare EHV 140 | 1.034 | 1.033 | 1.023 | 1.027 | 69
Spare EHV 141 | 1.034 | 1.033 | 1.023 | 1.027 | 70
Spare EHV 142 | 1.034 | 1.033 | 1.023 | 1.027 | 71
Spare EHV 143 | 1.034 | 1.033 | 1.023 | 1.027 | 72
Spare EHV 144 | 1.034 | 1.033 | 1.023 | 1.027 | 73
Spare EHV 145 | 1.034 | 1.033 | 1.023 | 1.027 | 74
Spare EHV 146 | 1.034 | 1.033 | 1.023 | 1.027 | 75
Spare EHV 147 | 1.034 | 1.033 | 1.023 | 1.027 | 76
Spare 132kV 16 | 1.007 | 1.006 | 1.004 | 1.005 | 77
Spare 132kV 17 | 1.007 | 1.006 | 1.004 | 1.005 | 78
Spare 132kV 18 | 1.007 | 1.006 | 1.004 | 1.005 | 79
Spare 132kV 19 | 1.007 | 1.006 | 1.004 | 1.005 | 80
Spare 132kV 20 | 1.007 | 1.006 | 1.004 | 1.005 | 81
Spare 132kV 21 | 1.007 | 1.006 | 1.004 | 1.005 | 82
Spare 132/EHV 3 | 1.011 | 1.011 | 1.01 | 1.01 | 84
Spare 132/EHV 4 | 1.011 | 1.011 | 1.01 | 1.01 | 100
Spare 132/EHV 5 | 1.011 | 1.011 | 1.01 | 1.01 | 101
Spare 132/EHV 6 | 1.011 | 1.011 | 1.01 | 1.01 | 102
Spare 132/EHV 7 | 1.011 | 1.011 | 1.01 | 1.01 | 103
Spare 132/EHV 8 | 1.011 | 1.011 | 1.01 | 1.01 | 104
Spare 132/EHV 9 | 1.011 | 1.011 | 1.01 | 1.01 | 105
Spare 132/EHV 10 | 1.011 | 1.011 | 1.01 | 1.01 | 106
Spare HV Network 1 | 1.054 | 1.051 | 1.035 | 1.042 | 130
Spare EHV 132 | 1.034 | 1.033 | 1.023 | 1.027 | 321
Spare EHV 148 | 1.034 | 1.033 | 1.023 | 1.027 | 327
Spare EHV 149 | 1.034 | 1.033 | 1.023 | 1.027 | 328
Spare EHV 150 | 1.034 | 1.033 | 1.023 | 1.027 | 329
Spare EHV 151 | 1.034 | 1.033 | 1.023 | 1.027 | 330
Spare EHV 152 | 1.034 | 1.033 | 1.023 | 1.027 | 331
Spare EHV 153 | 1.034 | 1.033 | 1.023 | 1.027 | 332
Spare EHV 154 | 1.034 | 1.033 | 1.023 | 1.027 | 333
Spare EHV 155 | 1.034 | 1.033 | 1.023 | 1.027 | 334
Spare EHV 156 | 1.034 | 1.033 | 1.023 | 1.027 | 335
Spare EHV 157 | 1.034 | 1.033 | 1.023 | 1.027 | 336
Spare EHV 158 | 1.034 | 1.033 | 1.023 | 1.027 | 337
Spare EHV 159 | 1.034 | 1.033 | 1.023 | 1.027 | 338
Spare EHV 160 | 1.034 | 1.033 | 1.023 | 1.027 | 339
Spare EHV 161 | 1.034 | 1.033 | 1.023 | 1.027 | 340
Spare EHV 162 | 1.034 | 1.033 | 1.023 | 1.027 | 341
Spare EHV 163 | 1.034 | 1.033 | 1.023 | 1.027 | 342
Spare EHV 164 | 1.034 | 1.033 | 1.023 | 1.027 | 343
Spare EHV 165 | 1.034 | 1.033 | 1.023 | 1.027 | 344
Spare EHV 166 | 1.034 | 1.033 | 1.023 | 1.027 | 345
Spare EHV 167 | 1.034 | 1.033 | 1.023 | 1.027 | 346
Spare EHV 168 | 1.034 | 1.033 | 1.023 | 1.027 | 347
Spare EHV 169 | 1.034 | 1.033 | 1.023 | 1.027 | 348
Spare EHV 170 | 1.034 | 1.033 | 1.023 | 1.027 | 349
Spare EHV 171 | 1.034 | 1.033 | 1.023 | 1.027 | 350
Spare EHV 172 | 1.034 | 1.033 | 1.023 | 1.027 | 351
Spare EHV 173 | 1.034 | 1.033 | 1.023 | 1.027 | 352
Spare EHV 174 | 1.034 | 1.033 | 1.023 | 1.027 | 353
Spare HV Network 2 | 1.054 | 1.051 | 1.035 | 1.042 | 354
Spare HV Network 3 | 1.054 | 1.051 | 1.035 | 1.042 | 355
Spare HV Network 4 | 1.054 | 1.051 | 1.035 | 1.042 | 356
Spare HV Network 5 | 1.054 | 1.051 | 1.035 | 1.042 | 357
Spare HV Network 6 | 1.054 | 1.051 | 1.035 | 1.042 | 358
Spare HV Network 7 | 1.054 | 1.051 | 1.035 | 1.042 | 359
Spare HV Network 8 | 1.054 | 1.051 | 1.035 | 1.042 | 360
Spare HV Network 9 | 1.054 | 1.051 | 1.035 | 1.042 | 361
Spare HV Network 10 | 1.054 | 1.051 | 1.035 | 1.042 | 362
Spare HV Network 11 | 1.054 | 1.051 | 1.035 | 1.042 | 363
Spare HV Network 12 | 1.054 | 1.051 | 1.035 | 1.042 | 364
Spare EHV/HV 23 | 1.041 | 1.039 | 1.029 | 1.034 | 366
Spare 132/EHV 1 | 1.011 | 1.011 | 1.01 | 1.01 | 580
Spare 132/EHV 2 | 1.011 | 1.011 | 1.01 | 1.01 | 581
Spare 132/HV 1 | 1.013 | 1.013 | 1.011 | 1.012 | 582
Spare 132/HV 2 | 1.013 | 1.013 | 1.011 | 1.012 | 583
Spare EHV/HV 13 | 1.041 | 1.039 | 1.029 | 1.034 | 584
Spare EHV/HV 14 | 1.041 | 1.039 | 1.029 | 1.034 | 585
Spare EHV/HV 15 | 1.041 | 1.039 | 1.029 | 1.034 | 586
Spare EHV/HV 16 | 1.041 | 1.039 | 1.029 | 1.034 | 587
Spare EHV/HV 17 | 1.041 | 1.039 | 1.029 | 1.034 | 588
Spare EHV/HV 18 | 1.041 | 1.039 | 1.029 | 1.034 | 589
Spare EHV/HV 19 | 1.041 | 1.039 | 1.029 | 1.034 | 590
Spare EHV/HV 20 | 1.041 | 1.039 | 1.029 | 1.034 | 591
Spare EHV/HV 21 | 1.041 | 1.039 | 1.029 | 1.034 | 592
Spare EHV/HV 22 | 1.041 | 1.039 | 1.029 | 1.034 | 593
Hayford Fm Substation (LV Imp) | 1.093 | 1.088 | 1.073 | 1.078 | 628
Spare LV 6 | 1.093 | 1.088 | 1.073 | 1.078 | 629
Spare LV 7 | 1.093 | 1.088 | 1.073 | 1.078 | 630
Spare LV 8 | 1.093 | 1.088 | 1.073 | 1.078 | 631
Spare LV 3 | 1.093 | 1.088 | 1.073 | 1.078 | 634
Spare LV 4 | 1.093 | 1.088 | 1.073 | 1.078 | 635
Troughton Farm PV (Import) | 1.007 | 1.006 | 1.004 | 1.005 | 636
Air Liquide Station Road | 1.002 | 1.002 | 1.002 | 1.002 | 637
Spare 132kV 3 | 1.007 | 1.006 | 1.004 | 1.005 | 638
Spare 132kV 4 | 1.007 | 1.006 | 1.004 | 1.005 | 639
Spare 132kV 5 | 1.007 | 1.006 | 1.004 | 1.005 | 640
Spare 132kV 6 | 1.007 | 1.006 | 1.004 | 1.005 | 641
Spare 132kV 7 | 1.007 | 1.006 | 1.004 | 1.005 | 642
Spare 132kV 8 | 1.007 | 1.006 | 1.004 | 1.005 | 643
Spare 132kV 9 | 1.007 | 1.006 | 1.004 | 1.005 | 644
Spare 132kV 10 | 1.007 | 1.006 | 1.004 | 1.005 | 645
Spare 132kV 11 | 1.007 | 1.006 | 1.004 | 1.005 | 646
Spare 132kV 12 | 1.007 | 1.006 | 1.004 | 1.005 | 647
Spare 132kV 13 | 1.007 | 1.006 | 1.004 | 1.005 | 648
Spare 132kV 14 | 1.007 | 1.006 | 1.004 | 1.005 | 649
Spare 132kV 15 | 1.007 | 1.006 | 1.004 | 1.005 | 650
Spare EHV 71 | 1.034 | 1.033 | 1.023 | 1.027 | 651
Spare EHV 72 | 1.034 | 1.033 | 1.023 | 1.027 | 652
Spare EHV 73 | 1.034 | 1.033 | 1.023 | 1.027 | 653
Spare EHV 74 | 1.034 | 1.033 | 1.023 | 1.027 | 654
Spare EHV 75 | 1.034 | 1.033 | 1.023 | 1.027 | 655
Spare EHV 76 | 1.034 | 1.033 | 1.023 | 1.027 | 656
Spare EHV 77 | 1.034 | 1.033 | 1.023 | 1.027 | 657
Spare EHV 78 | 1.034 | 1.033 | 1.023 | 1.027 | 658
Spare EHV 79 | 1.034 | 1.033 | 1.023 | 1.027 | 659
Spare EHV 80 | 1.034 | 1.033 | 1.023 | 1.027 | 660
Spare EHV 81 | 1.034 | 1.033 | 1.023 | 1.027 | 661
Spare EHV 82 | 1.034 | 1.033 | 1.023 | 1.027 | 662
Spare EHV 83 | 1.034 | 1.033 | 1.023 | 1.027 | 663
Spare EHV 84 | 1.034 | 1.033 | 1.023 | 1.027 | 664
Spare EHV 85 | 1.034 | 1.033 | 1.023 | 1.027 | 665
Spare EHV 86 | 1.034 | 1.033 | 1.023 | 1.027 | 666
Spare EHV 87 | 1.034 | 1.033 | 1.023 | 1.027 | 667
Spare EHV 88 | 1.034 | 1.033 | 1.023 | 1.027 | 668
Spare EHV 89 | 1.034 | 1.033 | 1.023 | 1.027 | 669
Spare EHV 90 | 1.034 | 1.033 | 1.023 | 1.027 | 670
Spare EHV 91 | 1.034 | 1.033 | 1.023 | 1.027 | 671
Spare EHV 92 | 1.034 | 1.033 | 1.023 | 1.027 | 672
Spare EHV 93 | 1.034 | 1.033 | 1.023 | 1.027 | 673
Spare EHV 94 | 1.034 | 1.033 | 1.023 | 1.027 | 674
Spare EHV 95 | 1.034 | 1.033 | 1.023 | 1.027 | 675
Spare EHV 96 | 1.034 | 1.033 | 1.023 | 1.027 | 676
Spare EHV 97 | 1.034 | 1.033 | 1.023 | 1.027 | 677
Spare EHV 98 | 1.034 | 1.033 | 1.023 | 1.027 | 678
Spare EHV 99 | 1.034 | 1.033 | 1.023 | 1.027 | 679
Spare EHV 100 | 1.034 | 1.033 | 1.023 | 1.027 | 680
Spare EHV 101 | 1.034 | 1.033 | 1.023 | 1.027 | 681
Spare EHV 102 | 1.034 | 1.033 | 1.023 | 1.027 | 682
Spare EHV 103 | 1.034 | 1.033 | 1.023 | 1.027 | 683
Spare EHV 104 | 1.034 | 1.033 | 1.023 | 1.027 | 684
Spare EHV 105 | 1.034 | 1.033 | 1.023 | 1.027 | 685
Spare EHV 106 | 1.034 | 1.033 | 1.023 | 1.027 | 686
Spare EHV 107 | 1.034 | 1.033 | 1.023 | 1.027 | 687
Spare EHV 108 | 1.034 | 1.033 | 1.023 | 1.027 | 688
Spare EHV 109 | 1.034 | 1.033 | 1.023 | 1.027 | 689
Spare EHV 110 | 1.034 | 1.033 | 1.023 | 1.027 | 690
Spare EHV 111 | 1.034 | 1.033 | 1.023 | 1.027 | 691
Spare EHV 112 | 1.034 | 1.033 | 1.023 | 1.027 | 692
Spare EHV 113 | 1.034 | 1.033 | 1.023 | 1.027 | 693
Spare EHV 114 | 1.034 | 1.033 | 1.023 | 1.027 | 694
Spare EHV 115 | 1.034 | 1.033 | 1.023 | 1.027 | 695
Spare EHV 116 | 1.034 | 1.033 | 1.023 | 1.027 | 696
Spare EHV 117 | 1.034 | 1.033 | 1.023 | 1.027 | 697
Spare EHV 118 | 1.034 | 1.033 | 1.023 | 1.027 | 698
Spare EHV 119 | 1.034 | 1.033 | 1.023 | 1.027 | 699
Spare EHV 200 | 1.034 | 1.033 | 1.023 | 1.027 | 700
Tyseley Waste Import | 1.007 | 1.006 | 1.004 | 1.005 | 702
Takao Europe | 1.034 | 1.033 | 1.023 | 1.027 | 704
Four Ashes Incinerator Import | 1.034 | 1.033 | 1.023 | 1.027 | 705
Witches Farm Solar Import | 1.034 | 1.033 | 1.023 | 1.027 | 706
Uni of Birmingham Import | 1.006 | 1.006 | 1.005 | 1.006 | 707
South Staffs Water Import | 1.053 | 1.055 | 1.055 | 1.054 | 709
Wolverhampton WS Import | 1.034 | 1.033 | 1.001 | 1.001 | 710
Stoke CHP Import | 1.004 | 1.004 | 1.004 | 1.004 | 711
WBB Minerals Import | 1.034 | 1.033 | 1.023 | 1.027 | 712
Cauldon Cement Import | 1.037 | 1.038 | 1.038 | 1.037 | 713
Abson Gas Compressor Import | 1.034 | 1.033 | 1.029 | 1.027 | 714
Ervin Amasteel Import | 1.034 | 1.001 | 1.001 | 1.001 | 715
Hanford Waste Services Import | 1.005 | 1.005 | 1.005 | 1.005 | 716
NR Kidsgrove Import | 1.014 | 1.014 | 1.014 | 1.014 | 717
NR Stafford Import | 1.034 | 1.033 | 1.023 | 1.027 | 718
NR Nechells/Washwood Heath Imp | 1.001 | 1.001 | 1 | 1.001 | 719
NR Winson Green Import | 1.002 | 1.002 | 1.002 | 1.002 | 720
NR Smethwick Import | 1 | 1 | 1 | 1 | 721
NR Willenhall Import | 1 | 1 | 1 | 1 | 722
Northwick Import | 1.041 | 1.039 | 1.029 | 1.034 | 723
Inco Alloys | 1.041 | 1.039 | 1.029 | 1.034 | 724
Swancote Energy Import | 1.034 | 1.033 | 1.023 | 1.027 | 725
Springhill Solar Park Import | 1.041 | 1.039 | 1.029 | 1.034 | 726
NG Gas Wormington | 1.041 | 1.039 | 1.029 | 1.034 | 727
Greenfrog STOR Import | 1.041 | 1.039 | 1.029 | 1.034 | 728
Union Road/EMR Oldbury Import | 1.034 | 1.033 | 1.001 | 1.001 | 729
Quatt Import | 1.041 | 1.039 | 1.029 | 1.034 | 730
Knypersley Import | 1.041 | 1.039 | 1.029 | 1.034 | 740
Simplex Import | 1.041 | 1.039 | 1.029 | 1.034 | 742
Northwick STOR sub supply | 1.041 | 1.039 | 1.029 | 1.034 | 743
Star Aluminium Import | 1.041 | 1.039 | 1.029 | 1.034 | 744
Goodyear | 1.034 | 1.033 | 1.023 | 1.027 | 747
Battlefield Generation Import | 1.034 | 1.033 | 1.023 | 1.027 | 770
Says Farm PV Import | 1.034 | 1.033 | 1.023 | 1.027 | 771
Hayford Fm PV Embedded 2 (Imp) | 1.034 | 1.033 | 1.023 | 1.027 | 772
Rotherdale Farm PV Import | 1.034 | 1.033 | 1.023 | 1.027 | 773
Lower Newton Solar Farm (Imp) | 1.034 | 1.033 | 1.023 | 1.027 | 774
Wrockwardine Solar Farm (Imp) | 1.034 | 1.033 | 1.023 | 1.027 | 775
Condover Solar Farm (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 776
Tower Hill Farm PV (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 777
Hill House Farm Solar (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 778
Pitchford Farm Solar (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 779
Sundorne Solar Park (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 780
Hartlebury EFW (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 781
Upper Huntingford PV (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 782
Ring O Bells Solar (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 783
Hall Farm PV Awre (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 784
Northwick 5 Mile Dr PV Import | 1.041 | 1.039 | 1.029 | 1.034 | 785
Greenfrog STOR Extens (Import) | 1.041 | 1.039 | 1.029 | 1.034 | 786
Invista Textiles Gas (Import) | 1.041 | 1.039 | 1.029 | 1.034 | 787
Spare Import HV Sub 6 | 1.041 | 1.039 | 1.029 | 1.034 | 788
GKN Hadley Castle Wks (Import) | 1.041 | 1.039 | 1.029 | 1.034 | 789
RBSL GKN Hadley Castle(Import) | 1.041 | 1.039 | 1.029 | 1.034 | 790
Spare Import HV Sub 9 | 1.041 | 1.039 | 1.029 | 1.034 | 791
Spare Import HV Sub 10 | 1.041 | 1.039 | 1.029 | 1.034 | 792
Spare Import HV Sub 11 | 1.041 | 1.039 | 1.029 | 1.034 | 793
Wickhamford PV (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 794
Yorkley Wood Farm PV (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 795
Awbridge Farm Diesel Gen (Imp) | 1.034 | 1.033 | 1.023 | 1.027 | 796
Bristol Rd Glos STOR (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 797
Actrees Farm PV (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 798
Sheriffhales Farm PV (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 799
Upper Wick Farm PV (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 801
Spare EHV Import 28 | 1.034 | 1.033 | 1.023 | 1.027 | 802
Spare EHV Import 29 | 1.034 | 1.033 | 1.023 | 1.027 | 865
Astley Solar Farm PV (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 866
Hayford Fm PV Embedded 1 (Imp) | 1.034 | 1.033 | 1.023 | 1.027 | 867
Sheriffhales CIC PV (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 868
Wolverhampton Power STOR (Imp) | 1.034 | 1.033 | 1.023 | 1.027 | 869
Moneystone Quarry PV (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 870
Heywood Grange Fm PV (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 871
Garreg Lwyd WF (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 872
Henley Solar Farm PV (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 873
Sudmeadow Rd Gen STOR (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 874
High Point Solar PV (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 875
Staunch Standby STOR (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 876
ISIS House STOR (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 877
Heywood Grange Bttry (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 878
Upper Meadowly Farm PV(Import) | 1.034 | 1.033 | 1.023 | 1.027 | 879
Javelin Park EFW (Import) | 1.034 | 1.033 | 1.018 | 1.018 | 880
Rock Farm ESS (Import) | 1.019 | 1.019 | 1.019 | 1.019 | 881
Bloxwich ESS (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 882
Hinksford Farm Gas (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 883
Chatterley Whitfield CHP (Imp) | 1.034 | 1.033 | 1.023 | 1.027 | 884
Larport Farm BESS (Import) | 1.035 | 1.035 | 1.035 | 1.035 | 885
Sandwell Power STOR (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 886
Wednesbury Power STOR (Import) | 1.034 | 1.033 | 1.023 | 1.027 | 887
Bourne Rd Lwr Strensham PV Imp | 1.034 | 1.033 | 1.023 | 1.027 | 888
Spare EHV Import 53 | 1.034 | 1.033 | 1.023 | 1.027 | 889
Spare EHV Import 54 | 1.034 | 1.033 | 1.023 | 1.027 | 890
Spare EHV Import 55 | 1.034 | 1.033 | 1.023 | 1.027 | 891
Spare EHV Import 56 | 1.034 | 1.033 | 1.023 | 1.027 | 892
Spare EHV Import 57 | 1.034 | 1.033 | 1.023 | 1.027 | 893
Spare EHV Import 58 | 1.034 | 1.033 | 1.023 | 1.027 | 894
Spare EHV Import 59 | 1.034 | 1.033 | 1.023 | 1.027 | 895
Spare EHV Import 60 | 1.034 | 1.033 | 1.023 | 1.027 | 896
Spare EHV Import 61 | 1.034 | 1.033 | 1.023 | 1.027 | 897
Spare EHV Import 62 | 1.034 | 1.033 | 1.023 | 1.027 | 898
Spare EHV Import 63 | 1.034 | 1.033 | 1.023 | 1.027 | 899
Spare EHV Import 64 | 1.034 | 1.033 | 1.023 | 1.027 | 900
Spare EHV Import 65 | 1.034 | 1.033 | 1.023 | 1.027 | 901
Spare EHV Import 66 | 1.034 | 1.033 | 1.023 | 1.027 | 902
Spare EHV Import 67 | 1.034 | 1.033 | 1.023 | 1.027 | 903
Spare EHV Import 68 | 1.034 | 1.033 | 1.023 | 1.027 | 904
Spare EHV Import 69 | 1.034 | 1.033 | 1.023 | 1.027 | 905
Spare EHV Import 70 | 1.034 | 1.033 | 1.023 | 1.027 | 906
EHV site specific LLFs
Generation
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Spare 132/HV Export 3 | 1.013 | 1.013 | 1.011 | 1.012 | 37
Spare 132/HV Export 4 | 1.013 | 1.013 | 1.011 | 1.012 | 38
Spare 132/HV Export 5 | 1.013 | 1.013 | 1.011 | 1.012 | 39
Spare 132/HV Export 6 | 1.013 | 1.013 | 1.011 | 1.012 | 43
Spare 132/HV Export 7 | 1.013 | 1.013 | 1.011 | 1.012 | 44
Spare 132/HV Export 8 | 1.013 | 1.013 | 1.011 | 1.012 | 45
Spare 132/HV Export 9 | 1.013 | 1.013 | 1.011 | 1.012 | 48
Spare 132/HV Export 10 | 1.013 | 1.013 | 1.011 | 1.012 | 83
Spare 132kV Export 16 | 1.007 | 1.006 | 1.004 | 1.005 | 89
Spare 132kV Export 17 | 1.007 | 1.006 | 1.004 | 1.005 | 90
Spare 132kV Export 18 | 1.007 | 1.006 | 1.004 | 1.005 | 91
Spare 132kV Export 19 | 1.007 | 1.006 | 1.004 | 1.005 | 92
Spare 132kV Export 20 | 1.007 | 1.006 | 1.004 | 1.005 | 93
Spare 132kV Export 21 | 1.007 | 1.006 | 1.004 | 1.005 | 94
Spare 132/EHV Export 3 | 1.011 | 1.011 | 1.01 | 1.01 | 113
Spare 132/EHV Export 4 | 1.011 | 1.011 | 1.01 | 1.01 | 114
Spare 132/EHV Export 5 | 1.011 | 1.011 | 1.01 | 1.01 | 115
Spare 132/EHV Export 6 | 1.011 | 1.011 | 1.01 | 1.01 | 116
Spare 132/EHV Export 7 | 1.011 | 1.011 | 1.01 | 1.01 | 117
Spare 132/EHV Export 8 | 1.011 | 1.011 | 1.01 | 1.01 | 118
Spare 132/EHV Export 9 | 1.011 | 1.011 | 1.01 | 1.01 | 119
Spare 132/EHV Export 10 | 1.011 | 1.011 | 1.01 | 1.01 | 120
Spare EHV Export 153 | 1.034 | 1.033 | 1.023 | 1.027 | 155
Spare EHV Export 154 | 1.034 | 1.033 | 1.023 | 1.027 | 156
Spare EHV Export 155 | 1.034 | 1.033 | 1.023 | 1.027 | 157
Spare EHV Export 156 | 1.034 | 1.033 | 1.023 | 1.027 | 158
Spare EHV Export 157 | 1.034 | 1.033 | 1.023 | 1.027 | 159
Spare EHV Export 158 | 1.034 | 1.033 | 1.023 | 1.027 | 160
Spare EHV Export 159 | 1.034 | 1.033 | 1.023 | 1.027 | 161
Spare EHV Export 160 | 1.034 | 1.033 | 1.023 | 1.027 | 162
Spare EHV Export 161 | 1.034 | 1.033 | 1.023 | 1.027 | 163
Spare EHV Export 162 | 1.034 | 1.033 | 1.023 | 1.027 | 164
Spare EHV Export 163 | 1.034 | 1.033 | 1.023 | 1.027 | 165
Spare EHV Export 164 | 1.034 | 1.033 | 1.023 | 1.027 | 166
Spare EHV Export 165 | 1.034 | 1.033 | 1.023 | 1.027 | 167
Spare EHV Export 166 | 1.034 | 1.033 | 1.023 | 1.027 | 168
Spare EHV Export 167 | 1.034 | 1.033 | 1.023 | 1.027 | 169
Spare EHV Export 168 | 1.034 | 1.033 | 1.023 | 1.027 | 170
Spare EHV Export 169 | 1.034 | 1.033 | 1.023 | 1.027 | 171
Spare EHV Export 170 | 1.034 | 1.033 | 1.023 | 1.027 | 172
Spare EHV Export 171 | 1.034 | 1.033 | 1.023 | 1.027 | 173
Spare EHV Export 172 | 1.034 | 1.033 | 1.023 | 1.027 | 174
Spare EHV Export 173 | 1.034 | 1.033 | 1.023 | 1.027 | 175
Spare EHV Export 174 | 1.034 | 1.033 | 1.023 | 1.027 | 176
Spare HV For DCP137 Export 1 | 1.054 | 1.051 | 1.035 | 1.042 | 255
Spare HV For DCP137 Export 2 | 1.054 | 1.051 | 1.035 | 1.042 | 256
Spare HV For DCP137 Export 3 | 1.054 | 1.051 | 1.035 | 1.042 | 257
Spare HV For DCP137 Export 4 | 1.054 | 1.051 | 1.035 | 1.042 | 258
Spare HV For DCP137 Export 5 | 1.054 | 1.051 | 1.035 | 1.042 | 259
Spare HV For DCP137 Export 6 | 1.054 | 1.051 | 1.035 | 1.042 | 260
Spare HV For DCP137 Export 7 | 1.054 | 1.051 | 1.035 | 1.042 | 261
Spare HV For DCP137 Export 8 | 1.054 | 1.051 | 1.035 | 1.042 | 262
Spare HV For DCP137 Export 9 | 1.054 | 1.051 | 1.035 | 1.042 | 263
Spare HV For DCP137 Export 10 | 1.054 | 1.051 | 1.035 | 1.042 | 264
Spare HV For DCP137 Export 11 | 1.054 | 1.051 | 1.035 | 1.042 | 265
Spare HV For DCP137 Export 12 | 1.054 | 1.051 | 1.035 | 1.042 | 266
Spare LV Export 5 | 1.093 | 1.088 | 1.073 | 1.078 | 267
Spare LV Export 6 | 1.093 | 1.088 | 1.073 | 1.078 | 268
Spare LV Export 7 | 1.093 | 1.088 | 1.073 | 1.078 | 269
Spare LV Export 8 | 1.093 | 1.088 | 1.073 | 1.078 | 270
Spare EHV Export 121 | 1.034 | 1.033 | 1.023 | 1.027 | 271
Spare EHV Export 122 | 1.034 | 1.033 | 1.023 | 1.027 | 272
Spare EHV Export 123 | 1.034 | 1.033 | 1.023 | 1.027 | 273
Spare EHV Export 124 | 1.034 | 1.033 | 1.023 | 1.027 | 274
Spare EHV Export 125 | 1.034 | 1.033 | 1.023 | 1.027 | 275
Spare EHV Export 126 | 1.034 | 1.033 | 1.023 | 1.027 | 276
Spare EHV Export 127 | 1.034 | 1.033 | 1.023 | 1.027 | 277
Spare EHV Export 128 | 1.034 | 1.033 | 1.023 | 1.027 | 278
Spare EHV Export 129 | 1.034 | 1.033 | 1.023 | 1.027 | 279
Spare EHV Export 140 | 1.034 | 1.033 | 1.023 | 1.027 | 290
Spare EHV Export 141 | 1.034 | 1.033 | 1.023 | 1.027 | 291
Spare EHV Export 142 | 1.034 | 1.033 | 1.023 | 1.027 | 292
Spare EHV Export 143 | 1.034 | 1.033 | 1.023 | 1.027 | 293
Spare EHV Export 144 | 1.034 | 1.033 | 1.023 | 1.027 | 294
Spare EHV Export 145 | 1.034 | 1.033 | 1.023 | 1.027 | 295
Spare EHV Export 130 | 1.034 | 1.033 | 1.023 | 1.027 | 304
Spare EHV Export 131 | 1.034 | 1.033 | 1.023 | 1.027 | 305
Spare EHV Export 132 | 1.034 | 1.033 | 1.023 | 1.027 | 306
Spare EHV Export 133 | 1.034 | 1.033 | 1.023 | 1.027 | 307
Spare EHV Export 134 | 1.034 | 1.033 | 1.023 | 1.027 | 308
Spare EHV Export 135 | 1.034 | 1.033 | 1.023 | 1.027 | 309
Spare EHV Export 136 | 1.034 | 1.033 | 1.023 | 1.027 | 310
Spare EHV Export 137 | 1.034 | 1.033 | 1.023 | 1.027 | 311
Spare EHV Export 138 | 1.034 | 1.033 | 1.023 | 1.027 | 312
Spare EHV Export 139 | 1.034 | 1.033 | 1.023 | 1.027 | 313
Spare EHV Export 146 | 1.034 | 1.033 | 1.023 | 1.027 | 314
Spare EHV Export 147 | 1.034 | 1.033 | 1.023 | 1.027 | 315
Spare EHV Export 148 | 1.034 | 1.033 | 1.023 | 1.027 | 316
Spare EHV Export 149 | 1.034 | 1.033 | 1.023 | 1.027 | 317
Spare EHV Export 150 | 1.034 | 1.033 | 1.023 | 1.027 | 318
Spare EHV Export 151 | 1.034 | 1.033 | 1.023 | 1.027 | 319
Spare EHV Export 152 | 1.034 | 1.033 | 1.023 | 1.027 | 320
Spare EHV/HV Export 23 | 1.041 | 1.039 | 1.029 | 1.034 | 576
Spare EHV/HV Export 24 | 1.041 | 1.039 | 1.029 | 1.034 | 578
Tyseley Waste Export | 1.001 | 1.001 | 1.001 | 1.001 | 703
Uni of Birmingham Export | 1.007 | 1.006 | 1.004 | 1.005 | 708
Quatt Export | 1.041 | 1.039 | 1.029 | 1.034 | 731
Wolverhampton WS Export | 0.999 | 0.999 | 0.999 | 0.999 | 732
Stoke CHP Export | 1.034 | 1.033 | 1.023 | 1.027 | 733
Hanford Waste Services Export | 1.002 | 1.002 | 1.002 | 1.003 | 734
NR Kidsgrove Export | 1.034 | 1.033 | 1.023 | 1.027 | 735
NR Stafford Export | 1.034 | 1.033 | 1.023 | 1.027 | 736
NR Winson Green Export | 1.034 | 1.033 | 1.023 | 1.027 | 737
NR Smethwick Export | 1.034 | 1.033 | 1.023 | 1.027 | 738
NR Willenhall Export | 1 | 1 | 1.023 | 1 | 739
NR Nechells/Washwood Heath Exp | 1 | 1 | 1 | 1 | 741
Redditch Gas Turbine Export | 1.041 | 1.039 | 1.029 | 1.034 | 745
Knypersley Export | 1.041 | 1.039 | 1.029 | 1.034 | 746
Northwick Export | 1.041 | 1.039 | 1.029 | 1.034 | 748
Swancote Energy Export | 1.053 | 1.053 | 1.023 | 1.027 | 749
Four Ashes Incinerator Export | 0.993 | 0.993 | 0.993 | 0.993 | 750
Witches Farm Solar Export | 1.034 | 1.051 | 1.023 | 1.051 | 751
Springhill Solar Park Export | 1.041 | 1.039 | 1.029 | 1.034 | 752
Greenfrog STOR Export | 1.041 | 1.039 | 1.029 | 1.034 | 753
Union Road/EMR Oldbury Export | 1.034 | 1.033 | 1.023 | 1.027 | 754
Battlefield Generation Export | 1.015 | 1.015 | 1.015 | 1.015 | 755
Says Farms PV Export | 1.034 | 1.024 | 1.023 | 1.023 | 756
Hayford Fm PV Embedded 2 (Exp) | 1.034 | 1.061 | 1.023 | 1.059 | 757
Rotherdale Farm PV Export | 1.026 | 1.028 | 1.028 | 1.027 | 758
Lower Newton Solar Farm (Exp) | 1.034 | 1.028 | 1.023 | 1.027 | 759
Wrockwardine Solar Farm (Exp) | 1.034 | 1.042 | 1.023 | 1.04 | 760
Condover Solar Farm (Export) | 1.034 | 1.001 | 1.023 | 1 | 761
Tower Hill Farm PV (Export) | 1.034 | 1.041 | 1.023 | 1.04 | 762
Hill House Farm Solar (Export) | 1.034 | 1.025 | 1.026 | 1.023 | 763
Pitchford Farm Solar (Export) | 1.034 | 1.019 | 1.023 | 1.019 | 764
Sundorne Solar Park (Export) | 1.034 | 1.014 | 1.023 | 1.014 | 765
Hartlebury EFW (Export) | 1.006 | 1.006 | 1.006 | 1.007 | 766
Upper Huntingford PV (Export) | 1.034 | 1.027 | 1.023 | 1.026 | 767
Ring O Bells Solar (Export) | 1.034 | 1.025 | 1.023 | 1.025 | 768
Hall Farm PV Awre (Export) | 1.034 | 1.034 | 1.023 | 1.033 | 769
Spare Export HV Sub 1 | 1.041 | 1.039 | 1.029 | 1.034 | 803
Spare Export HV Sub 2 | 1.041 | 1.039 | 1.029 | 1.034 | 804
Northwick 5 Mile Dr PV Export | 1.041 | 1.039 | 1.029 | 1.034 | 805
Greenfrog STOR Extens (Export) | 1.041 | 1.039 | 1.029 | 1.034 | 806
Invista Textiles Gas (Export) | 1.041 | 1.039 | 1.029 | 1.034 | 807
Spare Export HV Sub 6 | 1.041 | 1.039 | 1.029 | 1.034 | 808
Spare Export HV Sub 7 | 1.041 | 1.039 | 1.029 | 1.034 | 809
Spare Export HV Sub 8 | 1.041 | 1.039 | 1.029 | 1.034 | 810
Spare Export HV Sub 9 | 1.041 | 1.039 | 1.029 | 1.034 | 811
Spare Export HV Sub 10 | 1.041 | 1.039 | 1.029 | 1.034 | 812
Spare Export HV Sub 11 | 1.041 | 1.039 | 1.029 | 1.034 | 813
Spare Export HV Sub 12 | 1.041 | 1.039 | 1.029 | 1.034 | 814
Wickhamford PV (Export) | 1.034 | 1.031 | 1.032 | 1.031 | 815
Yorkley Wood Farm PV (Export) | 1.034 | 1.028 | 1.023 | 1.028 | 816
Awbridge Farm Diesel Gen (Exp) | 1.034 | 1.033 | 1.023 | 1.027 | 817
Bristol Rd Glos STOR (Export) | 1.012 | 1.013 | 1.014 | 1.013 | 818
Actrees Farm PV (Export) | 1.034 | 1.041 | 1.023 | 1.04 | 819
Sheriffhales Farm PV (Export) | 1.034 | 1.024 | 1.023 | 1.024 | 820
Upper Wick Farm PV (Export) | 1.034 | 1.028 | 1.023 | 1.027 | 821
Spare EHV Export 28 | 1.034 | 1.033 | 1.023 | 1.027 | 822
Spare EHV Export 29 | 1.034 | 1.033 | 1.023 | 1.027 | 823
Astley Solar Farm PV (Export) | 1.034 | 1.051 | 1.023 | 1.05 | 824
Hayford Fm PV Embedded 1 (Exp) | 1.034 | 1.061 | 1.023 | 1.059 | 825
Sheriffhales CIC PV (Export) | 1.034 | 1.024 | 1.023 | 1.024 | 826
Wolverhampton Power STOR (Exp) | 1 | 1.001 | 1.023 | 1.001 | 827
Moneystone Quarry PV (Export) | 1.034 | 1.035 | 1.023 | 1.034 | 828
Heywood Grange Fm PV (Export) | 1.034 | 1.017 | 1.023 | 1.017 | 829
Garreg Lwyd WF (Export) | 1.063 | 1.061 | 1.071 | 1.072 | 830
Henley Solar Farm PV (Export) | 1.034 | 1.046 | 1.023 | 1.045 | 831
Sudmeadow Rd Gen STOR (Export) | 1.034 | 1.033 | 1.023 | 1.027 | 832
High Point Solar PV (Export) | 1.034 | 1.036 | 1.023 | 1.036 | 833
Staunch Standby STOR (Export) | 1.018 | 1.019 | 1.019 | 1.019 | 834
ISIS House STOR (Export) | 1.01 | 1.033 | 1.023 | 1.027 | 835
Heywood Grange Bttry (Export) | 1.034 | 1.033 | 1.023 | 1.027 | 836
Upper Meadowly Farm PV(Export) | 1.034 | 1.045 | 1.023 | 1.044 | 837
Javelin Park EFW (Export) | 1.01 | 1.01 | 1.013 | 1.014 | 838
Rock Farm Ess (Export) | 1.019 | 1.019 | 1.019 | 1.019 | 839
Bloxwich ESS (Export) | 1.034 | 1.033 | 1.023 | 1.027 | 840
Hinksford Farm Gas (Export) | 1.001 | 1.002 | 1.003 | 1.002 | 841
Chatterley Whitfield CHP (Exp) | 1.034 | 1.033 | 1.023 | 1.027 | 842
Larport Farm BESS (Export) | 1.034 | 1.035 | 1.035 | 1.035 | 843
Sandwell Power STOR (Export) | 1.034 | 1.033 | 1.023 | 1.027 | 844
Wednesbury Power STOR (Export) | 1.034 | 1.033 | 1.023 | 1.027 | 845
Bourne Rd Lwr Strensham PV Exp | 1.034 | 1.033 | 1.023 | 1.027 | 846
Spare EHV Export 53 | 1.034 | 1.033 | 1.023 | 1.027 | 847
Spare EHV Export 54 | 1.034 | 1.033 | 1.023 | 1.027 | 848
Spare EHV Export 55 | 1.034 | 1.033 | 1.023 | 1.027 | 849
Spare EHV Export 56 | 1.034 | 1.033 | 1.023 | 1.027 | 850
Spare EHV Export 57 | 1.034 | 1.033 | 1.023 | 1.027 | 851
Spare EHV Export 58 | 1.034 | 1.033 | 1.023 | 1.027 | 852
Spare EHV Export 59 | 1.034 | 1.033 | 1.023 | 1.027 | 853
Spare EHV Export 60 | 1.034 | 1.033 | 1.023 | 1.027 | 854
Spare EHV Export 61 | 1.034 | 1.033 | 1.023 | 1.027 | 855
Spare EHV Export 62 | 1.034 | 1.033 | 1.023 | 1.027 | 856
Spare EHV Export 63 | 1.034 | 1.033 | 1.023 | 1.027 | 857
Spare EHV Export 64 | 1.034 | 1.033 | 1.023 | 1.027 | 858
Spare EHV Export 65 | 1.034 | 1.033 | 1.023 | 1.027 | 859
Spare EHV Export 66 | 1.034 | 1.033 | 1.023 | 1.027 | 860
Spare EHV Export 67 | 1.034 | 1.033 | 1.023 | 1.027 | 861
Spare EHV Export 68 | 1.034 | 1.033 | 1.023 | 1.027 | 862
Spare EHV Export 69 | 1.034 | 1.033 | 1.023 | 1.027 | 863
Spare EHV Export 70 | 1.034 | 1.033 | 1.023 | 1.027 | 864
Star Aluminium Export | 1.041 | 1.039 | 1.029 | 1.034 | 915
Spare EHV/HV Export 14 | 1.041 | 1.039 | 1.029 | 1.034 | 916
Spare EHV/HV Export 15 | 1.041 | 1.039 | 1.029 | 1.034 | 917
Spare EHV/HV Export 16 | 1.041 | 1.039 | 1.029 | 1.034 | 918
Spare EHV/HV Export 17 | 1.041 | 1.039 | 1.029 | 1.034 | 919
Spare EHV/HV Export 18 | 1.041 | 1.039 | 1.029 | 1.034 | 920
Spare EHV/HV Export 19 | 1.041 | 1.039 | 1.029 | 1.034 | 921
Spare EHV/HV Export 20 | 1.041 | 1.039 | 1.029 | 1.034 | 922
Spare EHV/HV Export 21 | 1.041 | 1.039 | 1.029 | 1.034 | 923
Spare EHV/HV Export 22 | 1.041 | 1.039 | 1.029 | 1.034 | 924
Spare 132/HV Export 1 | 1.013 | 1.013 | 1.011 | 1.012 | 925
Spare 132/HV Export 2 | 1.013 | 1.013 | 1.011 | 1.012 | 926
Spare 132/EHV Export 1 | 1.011 | 1.011 | 1.01 | 1.01 | 927
Spare 132/EHV Export 2 | 1.011 | 1.011 | 1.01 | 1.01 | 928
Spare LV Export 1 | 1.093 | 1.088 | 1.073 | 1.078 | 929
Spare LV Export 2 | 1.093 | 1.088 | 1.073 | 1.078 | 930
Spare LV Export 3 | 1.093 | 1.088 | 1.073 | 1.078 | 931
Spare LV Export 4 | 1.093 | 1.088 | 1.073 | 1.078 | 932
Troughton Farm PV (Export) | 1.011 | 1.011 | 1.011 | 1.011 | 933
Spare 132kV Export 2 | 1.007 | 1.006 | 1.004 | 1.005 | 934
Spare 132kV Export 3 | 1.007 | 1.006 | 1.004 | 1.005 | 935
Spare 132kV Export 4 | 1.007 | 1.006 | 1.004 | 1.005 | 936
Spare 132kV Export 5 | 1.007 | 1.006 | 1.004 | 1.005 | 937
Spare 132kV Export 6 | 1.007 | 1.006 | 1.004 | 1.005 | 938
Spare 132kV Export 7 | 1.007 | 1.006 | 1.004 | 1.005 | 939
Spare 132kV Export 8 | 1.007 | 1.006 | 1.004 | 1.005 | 940
Spare 132kV Export 9 | 1.007 | 1.006 | 1.004 | 1.005 | 941
Spare 132kV Export 10 | 1.007 | 1.006 | 1.004 | 1.005 | 942
Spare 132kV Export 11 | 1.007 | 1.006 | 1.004 | 1.005 | 943
Spare 132kV Export 12 | 1.007 | 1.006 | 1.004 | 1.005 | 944
Spare 132kV Export 13 | 1.007 | 1.006 | 1.004 | 1.005 | 945
Spare 132kV Export 14 | 1.007 | 1.006 | 1.004 | 1.005 | 946
Spare 132kV Export 15 | 1.007 | 1.006 | 1.004 | 1.005 | 947
Spare EHV Export 71 | 1.034 | 1.033 | 1.023 | 1.027 | 948
Spare EHV Export 72 | 1.034 | 1.033 | 1.023 | 1.027 | 949
Spare EHV Export 73 | 1.034 | 1.033 | 1.023 | 1.027 | 950
Spare EHV Export 74 | 1.034 | 1.033 | 1.023 | 1.027 | 951
Spare EHV Export 75 | 1.034 | 1.033 | 1.023 | 1.027 | 952
Spare EHV Export 76 | 1.034 | 1.033 | 1.023 | 1.027 | 953
Spare EHV Export 77 | 1.034 | 1.033 | 1.023 | 1.027 | 954
Spare EHV Export 78 | 1.034 | 1.033 | 1.023 | 1.027 | 955
Spare EHV Export 79 | 1.034 | 1.033 | 1.023 | 1.027 | 956
Spare EHV Export 80 | 1.034 | 1.033 | 1.023 | 1.027 | 957
Spare EHV Export 81 | 1.034 | 1.033 | 1.023 | 1.027 | 958
Spare EHV Export 82 | 1.034 | 1.033 | 1.023 | 1.027 | 959
Spare EHV Export 83 | 1.034 | 1.033 | 1.023 | 1.027 | 960
Spare EHV Export 84 | 1.034 | 1.033 | 1.023 | 1.027 | 961
Spare EHV Export 85 | 1.034 | 1.033 | 1.023 | 1.027 | 962
Spare EHV Export 86 | 1.034 | 1.033 | 1.023 | 1.027 | 963
Spare EHV Export 87 | 1.034 | 1.033 | 1.023 | 1.027 | 964
Spare EHV Export 88 | 1.034 | 1.033 | 1.023 | 1.027 | 965
Spare EHV Export 89 | 1.034 | 1.033 | 1.023 | 1.027 | 966
Spare EHV Export 90 | 1.034 | 1.033 | 1.023 | 1.027 | 967
Spare EHV Export 91 | 1.034 | 1.033 | 1.023 | 1.027 | 968
Spare EHV Export 92 | 1.034 | 1.033 | 1.023 | 1.027 | 969
Spare EHV Export 93 | 1.034 | 1.033 | 1.023 | 1.027 | 970
Spare EHV Export 94 | 1.034 | 1.033 | 1.023 | 1.027 | 971
Spare EHV Export 95 | 1.034 | 1.033 | 1.023 | 1.027 | 972
Spare EHV Export 96 | 1.034 | 1.033 | 1.023 | 1.027 | 973
Spare EHV Export 97 | 1.034 | 1.033 | 1.023 | 1.027 | 974
Spare EHV Export 98 | 1.034 | 1.033 | 1.023 | 1.027 | 975
Spare EHV Export 99 | 1.034 | 1.033 | 1.023 | 1.027 | 976
Spare EHV Export 100 | 1.034 | 1.033 | 1.023 | 1.027 | 977
Spare EHV Export 101 | 1.034 | 1.033 | 1.023 | 1.027 | 978
Spare EHV Export 102 | 1.034 | 1.033 | 1.023 | 1.027 | 979
Spare EHV Export 103 | 1.034 | 1.033 | 1.023 | 1.027 | 980
Spare EHV Export 104 | 1.034 | 1.033 | 1.023 | 1.027 | 981
Spare EHV Export 105 | 1.034 | 1.033 | 1.023 | 1.027 | 982
Spare EHV Export 106 | 1.034 | 1.033 | 1.023 | 1.027 | 983
Spare EHV Export 107 | 1.034 | 1.033 | 1.023 | 1.027 | 984
Spare EHV Export 108 | 1.034 | 1.033 | 1.023 | 1.027 | 985
Spare EHV Export 109 | 1.034 | 1.033 | 1.023 | 1.027 | 986
Spare EHV Export 110 | 1.034 | 1.033 | 1.023 | 1.027 | 987
Spare EHV Export 111 | 1.034 | 1.033 | 1.023 | 1.027 | 988
Spare EHV Export 112 | 1.034 | 1.033 | 1.023 | 1.027 | 989
Spare EHV Export 113 | 1.034 | 1.033 | 1.023 | 1.027 | 990
Spare EHV Export 114 | 1.034 | 1.033 | 1.023 | 1.027 | 991
Spare EHV Export 115 | 1.034 | 1.033 | 1.023 | 1.027 | 992
Spare EHV Export 116 | 1.034 | 1.033 | 1.023 | 1.027 | 993
Spare EHV Export 117 | 1.034 | 1.033 | 1.023 | 1.027 | 994
Spare EHV Export 118 | 1.034 | 1.033 | 1.023 | 1.027 | 995
Spare EHV Export 119 | 1.034 | 1.033 | 1.023 | 1.027 | 996
Spare EHV Export 120 | 1.034 | 1.033 | 1.023 | 1.027 | 997