## SWEB
National Grid Electricity Distribution (South West) plc - LLFs for year beginning 1 April 2023
Time periods | Period 1 | Period 2 | Period 3 | Period 4
| Peak | Winter | Night | Other
Monday to Friday Mar to Oct |  |  | 00:00 - 06:30 23:30 - 24:00 | 06:30 - 23:30
Monday to Friday Nov to Feb | 16:00 - 19:00 | 06:30 - 16:00 | 00:00 - 06:30 23:30 - 24:00 | 19:00 - 23:30
Saturday and Sunday All Year |  |  | 00:00 - 06:30 23:30 - 24:00 | 06:30 - 23:30
Notes | All the above times are in UK Clock time
Generic demand and generation LLFs
Metered voltage, respective periods and associated LLFCs
Metered voltage | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
132kV connected | 1 | 1 | 1.001 | 1.001
132/EHV connected | 1.004 | 1.004 | 1.006 | 1.005
132/HV connected | 1.004 | 1.004 | 1.005 | 1.005
EHV connected | 1.01 | 1.01 | 1.01 | 1.012 | 670, 671
High Voltage Substation | 1.014 | 1.015 | 1.016 | 1.017 | 522, 523, 525
High Voltage Network | 1.031 | 1.029 | 1.025 | 1.028 | 95, 96, 510, 521, 524, 3, HST, H00, H02, H03, H04, N30, N32, N33, N34
Low Voltage Substation | 1.043 | 1.044 | 1.049 | 1.047 | 93, 94, 526, 540, 551, 2, SST, N20, N22, N23, N24, S00, S02, S03, S04
Low Voltage Network | 1.058 | 1.056 | 1.059 | 1.058 | 10, 20, 30, 40, 91, 92, 110, 202, 203, 210, 251, 430, 527, 570, 581, 970, 977, 978, 979, 980, L21, L22, L23, L24, L41, L42, L43, L44, 1, LST, L00, L02, L03, L04, L50, L52, L53, L54, L60, L62, L63, L64, L70, L72, L73, L74, L80, L82, L83, L84, N10, N12, N13, N14
EHV site specific LLFs
Demand
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Spare LV 9 | 1.058 | 1.056 | 1.059 | 1.058 | 41
Spare LV 10 | 1.058 | 1.056 | 1.059 | 1.058 | 42
Spare LV 11 | 1.058 | 1.056 | 1.059 | 1.058 | 43
Spare LV 12 | 1.058 | 1.056 | 1.059 | 1.058 | 44
Spare LV 13 | 1.058 | 1.056 | 1.059 | 1.058 | 45
Spare LV 14 | 1.058 | 1.056 | 1.059 | 1.058 | 46
Bowerhouse II 33kV PV (Import) | 1.01 | 1.01 | 1.01 | 1.012 | 100
Barton Hill Way ESS (Import) | 1.01 | 1.01 | 1.01 | 1.012 | 101
Spare EHV 268 | 1.01 | 1.01 | 1.01 | 1.012 | 102
Spare EHV 269 | 1.01 | 1.01 | 1.01 | 1.012 | 103
Spare EHV 270 | 1.01 | 1.01 | 1.01 | 1.012 | 104
Spare EHV 271 | 1.01 | 1.01 | 1.01 | 1.012 | 105
Spare EHV 272 | 1.01 | 1.01 | 1.01 | 1.012 | 106
Spare EHV 273 | 1.01 | 1.01 | 1.01 | 1.012 | 107
Spare EHV 274 | 1.01 | 1.01 | 1.01 | 1.012 | 108
Spare EHV 275 | 1.01 | 1.01 | 1.01 | 1.012 | 109
Spare EHV 276 | 1.01 | 1.01 | 1.01 | 1.012 | 111
Spare EHV 191 | 1.01 | 1.01 | 1.01 | 1.012 | 112
Spare EHV 192 | 1.01 | 1.01 | 1.01 | 1.012 | 113
Spare EHV 193 | 1.01 | 1.01 | 1.01 | 1.012 | 114
Spare EHV 194 | 1.01 | 1.01 | 1.01 | 1.012 | 115
Spare EHV 195 | 1.01 | 1.01 | 1.01 | 1.012 | 116
Spare EHV 196 | 1.01 | 1.01 | 1.01 | 1.012 | 117
Spare EHV 197 | 1.01 | 1.01 | 1.01 | 1.012 | 118
Spare EHV 198 | 1.01 | 1.01 | 1.01 | 1.012 | 119
Spare EHV 277 | 1.01 | 1.01 | 1.01 | 1.012 | 120
Spare EHV 199 | 1.01 | 1.01 | 1.01 | 1.012 | 121
Spare EHV 200 | 1.01 | 1.01 | 1.01 | 1.012 | 122
Spare EHV 201 | 1.01 | 1.01 | 1.01 | 1.012 | 123
Spare EHV 202 | 1.01 | 1.01 | 1.01 | 1.012 | 124
Spare EHV 203 | 1.01 | 1.01 | 1.01 | 1.012 | 125
Spare EHV 204 | 1.01 | 1.01 | 1.01 | 1.012 | 126
Spare EHV 205 | 1.01 | 1.01 | 1.01 | 1.012 | 127
Spare EHV 206 | 1.01 | 1.01 | 1.01 | 1.012 | 128
Spare EHV 207 | 1.01 | 1.01 | 1.01 | 1.012 | 129
Spare EHV 278 | 1.01 | 1.01 | 1.01 | 1.012 | 130
Spare EHV 208 | 1.01 | 1.01 | 1.01 | 1.012 | 131
Spare EHV 209 | 1.01 | 1.01 | 1.01 | 1.012 | 132
Spare EHV 210 | 1.01 | 1.01 | 1.01 | 1.012 | 133
Spare EHV 211 | 1.01 | 1.01 | 1.01 | 1.012 | 134
Spare EHV 212 | 1.01 | 1.01 | 1.01 | 1.012 | 135
Spare EHV 213 | 1.01 | 1.01 | 1.01 | 1.012 | 136
Spare EHV 214 | 1.01 | 1.01 | 1.01 | 1.012 | 137
Spare EHV 215 | 1.01 | 1.01 | 1.01 | 1.012 | 138
Spare EHV 216 | 1.01 | 1.01 | 1.01 | 1.012 | 139
Spare EHV 279 | 1.01 | 1.01 | 1.01 | 1.012 | 140
Spare EHV 217 | 1.01 | 1.01 | 1.01 | 1.012 | 141
Spare EHV 218 | 1.01 | 1.01 | 1.01 | 1.012 | 142
Spare EHV 219 | 1.01 | 1.01 | 1.01 | 1.012 | 143
Spare EHV 220 | 1.01 | 1.01 | 1.01 | 1.012 | 144
Spare EHV 221 | 1.01 | 1.01 | 1.01 | 1.012 | 145
Spare EHV 222 | 1.01 | 1.01 | 1.01 | 1.012 | 146
Spare EHV 223 | 1.01 | 1.01 | 1.01 | 1.012 | 147
Spare EHV 224 | 1.01 | 1.01 | 1.01 | 1.012 | 148
Spare EHV 225 | 1.01 | 1.01 | 1.01 | 1.012 | 149
Spare EHV 226 | 1.01 | 1.01 | 1.01 | 1.012 | 150
Spare EHV 227 | 1.01 | 1.01 | 1.01 | 1.012 | 151
Spare EHV 228 | 1.01 | 1.01 | 1.01 | 1.012 | 152
Spare EHV 229 | 1.01 | 1.01 | 1.01 | 1.012 | 153
Spare EHV 230 | 1.01 | 1.01 | 1.01 | 1.012 | 154
Spare EHV 231 | 1.01 | 1.01 | 1.01 | 1.012 | 155
Spare EHV 232 | 1.01 | 1.01 | 1.01 | 1.012 | 156
Spare EHV 233 | 1.01 | 1.01 | 1.01 | 1.012 | 157
Spare EHV 234 | 1.01 | 1.01 | 1.01 | 1.012 | 158
Spare EHV 235 | 1.01 | 1.01 | 1.01 | 1.012 | 159
Spare EHV 236 | 1.01 | 1.01 | 1.01 | 1.012 | 160
Spare EHV 237 | 1.01 | 1.01 | 1.01 | 1.012 | 161
Spare EHV 238 | 1.01 | 1.01 | 1.01 | 1.012 | 162
Spare EHV 239 | 1.01 | 1.01 | 1.01 | 1.012 | 163
Spare EHV 240 | 1.01 | 1.01 | 1.01 | 1.012 | 164
Spare EHV 241 | 1.01 | 1.01 | 1.01 | 1.012 | 165
Spare EHV 242 | 1.01 | 1.01 | 1.01 | 1.012 | 166
Spare EHV 243 | 1.01 | 1.01 | 1.01 | 1.012 | 167
Spare EHV 244 | 1.01 | 1.01 | 1.01 | 1.012 | 168
Spare EHV 245 | 1.01 | 1.01 | 1.01 | 1.012 | 169
Spare EHV 246 | 1.01 | 1.01 | 1.01 | 1.012 | 170
Spare EHV 247 | 1.01 | 1.01 | 1.01 | 1.012 | 171
Spare EHV 248 | 1.01 | 1.01 | 1.01 | 1.012 | 172
Spare EHV 249 | 1.01 | 1.01 | 1.01 | 1.012 | 173
Spare EHV 250 | 1.01 | 1.01 | 1.01 | 1.012 | 174
Spare EHV 251 | 1.01 | 1.01 | 1.01 | 1.012 | 175
Spare EHV 252 | 1.01 | 1.01 | 1.01 | 1.012 | 176
Spare EHV 253 | 1.01 | 1.01 | 1.01 | 1.012 | 177
Spare EHV 254 | 1.01 | 1.01 | 1.01 | 1.012 | 178
Spare EHV 255 | 1.01 | 1.01 | 1.01 | 1.012 | 179
Spare EHV 256 | 1.01 | 1.01 | 1.01 | 1.012 | 180
Spare EHV 257 | 1.01 | 1.01 | 1.01 | 1.012 | 181
Spare EHV 258 | 1.01 | 1.01 | 1.01 | 1.012 | 182
Spare EHV 259 | 1.01 | 1.01 | 1.01 | 1.012 | 183
Spare EHV 260 | 1.01 | 1.01 | 1.01 | 1.012 | 184
Spare EHV 261 | 1.01 | 1.01 | 1.01 | 1.012 | 185
Spare EHV 262 | 1.01 | 1.01 | 1.01 | 1.012 | 186
Spare EHV 263 | 1.01 | 1.01 | 1.01 | 1.012 | 187
Spare EHV 264 | 1.01 | 1.01 | 1.01 | 1.012 | 188
Spare EHV 265 | 1.01 | 1.01 | 1.01 | 1.012 | 189
Spare EHV 280 | 1.01 | 1.01 | 1.01 | 1.012 | 190
Spare EHV 281 | 1.01 | 1.01 | 1.01 | 1.012 | 191
Spare EHV 282 | 1.01 | 1.01 | 1.01 | 1.012 | 192
Spare EHV 283 | 1.01 | 1.01 | 1.01 | 1.012 | 193
Spare EHV 284 | 1.01 | 1.01 | 1.01 | 1.012 | 194
Spare EHV 285 | 1.01 | 1.01 | 1.01 | 1.012 | 195
Spare EHV 286 | 1.01 | 1.01 | 1.01 | 1.012 | 196
Spare EHV 287 | 1.01 | 1.01 | 1.01 | 1.012 | 197
Rolls Royce Filton HV Import | 1.014 | 1.015 | 1.016 | 1.017 | 198
Spare EHV/HV 6 | 1.014 | 1.015 | 1.016 | 1.017 | 199
Spare EHV/HV 7 | 1.014 | 1.015 | 1.016 | 1.017 | 200
Spare EHV/HV 8 | 1.014 | 1.015 | 1.016 | 1.017 | 201
Ashwater Auxiliary Import (LV) | 1.058 | 1.056 | 1.059 | 1.058 | 204
Spare LV 4 | 1.058 | 1.056 | 1.059 | 1.058 | 205
Spare EHV 288 | 1.01 | 1.01 | 1.01 | 1.012 | 206
Spare EHV 289 | 1.01 | 1.01 | 1.01 | 1.012 | 207
Spare EHV 290 | 1.01 | 1.01 | 1.01 | 1.012 | 208
Spare EHV 291 | 1.01 | 1.01 | 1.01 | 1.012 | 209
Spare EHV 292 | 1.01 | 1.01 | 1.01 | 1.012 | 217
Otterham STOR Import | 1.004 | 1.004 | 1.006 | 1.005 | 250
Tregarrick Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 260
Freathy Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 261
Till House PV | 1.01 | 1.01 | 1.01 | 1.012 | 262
Outlands Wood PV | 1.01 | 1.01 | 1.01 | 1.012 | 263
Culmhead PV | 1.01 | 1.01 | 1.01 | 1.012 | 264
Whitchurch Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 265
Kingsland Barton PV | 1.01 | 1.01 | 1.01 | 1.012 | 266
Mendip Solar PV | 1.01 | 1.01 | 1.01 | 1.012 | 267
St Stephen PV | 1.01 | 1.01 | 1.01 | 1.012 | 268
Trewidland PV | 1.01 | 1.01 | 1.01 | 1.012 | 269
Watchfield Lawn PV | 1.01 | 1.01 | 1.01 | 1.012 | 270
Gover Park PV | 1.01 | 1.01 | 1.01 | 1.012 | 271
North Wayton PV | 1.01 | 1.01 | 1.01 | 1.012 | 272
Week Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 273
Cullompton PV | 1.01 | 1.01 | 1.01 | 1.012 | 274
Dinder Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 275
Kilmersdon Estate PV | 1.01 | 1.01 | 1.01 | 1.012 | 276
Pitts Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 277
Kerriers PV | 1.01 | 1.01 | 1.01 | 1.012 | 278
Ernesettle STOR | 1.01 | 1.01 | 1.01 | 1.012 | 279
Yew Tree Cottage PV | 1.01 | 1.01 | 1.01 | 1.012 | 280
Goonhilly PV | 1.01 | 1.01 | 1.01 | 1.012 | 281
Nanteague PV | 1.01 | 1.01 | 1.01 | 1.012 | 282
Bidwell Dartington PV | 1.01 | 1.01 | 1.01 | 1.012 | 283
New Row Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 284
Victoria (WBAR3) WF | 1.01 | 1.01 | 1.01 | 1.012 | 285
Four Barrows 2 PV | 1.01 | 1.01 | 1.01 | 1.012 | 286
Redlands Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 287
Tengore Lane PV | 1.01 | 1.01 | 1.01 | 1.012 | 288
Liverton Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 289
Yonder Parks PV | 1.01 | 1.01 | 1.01 | 1.012 | 290
Somerton Door PV | 1.01 | 1.01 | 1.01 | 1.012 | 291
Carditch Drove PV | 1.01 | 1.01 | 1.01 | 1.012 | 292
Capelands Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 293
East Youlstone WF | 1.01 | 1.01 | 1.01 | 1.012 | 294
Francis Court Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 295
Northwood PV | 1.01 | 1.01 | 1.01 | 1.012 | 296
Tricky Warren PV | 1.01 | 1.01 | 1.01 | 1.012 | 297
Iwood Lane PV | 1.01 | 1.01 | 1.01 | 1.012 | 298
Rydon Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 299
Balls Wood PV | 1.01 | 1.01 | 1.01 | 1.012 | 300
Ashlawn Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 301
Pencoose Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 302
Hawkers Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 303
Hurcott PV | 1.01 | 1.01 | 1.01 | 1.012 | 304
Garvinack Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 305
Newton Barton PV | 1.01 | 1.01 | 1.01 | 1.012 | 306
Coombeshead Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 307
Walland Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 308
Ashcombe PV | 1.01 | 1.01 | 1.01 | 1.012 | 309
Newnham Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 310
Roskrow Barton PV | 1.01 | 1.01 | 1.01 | 1.012 | 311
Parkview PV | 1.01 | 1.01 | 1.01 | 1.012 | 312
Towerhead Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 313
Rookery Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 314
Bystock Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 315
Pylle PVs Boundary Imports | 1.01 | 1.01 | 1.01 | 1.012 | 316
Burthy Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 317
Wilton Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 318
Coombe Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 319
Higher Bye Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 320
Wilton Farm WF | 1.01 | 1.01 | 1.01 | 1.012 | 321
Denzell Downs WF | 1.01 | 1.01 | 1.01 | 1.012 | 322
Puriton Landfill PV_1 | 1.01 | 1.01 | 1.01 | 1.012 | 323
Portworthy Dams PV Site 1 | 1.01 | 1.01 | 1.01 | 1.012 | 324
Wick Farm Boundary Imports | 1.01 | 1.01 | 1.01 | 1.012 | 325
Carland Cross PV Import | 1.01 | 1.01 | 1.01 | 1.012 | 326
Batsworthy Cross WF | 1.01 | 1.01 | 1.01 | 1.012 | 327
Portworthy Dams PV Site 2 | 1.01 | 1.01 | 1.01 | 1.012 | 328
Crewkerne PV Site 1 | 1.01 | 1.01 | 1.01 | 1.012 | 329
Crewkerne PV Site 2 | 1.01 | 1.01 | 1.01 | 1.012 | 330
Tonedale Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 331
Puriton Landfill PV_2 | 1.01 | 1.01 | 1.01 | 1.012 | 332
Red Hill Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 333
Chelwood PV | 1.01 | 1.01 | 1.01 | 1.012 | 334
West Carclaze Site 1 | 1.01 | 1.01 | 1.01 | 1.012 | 335
West Carclaze Site 2 | 1.01 | 1.01 | 1.01 | 1.012 | 336
Northmoor (embd) PV | 1.01 | 1.01 | 1.01 | 1.012 | 337
Nmoor Little Tinney WF | 1.01 | 1.01 | 1.01 | 1.012 | 338
Nmoor Little Balsdon WF | 1.01 | 1.01 | 1.01 | 1.012 | 339
Nmoor Hornacott PV | 1.01 | 1.01 | 1.01 | 1.012 | 340
Oakham Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 341
Carnemough Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 342
Ashwater WT Site 1 Import | 1.01 | 1.01 | 1.01 | 1.012 | 343
Makro Exeter STOR-CVA | 1.01 | 1.01 | 1.01 | 1.012 | 344
Great Hounbeare PV | 1.01 | 1.01 | 1.01 | 1.012 | 345
Withy Drove PV | 1.01 | 1.01 | 1.01 | 1.012 | 346
Water Lane STOR-CVA | 1.01 | 1.01 | 1.01 | 1.012 | 347
Montys Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 348
Lawrence Weston PV | 1.01 | 1.01 | 1.01 | 1.012 | 349
Dunsland Cross WF | 1.01 | 1.01 | 1.01 | 1.012 | 350
Trerule Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 351
Nancrossa Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 352
Wick Farm West | 1.01 | 1.01 | 1.01 | 1.012 | 353
LWestPNtWk SevernCom PV | 1.01 | 1.01 | 1.01 | 1.012 | 354
LWestPNtWk Site 2 PV | 1.01 | 1.01 | 1.01 | 1.012 | 355
Tamerton Bridge STOR | 1.01 | 1.01 | 1.01 | 1.012 | 356
Ashwater PV Site 2 Import | 1.01 | 1.01 | 1.01 | 1.012 | 357
Bodwen PV Import | 1.01 | 1.01 | 1.01 | 1.012 | 358
Sharland Farm PV Import | 1.01 | 1.01 | 1.01 | 1.012 | 359
Stoneshill PV Import | 1.01 | 1.01 | 1.01 | 1.012 | 360
Nmoor Parsonage Wood PV Import | 1.01 | 1.01 | 1.01 | 1.012 | 361
Axe View PV Import | 1.01 | 1.01 | 1.01 | 1.012 | 362
Place Barton PV Import | 1.01 | 1.01 | 1.01 | 1.012 | 363
Old Stone farm PV Import | 1.01 | 1.01 | 1.01 | 1.012 | 364
Cattedown STOR Imp-CVA | 1.01 | 1.01 | 1.01 | 1.012 | 365
Barton Hill Way STOR Imp-CVA | 1.01 | 1.01 | 1.01 | 1.012 | 366
Lockleaze Battery Import | 1.005 | 1.005 | 1.005 | 1.005 | 367
West Holcombe PV Import | 1.01 | 1.01 | 1.01 | 1.012 | 368
Hallen 33kV Battery (Import) | 1.01 | 1.01 | 1.01 | 1.012 | 369
Two Post Cross PV (Import) | 1.01 | 1.01 | 1.01 | 1.012 | 370
Spare 132/EHV 4 | 1.004 | 1.004 | 1.006 | 1.005 | 497
Spare 132/EHV 5 | 1.004 | 1.004 | 1.006 | 1.005 | 498
Spare 132/EHV 6 | 1.004 | 1.004 | 1.006 | 1.005 | 499
Spare 132/EHV 7 | 1.004 | 1.004 | 1.006 | 1.005 | 500
Spare 132/EHV 8 | 1.004 | 1.004 | 1.006 | 1.005 | 501
Spare 132/EHV 9 | 1.004 | 1.004 | 1.006 | 1.005 | 502
Spare 132/EHV 10 | 1.004 | 1.004 | 1.006 | 1.005 | 503
Spare 132/EHV 11 | 1.004 | 1.004 | 1.006 | 1.005 | 520
Spare 132/EHV 12 | 1.004 | 1.004 | 1.006 | 1.005 | 528
Imerys Blackpool | 1.014 | 1.015 | 1.016 | 1.017 | 600
Spare EHV 132kV 4 | 1 | 1 | 1.001 | 1.001 | 602
Otterham WT Feeder1 | 1.004 | 1.004 | 1.006 | 1.005 | 603
Otterham WT Feeder2 | 1.004 | 1.004 | 1.006 | 1.005 | 604
Spare EHV 132/HV 1 | 1.004 | 1.004 | 1.005 | 1.005 | 605
Spare EHV 132/HV 2 | 1.004 | 1.004 | 1.005 | 1.005 | 606
Wyld Meadow PV Farm | 1.01 | 1.01 | 1.01 | 1.012 | 607
Prince Rock STOR | 1.01 | 1.01 | 1.01 | 1.012 | 608
Fulford Solar | 1.01 | 1.01 | 1.01 | 1.012 | 609
Bradon Farm | 1.01 | 1.01 | 1.01 | 1.012 | 612
Carland Cross WF Import | 1.01 | 1.01 | 1.01 | 1.012 | 613
Cold Northcott | 1.01 | 1.01 | 1.01 | 1.012 | 614
Forest Moor Wind 1 | 1.01 | 1.01 | 1.01 | 1.012 | 615
Forest Moor Wind 2 | 1.01 | 1.01 | 1.01 | 1.012 | 616
Four Burrows | 1.01 | 1.01 | 1.01 | 1.012 | 617
Canworthy PV | 1 | 1 | 1.001 | 1.001 | 618
St. Breock | 1.01 | 1.01 | 1.01 | 1.012 | 619
Babcock Marine Central Intake | 1.011 | 1.011 | 1.011 | 1.011 | 620
W4B Generation Seabank | 1.01 | 1.01 | 1.01 | 1.012 | 622
Denbrook Wind Farm | 1.01 | 1.01 | 1.01 | 1.012 | 623
Wavehub Hayle | 1.01 | 1.01 | 1.01 | 1.012 | 624
Marsh Barton | 1 | 1 | 1.001 | 1.001 | 625
Connon Bridge Landfill | 1.01 | 1.01 | 1.01 | 1.012 | 626
Chelson Generator | 1.01 | 1.01 | 1.01 | 1.012 | 627
Darracott | 1.01 | 1.01 | 1.01 | 1.012 | 628
Bears Down | 1.01 | 1.01 | 1.01 | 1.012 | 629
Untd Mns Redruth St.Day | 1.01 | 1.01 | 1.01 | 1.012 | 632
Shooter's Bottom | 1.01 | 1.01 | 1.01 | 1.012 | 633
Heathfield | 1.01 | 1.01 | 1.01 | 1.012 | 634
Goonhilly | 1.01 | 1.01 | 1.01 | 1.012 | 635
Delabole | 1.01 | 1.01 | 1.01 | 1.012 | 636
Fullabrook | 1 | 1 | 1.001 | 1.001 | 637
Hemerdon Mine | 1.019 | 1.019 | 1.021 | 1.021 | 638
Trenoweth Farm | 1.01 | 1.01 | 1.01 | 1.012 | 639
Rolls Royce Filton TT | 1.01 | 1.01 | 1.01 | 1.012 | 640
Spare 132/HV 3 | 1.004 | 1.004 | 1.005 | 1.005 | 641
Woodland Barton Farm | 1.01 | 1.01 | 1.01 | 1.012 | 642
Manor Farm | 1.01 | 1.01 | 1.01 | 1.012 | 643
Churchtown Farm | 1.01 | 1.01 | 1.01 | 1.012 | 644
Trenouth Farm | 1.01 | 1.01 | 1.01 | 1.012 | 645
West Kingsmill | 1.01 | 1.01 | 1.01 | 1.012 | 646
Howton Farm | 1.01 | 1.01 | 1.01 | 1.012 | 647
Chynoweth Farm | 1.01 | 1.01 | 1.01 | 1.012 | 648
Newton Downs Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 649
ROF Puriton | 1.01 | 1.01 | 1.01 | 1.012 | 650
Spare 132/HV 4 | 1.004 | 1.004 | 1.005 | 1.005 | 651
East Langford | 1.01 | 1.01 | 1.01 | 1.012 | 652
Ninnis Farm | 1.01 | 1.01 | 1.01 | 1.012 | 653
Willsland | 1.01 | 1.01 | 1.01 | 1.012 | 654
Eastcombe Farm | 1.01 | 1.01 | 1.01 | 1.012 | 655
Bratton Flemming | 1.01 | 1.01 | 1.01 | 1.012 | 656
Beaford Brook | 1.01 | 1.01 | 1.01 | 1.012 | 657
Park Wall | 1.01 | 1.01 | 1.01 | 1.012 | 658
Bradford | 1.01 | 1.01 | 1.01 | 1.012 | 659
Spare 132/HV 5 | 1.004 | 1.004 | 1.005 | 1.005 | 660
Spare 132/HV 6 | 1.004 | 1.004 | 1.005 | 1.005 | 661
Causilgey | 1.01 | 1.01 | 1.01 | 1.012 | 662
Beechgrove | 1.01 | 1.01 | 1.01 | 1.012 | 663
Isles of Scilly EHV | 1.014 | 1.015 | 1.016 | 1.017 | 664
Blackditch | 1.01 | 1.01 | 1.01 | 1.012 | 665
Helius Biomass | 1 | 1 | 1.001 | 1.001 | 667
Bristol Port Co Avonmouth Dock | 1.014 | 1.015 | 1.016 | 1.017 | 669
Northmoor PV | 1 | 1 | 1.001 | 1.001 | 672
CERC St Dennis | 1 | 1 | 1 | 1 | 673
Severnside ERC | 1 | 1 | 1.001 | 1 | 674
Alveston WF Import | 1 | 1 | 1.001 | 1.001 | 675
Spare EHV 132kV 9 | 1 | 1 | 1.001 | 1.001 | 676
Spare EHV 132kV 10 | 1 | 1 | 1.001 | 1.001 | 677
Spare EHV 132kV 11 | 1 | 1 | 1.001 | 1.001 | 678
Spare EHV 132kV 12 | 1 | 1 | 1.001 | 1.001 | 679
Spare EHV 132kV 13 | 1 | 1 | 1.001 | 1.001 | 680
Spare EHV 132kV 14 | 1 | 1 | 1.001 | 1.001 | 681
Spare EHV 132kV 15 | 1 | 1 | 1.001 | 1.001 | 682
Spare EHV 132kV 16 | 1 | 1 | 1.001 | 1.001 | 683
Spare EHV 132kV 17 | 1 | 1 | 1.001 | 1.001 | 684
Spare EHV 132kV 18 | 1 | 1 | 1.001 | 1.001 | 685
Spare EHV 132kV 19 | 1 | 1 | 1.001 | 1.001 | 686
Spare 132/HV 7 | 1.004 | 1.004 | 1.005 | 1.005 | 687
Spare 132/HV 8 | 1.004 | 1.004 | 1.005 | 1.005 | 688
Spare 132/HV 9 | 1.004 | 1.004 | 1.005 | 1.005 | 689
Nexfor Ltd (Caberboard) | 1.034 | 1.034 | 1.033 | 1.033 | 690
Spare 132/HV 10 | 1.004 | 1.004 | 1.005 | 1.005 | 691
SWW Tamar | 1.067 | 1.067 | 1.068 | 1.068 | 692
SWW Roadford | 1.032 | 1.032 | 1.032 | 1.032 | 694
St. Regis, Watchet | 1.01 | 1.01 | 1.01 | 1.012 | 695
Tarmac Stancombe Quarry | 1.035 | 1.036 | 1.035 | 1.035 | 696
MOD Abbeywood | 1.014 | 1.015 | 1.016 | 1.017 | 697
Hewlett Packard | 1.014 | 1.015 | 1.016 | 1.017 | 698
Bristol Water Blagdon Pump Stn | 1.014 | 1.015 | 1.016 | 1.017 | 699
Bristol International Airport | 1.014 | 1.015 | 1.016 | 1.017 | 700
British Gas Hallen | 1.014 | 1.015 | 1.016 | 1.017 | 701
Bristol Port Co R.Portbury Doc | 1.014 | 1.015 | 1.016 | 1.017 | 702
Whatley Quarry | 1.014 | 1.015 | 1.016 | 1.017 | 703
Falmouth Docks | 1.014 | 1.015 | 1.016 | 1.017 | 704
Astra Zeneca Hallen | 1.014 | 1.015 | 1.016 | 1.017 | 705
Dairy Crest Davidstow | 1.014 | 1.015 | 1.016 | 1.017 | 706
Broadpath Landfill | 1.014 | 1.015 | 1.016 | 1.017 | 707
Imerys Torycombe | 1.014 | 1.015 | 1.016 | 1.017 | 708
RUH | 1.014 | 1.015 | 1.016 | 1.017 | 709
Hill Barton Business Park | 1.014 | 1.015 | 1.016 | 1.017 | 712
Avonmouth BCC Wind Farm | 1.01 | 1.01 | 1.01 | 1.012 | 713
Bodiniel PV Park | 1.01 | 1.01 | 1.01 | 1.012 | 714
Garlenick Wind Farm | 1.01 | 1.01 | 1.01 | 1.012 | 715
Warleigh Barton PV | 1.01 | 1.01 | 1.01 | 1.012 | 716
Winnard's Perch PV | 1.01 | 1.01 | 1.01 | 1.012 | 717
Galsworthy WF | 1 | 1 | 1.001 | 1.001 | 718
Otterham WF | 1 | 1 | 1.001 | 1.001 | 719
BAe Filton | 1.014 | 1.015 | 1.016 | 1.017 | 720
Bristol Energy | 1.001 | 1.001 | 1.001 | 1.001 | 750
LANGAGE | 1.01 | 1.01 | 1.01 | 1.012 | 759
Imerys Drinnick | 1.014 | 1.015 | 1.016 | 1.017 | 797
Imerys Bugle | 1.014 | 1.015 | 1.016 | 1.017 | 798
Imerys Trebal | 1.014 | 1.015 | 1.016 | 1.017 | 799
Imerys Par Harbour | 1.014 | 1.015 | 1.016 | 1.017 | 800
Babcock Marine North Intake | 1.01 | 1.01 | 1.014 | 1.014 | 805
Marley Thatch PV | 1.01 | 1.01 | 1.01 | 1.012 | 810
Bristol Royal Infirmary | 1.014 | 1.015 | 1.016 | 1.017 | 811
Bristol University 33/11kV | 1.014 | 1.015 | 1.016 | 1.017 | 812
Spare EHV 33/HV 3 | 1.014 | 1.015 | 1.016 | 1.017 | 813
Spare EHV 33/HV 4 | 1.014 | 1.015 | 1.016 | 1.017 | 814
Burrowton Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 815
Callington Solar | 1.01 | 1.01 | 1.01 | 1.012 | 816
Hope Solar | 1.01 | 1.01 | 1.01 | 1.012 | 817
Avonmouth Biogas | 1.01 | 1.01 | 1.01 | 1.012 | 818
Nether Mill Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 819
Slade Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 820
Rew Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 821
Higher Trenhayle PV | 1.01 | 1.01 | 1.01 | 1.012 | 822
Middle Treworder PV | 1.01 | 1.01 | 1.01 | 1.012 | 823
Penhale Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 824
Ayshford Court PV | 1.01 | 1.01 | 1.01 | 1.012 | 825
West Hill PV | 1.01 | 1.01 | 1.01 | 1.012 | 826
Knockworthy Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 827
University of Bath | 1.01 | 1.01 | 1.01 | 1.01 | 828
Trekenning Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 829
Four Burrows PV | 1.01 | 1.01 | 1.01 | 1.012 | 830
Glebe Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 831
Hurlingpot PV | 1.01 | 1.01 | 1.01 | 1.012 | 832
Halse Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 833
Hatchlands Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 834
Higher Trevartha PV | 1.01 | 1.01 | 1.01 | 1.012 | 835
High Down WF | 1.01 | 1.01 | 1.01 | 1.012 | 836
Ford Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 837
Lower Tinacre PV | 1.01 | 1.01 | 1.01 | 1.012 | 838
Trequite Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 839
Yonder Netherton PV | 1.01 | 1.01 | 1.01 | 1.012 | 840
Higher Tregarne PV | 1.01 | 1.01 | 1.01 | 1.012 | 841
Higher North Beer PV | 1.01 | 1.01 | 1.01 | 1.012 | 842
Horsacott Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 843
Langunnett Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 844
Trefinnick Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 845
Little Trevease PV | 1.01 | 1.01 | 1.01 | 1.012 | 846
Marksbury PV | 1.01 | 1.01 | 1.01 | 1.012 | 847
Cobbs Cross PV | 1.01 | 1.01 | 1.01 | 1.012 | 848
Newlands Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 849
Cricket St Thomas PV | 1.01 | 1.01 | 1.01 | 1.012 | 850
Parsonage Barn PV | 1.01 | 1.01 | 1.01 | 1.012 | 851
Hewas PV Farm | 1.01 | 1.01 | 1.01 | 1.012 | 852
Crinacott Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 853
Penare Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 854
Aller Court PV | 1.01 | 1.01 | 1.01 | 1.012 | 855
Webbery Barton WF | 1.01 | 1.01 | 1.01 | 1.012 | 856
Stonebarrow Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 857
Whitley Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 858
New Rendy Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 859
Tregassow Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 860
Pitworthy PV | 1.01 | 1.01 | 1.01 | 1.012 | 861
Foxcombe PV | 1.01 | 1.01 | 1.01 | 1.012 | 862
Rexon Cross PV | 1.01 | 1.01 | 1.01 | 1.012 | 863
Hazard Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 864
Luscott Barton PV | 1.01 | 1.01 | 1.01 | 1.012 | 865
Grange Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 866
Derriton Fields PV | 1.01 | 1.01 | 1.01 | 1.012 | 867
Cleave Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 868
Woolavington PV | 1.01 | 1.01 | 1.01 | 1.012 | 869
Trehawke Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 870
H Berechapel Biogas | 1.01 | 1.01 | 1.01 | 1.012 | 871
Bommertown PV | 1.01 | 1.01 | 1.01 | 1.012 | 872
Carloggas Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 873
Hexworthy Barton PV | 1.01 | 1.01 | 1.01 | 1.012 | 874
Chalhanger Farm PV | 1.01 | 1.01 | 1.01 | 1.012 | 875
Viridor Chittening EFW Import | 1.002 | 1.002 | 1.002 | 1.002 | 876
Alders Way STOR Import | 1.01 | 1.01 | 1.01 | 1.012 | 877
Rockingham South Imports | 1.01 | 1.01 | 1.01 | 1.012 | 878
Fideoak Mill ESS Import | 1.004 | 1.004 | 1.004 | 1.004 | 879
Hele Manor STOR Import | 1.01 | 1.01 | 1.01 | 1.012 | 880
Marlands Fields PV Bndry Imps | 1.01 | 1.01 | 1.01 | 1.012 | 881
Creacombe Solar (MRLF3) Import | 1.01 | 1.01 | 1.01 | 1.012 | 882
Marlands Solar (MRLF3) Import | 1.01 | 1.01 | 1.01 | 1.012 | 883
Langford Soil Facility Import | 1.01 | 1.01 | 1.01 | 1.012 | 884
Wave Hub Battery (HWAV3) Imps | 1.01 | 1.01 | 1.01 | 1.012 | 885
Ventoneague WT Import | 1.01 | 1.01 | 1.01 | 1.012 | 886
Spare EHV 33kV 188 | 1.01 | 1.01 | 1.01 | 1.012 | 887
Spare EHV 33kV 189 | 1.01 | 1.01 | 1.01 | 1.012 | 888
Spare EHV 33kV 190 | 1.01 | 1.01 | 1.01 | 1.012 | 889
Spare EHV/HV 9 | 1.014 | 1.015 | 1.016 | 1.017 | 890
Spare EHV/HV 10 | 1.014 | 1.015 | 1.016 | 1.017 | 891
Spare EHV/HV 11 | 1.014 | 1.015 | 1.016 | 1.017 | 892
Spare EHV/HV 12 | 1.014 | 1.015 | 1.016 | 1.017 | 893
Spare EHV/HV 13 | 1.014 | 1.015 | 1.016 | 1.017 | 894
Simms (AVMO7J imports) | 1.031 | 1.029 | 1.025 | 1.028 | 961
Flour Mills (AVMO7J imports) | 1.031 | 1.029 | 1.025 | 1.028 | 962
Spare LV Import 5 | 1.058 | 1.056 | 1.059 | 1.058 | 967
Spare LV Import 6 | 1.058 | 1.056 | 1.059 | 1.058 | 968
Spare LV Import 7 | 1.058 | 1.056 | 1.059 | 1.058 | 969
Spare LV Import 8 | 1.058 | 1.056 | 1.059 | 1.058 | 971
Spare HV 3 | 1.031 | 1.029 | 1.025 | 1.028 | 972
Spare HV 4 | 1.031 | 1.029 | 1.025 | 1.028 | 973
Spare HV 5 | 1.031 | 1.029 | 1.025 | 1.028 | 974
Spare HV 6 | 1.031 | 1.029 | 1.025 | 1.028 | 975
EHV site-specific LLFs
Export
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Spare HV For DCP137 Export 1 | 1.031 | 1.029 | 1.025 | 1.028 | 211
Spare HV For DCP137 Export 2 | 1.031 | 1.029 | 1.025 | 1.028 | 212
Spare HV For DCP137 Export 3 | 1.031 | 1.029 | 1.025 | 1.028 | 213
Spare HV For DCP137 Export 4 | 1.031 | 1.029 | 1.025 | 1.028 | 214
Spare HV For DCP137 Export 5 | 1.031 | 1.029 | 1.025 | 1.028 | 215
Spare HV For DCP137 Export 6 | 1.031 | 1.029 | 1.025 | 1.028 | 216
Bowerhouse II 33kV PV (Export) | 1.01 | 1.01 | 1.01 | 1.012 | 218
Barton Hill Way ESS (Export) | 1.01 | 1.01 | 1.01 | 1.012 | 219
Spare EHV Export 268 | 1.01 | 1.01 | 1.01 | 1.012 | 220
Spare EHV Export 269 | 1.01 | 1.01 | 1.01 | 1.012 | 221
Spare EHV Export 270 | 1.01 | 1.01 | 1.01 | 1.012 | 222
Spare EHV Export 271 | 1.01 | 1.01 | 1.01 | 1.012 | 223
Spare EHV Export 272 | 1.01 | 1.01 | 1.01 | 1.012 | 224
Spare EHV Export 273 | 1.01 | 1.01 | 1.01 | 1.012 | 225
Spare EHV Export 274 | 1.01 | 1.01 | 1.01 | 1.012 | 226
Spare EHV Export 275 | 1.01 | 1.01 | 1.01 | 1.012 | 227
Spare EHV Export 276 | 1.01 | 1.01 | 1.01 | 1.012 | 228
Spare EHV Export 277 | 1.01 | 1.01 | 1.01 | 1.012 | 229
Spare EHV Export 278 | 1.01 | 1.01 | 1.01 | 1.012 | 230
Spare EHV Export 279 | 1.01 | 1.01 | 1.01 | 1.012 | 231
Spare EHV Export 280 | 1.01 | 1.01 | 1.01 | 1.012 | 232
Spare EHV Export 281 | 1.01 | 1.01 | 1.01 | 1.012 | 233
Spare EHV Export 282 | 1.01 | 1.01 | 1.01 | 1.012 | 234
Spare EHV Export 283 | 1.01 | 1.01 | 1.01 | 1.012 | 235
Spare EHV Export 284 | 1.01 | 1.01 | 1.01 | 1.012 | 236
Spare EHV Export 285 | 1.01 | 1.01 | 1.01 | 1.012 | 237
Spare EHV Export 286 | 1.01 | 1.01 | 1.01 | 1.012 | 238
Spare EHV Export 287 | 1.01 | 1.01 | 1.01 | 1.012 | 239
Spare EHV Export 288 | 1.01 | 1.01 | 1.01 | 1.012 | 240
Spare EHV Export 289 | 1.01 | 1.01 | 1.01 | 1.012 | 241
Spare EHV Export 290 | 1.01 | 1.01 | 1.01 | 1.012 | 242
Spare EHV Export 291 | 1.01 | 1.01 | 1.01 | 1.012 | 243
Spare EHV Export 292 | 1.01 | 1.01 | 1.01 | 1.012 | 244
Spare EHV Export 191 | 1.01 | 1.01 | 1.01 | 1.012 | 245
Spare EHV Export 192 | 1.01 | 1.01 | 1.01 | 1.012 | 246
Spare EHV Export 193 | 1.01 | 1.01 | 1.01 | 1.012 | 247
Spare EHV Export 194 | 1.01 | 1.01 | 1.01 | 1.012 | 248
Spare EHV Export 195 | 1.01 | 1.01 | 1.01 | 1.012 | 249
Spare EHV Export 196 | 1.01 | 1.01 | 1.01 | 1.012 | 252
Spare EHV Export 197 | 1.01 | 1.01 | 1.01 | 1.012 | 253
Spare EHV Export 198 | 1.01 | 1.01 | 1.01 | 1.012 | 254
Spare EHV Export 199 | 1.01 | 1.01 | 1.01 | 1.012 | 255
Spare EHV Export 200 | 1.01 | 1.01 | 1.01 | 1.012 | 256
Spare EHV Export 201 | 1.01 | 1.01 | 1.01 | 1.012 | 257
Spare EHV Export 202 | 1.01 | 1.01 | 1.01 | 1.012 | 258
Spare EHV Export 203 | 1.01 | 1.01 | 1.01 | 1.012 | 259
Tregarrick Farm PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 371
Freathy Farm PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 372
Till House PV Export | 1.01 | 1.002 | 1.01 | 1.002 | 373
Outlands Wood PV Export | 1.01 | 1.026 | 1.01 | 1.026 | 374
Culmhead PV Export | 1.01 | 1.012 | 1.01 | 1.01 | 375
Whitchurch Farm PV Export | 1.01 | 1.037 | 1.01 | 1.036 | 376
Kingsland Barton PV Export | 1.01 | 1.037 | 1.01 | 1.037 | 377
Mendip Solar PV Export | 1.01 | 1.041 | 1.01 | 1.04 | 378
St Stephen PV Export | 1.01 | 1.012 | 1.01 | 1.011 | 379
Trewidland PV Export | 1.01 | 1.022 | 1.01 | 1.022 | 380
Watchfield Lawn PV Export | 1.01 | 1.06 | 1.01 | 1.06 | 381
Gover Park PV Export | 1.033 | 1.031 | 1.01 | 1.031 | 382
North Wayton PV Export | 1.01 | 1.007 | 1.01 | 1.007 | 383
Week Farm PV Export | 1.01 | 1.04 | 1.01 | 1.04 | 384
Cullompton PV Export | 1.01 | 1.035 | 1.01 | 1.034 | 385
Dinder Farm PV Export | 1.01 | 1.062 | 1.01 | 1.062 | 386
Rolls Royce Filton Export | 1.01 | 1.01 | 1.01 | 1.012 | 387
Pitts Farm PV Export | 1.01 | 1.062 | 1.01 | 1.062 | 388
Kerriers PV Export | 1.01 | 1.027 | 1.01 | 1.025 | 389
Ernesettle STOR Export | 1.006 | 1.01 | 1.01 | 1.012 | 390
Yew Tree Cottage PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 391
Goonhilly PV Export | 1.01 | 1.079 | 1.01 | 1.078 | 392
Nanteague PV Export | 1.01 | 1.015 | 1.01 | 1.015 | 393
Bidwell Dartington PV Export | 1.01 | 1.007 | 1.01 | 1.007 | 394
New Row Farm PV Export | 1.01 | 1.068 | 1.01 | 1.068 | 395
Victoria (WBAR3) WF Export | 1.016 | 1.016 | 1.017 | 1.017 | 396
Four Burrows 2 PV Export | 1.01 | 1.022 | 1.01 | 1.021 | 397
Redlands Farm PV Export | 1.01 | 1.012 | 1.01 | 1.012 | 398
Tengore Lane PV Export | 1.01 | 1.049 | 1.01 | 1.048 | 399
Liverton Farm PV Export | 1.01 | 1.016 | 1.01 | 1.015 | 400
Yonder Parks PV Export | 1.01 | 1.035 | 1.01 | 1.035 | 401
Somerton Door PV Export | 1.01 | 1.036 | 1.01 | 1.036 | 402
Carditch Drove PV Export | 1.01 | 1.018 | 1.01 | 1.017 | 403
Capelands Farm PV Export | 1.01 | 1.043 | 1.01 | 1.041 | 404
East Youlstone WF Export | 1.033 | 1.032 | 1.034 | 1.034 | 405
Francis Court Farm PV Export | 1.01 | 1.007 | 1.01 | 1.007 | 406
Northwood PV Export | 1.012 | 1.01 | 1.01 | 1.009 | 407
Tricky Warren PV Export | 1.01 | 1.013 | 1.01 | 1.012 | 408
Iwood Lane PV Export | 1.01 | 1.017 | 1.01 | 1.017 | 409
Rydon Farm PV Export | 1.01 | 1.017 | 1.01 | 1.016 | 410
Balls Wood PV Export | 1.01 | 1.011 | 1.01 | 1.011 | 411
Ashlawn Farm PV Export | 1.01 | 1.04 | 1.01 | 1.039 | 412
Pencoose Farm PV Export | 1.01 | 1.03 | 1.01 | 1.03 | 413
Hawkers Farm PV Export | 1.01 | 1.025 | 1.01 | 1.023 | 414
Hurcott PV Export | 1.01 | 1.033 | 1.01 | 1.032 | 415
Garvinack Farm PV Export | 1.01 | 1.019 | 1.01 | 1.019 | 416
Newton Barton PV Export | 1.007 | 1.005 | 1.01 | 1.004 | 417
Coombeshead Farm PV Export | 1.01 | 1.026 | 1.01 | 1.025 | 418
Walland Farm PV Export | 1.01 | 1.04 | 1.01 | 1.039 | 419
Ashcombe PV Export | 1.01 | 1.038 | 1.01 | 1.037 | 420
Newnham Farm PV Export | 1.012 | 1.011 | 1.01 | 1.011 | 421
Roskrow Barton PV Export | 1.01 | 1.039 | 1.01 | 1.038 | 422
Parkview PV Export | 1.01 | 1.026 | 1.01 | 1.026 | 423
Towerhead Farm PV Export | 1.01 | 1.018 | 1.01 | 1.018 | 424
Rookery Farm PV Export | 1.01 | 1.018 | 1.01 | 1.018 | 425
Bystock Farm PV Export | 1.01 | 1.012 | 1.01 | 1.012 | 426
Pylle PV Site 1 Export | 1.01 | 1.071 | 1.01 | 1.069 | 427
Burthy Farm PV Export | 1.008 | 1.007 | 1.01 | 1.007 | 428
Wilton Farm PV Export | 1.01 | 1.012 | 1.01 | 1.012 | 429
Coombe Farm PV Export | 1.01 | 1.015 | 1.01 | 1.014 | 431
Higher Bye Farm PV Export | 1.01 | 1.01 | 1.01 | 1.01 | 432
Wilton Farm WF Export | 1.01 | 1.01 | 1.01 | 1.012 | 433
Denzell Down WF Export | 0.997 | 0.997 | 0.998 | 0.998 | 434
Puriton Landfill PV_1 Export | 1.01 | 1.029 | 1.01 | 1.029 | 435
PortworthyDams PV Site1 Export | 1.01 | 1.023 | 1.01 | 1.022 | 436
Wick Farm Site 1 PV Export | 1.01 | 1.031 | 1.01 | 1.03 | 437
Wick Farm Site 2 PV Export | 1.01 | 1.031 | 1.01 | 1.03 | 438
Batsworthy Cross WF Export | 1.028 | 1.028 | 1.033 | 1.032 | 439
PortworthyDams PV Site2 Export | 1.01 | 1.023 | 1.01 | 1.022 | 440
Crewkerne PV Site 1 Export | 1.01 | 1.053 | 1.01 | 1.051 | 441
Crewkerne PV Site 2 Export | 1.01 | 1.053 | 1.01 | 1.051 | 442
Tonedale Farm PV Export | 1.01 | 1.019 | 1.01 | 1.018 | 443
Puriton Landfill PV_2 Export | 1.01 | 1.029 | 1.01 | 1.029 | 444
Pylle PV Site 2 Export | 1.01 | 1.071 | 1.01 | 1.069 | 445
Chelwood PV Export | 1.01 | 1.039 | 1.01 | 1.039 | 446
Red Hill Farm PV Export | 1.01 | 1.018 | 1.01 | 1.017 | 447
West Carclaze Site 1 Export | 1.01 | 1.008 | 1.01 | 1.008 | 448
West Carclaze Site 2 Export | 1.01 | 1.008 | 1.01 | 1.008 | 449
Northmoor (embd) PV Export | 1.01 | 1.007 | 1.01 | 1.007 | 450
Nmoor Little Tinney WF Export | 1.01 | 1.01 | 1.01 | 1.012 | 451
Nmoor Little Balsdon WF Export | 1.01 | 1.01 | 1.01 | 1.012 | 452
Nmoor Hornacott PV Export | 1.01 | 1.007 | 1.01 | 1.007 | 453
Oakham Farm PV Export | 1.01 | 1.004 | 1.01 | 1.003 | 454
Carnemough Farm PV Export | 1.01 | 1.014 | 1.01 | 1.013 | 455
Ashwater WT Site 1 Export | 1.01 | 1.01 | 1.01 | 1.012 | 456
Makro Exeter STOR Exp-CVA | 1.017 | 1.019 | 1.01 | 1.019 | 457
Great Hounbeare PV Export | 1.01 | 1.029 | 1.01 | 1.029 | 458
Withy Drove PV Export | 1.01 | 1.04 | 1.01 | 1.04 | 459
Water Lane STOR Exp-CVA | 1.01 | 1.01 | 1.01 | 1.012 | 460
Montys Farm PV Export | 1.01 | 1.006 | 1.01 | 1.006 | 461
Lawrence Weston PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 462
Dunsland Cross WF Export | 1.032 | 1.032 | 1.033 | 1.032 | 463
Trerule Farm PV Export | 1.01 | 1.014 | 1.01 | 1.014 | 464
Nancrossa Farm PV Export | 1.01 | 1.022 | 1.01 | 1.022 | 465
Wick Farm West Export | 1.01 | 1.031 | 1.01 | 1.03 | 466
LWestPNtWk SevernCom PV Export | 1.01 | 1.008 | 1.01 | 1.008 | 467
LWestPNtWk Site 2 PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 468
Tamerton Bridge STOR Export | 1.006 | 1.01 | 1.01 | 1.012 | 469
Ashwater PV Site 2 Export | 1.028 | 1.027 | 1.028 | 1.026 | 470
Bodwen PV Export | 1.01 | 1.017 | 1.01 | 1.016 | 471
Sharland Farm PV Export | 1.01 | 1.089 | 1.01 | 1.088 | 472
Stoneshill PV Export | 1.01 | 1.024 | 1.01 | 1.023 | 473
Nmoor Parsonage Wood PV Export | 1.01 | 1.007 | 1.01 | 1.007 | 474
Axe View PV Export | 1.01 | 1.017 | 1.01 | 1.017 | 475
Place Barton PV Export | 1.01 | 1.027 | 1.01 | 1.026 | 476
Old Stone Farm PV Export | 1.01 | 1.038 | 1.01 | 1.037 | 477
Cattedown STOR Exp-CVA | 1.01 | 1.01 | 1.01 | 1.012 | 478
Barton Hill Way STOR Exp-CVA | 1.01 | 1.01 | 1.01 | 1.012 | 479
Lockleaze Battery Export | 1.005 | 1.005 | 1.005 | 1.005 | 480
Viridor Chittening EFW Export | 1 | 1 | 1.001 | 1.001 | 481
Alders Way STOR Export | 1.009 | 1.01 | 1.01 | 1.01 | 482
Rockingham South Exports | 1.007 | 1.009 | 1.009 | 1.009 | 483
Fideoak Mill ESS Export | 1.004 | 1.004 | 1.004 | 1.004 | 484
Hele Manor STOR Export | 1.004 | 1.004 | 1.01 | 1.004 | 485
Marlands Fields PV Bndry Exps | 1.01 | 1.01 | 1.01 | 1.012 | 486
Creacombe Solar (MRLF3) Export | 1.01 | 1.025 | 1.01 | 1.025 | 487
Marlands Solar (MRLF3) Export | 1.01 | 1.025 | 1.01 | 1.025 | 488
Wave Hub Battery (HWAV3) Exps | 1.01 | 1.01 | 1.01 | 1.012 | 489
Ventoneague WT Export | 1.079 | 1.079 | 1.08 | 1.08 | 490
West Holcombe PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 491
Hallen 33kV Battery (Export) | 1.01 | 1.01 | 1.01 | 1.012 | 492
Two Post Cross PV (Export) | 1.01 | 1.01 | 1.01 | 1.012 | 493
Carland Cross PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 494
Spare EHV33kV Export 190 | 1.01 | 1.01 | 1.01 | 1.012 | 495
Spare EHV33kV Export 125 | 1.01 | 1.01 | 1.01 | 1.012 | 496
Spare EHV Export 204 | 1.01 | 1.01 | 1.01 | 1.012 | 504
Spare EHV Export 205 | 1.01 | 1.01 | 1.01 | 1.012 | 505
Spare EHV Export 206 | 1.01 | 1.01 | 1.01 | 1.012 | 506
Spare EHV Export 207 | 1.01 | 1.01 | 1.01 | 1.012 | 507
Spare EHV Export 208 | 1.01 | 1.01 | 1.01 | 1.012 | 508
Spare EHV Export 209 | 1.01 | 1.01 | 1.01 | 1.012 | 509
Spare EHV Export 210 | 1.01 | 1.01 | 1.01 | 1.012 | 511
Spare EHV Export 211 | 1.01 | 1.01 | 1.01 | 1.012 | 512
Spare EHV Export 212 | 1.01 | 1.01 | 1.01 | 1.012 | 513
Spare EHV Export 213 | 1.01 | 1.01 | 1.01 | 1.012 | 514
Spare EHV Export 214 | 1.01 | 1.01 | 1.01 | 1.012 | 515
Spare EHV Export 215 | 1.01 | 1.01 | 1.01 | 1.012 | 516
Spare EHV Export 216 | 1.01 | 1.01 | 1.01 | 1.012 | 517
Spare EHV Export 217 | 1.01 | 1.01 | 1.01 | 1.012 | 518
Spare EHV Export 218 | 1.01 | 1.01 | 1.01 | 1.012 | 519
Otterham STOR Export | 1.014 | 1.014 | 1.006 | 1.014 | 529
Spare 132/EHV Export 4 | 1.004 | 1.004 | 1.006 | 1.005 | 530
Spare EHV Export 219 | 1.01 | 1.01 | 1.01 | 1.012 | 531
Spare EHV Export 220 | 1.01 | 1.01 | 1.01 | 1.012 | 532
Spare EHV Export 221 | 1.01 | 1.01 | 1.01 | 1.012 | 533
Spare EHV Export 222 | 1.01 | 1.01 | 1.01 | 1.012 | 534
Spare EHV Export 223 | 1.01 | 1.01 | 1.01 | 1.012 | 535
Spare EHV Export 224 | 1.01 | 1.01 | 1.01 | 1.012 | 536
Spare EHV Export 225 | 1.01 | 1.01 | 1.01 | 1.012 | 537
Spare EHV Export 226 | 1.01 | 1.01 | 1.01 | 1.012 | 538
Spare EHV Export 227 | 1.01 | 1.01 | 1.01 | 1.012 | 539
Spare EHV Export 228 | 1.01 | 1.01 | 1.01 | 1.012 | 541
Spare EHV Export 229 | 1.01 | 1.01 | 1.01 | 1.012 | 542
Spare EHV Export 230 | 1.01 | 1.01 | 1.01 | 1.012 | 543
Spare EHV Export 231 | 1.01 | 1.01 | 1.01 | 1.012 | 544
Spare EHV Export 232 | 1.01 | 1.01 | 1.01 | 1.012 | 545
Spare EHV Export 233 | 1.01 | 1.01 | 1.01 | 1.012 | 546
Spare EHV Export 234 | 1.01 | 1.01 | 1.01 | 1.012 | 547
Spare EHV Export 235 | 1.01 | 1.01 | 1.01 | 1.012 | 548
Spare EHV Export 236 | 1.01 | 1.01 | 1.01 | 1.012 | 549
Spare 132/EHV Export 5 | 1.004 | 1.004 | 1.006 | 1.005 | 550
Spare EHV Export 237 | 1.01 | 1.01 | 1.01 | 1.012 | 552
Spare EHV Export 238 | 1.01 | 1.01 | 1.01 | 1.012 | 553
Spare EHV Export 239 | 1.01 | 1.01 | 1.01 | 1.012 | 554
Spare EHV Export 240 | 1.01 | 1.01 | 1.01 | 1.012 | 555
Spare EHV Export 241 | 1.01 | 1.01 | 1.01 | 1.012 | 556
Spare EHV Export 242 | 1.01 | 1.01 | 1.01 | 1.012 | 557
Spare EHV Export 243 | 1.01 | 1.01 | 1.01 | 1.012 | 558
Spare EHV Export 244 | 1.01 | 1.01 | 1.01 | 1.012 | 559
Spare 132/EHV Export 6 | 1.004 | 1.004 | 1.006 | 1.005 | 560
Spare EHV Export 245 | 1.01 | 1.01 | 1.01 | 1.012 | 561
Spare EHV Export 246 | 1.01 | 1.01 | 1.01 | 1.012 | 562
Spare EHV Export 247 | 1.01 | 1.01 | 1.01 | 1.012 | 563
Spare EHV Export 248 | 1.01 | 1.01 | 1.01 | 1.012 | 564
Spare EHV Export 249 | 1.01 | 1.01 | 1.01 | 1.012 | 565
Spare EHV Export 250 | 1.01 | 1.01 | 1.01 | 1.012 | 566
Spare EHV Export 251 | 1.01 | 1.01 | 1.01 | 1.012 | 567
Spare EHV Export 252 | 1.01 | 1.01 | 1.01 | 1.012 | 568
Spare EHV Export 253 | 1.01 | 1.01 | 1.01 | 1.012 | 569
Spare EHV Export 254 | 1.01 | 1.01 | 1.01 | 1.012 | 571
Spare EHV Export 255 | 1.01 | 1.01 | 1.01 | 1.012 | 572
Spare EHV Export 256 | 1.01 | 1.01 | 1.01 | 1.012 | 573
Spare EHV Export 257 | 1.01 | 1.01 | 1.01 | 1.012 | 574
Spare EHV Export 258 | 1.01 | 1.01 | 1.01 | 1.012 | 575
Spare EHV Export 259 | 1.01 | 1.01 | 1.01 | 1.012 | 576
Spare EHV Export 260 | 1.01 | 1.01 | 1.01 | 1.012 | 577
Spare EHV Export 261 | 1.01 | 1.01 | 1.01 | 1.012 | 578
Spare EHV Export 262 | 1.01 | 1.01 | 1.01 | 1.012 | 579
Spare 132/EHV Export 7 | 1.004 | 1.004 | 1.006 | 1.005 | 580
Spare EHV Export 263 | 1.01 | 1.01 | 1.01 | 1.012 | 582
Spare EHV Export 264 | 1.01 | 1.01 | 1.01 | 1.012 | 583
Spare EHV Export 265 | 1.01 | 1.01 | 1.01 | 1.012 | 584
Northmoor PV Export | 1 | 1 | 1.001 | 1.001 | 585
CERC St Dennis Export | 1 | 1 | 1 | 1 | 586
Severnside ERC Export | 1 | 1 | 1 | 1 | 587
Alveston WF Export | 1 | 1 | 1 | 1 | 588
Spare EHV 132kV Export 9 | 1 | 1 | 1.001 | 1.001 | 589
Spare EHV 132kV Export 10 | 1 | 1 | 1.001 | 1.001 | 590
Spare EHV 132kV Export 11 | 1 | 1 | 1.001 | 1.001 | 591
Spare EHV 132kV Export 12 | 1 | 1 | 1.001 | 1.001 | 592
Spare EHV 132kV Export 13 | 1 | 1 | 1.001 | 1.001 | 593
Spare EHV 132kV Export 14 | 1 | 1 | 1.001 | 1.001 | 594
Spare EHV 132kV Export 15 | 1 | 1 | 1.001 | 1.001 | 595
Spare EHV 132kV Export 16 | 1 | 1 | 1.001 | 1.001 | 596
Spare EHV 132kV Export 17 | 1 | 1 | 1.001 | 1.001 | 597
Spare EHV 132kV Export 18 | 1 | 1 | 1.001 | 1.001 | 598
Spare EHV 132kV Export 19 | 1 | 1 | 1.001 | 1.001 | 599
Imerys Blackpool Export | 1.014 | 1.015 | 1.016 | 1.017 | 601
Spare 132/EHV Export 8 | 1.004 | 1.004 | 1.006 | 1.005 | 610
Spare 132/EHV Export 9 | 1.004 | 1.004 | 1.006 | 1.005 | 611
Spare 132/EHV Export 10 | 1.004 | 1.004 | 1.006 | 1.005 | 621
Spare 132/EHV Export 11 | 1.004 | 1.004 | 1.006 | 1.005 | 630
Spare 132/EHV Export 12 | 1.004 | 1.004 | 1.006 | 1.005 | 631
Blackditch Export | 1.01 | 1.037 | 1.01 | 1.037 | 666
Helius Biomass Export | 1 | 1 | 1.001 | 1.001 | 668
SWW Roadford Export | 1.01 | 1.01 | 1.01 | 1.012 | 693
Spare 132/HV Export 3 | 1.004 | 1.004 | 1.005 | 1.005 | 710
Spare 132/HV Export 4 | 1.004 | 1.004 | 1.005 | 1.005 | 711
Spare 132/HV Export 5 | 1.004 | 1.004 | 1.005 | 1.005 | 721
RUH Export | 1.014 | 1.015 | 1.016 | 1.017 | 722
Babcock Marine Central Export | 1.013 | 1.013 | 1.013 | 1.013 | 723
Trenoweth Farm Export | 1.01 | 1.014 | 1.01 | 1.014 | 724
Woodland Barton Farm Export | 1.01 | 1.016 | 1.01 | 1.016 | 725
Manor Farm Export | 1.01 | 1.012 | 1.01 | 1.012 | 726
Churchtown Farm Export | 1.01 | 1.036 | 1.01 | 1.036 | 727
Trenouth Farm Export | 1.01 | 1.001 | 1.01 | 1.001 | 728
West Kingsmill Export | 1.01 | 1.01 | 1.01 | 1.012 | 729
Spare 132/HV Export 6 | 1.004 | 1.004 | 1.005 | 1.005 | 730
Spare 132/HV Export 7 | 1.004 | 1.004 | 1.005 | 1.005 | 731
Howton Farm Export | 1.01 | 1.022 | 1.01 | 1.022 | 732
Babcock Marine North Export | 1.01 | 1.01 | 1.014 | 1.014 | 733
Newton Downs Farm PV Export | 1.01 | 1.016 | 1.01 | 1.016 | 734
East Langford Export | 1.01 | 1.047 | 1.01 | 1.047 | 735
Ninnis Farm Export | 1.01 | 1.013 | 1.01 | 1.013 | 736
Willsland Export | 1.01 | 1.044 | 1.01 | 1.044 | 737
Eastcombe Farm Export | 1.01 | 1.026 | 1.01 | 1.025 | 738
Bratton Flemming Export | 1.01 | 1.043 | 1.01 | 1.043 | 739
Beaford Brook Export | 1.01 | 1.109 | 1.01 | 1.108 | 740
Exeter Power Export | 1 | 1 | 1.001 | 1.001 | 741
Park Wall Export | 1.01 | 1.007 | 1.01 | 1.007 | 742
Bradford Export | 1.01 | 1.021 | 1.01 | 1.021 | 743
Causilgey Export | 1.01 | 1.031 | 1.01 | 1.031 | 744
Beechgrove Export | 1.01 | 1.009 | 1.01 | 1.009 | 745
Hill Barton Bus Park Export | 1.014 | 1.015 | 1.016 | 1.017 | 746
Wavehub Hayle Export | 1.01 | 1.01 | 1.01 | 1.012 | 747
Denbrook Wind Farm Export | 1.006 | 1.006 | 1.008 | 1.008 | 748
W4B Generation Seabank Export | 1.01 | 1.01 | 1.01 | 1.012 | 749
Bristol Energy Export | 1.001 | 1.002 | 1.002 | 1.002 | 751
Connon Bridge Landfill export | 1.041 | 1.041 | 1.04 | 1.04 | 752
Chelson Generator Export | 1.01 | 1.01 | 1.01 | 1.012 | 753
Darracott Export | 1.074 | 1.074 | 1.074 | 1.074 | 754
Spare 132/HV Export 8 | 1.004 | 1.004 | 1.005 | 1.005 | 755
Spare 132/HV Export 9 | 1.004 | 1.004 | 1.005 | 1.005 | 756
Untd Mns Redruth St.Day Export | 1.01 | 1.01 | 1.01 | 1.012 | 757
Shooter's Bottom Export | 1.04 | 1.04 | 1.04 | 1.04 | 758
Heathfield Export | 1.033 | 1.033 | 1.032 | 1.032 | 760
Goonhilly Export | 1.064 | 1.065 | 1.069 | 1.069 | 761
Delabole EHV Export | 1.046 | 1.046 | 1.047 | 1.047 | 762
Fullabrook EHV Export | 1.005 | 1.005 | 1.006 | 1.006 | 763
Bear's Down Export | 0.999 | 0.999 | 1 | 1 | 764
Bradon Farm Export | 1.018 | 1.034 | 1.01 | 1.037 | 765
Carland Cross WF Export | 1.023 | 1.023 | 1.025 | 1.025 | 766
Cold Northcott Export | 1.073 | 1.073 | 1.073 | 1.073 | 767
Forest Moor Wind 1 Export | 1.052 | 1.052 | 1.052 | 1.052 | 768
Forest Moor Wind 2 Export | 1.01 | 1.01 | 1.01 | 1.012 | 769
Four Burrows Export | 1.041 | 1.041 | 1.041 | 1.041 | 770
Spare 132/HV Export 10 | 1.004 | 1.004 | 1.005 | 1.005 | 771
Isles of Scilly EHV Export | 1.014 | 1.015 | 1.016 | 1.017 | 772
St Breock Export | 1.025 | 1.025 | 1.028 | 1.029 | 775
Avonmouth BCC Wind Farm Export | 1.002 | 1.002 | 1.002 | 1.002 | 776
Bodiniel PV Park Export | 1.01 | 1.026 | 1.01 | 1.026 | 777
Garlenick Wind Farm Export | 1.007 | 1.006 | 1.007 | 1.007 | 778
Warleigh Barton PV Export | 1.01 | 1.007 | 1.01 | 1.007 | 779
Winnard's Perch PV Export | 1.01 | 1.001 | 1.01 | 1.001 | 780
Galsworthy WF Export | 1.008 | 1.008 | 1.008 | 1.008 | 781
Otterham WF Export | 1 | 1 | 1.001 | 1.001 | 782
Canworthy PV Export | 1.007 | 1.006 | 1.001 | 1.005 | 783
Spare EHV 132kV 4 Export | 1 | 1 | 1.001 | 1.001 | 784
Otterham WT Feeder1 Export | 1.004 | 1.004 | 1.006 | 1.005 | 785
Otterham WT Feeder2 Export | 1.014 | 1.014 | 1.014 | 1.014 | 786
Spare EHV 132/HV 1Export | 1.004 | 1.004 | 1.005 | 1.005 | 787
Spare EHV 132/HV 2 Export | 1.004 | 1.004 | 1.005 | 1.005 | 788
Wyld Meadow PV Farm Export | 1.01 | 1.009 | 1.01 | 1.009 | 789
Marley Thatch PV Export | 1.01 | 1.021 | 1.01 | 1.021 | 790
Prince Rock STOR Export | 1.012 | 1.012 | 1.01 | 1.012 | 791
Burrowton Farm PV Export | 1.002 | 1.002 | 1.01 | 1.002 | 792
Bristol Royal Infirmary Export | 1.014 | 1.015 | 1.016 | 1.017 | 793
Imerys Torycombe export | 1.014 | 1.015 | 1.016 | 1.017 | 794
Whatley Quarry Export | 1.014 | 1.015 | 1.016 | 1.017 | 795
Spare EHV33/HV 4 Export | 1.014 | 1.015 | 1.016 | 1.017 | 796
Imerys Trebal Export | 1.014 | 1.015 | 1.016 | 1.017 | 801
Imerys Par Harbour Export | 1.014 | 1.015 | 1.016 | 1.017 | 802
Imerys Bugle Export | 1.014 | 1.015 | 1.016 | 1.017 | 803
Imerys Drinnick Export | 1.014 | 1.015 | 1.016 | 1.017 | 804
Avonmouth Docks Export | 1.014 | 1.015 | 1.016 | 1.017 | 806
Portbury Dock Export | 1.014 | 1.015 | 1.016 | 1.017 | 807
BGAS Hallen Exports | 1.014 | 1.015 | 1.016 | 1.017 | 808
Broadpath Landfill Exports | 1.014 | 1.015 | 1.016 | 1.017 | 809
Spare EHV/HV Export 9 | 1.014 | 1.015 | 1.016 | 1.017 | 895
Spare EHV/HV Export 10 | 1.014 | 1.015 | 1.016 | 1.017 | 896
Spare EHV/HV Export 11 | 1.014 | 1.015 | 1.016 | 1.017 | 897
Spare EHV/HV Export 12 | 1.014 | 1.015 | 1.016 | 1.017 | 898
Spare EHV/HV Export 13 | 1.014 | 1.015 | 1.016 | 1.017 | 899
Callington Solar Export | 1.01 | 1.051 | 1.01 | 1.051 | 900
Hope Solar Export | 1.01 | 1.036 | 1.01 | 1.036 | 901
Fulford Solar Export | 1.01 | 1.01 | 1.01 | 1.012 | 902
Avonmouth Biogas Export | 1.01 | 1.01 | 1.01 | 1.012 | 903
Nether Mill Farm PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 904
Slade Farm PV Export | 1.01 | 1.044 | 1.01 | 1.043 | 905
Rew Farm PV Export | 1.01 | 1.033 | 1.01 | 1.032 | 906
Higher Trenhayle PV Export | 1.01 | 1.055 | 1.01 | 1.055 | 907
Middle Treworder PV Export | 1.01 | 1.034 | 1.01 | 1.034 | 908
Penhale Farm PV Export | 1.01 | 1.035 | 1.01 | 1.035 | 909
Ayshford Court PV Export | 1.01 | 1.034 | 1.01 | 1.034 | 910
West Hill PV Export | 1.037 | 1.035 | 1.01 | 1.034 | 911
Knockworthy Farm PV Export | 1.01 | 1.067 | 1.01 | 1.066 | 912
Spare EHV33kV Export 18 | 1.01 | 1.01 | 1.01 | 1.012 | 913
Trekenning Farm PV Export | 1.01 | 1.008 | 1.01 | 1.007 | 914
Four Burrows PV Export | 1.01 | 1.047 | 1.01 | 1.047 | 915
Glebe Farm PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 916
Hurlingpot PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 917
Halse Farm PV Export | 1.01 | 1.008 | 1.01 | 1.008 | 918
Hatchlands Farm PV Export | 1.01 | 1.015 | 1.01 | 1.015 | 919
Higher Trevartha PV Export | 1.01 | 1.034 | 1.01 | 1.034 | 920
High Down WF Export | 1.01 | 1.01 | 1.01 | 1.012 | 921
Ford Farm PV Export | 1.01 | 1.04 | 1.01 | 1.04 | 922
Lower Tinacre PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 923
Trequite Farm PV Export | 1.01 | 1.015 | 1.01 | 1.015 | 924
Yonder Netherton PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 925
Higher Tregarne PV Export | 1.01 | 1.034 | 1.01 | 1.033 | 926
Higher North Beer PV Export | 1.01 | 1.069 | 1.01 | 1.067 | 927
Horsacott Farm PV Export | 1.01 | 1.025 | 1.01 | 1.025 | 928
Langunnett Farm PV Export | 1.01 | 1.045 | 1.01 | 1.044 | 929
Trefinnick Farm PV Export | 1.01 | 1.056 | 1.01 | 1.055 | 930
Little Trevease PV Export | 1.01 | 1.024 | 1.01 | 1.024 | 931
Marksbury PV Export | 1.01 | 1.04 | 1.01 | 1.039 | 932
Cobbs Cross PV Export | 1.01 | 1.015 | 1.01 | 1.014 | 933
Newlands Farm PV Export | 1.01 | 1.012 | 1.01 | 1.012 | 934
Cricket St Thomas PV Export | 1.01 | 1.032 | 1.01 | 1.032 | 935
Parsonage Barn PV Export | 1.01 | 1.034 | 1.01 | 1.033 | 936
Hewas PV Farm Export | 1.01 | 1.006 | 1.01 | 1.006 | 937
Crinacott Farm PV Export | 1.01 | 1.021 | 1.01 | 1.021 | 938
Penare Farm PV Export | 1.016 | 1.015 | 1.01 | 1.015 | 939
Aller Court PV Export | 1.01 | 1.027 | 1.01 | 1.027 | 940
Webbery Barton WF Export | 1.01 | 1.01 | 1.01 | 1.012 | 941
Stonebarrow Farm PV Export | 1.01 | 1.009 | 1.01 | 1.009 | 942
Whitley Farm PV Export | 1.01 | 1.011 | 1.01 | 1.011 | 943
New Rendy Farm PV Export | 1.01 | 1.01 | 1.01 | 1.01 | 944
Tregassow Farm PV Export | 1.01 | 1.021 | 1.01 | 1.021 | 945
Pitworthy PV Export | 1.021 | 1.019 | 1.01 | 1.019 | 946
Foxcombe PV Export | 1.01 | 1.031 | 1.01 | 1.031 | 947
Rexon Cross PV Export | 1.01 | 1.034 | 1.01 | 1.033 | 948
Hazard Farm PV Export | 1.01 | 1.013 | 1.01 | 1.013 | 949
Luscott Barton PV Export | 1.01 | 1.032 | 1.01 | 1.032 | 950
Grange Farm PV Export | 1.01 | 1.014 | 1.01 | 1.014 | 951
Derriton Fields PV Export | 1.01 | 1.02 | 1.01 | 1.02 | 952
Cleave Farm PV Export | 1.01 | 1.041 | 1.01 | 1.04 | 953
Woolavington PV Export | 1.01 | 1.039 | 1.01 | 1.038 | 954
Trehawke Farm PV Export | 1.01 | 1.012 | 1.01 | 1.012 | 955
H Berechapel Biogas Export | 1.01 | 1.01 | 1.01 | 1.012 | 956
Bommertown PV Export | 1.01 | 1.053 | 1.01 | 1.05 | 957
Carloggas Farm PV Export | 1.01 | 1.017 | 1.01 | 1.017 | 958
Hexworthy Barton PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 959
Chalhanger Farm PV Export | 1.01 | 1.01 | 1.01 | 1.012 | 960
Rolls Royce Filton HV Export | 1.014 | 1.015 | 1.016 | 1.017 | 963
Spare EHV/HV Export 6 | 1.014 | 1.015 | 1.016 | 1.017 | 964
Spare EHV/HV Export 7 | 1.014 | 1.015 | 1.016 | 1.017 | 965
Spare EHV/HV Export 8 | 1.014 | 1.015 | 1.016 | 1.017 | 966
site-specific LLFs
CVA
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
726: Indian Queens Standby Supply | 1.058 | 1.056 | 1.059 | 1.058 | 7049
763:Seabank Standby Supply | 1.031 | 1.029 | 1.025 | 1.028 | 7118
763:Seabank Standby Supply | 1.031 | 1.029 | 1.025 | 1.028 | 7122
Bridgwater District Energy | 1.008 | 1.009 | 1.01 | 1.009 | 7158
HammerlyDown | 1.004 | 1.004 | 1.006 | 1.005 | 7293
The Drove Imports | 1.031 | 1.029 | 1.025 | 1.028 | 7307
The Drove Exports | 1.031 | 1.029 | 1.025 | 1.028 | 7306
Water Lane Imports | 1.01 | 1.019 | 1.018 | 1.019 | 7319
Water Lane Exports | 1.016 | 1.018 | 1.018 | 1.018 | 7320
Plymouth Rock Imports | 1.01 | 1.01 | 1.01 | 1.012 | 7341
Plymouth Rock Exports | 1.012 | 1.012 | 1.013 | 1.012 | 7342
Barton Hill Imports | 1.01 | 1.01 | 1.01 | 1.012 | 7317
Barton Hill Exports | 1.006 | 1.007 | 1.007 | 1.006 | 7318
Exeter Energy Station Import | 1 | 1 | 1.001 | 1.001 | 7445
Exeter Energy Station Export | 1 | 1 | 1.001 | 1.001 | 7446
Exeter (Import) | 1.01 | 1.01 | 1.01 | 1.012 | 7494
Exeter (Export) | 1.017 | 1.019 | 1.01 | 1.019 | 7495