## SWAE
National Grid Electricity Distribution (South Wales) plc - LLFs for year beginning 1 April 2023
Time periods | Period 1 | Period 2 | Period 3 | Period 4
| Peak | Winter | Night | Other
Monday to Friday Mar to Oct |  |  | 00:30 - 07:30 | 00:00 - 00:30 07:30 - 24:00
Monday to Friday Nov to Feb | 16:00 – 19:00 | 07:30 – 16:00 | 00:30 - 07:30 | 00:00 - 00:30 19:00 - 24:00
Saturday and Sunday All Year |  |  | 00:30 - 07:30 | 00:00 - 00:30 07:30 - 24:00
Notes | All the above times are in UK Clock time
Generic demand and generation LLFs
Metered voltage, respective periods and associated LLFCs
Metered voltage | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
132kV connected | 1.019 | 1.018 | 1.013 | 1.015
132/EHV connected | 1.025 | 1.024 | 1.02 | 1.022
132/HV connected | 1.03 | 1.028 | 1.025 | 1.027
EHV connected | 1.03 | 1.03 | 1.026 | 1.028 | 596, 699
High Voltage Substation | 1.041 | 1.04 | 1.036 | 1.037 | 444, 605, 607
High Voltage Network | 1.051 | 1.049 | 1.04 | 1.045 | 95, 96, 400, 606, 698, 3, HST, H00, H02, H03, H04, N30, N32, N33, N34
Low Voltage Substation | 1.07 | 1.069 | 1.068 | 1.067 | 93, 94, 344, 602, 604, 717, 2, SST, N20, N22, N23, N24, S00, S02, S03, S04
Low Voltage Network | 1.082 | 1.079 | 1.077 | 1.076 | 91, 92, 100, 101, 105, 106, 116, 117, 194, 200, 201, 294, 300, 603, 697, 700, 701, 718, 719, 720, 800, 801, 810, 811, 843, 860, 861, 862, 863, 1, LST, B10, B12, B13, B14, L00, L02, L03, L04, M10, M12, M13, M14, N10, N12, N13, N14
EHV site specific LLFs
Demand
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Spare LV 9 | 1.082 | 1.079 | 1.077 | 1.076 | 107
Spare LV 10 | 1.082 | 1.079 | 1.077 | 1.076 | 108
Spare LV 11 | 1.082 | 1.079 | 1.077 | 1.076 | 109
Spare LV 12 | 1.082 | 1.079 | 1.077 | 1.076 | 110
Spare LV 13 | 1.082 | 1.079 | 1.077 | 1.076 | 111
Spare LV 14 | 1.082 | 1.079 | 1.077 | 1.076 | 112
Spare LV 3 | 1.082 | 1.079 | 1.077 | 1.076 | 118
Spare LV 4 | 1.082 | 1.079 | 1.077 | 1.076 | 119
Spare EHV 97 | 1.03 | 1.03 | 1.026 | 1.028 | 120
Spare EHV 98 | 1.03 | 1.03 | 1.026 | 1.028 | 121
Spare EHV 99 | 1.03 | 1.03 | 1.026 | 1.028 | 122
Spare EHV 100 | 1.03 | 1.03 | 1.026 | 1.028 | 123
Spare EHV 101 | 1.03 | 1.03 | 1.026 | 1.028 | 124
Spare EHV 102 | 1.03 | 1.03 | 1.026 | 1.028 | 125
Spare EHV 103 | 1.03 | 1.03 | 1.026 | 1.028 | 126
Spare EHV 104 | 1.03 | 1.03 | 1.026 | 1.028 | 127
Spare EHV 105 | 1.03 | 1.03 | 1.026 | 1.028 | 128
Spare EHV 106 | 1.03 | 1.03 | 1.026 | 1.028 | 129
Spare EHV 107 | 1.03 | 1.03 | 1.026 | 1.028 | 130
Spare EHV 108 | 1.03 | 1.03 | 1.026 | 1.028 | 131
Spare EHV 109 | 1.03 | 1.03 | 1.026 | 1.028 | 132
Spare EHV 110 | 1.03 | 1.03 | 1.026 | 1.028 | 133
Spare EHV 111 | 1.03 | 1.03 | 1.026 | 1.028 | 134
Spare EHV 112 | 1.03 | 1.03 | 1.026 | 1.028 | 135
Spare EHV 113 | 1.03 | 1.03 | 1.026 | 1.028 | 136
Spare EHV 114 | 1.03 | 1.03 | 1.026 | 1.028 | 137
Spare EHV 115 | 1.03 | 1.03 | 1.026 | 1.028 | 138
Spare EHV 116 | 1.03 | 1.03 | 1.026 | 1.028 | 139
Spare EHV 117 | 1.03 | 1.03 | 1.026 | 1.028 | 140
Spare EHV 118 | 1.03 | 1.03 | 1.026 | 1.028 | 141
Spare EHV 119 | 1.03 | 1.03 | 1.026 | 1.028 | 142
Spare EHV 120 | 1.03 | 1.03 | 1.026 | 1.028 | 143
Spare EHV 121 | 1.03 | 1.03 | 1.026 | 1.028 | 144
Spare EHV 122 | 1.03 | 1.03 | 1.026 | 1.028 | 145
Spare EHV 123 | 1.03 | 1.03 | 1.026 | 1.028 | 146
Spare EHV 124 | 1.03 | 1.03 | 1.026 | 1.028 | 147
Spare EHV 125 | 1.03 | 1.03 | 1.026 | 1.028 | 148
Spare EHV 126 | 1.03 | 1.03 | 1.026 | 1.028 | 149
Spare EHV 127 | 1.03 | 1.03 | 1.026 | 1.028 | 150
Spare EHV 128 | 1.03 | 1.03 | 1.026 | 1.028 | 151
Spare EHV 129 | 1.03 | 1.03 | 1.026 | 1.028 | 152
Spare EHV 130 | 1.03 | 1.03 | 1.026 | 1.028 | 153
Spare EHV 131 | 1.03 | 1.03 | 1.026 | 1.028 | 154
Spare EHV 132 | 1.03 | 1.03 | 1.026 | 1.028 | 155
Spare EHV 133 | 1.03 | 1.03 | 1.026 | 1.028 | 156
Spare EHV 134 | 1.03 | 1.03 | 1.026 | 1.028 | 157
Spare EHV 135 | 1.03 | 1.03 | 1.026 | 1.028 | 158
Spare EHV 136 | 1.03 | 1.03 | 1.026 | 1.028 | 159
Spare EHV 137 | 1.03 | 1.03 | 1.026 | 1.028 | 160
Spare EHV 138 | 1.03 | 1.03 | 1.026 | 1.028 | 161
Spare EHV 139 | 1.03 | 1.03 | 1.026 | 1.028 | 162
Spare EHV 140 | 1.03 | 1.03 | 1.026 | 1.028 | 163
Spare EHV 141 | 1.03 | 1.03 | 1.026 | 1.028 | 164
Spare EHV 142 | 1.03 | 1.03 | 1.026 | 1.028 | 165
Spare EHV 143 | 1.03 | 1.03 | 1.026 | 1.028 | 166
Spare EHV 144 | 1.03 | 1.03 | 1.026 | 1.028 | 167
Spare EHV 145 | 1.03 | 1.03 | 1.026 | 1.028 | 168
Spare EHV 146 | 1.03 | 1.03 | 1.026 | 1.028 | 169
Spare EHV 147 | 1.03 | 1.03 | 1.026 | 1.028 | 170
Spare EHV 148 | 1.03 | 1.03 | 1.026 | 1.028 | 171
Spare EHV 149 | 1.03 | 1.03 | 1.026 | 1.028 | 172
Spare EHV 150 | 1.03 | 1.03 | 1.026 | 1.028 | 173
Spare EHV 151 | 1.03 | 1.03 | 1.026 | 1.028 | 174
Spare EHV 152 | 1.03 | 1.03 | 1.026 | 1.028 | 175
Spare EHV 153 | 1.03 | 1.03 | 1.026 | 1.028 | 176
Spare EHV 154 | 1.03 | 1.03 | 1.026 | 1.028 | 177
Spare EHV 155 | 1.03 | 1.03 | 1.026 | 1.028 | 178
Spare EHV 156 | 1.03 | 1.03 | 1.026 | 1.028 | 179
Rassau Unit 18 132kV (Imp)-CVA | 1.019 | 1.018 | 1.013 | 1.015 | 180
Spare 132kV 13 | 1.019 | 1.018 | 1.013 | 1.015 | 181
Spare 132kV 14 | 1.019 | 1.018 | 1.013 | 1.015 | 182
Spare 132kV 15 | 1.019 | 1.018 | 1.013 | 1.015 | 183
Spare 132kV 16 | 1.019 | 1.018 | 1.013 | 1.015 | 184
Spare 132kV 17 | 1.019 | 1.018 | 1.013 | 1.015 | 185
Spare 132kV 18 | 1.019 | 1.018 | 1.013 | 1.015 | 186
Spare 132kV 19 | 1.019 | 1.018 | 1.013 | 1.015 | 187
Spare 132kV 20 | 1.019 | 1.018 | 1.013 | 1.015 | 188
Spare 132kV 21 | 1.019 | 1.018 | 1.013 | 1.015 | 191
Spare 132/HV 3 | 1.03 | 1.028 | 1.025 | 1.027 | 203
Spare 132/HV 4 | 1.03 | 1.028 | 1.025 | 1.027 | 204
Spare EHV 172 | 1.03 | 1.03 | 1.026 | 1.028 | 211
Spare EHV 173 | 1.03 | 1.03 | 1.026 | 1.028 | 212
Spare EHV 174 | 1.03 | 1.03 | 1.026 | 1.028 | 213
Spare EHV 175 | 1.03 | 1.03 | 1.026 | 1.028 | 214
Spare EHV 176 | 1.03 | 1.03 | 1.026 | 1.028 | 215
Spare EHV 177 | 1.03 | 1.03 | 1.026 | 1.028 | 216
Spare EHV 178 | 1.03 | 1.03 | 1.026 | 1.028 | 217
Spare EHV 179 | 1.03 | 1.03 | 1.026 | 1.028 | 218
Spare EHV 180 | 1.03 | 1.03 | 1.026 | 1.028 | 219
Spare EHV 181 | 1.03 | 1.03 | 1.026 | 1.028 | 220
Spare EHV 182 | 1.03 | 1.03 | 1.026 | 1.028 | 221
Spare EHV 183 | 1.03 | 1.03 | 1.026 | 1.028 | 222
Spare EHV 184 | 1.03 | 1.03 | 1.026 | 1.028 | 223
Spare EHV 185 | 1.03 | 1.03 | 1.026 | 1.028 | 224
Spare EHV 186 | 1.03 | 1.03 | 1.026 | 1.028 | 225
Spare EHV 187 | 1.03 | 1.03 | 1.026 | 1.028 | 226
Spare EHV 188 | 1.03 | 1.03 | 1.026 | 1.028 | 227
Spare EHV 189 | 1.03 | 1.03 | 1.026 | 1.028 | 228
Spare EHV 190 | 1.03 | 1.03 | 1.026 | 1.028 | 229
Spare EHV 191 | 1.03 | 1.03 | 1.026 | 1.028 | 230
Spare EHV 192 | 1.03 | 1.03 | 1.026 | 1.028 | 231
Spare EHV 193 | 1.03 | 1.03 | 1.026 | 1.028 | 232
Spare EHV 194 | 1.03 | 1.03 | 1.026 | 1.028 | 233
Spare EHV 195 | 1.03 | 1.03 | 1.026 | 1.028 | 234
Spare EHV 196 | 1.03 | 1.03 | 1.026 | 1.028 | 235
Spare EHV 197 | 1.03 | 1.03 | 1.026 | 1.028 | 236
Spare EHV 198 | 1.03 | 1.03 | 1.026 | 1.028 | 237
Spare EHV 199 | 1.03 | 1.03 | 1.026 | 1.028 | 238
Spare EHV 200 | 1.03 | 1.03 | 1.026 | 1.028 | 239
Spare EHV 201 | 1.03 | 1.03 | 1.026 | 1.028 | 240
Spare EHV 202 | 1.03 | 1.03 | 1.026 | 1.028 | 241
Spare EHV 203 | 1.03 | 1.03 | 1.026 | 1.028 | 242
Spare EHV 204 | 1.03 | 1.03 | 1.026 | 1.028 | 243
Spare EHV 205 | 1.03 | 1.03 | 1.026 | 1.028 | 244
Spare EHV 206 | 1.03 | 1.03 | 1.026 | 1.028 | 245
Spare EHV 207 | 1.03 | 1.03 | 1.026 | 1.028 | 246
Spare EHV 208 | 1.03 | 1.03 | 1.026 | 1.028 | 247
Spare 132/HV 5 | 1.03 | 1.028 | 1.025 | 1.027 | 285
Spare 132/HV 6 | 1.03 | 1.028 | 1.025 | 1.027 | 286
Spare 132/HV 7 | 1.03 | 1.028 | 1.025 | 1.027 | 287
Spare 132/HV 8 | 1.03 | 1.028 | 1.025 | 1.027 | 288
Spare 132/HV 9 | 1.03 | 1.028 | 1.025 | 1.027 | 289
Spare 132/HV 10 | 1.03 | 1.028 | 1.025 | 1.027 | 290
Spare 132/HV 11 | 1.03 | 1.028 | 1.025 | 1.027 | 291
Spare EHV/HV 1 | 1.041 | 1.04 | 1.036 | 1.037 | 301
Spare EHV/HV 2 | 1.041 | 1.04 | 1.036 | 1.037 | 302
Spare EHV/HV 3 | 1.041 | 1.04 | 1.036 | 1.037 | 303
Spare EHV/HV 4 | 1.041 | 1.04 | 1.036 | 1.037 | 304
Afon Llan PV import | 1.03 | 1.03 | 1.026 | 1.028 | 311
Hendy Wind Farm WF (Import) | 1.03 | 1.03 | 1.026 | 1.028 | 312
Baglan Paper Mill | 1.03 | 1.03 | 1.026 | 1.028 | 313
Spare EHV 160 | 1.03 | 1.03 | 1.026 | 1.028 | 314
Spare EHV 161 | 1.03 | 1.03 | 1.026 | 1.028 | 315
Spare EHV 162 | 1.03 | 1.03 | 1.026 | 1.028 | 316
Spare EHV 163 | 1.03 | 1.03 | 1.026 | 1.028 | 317
Spare EHV 164 | 1.03 | 1.03 | 1.026 | 1.028 | 318
Spare EHV 165 | 1.03 | 1.03 | 1.026 | 1.028 | 319
Spare EHV 166 | 1.03 | 1.03 | 1.026 | 1.028 | 320
Spare EHV 167 | 1.03 | 1.03 | 1.026 | 1.028 | 321
Spare EHV 168 | 1.03 | 1.03 | 1.026 | 1.028 | 322
Spare EHV 169 | 1.03 | 1.03 | 1.026 | 1.028 | 323
Spare EHV 170 | 1.03 | 1.03 | 1.026 | 1.028 | 324
Spare EHV 171 | 1.03 | 1.03 | 1.026 | 1.028 | 325
Spare 132kV 22 | 1.019 | 1.018 | 1.013 | 1.015 | 380
Spare 132kV 23 | 1.019 | 1.018 | 1.013 | 1.015 | 381
Spare 132kV 24 | 1.019 | 1.018 | 1.013 | 1.015 | 382
Spare 132kV 25 | 1.019 | 1.018 | 1.013 | 1.015 | 383
Spare 132kV 26 | 1.019 | 1.018 | 1.013 | 1.015 | 384
Spare 132kV 27 | 1.019 | 1.018 | 1.013 | 1.015 | 385
Spare 132kV 28 | 1.019 | 1.018 | 1.013 | 1.015 | 386
Spare 132kV 29 | 1.019 | 1.018 | 1.013 | 1.015 | 387
Spare 132kV 30 | 1.019 | 1.018 | 1.013 | 1.015 | 388
Spare 132kV 31 | 1.019 | 1.018 | 1.013 | 1.015 | 389
Spare HV 1 | 1.051 | 1.049 | 1.04 | 1.045 | 401
Spare HV 2 | 1.051 | 1.049 | 1.04 | 1.045 | 402
Spare HV 3 | 1.051 | 1.049 | 1.04 | 1.045 | 403
Spare HV 4 | 1.051 | 1.049 | 1.04 | 1.045 | 404
Spare HV 5 | 1.051 | 1.049 | 1.04 | 1.045 | 405
Spare HV 6 | 1.051 | 1.049 | 1.04 | 1.045 | 406
Mynydd Y Bwllfa WF | 1.019 | 1.018 | 1.013 | 1.015 | 419
Western Wood 2 Biomass | 1.019 | 1.018 | 1.013 | 1.015 | 420
Mynydd Y Gwair WF Import | 1.019 | 1.018 | 1.013 | 1.015 | 421
Spare EHV 132kV 9 | 1.019 | 1.018 | 1.013 | 1.015 | 422
Spare EHV 132kV 10 | 1.019 | 1.018 | 1.013 | 1.015 | 423
Spare EHV 132kV 11 | 1.019 | 1.018 | 1.013 | 1.015 | 424
Spare LV Import 5 | 1.082 | 1.079 | 1.077 | 1.076 | 446
Spare LV Import 6 | 1.082 | 1.079 | 1.077 | 1.076 | 447
Spare LV Import 7 | 1.082 | 1.079 | 1.077 | 1.076 | 448
Spare LV Import 8 | 1.082 | 1.079 | 1.077 | 1.076 | 449
Penrhiwarwydd Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 460
Cwmbargoed Coal Washery | 1.03 | 1.032 | 1.026 | 1.031 | 461
Little Neath PV | 1.03 | 1.03 | 1.026 | 1.028 | 462
Hoplass Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 463
Gelliwern Isaf PV | 1.03 | 1.03 | 1.026 | 1.028 | 464
Oak Cottage PV | 1.03 | 1.03 | 1.026 | 1.028 | 465
Red Court Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 466
Carn Nicholas PV | 1.03 | 1.03 | 1.026 | 1.028 | 467
Brynwhilach Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 468
Pant Y Moch PV Boundary | 1.03 | 1.03 | 1.026 | 1.028 | 469
Jesus College PV | 1.03 | 1.03 | 1.026 | 1.028 | 470
Sully Moors STOR | 1.03 | 1.03 | 1.026 | 1.028 | 471
Hafod y Dafal PV | 1.03 | 1.03 | 1.026 | 1.028 | 472
Dowlais No.2 STOR-CVA | 1.03 | 1.03 | 1.026 | 1.028 | 473
Stormydown AD Plant 1 | 1.03 | 1.03 | 1.026 | 1.028 | 474
Cenin (STMY3G) T1 WT Imp | 1.03 | 1.03 | 1.026 | 1.028 | 475
Stormy Down PV | 1.03 | 1.03 | 1.026 | 1.028 | 476
Oak Grove Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 477
Llancadle Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 478
Lower House Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 479
Derwyn PV | 1.03 | 1.03 | 1.026 | 1.028 | 480
Rosedew PV | 1.03 | 1.03 | 1.026 | 1.028 | 481
Pen Rhiw Caradog PV | 1.03 | 1.03 | 1.026 | 1.028 | 482
Mynydd Y Gwrhyd WF | 1.03 | 1.03 | 1.026 | 1.028 | 483
Tonypandy STOR | 1.03 | 1.03 | 1.026 | 1.028 | 484
Traston Road STOR | 1.03 | 1.03 | 1.026 | 1.028 | 485
Maesgwyn Extension WF | 1.03 | 1.03 | 1.026 | 1.028 | 486
Manor Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 487
Pant Y Moch PV Site 1 | 1.03 | 1.03 | 1.026 | 1.028 | 488
Rhewl Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 489
Pant Y Moch PV Site 2 | 1.03 | 1.03 | 1.026 | 1.028 | 490
Bargoed PV Import | 1.03 | 1.03 | 1.026 | 1.028 | 491
Mynydd Brombil WF Import | 1.03 | 1.03 | 1.026 | 1.028 | 492
Rassau Ind Est STOR Import | 1.03 | 1.03 | 1.026 | 1.028 | 493
Llynfi Afan WF Import | 1.03 | 1.03 | 1.026 | 1.028 | 494
Mynydd Yr Aber WF Import | 1.03 | 1.03 | 1.026 | 1.028 | 495
Waun Y Pound 1 STOR Import | 1.03 | 1.03 | 1.026 | 1.028 | 496
Cockett Valley PV Import | 1.03 | 1.03 | 1.026 | 1.028 | 497
Nathenfoel PV Import | 1.03 | 1.03 | 1.026 | 1.028 | 498
Waun Y Pound 2 STOR Import | 1.03 | 1.03 | 1.026 | 1.028 | 499
St Peters Church WF Import | 1.03 | 1.03 | 1.026 | 1.028 | 500
Corus Trostre | 1.005 | 1.005 | 1.006 | 1.006 | 504
Corus Orb | 1.03 | 1.03 | 1.026 | 1.028 | 505
ABB Cornelly | 1.03 | 1.03 | 1.026 | 1.028 | 507
Bettws | 1.019 | 1.018 | 1.013 | 1.015 | 508
Blaen Bowi | 1.03 | 1.03 | 1.026 | 1.028 | 509
Alpha Steel | 1 | 1 | 1 | 1 | 510
BOC Margam | 1.001 | 1.001 | 1.001 | 1.001 | 511
Ford Bridgend | 1.003 | 1.003 | 1.003 | 1.003 | 512
Alcoa | 1.003 | 1.003 | 1.003 | 1.003 | 513
ASW Rod Mill | 1.002 | 1.002 | 1.003 | 1.002 | 514
Total Fina Elf | 1.011 | 1.011 | 1.011 | 1.011 | 515
PCC Texaco | 1.03 | 1.028 | 1.025 | 1.027 | 517
Whitbread Magor | 1.005 | 1.005 | 1.005 | 1.005 | 518
Mainline Pipelines | 1.014 | 1.014 | 1.014 | 1.014 | 519
ASW 33kV | 1.004 | 1.005 | 1.004 | 1.005 | 520
Blue Circle Cement | 1.005 | 1.006 | 1.006 | 1.006 | 522
Inco | 1.004 | 1.004 | 1.003 | 1.003 | 529
Swansea University | 1.041 | 1.04 | 1.036 | 1.037 | 531
DCWW Nantgaredig | 1.061 | 1.061 | 1.062 | 1.062 | 532
Fort James | 1.011 | 1.011 | 1.011 | 1.011 | 533
BORDEN | 1.005 | 1.005 | 1.005 | 1.005 | 534
SOLUTIA | 1.004 | 1.004 | 1.004 | 1.004 | 535
Dow Corning | 1.003 | 1.003 | 1.003 | 1.003 | 536
DCWW Rover Way | 1.003 | 1.003 | 1.003 | 1.003 | 538
Simms Metals | 1.001 | 1.001 | 1.001 | 1.001 | 539
Milford Energy Import | 1.01 | 1.01 | 1.01 | 1.009 | 541
South Hook | 1.009 | 1.009 | 1.008 | 1.008 | 542
FELINDRE | 1.001 | 1.001 | 1.001 | 1.001 | 545
TIMET | 1.002 | 1.002 | 1.002 | 1.002 | 546
Blaen Cregan | 1.03 | 1.03 | 1.026 | 1.028 | 547
Blaengwen Wind Farm | 1.019 | 1.018 | 1.013 | 1.015 | 548
Bryn Titli Wind Farm | 1.03 | 1.03 | 1.026 | 1.028 | 549
Crymlin Burrows | 1.007 | 1.007 | 1.007 | 1.007 | 571
Dyffryn Brodyn Wind Farm | 1.03 | 1.03 | 1.026 | 1.028 | 572
Fochriw | 1.03 | 1.03 | 1.026 | 1.028 | 573
Llyn Brianne | 1.03 | 1.03 | 1.026 | 1.028 | 574
Maerdy | 1.03 | 1.03 | 1.026 | 1.028 | 575
Hirwaun GE Rhigos Rd LF Import | 1.03 | 1.03 | 1.026 | 1.028 | 576
Margam Biomass | 1.03 | 1.03 | 1.026 | 1.028 | 577
Newport Biomass | 1.019 | 1.018 | 1.013 | 1.015 | 578
Pwllfa Watkin | 1.03 | 1.03 | 1.026 | 1.028 | 579
Taff Ely Wind Farm | 1.03 | 1.03 | 1.026 | 1.028 | 580
Trecatti | 1.03 | 1.03 | 1.026 | 1.028 | 581
Withyhedges Landfill | 1.03 | 1.03 | 1.026 | 1.028 | 582
Parc Cynog | 1.03 | 1.03 | 1.026 | 1.028 | 583
Parc Cynog (Pendine) (Import) | 1.03 | 1.03 | 1.026 | 1.028 | 584
Maesgwyn | 1.019 | 1.018 | 1.013 | 1.015 | 585
Ferndale | 1.03 | 1.03 | 1.026 | 1.028 | 586
Pant y Wal WF | 1.03 | 1.03 | 1.026 | 1.028 | 587
Mynydd Portref | 1.03 | 1.03 | 1.026 | 1.028 | 588
Newton Down | 1.03 | 1.03 | 1.026 | 1.028 | 589
Tiers Cross PV | 1.019 | 1.018 | 1.013 | 1.015 | 590
Llynfi Biomass | 1.019 | 1.018 | 1.013 | 1.015 | 591
Thyssenkruup Camford Pressing | 1.041 | 1.04 | 1.036 | 1.037 | 593
Hoover | 1.041 | 1.04 | 1.036 | 1.037 | 594
Berthllwyd PV Import | 1.03 | 1.03 | 1.026 | 1.028 | 610
Alcoa B STOR Imp-CVA | 1.03 | 1.03 | 1.026 | 1.028 | 611
Whitton Mawr PV Import | 1.03 | 1.03 | 1.026 | 1.028 | 612
Barry Dock Biomass Import | 1.03 | 1.03 | 1.026 | 1.028 | 613
North Tenement PV Import | 1.03 | 1.03 | 1.026 | 1.028 | 614
Bryncyrnau Isaf PV Import | 1.03 | 1.03 | 1.026 | 1.028 | 615
University Hospital of Wales | 1.041 | 1.04 | 1.036 | 1.037 | 620
MOD Qinetiq | 1.041 | 1.04 | 1.036 | 1.037 | 622
Western Coal | 1.03 | 1.03 | 1.026 | 1.028 | 623
Tregaron | 1.041 | 1.04 | 1.036 | 1.037 | 625
Waunarlydd STOR | 1.03 | 1.03 | 1.026 | 1.028 | 627
Briton Ferry STOR | 1.03 | 1.03 | 1.026 | 1.028 | 628
Hirwaun STOR | 1.03 | 1.03 | 1.026 | 1.028 | 629
Ffos Las PV | 1.03 | 1.03 | 1.026 | 1.028 | 631
Pont Andrew PV | 1.03 | 1.03 | 1.026 | 1.028 | 632
Beaufort Power STOR Import | 1.03 | 1.03 | 1.026 | 1.028 | 634
Cenin (STMY3G) ParcStormy Imp | 1.03 | 1.03 | 1.026 | 1.028 | 635
Brecon Power STOR Import | 1.03 | 1.03 | 1.026 | 1.028 | 671
Cenin (STMY3G) Battery Imp | 1.03 | 1.03 | 1.026 | 1.028 | 672
Bryn Blaen WF Import | 1.03 | 1.03 | 1.026 | 1.028 | 680
Ystradffin Hydro Import | 1.03 | 1.03 | 1.026 | 1.028 | 681
Brynhenllys PV Import | 1.03 | 1.03 | 1.026 | 1.028 | 682
Mynydd Uchaf WF Import | 1.03 | 1.03 | 1.026 | 1.028 | 683
Swansea University Import | 1.008 | 1.008 | 1.008 | 1.008 | 688
Cenin (STMY3G) T2 WT Imp | 1.03 | 1.03 | 1.026 | 1.028 | 689
Spare 132/EHV 1 | 1.025 | 1.024 | 1.02 | 1.022 | 702
Spare 132/EHV 2 | 1.025 | 1.024 | 1.02 | 1.022 | 703
Spare 132/EHV 3 | 1.025 | 1.024 | 1.02 | 1.022 | 704
Spare 132/EHV 4 | 1.025 | 1.024 | 1.02 | 1.022 | 705
Spare 132/EHV 5 | 1.025 | 1.024 | 1.02 | 1.022 | 706
Spare 132/EHV 6 | 1.025 | 1.024 | 1.02 | 1.022 | 707
Brechfa Forest West WF Import | 1.019 | 1.018 | 1.013 | 1.015 | 750
Pembroke Refinery CHP Import | 1 | 1 | 1 | 1 | 751
Llanwern Farm PV Import | 1.019 | 1.018 | 1.013 | 1.015 | 752
Spare EHV 132kV 4 | 1.019 | 1.018 | 1.013 | 1.015 | 753
Spare EHV 132/66kV 1 | 1.025 | 1.024 | 1.02 | 1.022 | 754
Spare EHV 132/66kV 2 | 1.025 | 1.024 | 1.02 | 1.022 | 755
Spare EHV 132/33kV 1 | 1.025 | 1.024 | 1.02 | 1.022 | 756
Spare EHV 132/33kV 2 | 1.025 | 1.024 | 1.02 | 1.022 | 757
Spare EHV 132/HV 1 | 1.03 | 1.028 | 1.025 | 1.027 | 758
Spare EHV 132/HV 2 | 1.03 | 1.028 | 1.025 | 1.027 | 759
Pen Y Cymoedd WF Import | 1.03 | 1.03 | 1.026 | 1.028 | 760
Afan Way STOR Import | 1.03 | 1.03 | 1.026 | 1.028 | 761
Manmoel PV Import | 1.03 | 1.03 | 1.026 | 1.028 | 762
Maesgwyn Extension PV Import | 1.03 | 1.03 | 1.026 | 1.028 | 763
Crumlin STOR Import | 1.03 | 1.03 | 1.026 | 1.028 | 764
Pen Bryn Oer WF Import | 1.03 | 1.03 | 1.026 | 1.028 | 765
Spare EHV 66/HV 1 | 1.041 | 1.04 | 1.036 | 1.037 | 766
Spare EHV 66/HV 2 | 1.041 | 1.04 | 1.036 | 1.037 | 767
Spare EHV 33/HV 1 | 1.041 | 1.04 | 1.036 | 1.037 | 768
Spare EHV 33/HV 2 | 1.041 | 1.04 | 1.036 | 1.037 | 769
Spare EHV 33/HV 3 | 1.041 | 1.04 | 1.036 | 1.037 | 770
Spare EHV 33/HV 4 | 1.041 | 1.04 | 1.036 | 1.037 | 771
Tata Margam Grange | 1.001 | 1 | 1.001 | 1.001 | 880
Tata Margam CefnG | 1.03 | 1.03 | 1.026 | 1.028 | 881
Tir John STOR | 1.03 | 1.03 | 1.026 | 1.028 | 882
Wear Point WF | 1.03 | 1.03 | 1.026 | 1.028 | 883
West Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 884
Jordanston Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 885
Rudbaxton PV | 1.03 | 1.03 | 1.026 | 1.028 | 886
Wogaston Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 887
Dowlais STOR | 1.03 | 1.03 | 1.026 | 1.028 | 888
Spare EHV 33kV 14 | 1.03 | 1.03 | 1.026 | 1.028 | 889
Trident Park Recovery | 1.001 | 1.001 | 1.026 | 1.001 | 890
Baglan Bay PV | 1.03 | 1.03 | 1.026 | 1.028 | 891
Caermelyn PV | 1.03 | 1.03 | 1.026 | 1.028 | 892
Liddlestone Ridge PV | 1.03 | 1.03 | 1.026 | 1.028 | 893
Garn Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 894
Llandarcy STOR-CVA | 1.03 | 1.03 | 1.026 | 1.028 | 895
Treguff Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 896
Loughor Solar Park | 1.03 | 1.03 | 1.026 | 1.028 | 897
Sutton Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 898
Cefn Betingau PV | 1.03 | 1.03 | 1.026 | 1.028 | 899
Clawdd Ddu PV | 1.03 | 1.03 | 1.026 | 1.028 | 900
Pentre Solar Farm | 1.03 | 1.03 | 1.026 | 1.028 | 901
Barry STOR-CVA | 1.03 | 1.03 | 1.026 | 1.028 | 902
Fenton Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 903
Yerbeston Gate Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 904
Pen Y Cae PV | 1.03 | 1.03 | 1.026 | 1.028 | 905
Saron PV | 1.03 | 1.03 | 1.026 | 1.028 | 906
Hendre Fawr PV | 1.03 | 1.03 | 1.026 | 1.028 | 907
Hendai Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 908
Cwm Cae Singrug PV | 1.03 | 1.03 | 1.026 | 1.028 | 909
Brynteg Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 910
Court Coleman PV | 1.03 | 1.03 | 1.026 | 1.028 | 911
Llwyndu Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 912
Stormydown Boundary | 1.03 | 1.03 | 1.026 | 1.028 | 913
Abergelli Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 914
Crug Mawr Farm PV | 1.03 | 1.03 | 1.026 | 1.028 | 915
Yerbeston Chapel Hill PV | 1.03 | 1.03 | 1.026 | 1.028 | 916
Aberaman Park Phase 2 | 1.03 | 1.03 | 1.026 | 1.028 | 917
Rhyd-y-Pandy PV | 1.03 | 1.03 | 1.026 | 1.028 | 918
Haverfordwest PV | 1.03 | 1.03 | 1.026 | 1.028 | 919
Blaenlliedi Farm WF | 1.03 | 1.03 | 1.026 | 1.028 | 920
EHV site-specific LLFs
Export
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Spare HV For DCP137 Export 1 | 1.051 | 1.049 | 1.04 | 1.045 | 205
Spare HV For DCP137 Export 2 | 1.051 | 1.049 | 1.04 | 1.045 | 206
Spare HV For DCP137 Export 3 | 1.051 | 1.049 | 1.04 | 1.045 | 207
Spare HV For DCP137 Export 4 | 1.051 | 1.049 | 1.04 | 1.045 | 208
Spare HV For DCP137 Export 5 | 1.051 | 1.049 | 1.04 | 1.045 | 209
Spare HV For DCP137 Export 6 | 1.051 | 1.049 | 1.04 | 1.045 | 210
Spare EHV Export 172 | 1.03 | 1.03 | 1.026 | 1.028 | 248
Spare EHV Export 173 | 1.03 | 1.03 | 1.026 | 1.028 | 249
Spare EHV Export 174 | 1.03 | 1.03 | 1.026 | 1.028 | 250
Spare EHV Export 175 | 1.03 | 1.03 | 1.026 | 1.028 | 251
Spare EHV Export 176 | 1.03 | 1.03 | 1.026 | 1.028 | 252
Spare EHV Export 177 | 1.03 | 1.03 | 1.026 | 1.028 | 253
Spare EHV Export 178 | 1.03 | 1.03 | 1.026 | 1.028 | 254
Spare EHV Export 179 | 1.03 | 1.03 | 1.026 | 1.028 | 255
Spare EHV Export 180 | 1.03 | 1.03 | 1.026 | 1.028 | 256
Spare EHV Export 181 | 1.03 | 1.03 | 1.026 | 1.028 | 257
Spare EHV Export 182 | 1.03 | 1.03 | 1.026 | 1.028 | 258
Spare EHV Export 183 | 1.03 | 1.03 | 1.026 | 1.028 | 259
Spare EHV Export 184 | 1.03 | 1.03 | 1.026 | 1.028 | 260
Spare EHV Export 185 | 1.03 | 1.03 | 1.026 | 1.028 | 261
Spare EHV Export 186 | 1.03 | 1.03 | 1.026 | 1.028 | 262
Spare EHV Export 187 | 1.03 | 1.03 | 1.026 | 1.028 | 263
Spare EHV Export 188 | 1.03 | 1.03 | 1.026 | 1.028 | 264
Spare EHV Export 189 | 1.03 | 1.03 | 1.026 | 1.028 | 265
Spare EHV Export 190 | 1.03 | 1.03 | 1.026 | 1.028 | 266
Spare EHV Export 191 | 1.03 | 1.03 | 1.026 | 1.028 | 267
Spare EHV Export 192 | 1.03 | 1.03 | 1.026 | 1.028 | 268
Spare EHV Export 193 | 1.03 | 1.03 | 1.026 | 1.028 | 269
Spare EHV Export 194 | 1.03 | 1.03 | 1.026 | 1.028 | 270
Spare EHV Export 195 | 1.03 | 1.03 | 1.026 | 1.028 | 271
Spare EHV Export 196 | 1.03 | 1.03 | 1.026 | 1.028 | 272
Spare EHV Export 197 | 1.03 | 1.03 | 1.026 | 1.028 | 273
Spare EHV Export 198 | 1.03 | 1.03 | 1.026 | 1.028 | 274
Spare EHV Export 199 | 1.03 | 1.03 | 1.026 | 1.028 | 275
Spare EHV Export 200 | 1.03 | 1.03 | 1.026 | 1.028 | 276
Spare EHV Export 201 | 1.03 | 1.03 | 1.026 | 1.028 | 277
Spare EHV Export 202 | 1.03 | 1.03 | 1.026 | 1.028 | 278
Spare EHV Export 203 | 1.03 | 1.03 | 1.026 | 1.028 | 279
Spare EHV Export 204 | 1.03 | 1.03 | 1.026 | 1.028 | 280
Spare EHV Export 205 | 1.03 | 1.03 | 1.026 | 1.028 | 281
Spare EHV Export 206 | 1.03 | 1.03 | 1.026 | 1.028 | 282
Spare EHV Export 207 | 1.03 | 1.03 | 1.026 | 1.028 | 283
Spare EHV Export 208 | 1.03 | 1.03 | 1.026 | 1.028 | 284
Spare 132/HV Export 5 | 1.03 | 1.028 | 1.025 | 1.027 | 292
Spare 132/HV Export 6 | 1.03 | 1.028 | 1.025 | 1.027 | 293
Spare 132/HV Export 8 | 1.03 | 1.028 | 1.025 | 1.027 | 295
Spare 132/HV Export 9 | 1.03 | 1.028 | 1.025 | 1.027 | 296
Spare 132/HV Export 10 | 1.03 | 1.028 | 1.025 | 1.027 | 297
Spare 132/HV Export 11 | 1.03 | 1.028 | 1.025 | 1.027 | 298
Spare 132/HV Export 12 | 1.03 | 1.028 | 1.025 | 1.027 | 299
Spare EHV/HV Export 1 | 1.041 | 1.04 | 1.036 | 1.037 | 305
Spare EHV/HV Export 2 | 1.041 | 1.04 | 1.036 | 1.037 | 306
Spare EHV/HV Export 3 | 1.041 | 1.04 | 1.036 | 1.037 | 307
Spare EHV/HV Export 4 | 1.041 | 1.04 | 1.036 | 1.037 | 308
Spare EHV Export 97 | 1.03 | 1.03 | 1.026 | 1.028 | 326
Spare EHV Export 98 | 1.03 | 1.03 | 1.026 | 1.028 | 327
Spare EHV Export 99 | 1.03 | 1.03 | 1.026 | 1.028 | 328
Spare EHV Export 100 | 1.03 | 1.03 | 1.026 | 1.028 | 329
Spare EHV Export 101 | 1.03 | 1.03 | 1.026 | 1.028 | 330
Spare EHV Export 102 | 1.03 | 1.03 | 1.026 | 1.028 | 331
Spare EHV Export 103 | 1.03 | 1.03 | 1.026 | 1.028 | 332
Spare EHV Export 104 | 1.03 | 1.03 | 1.026 | 1.028 | 333
Spare EHV Export 105 | 1.03 | 1.03 | 1.026 | 1.028 | 334
Spare EHV Export 106 | 1.03 | 1.03 | 1.026 | 1.028 | 335
Spare EHV Export 107 | 1.03 | 1.03 | 1.026 | 1.028 | 336
Spare EHV Export 108 | 1.03 | 1.03 | 1.026 | 1.028 | 337
Spare EHV Export 109 | 1.03 | 1.03 | 1.026 | 1.028 | 338
Spare EHV Export 110 | 1.03 | 1.03 | 1.026 | 1.028 | 339
Spare EHV Export 111 | 1.03 | 1.03 | 1.026 | 1.028 | 345
Spare EHV Export 112 | 1.03 | 1.03 | 1.026 | 1.028 | 346
Spare EHV Export 113 | 1.03 | 1.03 | 1.026 | 1.028 | 347
Spare EHV Export 114 | 1.03 | 1.03 | 1.026 | 1.028 | 348
Spare EHV Export 115 | 1.03 | 1.03 | 1.026 | 1.028 | 349
Spare EHV Export 116 | 1.03 | 1.03 | 1.026 | 1.028 | 351
Spare EHV Export 117 | 1.03 | 1.03 | 1.026 | 1.028 | 352
Spare EHV Export 118 | 1.03 | 1.03 | 1.026 | 1.028 | 353
Spare EHV Export 119 | 1.03 | 1.03 | 1.026 | 1.028 | 354
Spare EHV Export 120 | 1.03 | 1.03 | 1.026 | 1.028 | 355
Spare EHV Export 121 | 1.03 | 1.03 | 1.026 | 1.028 | 356
Spare EHV Export 122 | 1.03 | 1.03 | 1.026 | 1.028 | 357
Spare EHV Export 123 | 1.03 | 1.03 | 1.026 | 1.028 | 358
Spare EHV Export 124 | 1.03 | 1.03 | 1.026 | 1.028 | 359
Spare EHV Export 125 | 1.03 | 1.03 | 1.026 | 1.028 | 360
Spare EHV Export 126 | 1.03 | 1.03 | 1.026 | 1.028 | 361
Spare EHV Export 127 | 1.03 | 1.03 | 1.026 | 1.028 | 362
Spare EHV Export 128 | 1.03 | 1.03 | 1.026 | 1.028 | 363
Spare EHV Export 129 | 1.03 | 1.03 | 1.026 | 1.028 | 364
Spare EHV Export 130 | 1.03 | 1.03 | 1.026 | 1.028 | 365
Spare EHV Export 131 | 1.03 | 1.03 | 1.026 | 1.028 | 366
Spare EHV Export 132 | 1.03 | 1.03 | 1.026 | 1.028 | 367
Spare EHV Export 133 | 1.03 | 1.03 | 1.026 | 1.028 | 368
Spare EHV Export 134 | 1.03 | 1.03 | 1.026 | 1.028 | 369
Spare EHV Export 135 | 1.03 | 1.03 | 1.026 | 1.028 | 370
Spare EHV Export 136 | 1.03 | 1.03 | 1.026 | 1.028 | 371
Spare EHV Export 137 | 1.03 | 1.03 | 1.026 | 1.028 | 372
Spare EHV Export 138 | 1.03 | 1.03 | 1.026 | 1.028 | 373
Spare EHV Export 139 | 1.03 | 1.03 | 1.026 | 1.028 | 374
Spare EHV Export 140 | 1.03 | 1.03 | 1.026 | 1.028 | 375
Spare EHV Export 141 | 1.03 | 1.03 | 1.026 | 1.028 | 376
Spare EHV Export 142 | 1.03 | 1.03 | 1.026 | 1.028 | 377
Spare EHV Export 143 | 1.03 | 1.03 | 1.026 | 1.028 | 378
Spare EHV Export 144 | 1.03 | 1.03 | 1.026 | 1.028 | 379
Spare 132kV Export 22 | 1.019 | 1.018 | 1.013 | 1.015 | 390
Spare 132kV Export 23 | 1.019 | 1.018 | 1.013 | 1.015 | 391
Spare 132kV Export 24 | 1.019 | 1.018 | 1.013 | 1.015 | 392
Spare 132kV Export 25 | 1.019 | 1.018 | 1.013 | 1.015 | 393
Spare 132kV Export 26 | 1.019 | 1.018 | 1.013 | 1.015 | 394
Spare 132kV Export 27 | 1.019 | 1.018 | 1.013 | 1.015 | 395
Spare 132kV Export 28 | 1.019 | 1.018 | 1.013 | 1.015 | 396
Spare 132kV Export 29 | 1.019 | 1.018 | 1.013 | 1.015 | 397
Spare 132kV Export 30 | 1.019 | 1.018 | 1.013 | 1.015 | 398
Spare 132kV Export 31 | 1.019 | 1.018 | 1.013 | 1.015 | 399
Spare EHV Export 145 | 1.03 | 1.03 | 1.026 | 1.028 | 410
Spare EHV Export 146 | 1.03 | 1.03 | 1.026 | 1.028 | 411
Spare EHV Export 147 | 1.03 | 1.03 | 1.026 | 1.028 | 412
Spare EHV Export 148 | 1.03 | 1.03 | 1.026 | 1.028 | 413
Spare EHV Export 149 | 1.03 | 1.03 | 1.026 | 1.028 | 414
Spare EHV Export 150 | 1.03 | 1.03 | 1.026 | 1.028 | 415
Spare EHV Export 151 | 1.03 | 1.03 | 1.026 | 1.028 | 416
Spare EHV Export 152 | 1.03 | 1.03 | 1.026 | 1.028 | 417
Spare EHV Export 153 | 1.03 | 1.03 | 1.026 | 1.028 | 418
Mynydd Y Bwllfa WF Export | 1.011 | 1.011 | 1.012 | 1.012 | 425
Western Wood 2 Biomass Export | 1.002 | 1.002 | 1.002 | 1.002 | 426
Mynydd Y Gwair WF EXport | 1.002 | 1.002 | 1.002 | 1.002 | 427
Llanwern Farm PV Export | 1.001 | 1.001 | 1.001 | 1.001 | 428
Spare EHV 132kV Export 10 | 1.019 | 1.018 | 1.013 | 1.015 | 429
Spare EHV 132kV Export 11 | 1.019 | 1.018 | 1.013 | 1.015 | 430
Rassau Unit 18 132kV (Exp)-CVA | 1.019 | 1.018 | 1.013 | 1.015 | 431
Spare 132kV Export 13 | 1.019 | 1.018 | 1.013 | 1.015 | 432
Spare 132kV Export 14 | 1.019 | 1.018 | 1.013 | 1.015 | 433
Spare 132kV Export 15 | 1.019 | 1.018 | 1.013 | 1.015 | 434
Spare 132kV Export 16 | 1.019 | 1.018 | 1.013 | 1.015 | 435
Spare 132kV Export 17 | 1.019 | 1.018 | 1.013 | 1.015 | 436
Spare 132kV Export 18 | 1.019 | 1.018 | 1.013 | 1.015 | 437
Spare 132kV Export 19 | 1.019 | 1.018 | 1.013 | 1.015 | 438
Spare 132kV Export 20 | 1.019 | 1.018 | 1.013 | 1.015 | 439
Spare 132kV Export 21 | 1.019 | 1.018 | 1.013 | 1.015 | 443
Spare 132/HV Export 3 | 1.03 | 1.028 | 1.025 | 1.027 | 445
Tata Margam CefnG Export | 1 | 1 | 1.026 | 1.028 | 601
Solutia Export | 1.03 | 1.004 | 1.004 | 1.004 | 617
Total Fina Elf Export | 1.03 | 1.028 | 1.025 | 1.027 | 618
Whitbread Magor Export | 1.03 | 1.028 | 1.025 | 1.027 | 619
Tower Export | 1.03 | 1.03 | 1.026 | 1.028 | 621
Fort James Export | 1.041 | 1.04 | 1.036 | 1.037 | 633
Dow Corning Export | 1.019 | 1.018 | 1.013 | 1.015 | 636
Afon Llan PV Export | 1.03 | 1.03 | 1.026 | 1.028 | 637
Hendy Wind Farm WF (Export) | 1.03 | 1.03 | 1.026 | 1.028 | 638
Spare EHV Export 156 | 1.03 | 1.03 | 1.026 | 1.028 | 639
Spare EHV Export 157 | 1.03 | 1.03 | 1.026 | 1.028 | 640
Spare EHV Export 158 | 1.03 | 1.03 | 1.026 | 1.028 | 641
Pont Andrew PV Export | 1.03 | 1.025 | 1.026 | 1.025 | 642
Ffos Las PV Export | 1.03 | 1.027 | 1.026 | 1.026 | 643
Hirwaun STOR Export | 1.019 | 1.019 | 1.026 | 1.028 | 644
Briton Ferry STOR Export | 1.007 | 1.007 | 1.026 | 1.028 | 645
Waunarlydd STOR Export | 1.011 | 1.011 | 1.026 | 1.028 | 646
Trostrey Court Export | 1.041 | 1.04 | 1.036 | 1.037 | 647
Llynfi Biomass Export | 1.019 | 1.018 | 1.013 | 1.015 | 648
Tiers Cross PV Export | 1.01 | 1.01 | 1.013 | 1.01 | 649
Taff Ely Wind Farm Export | 1.02 | 1.019 | 1.02 | 1.02 | 650
Bryn Titli Wind Farm Export | 1.09 | 1.089 | 1.094 | 1.093 | 651
Dyffryn Brodin Wind Farm Exp | 1.03 | 1.03 | 1.026 | 1.028 | 652
Llyn Brianne Export | 1.055 | 1.055 | 1.068 | 1.07 | 653
Tregaron Export | 1.041 | 1.04 | 1.036 | 1.037 | 658
Parc Cynog Export | 1.061 | 1.059 | 1.062 | 1.059 | 659
Blaen Bowi Export | 1.03 | 1.03 | 1.026 | 1.028 | 660
MARGAM BIOMASS Export | 0.993 | 0.993 | 0.992 | 0.992 | 661
Trecatti Export | 1.028 | 1.029 | 1.028 | 1.029 | 662
Blaen Cregan Wind Farm Export | 1.03 | 1.03 | 1.026 | 1.028 | 663
ABB Cornelly Export | 1.007 | 1.008 | 1.009 | 1.008 | 664
Crymlin Burrows Export | 1.03 | 1.03 | 1.026 | 1.028 | 665
Withyhedges Landfill Export | 1.038 | 1.038 | 1.038 | 1.038 | 666
Parc Cynog (Pendine) (Export) | 1.06 | 1.059 | 1.06 | 1.06 | 667
BLAENGWEN WIND FARM EXPORT | 1.036 | 1.035 | 1.036 | 1.036 | 668
Pwllfa Watkin Export | 1.03 | 1.03 | 1.026 | 1.028 | 670
Bettws Export | 1.003 | 1.003 | 1.004 | 1.004 | 674
Fochriw EHV Export | 1.03 | 1.03 | 1.026 | 1.028 | 675
Maerdy Export | 1.019 | 1.018 | 1.021 | 1.022 | 676
Newport Biomass Export | 1.019 | 1.018 | 1.013 | 1.015 | 677
Milford Energy Export | 1.03 | 1.028 | 1.025 | 1.027 | 678
Ferndale Export | 1.033 | 1.032 | 1.033 | 1.033 | 679
Maesgwyn Export | 1.011 | 1.011 | 1.011 | 1.011 | 684
Pant y Wal WF Export | 1.005 | 1.004 | 1.006 | 1.007 | 685
Mynydd Portref Export | 1.02 | 1.019 | 1.021 | 1.02 | 686
Newton Down Export | 1.006 | 1.006 | 1.006 | 1.006 | 687
Cenin (STMY3G) T2 WT Exp | 1.007 | 1.007 | 1.007 | 1.007 | 690
Cenin (STMY3G) ParcStormy Exp | 1.007 | 1.007 | 1.007 | 1.007 | 695
Cenin (STMY3G) Battery Exp | 1.03 | 1.03 | 1.026 | 1.028 | 696
Spare 132/EHV Export 1 | 1.025 | 1.024 | 1.02 | 1.022 | 708
Spare 132/EHV Export 2 | 1.025 | 1.024 | 1.02 | 1.022 | 709
Spare 132/EHV Export 3 | 1.025 | 1.024 | 1.02 | 1.022 | 710
Spare 132/EHV Export 4 | 1.025 | 1.024 | 1.02 | 1.022 | 711
Spare 132/EHV Export 5 | 1.025 | 1.024 | 1.02 | 1.022 | 712
Spare 132/EHV Export 6 | 1.025 | 1.024 | 1.02 | 1.022 | 713
Oak Grove Farm PV Export | 1.03 | 1.011 | 1.026 | 1.011 | 721
Llancadle Farm PV Export | 1.03 | 1.01 | 1.026 | 1.009 | 722
Lower House Farm PV Export | 1.03 | 1.033 | 1.026 | 1.032 | 723
Derwyn PV Export | 1.03 | 1.005 | 1.026 | 1.005 | 724
Rosedew PV Export | 1.03 | 1.017 | 1.026 | 1.016 | 725
Pen Rhiw Caradog PV Export | 1.03 | 1.021 | 1.026 | 1.021 | 726
Mynydd Y Gwrhyd WF Export | 1.017 | 1.017 | 1.017 | 1.017 | 727
Tonypandy STOR Export | 1.034 | 1.035 | 1.036 | 1.035 | 728
Traston Road STOR Export | 1.002 | 1.002 | 1.002 | 1.002 | 729
Maesgwyn Extension WF Export | 1.026 | 1.026 | 1.026 | 1.026 | 730
Manor Farm PV Export | 1.03 | 1.026 | 1.026 | 1.025 | 731
Pant Y Moch PV Site 1 Export | 1.03 | 1.018 | 1.026 | 1.018 | 732
Rhewl Farm PV Export | 1.03 | 1.014 | 1.026 | 1.013 | 733
Pant Y Moch PV Site 2 Export | 1.03 | 1.03 | 1.026 | 1.028 | 734
Bargoed PV Export | 1.03 | 1.035 | 1.026 | 1.035 | 735
Mynydd Brombil WF Export | 1.019 | 1.019 | 1.019 | 1.02 | 736
Rassau Ind Est STOR Export | 1.003 | 1.005 | 1.007 | 1.006 | 737
Llynfi Afan WF Export | 0.995 | 0.995 | 0.996 | 0.996 | 738
Mynydd Yr Aber WF Export | 0.995 | 0.994 | 0.996 | 0.996 | 739
Waun Y Pound 1 STOR Export | 1.003 | 1.003 | 1.004 | 1.004 | 740
Cockett Valley PV Export | 1.03 | 1.009 | 1.026 | 1.008 | 741
Nathenfoel PV Export | 1.03 | 1.069 | 1.026 | 1.068 | 742
Waun Y Pound 2 STOR Export | 1.003 | 1.003 | 1.004 | 1.004 | 743
St Peters Church WF Export | 0.994 | 0.994 | 0.995 | 0.995 | 744
Berthllwyd PV Export | 1.03 | 1.011 | 1.026 | 1.01 | 745
Alcoa B STOR Exp-CVA | 1.03 | 1.03 | 1.026 | 1.028 | 746
Whitton Mawr PV Export | 1.03 | 1.007 | 1.026 | 1.007 | 747
Barry Dock Biomass Export | 1.03 | 1.03 | 1.026 | 1.028 | 748
North Tenement PV Export | 1.03 | 1.019 | 1.026 | 1.019 | 749
Bryncyrnau Isaf PV Export | 1.03 | 1.052 | 1.026 | 1.052 | 772
Hirwaun GE Rhigos Rd LF Export | 1.03 | 1.03 | 1.026 | 1.028 | 773
Manmoel PV Export | 1.03 | 1.013 | 1.026 | 1.014 | 774
Maesgwyn Extension PV Export | 1.03 | 1.026 | 1.026 | 1.026 | 775
Crumlin STOR Export | 1.03 | 1.01 | 1.026 | 1.01 | 776
Pen Bryn Oer WF Export | 1.028 | 1.028 | 1.029 | 1.029 | 777
Ford Bridgend WT Export | 1.019 | 1.018 | 1.013 | 1.015 | 778
Brechfa Forest West WF Export | 0.997 | 0.996 | 0.998 | 0.999 | 779
Spare EHV 132kV 3 Export | 1.019 | 1.018 | 1.013 | 1.015 | 780
Spare EHV 132kV 4 Export | 1.019 | 1.018 | 1.013 | 1.015 | 781
Spare EHV 132/66kV 1 Export | 1.025 | 1.024 | 1.02 | 1.022 | 782
Spare EHV 132/66kV 2 Export | 1.025 | 1.024 | 1.02 | 1.022 | 783
Spare EHV 132/33kV 1 Export | 1.025 | 1.024 | 1.02 | 1.022 | 784
Spare EHV 132/33kV 2 Export | 1.025 | 1.024 | 1.02 | 1.022 | 785
DCWW Rover Way Export | 1.03 | 1.028 | 1.025 | 1.027 | 786
Spare EHV 132/HV 2 Export | 1.03 | 1.028 | 1.025 | 1.027 | 787
Tata Margam Grange Export | 1.03 | 1.03 | 1.026 | 1.028 | 788
Afan Way STOR Export | 1.012 | 1.012 | 1.013 | 1.012 | 789
Tir John STOR Export | 1.006 | 1.03 | 1.026 | 1.028 | 790
West Farm PV Export | 1.03 | 1.004 | 1.026 | 1.004 | 791
Jordanston Farm PV Export | 1.03 | 1.038 | 1.026 | 1.038 | 792
Rudbaxton PV Export | 1.03 | 1.033 | 1.026 | 1.032 | 793
Spare EHV 66/HV 1 Export | 1.041 | 1.04 | 1.036 | 1.037 | 794
Spare EHV 66/HV 2 Export | 1.041 | 1.04 | 1.036 | 1.037 | 795
Spare EHV 33/HV 1 Export | 1.041 | 1.04 | 1.036 | 1.037 | 796
Spare EHV 33/HV 2 Export | 1.041 | 1.04 | 1.036 | 1.037 | 797
Spare EHV 33/HV 3 Export | 1.041 | 1.04 | 1.036 | 1.037 | 798
Spare EHV 33/HV 4 Export | 1.041 | 1.04 | 1.036 | 1.037 | 799
Brecon Power STOR Export | 1.001 | 1.005 | 1.007 | 1.005 | 921
Beaufort Power STOR Export | 1.03 | 1.03 | 1.026 | 1.028 | 922
Spare EHV33kV Export 84 | 1.03 | 1.03 | 1.026 | 1.028 | 923
Spare EHV33kV Export 85 | 1.03 | 1.03 | 1.026 | 1.028 | 924
Spare EHV33kV Export 86 | 1.03 | 1.03 | 1.026 | 1.028 | 925
Spare EHV33kV Export 87 | 1.03 | 1.03 | 1.026 | 1.028 | 926
Spare EHV33kV Export 88 | 1.03 | 1.03 | 1.026 | 1.028 | 927
Spare EHV33kV Export 89 | 1.03 | 1.03 | 1.026 | 1.028 | 928
Spare EHV33kV Export 90 | 1.03 | 1.03 | 1.026 | 1.028 | 929
Spare EHV33kV Export 91 | 1.03 | 1.03 | 1.026 | 1.028 | 930
Spare EHV33kV Export 92 | 1.03 | 1.03 | 1.026 | 1.028 | 931
Spare EHV33kV Export 93 | 1.03 | 1.03 | 1.026 | 1.028 | 932
Spare EHV33kV Export 94 | 1.03 | 1.03 | 1.026 | 1.028 | 933
Spare EHV33kV Export 95 | 1.03 | 1.03 | 1.026 | 1.028 | 934
Spare EHV33kV Export 96 | 1.03 | 1.03 | 1.026 | 1.028 | 935
Spare EHV Export 162 | 1.03 | 1.03 | 1.026 | 1.028 | 936
Spare EHV Export 163 | 1.03 | 1.03 | 1.026 | 1.028 | 937
Spare EHV Export 164 | 1.03 | 1.03 | 1.026 | 1.028 | 938
Spare EHV Export 165 | 1.03 | 1.03 | 1.026 | 1.028 | 939
Wear Point WF Export | 1.008 | 1.007 | 1.008 | 1.008 | 940
Wogaston Farm PV Export | 1.03 | 1.03 | 1.026 | 1.028 | 941
Dowlais STOR Export | 1.03 | 1.03 | 1.026 | 1.028 | 942
Hoplass Parm PV Export | 1.03 | 1.003 | 1.026 | 1.002 | 943
Trident Park Recovery Export | 0.998 | 0.998 | 0.998 | 0.998 | 944
Baglan Bay PV Exports | 1.03 | 1.007 | 1.026 | 1.007 | 945
Caermelyn PV Exports | 1.03 | 1.078 | 1.026 | 1.07 | 946
Liddlestone Ridge PV Exports | 1.03 | 1.032 | 1.026 | 1.032 | 947
Garn Farm PV Export | 1.03 | 1.012 | 1.026 | 1.012 | 948
Llandarcy STOR Exp-CVA | 1.007 | 1.011 | 1.026 | 1.012 | 949
Treguff Farm PV Export | 1.03 | 1.013 | 1.026 | 1.013 | 950
Loughor Solar Park Export | 1.03 | 1.009 | 1.026 | 1.009 | 951
Sutton Farm PV Export | 1.03 | 1.005 | 1.026 | 1.005 | 952
Cefn Betingau PV Export | 1.03 | 1.002 | 1.026 | 1.002 | 953
Clawdd Ddu PV Export | 1.03 | 1.005 | 1.026 | 1.005 | 954
Pentre Solar Farm Export | 1.03 | 1.024 | 1.026 | 1.024 | 955
Barry STOR Exp-CVA | 1.01 | 1.016 | 1.026 | 1.017 | 956
Fenton Farm PV Export | 1.018 | 1.017 | 1.018 | 1.015 | 957
Yerbeston Gate Farm PV Export | 1.03 | 1.044 | 1.026 | 1.043 | 958
Pen Y Cae PV Export | 1.03 | 1.004 | 1.026 | 1.004 | 959
Saron PV Export | 1.03 | 1.004 | 1.026 | 1.004 | 960
Hendre Fawr PV Export | 1.03 | 1.022 | 1.026 | 1.022 | 961
Hendai Farm PV Export | 1.03 | 1.04 | 1.026 | 1.039 | 962
Cwm Cae Singrug PV Export | 1.03 | 1.016 | 1.026 | 1.015 | 963
Brynteg Farm PV Export | 1.03 | 1.02 | 1.026 | 1.019 | 964
Court Coleman PV Export | 1.03 | 1.005 | 1.026 | 1.005 | 965
Llwyndu Farm PV Export | 1.03 | 1.101 | 1.026 | 1.1 | 966
Stormydown Boundary Export | 1.03 | 1.03 | 1.026 | 1.028 | 967
Abergelli Farm PV Export | 1.03 | 1.001 | 1.026 | 1.001 | 968
Crug Mawr Farm PV Export | 1.03 | 1.123 | 1.026 | 1.121 | 969
YerbestonChapelHill PV Export | 1.03 | 1.003 | 1.026 | 1.002 | 970
Aberaman Park Phase 2 Export | 1.014 | 1.019 | 1.026 | 1.021 | 971
Rhyd-y-Pandy PV Export | 1.03 | 1.002 | 1.026 | 1.002 | 972
Haverfordwest PV Export | 1.03 | 1.017 | 1.026 | 1.017 | 973
Blaenlliedi Farm WF Export | 1.03 | 1.03 | 1.026 | 1.028 | 974
Penrhiwarwydd Farm PV Export | 1.03 | 1.018 | 1.026 | 1.017 | 975
Little Neath PV Export | 1.03 | 1.004 | 1.026 | 1.003 | 976
Gelliwern Isaf PV Export | 1.03 | 1.006 | 1.026 | 1.006 | 977
Oak Cottage PV Export | 1.03 | 1.017 | 1.026 | 1.017 | 978
Red Court Farm PV Export | 1.03 | 1.034 | 1.026 | 1.034 | 979
Carn Nicholas PV Export | 1.03 | 1.03 | 1.026 | 1.028 | 980
Brynwhilach Farm PV Export | 1.03 | 1.001 | 1.026 | 1.001 | 981
Pant Y Moch PV Boundary Export | 1.03 | 1.018 | 1.026 | 1.018 | 982
Jesus College PV Export | 1.03 | 1.005 | 1.026 | 1.004 | 983
Sully Moors STOR Export | 0.999 | 1.002 | 1.026 | 1.003 | 984
Hafod y Dafal PV Export | 1.03 | 1.015 | 1.026 | 1.015 | 985
Dowlais No.2 STOR Exp-CVA | 1.03 | 1.03 | 1.026 | 1.028 | 986
Stormydown AD Plant 1 Export | 1.03 | 1.03 | 1.026 | 1.028 | 987
Cenin (STMY3G) T1 WT Exp | 1.008 | 1.008 | 1.008 | 1.008 | 988
Stormy Down PV Export | 1.03 | 1.006 | 1.026 | 1.006 | 989
Bryn Blaen WF Export | 1.09 | 1.089 | 1.092 | 1.091 | 990
Ystradffin Hydro Export | 1.079 | 1.079 | 1.083 | 1.084 | 991
Brynhenllys PV Export | 1.03 | 1.03 | 1.026 | 1.028 | 992
Mynydd Uchaf WF Export | 1.03 | 1.03 | 1.026 | 1.028 | 993
Spare EHV Export 170 | 1.03 | 1.03 | 1.026 | 1.028 | 994
Spare EHV Export 171 | 1.03 | 1.03 | 1.026 | 1.028 | 995
Spare 132/HV Export 4 | 1.03 | 1.028 | 1.025 | 1.027 | 996
site-specific LLFs
CVA
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Solutia District Energy Newport | 1.002 | 1.002 | 1.002 | 1.002 | 7159
Aberdare District Energy | 1.016 | 1.02 | 1.022 | 1.021 | 7163
Dowlais II (Import) | 1.03 | 1.03 | 1.026 | 1.028 | 7328
Dowlais II (Export) | 1.02 | 1.022 | 1.024 | 1.022 | 7329
Alcoa (Import) | 1.03 | 1.03 | 1.026 | 1.028 | 7346
Alcoa (Export) | 1 | 1.002 | 1.003 | 1.002 | 7347
Rassau Synch Comp (Import) | 1.019 | 1.018 | 1.013 | 1.015 | 7450
Rassau Synch Comp (Export) | 1.019 | 1.018 | 1.013 | 1.015 | 7451
Llandarcy (Import) | 1.03 | 1.03 | 1.026 | 1.028 | 7486
Llandarcy (Export) | 1.007 | 1.011 | 1.026 | 1.012 | 7487
Barry (Import) | 1.03 | 1.03 | 1.026 | 1.028 | 7488
Barry (Export) | 1.01 | 1.016 | 1.026 | 1.017 | 7489