## EMEB
National Grid Electricity Distribution (East Midlands) plc - LLFs for year beginning 1 April 2025
Time periods | Period 1 | Period 2 | Period 3 | Period 4
| Peak | Winter | Night | Other
Monday to Friday Mar to Oct |  |  | 00:30 – 07:30 | 07:30 – 00:30
Monday to Friday Nov to Feb | 16:00 – 19:00 | 07:30 – 16:00 19:00 – 20:00 | 00:30 – 07:30 | 20:00 – 00:30
Saturday and Sunday All Year |  |  | 00:30 – 07:30 | 07:30 – 00:30
Notes | All the above times are in UK Clock time
Generic demand and generation LLFs
Metered voltage, respective periods and associated LLFCs
Metered voltage | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
132kV connected | 1.009 | 1.008 | 1.006 | 1.007
132/EHV connected | 1.014 | 1.014 | 1.013 | 1.013
132/HV connected | 1.02 | 1.019 | 1.016 | 1.017
EHV connected | 1.023 | 1.022 | 1.018 | 1.019 | 997
High Voltage Substation | 1.034 | 1.032 | 1.028 | 1.029
High Voltage Network | 1.048 | 1.045 | 1.036 | 1.04 | 60, 90, 91, 92, 93, 94, 95, 96, 97, 98, 99, 145, 146, 929, 975, 977, 991, 996, HST, H00, H02, H03, H04, N30, N32, N33, N34, X30, X31, X32, X33, X34
Low Voltage Substation | 1.065 | 1.063 | 1.061 | 1.059 | 59, 80, 143, 144, 970, 972, 974, SST, N20, N22, N23, N24, S00, S02, S03, S04, X20, X21, X22, X23, X24
Low Voltage Network | 1.092 | 1.087 | 1.076 | 1.079 | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 13, 16, 19, 22, 25, 28, 31, 34, 37, 40, 43, 46, 49, 52, 58, 81, 82, 83, 84, 85, 141, 142, 246, 247, 800, 801, 802, 803, 804, 821, 900, 901, 971, 973, 986, 987, 990, 993, 994, 995, LST, L00, L02, L03, L04, N10, N12, N13, N14, D01, X10, X11, X12, X13, X14
EHV site-specific LLFs
Demand
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Jaguar Land Rover Gaydon (Imp) | 1.034 | 1.032 | 1.028 | 1.029 | 61
Spare 132/EHV 3 | 1.014 | 1.014 | 1.013 | 1.013 | 64
Spare 132/EHV 4 | 1.014 | 1.014 | 1.013 | 1.013 | 65
Spare 132/EHV 5 | 1.014 | 1.014 | 1.013 | 1.013 | 66
Spare 132/EHV 6 | 1.014 | 1.014 | 1.013 | 1.013 | 67
Spare 132/EHV 7 | 1.014 | 1.014 | 1.013 | 1.013 | 68
Spare 132/EHV 8 | 1.014 | 1.014 | 1.013 | 1.013 | 69
Spare 132/EHV 9 | 1.014 | 1.014 | 1.013 | 1.013 | 70
Spare 132/EHV 10 | 1.014 | 1.014 | 1.013 | 1.013 | 71
Lyon Road Gas Gen (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 155
Asher Lane 33kV STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 156
Spondon Peaking STOR (Import) | 1.021 | 1.021 | 1.021 | 1.021 | 157
Walworth Farm EES (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 158
Churchover Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 159
Hall Farm Phase 2 PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 160
Back Lane Battery ESS (Import) | 1.002 | 1.002 | 1.002 | 1.002 | 161
Thornton Estate STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 162
Battery Ln Boston ESS (Import) | 1.02 | 1.02 | 1.02 | 1.02 | 163
Willowbrook Gen EFW (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 164
Airfield Fiskerton PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 165
White Cross Lane PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 166
Streetfield Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 167
Gorse Lane PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 168
Gorse Lane Ext PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 169
Chelv Fed Int CB3 PV+Bat (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 170
Chelv Fed Dis CB3 PV+Bat (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 171
Spare EHV 163 | 1.023 | 1.022 | 1.018 | 1.019 | 172
Highgrounds Gen STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 173
Hayton Lakes Battery (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 174
Hayton Lakes PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 175
Manor Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 176
Potash Farm 30MW (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 177
Potash Farm 50MW (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 178
Goosey Lodge BESS Ext (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 179
Adstock Solar Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 180
Eastfields PV+BESS (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 181
Chapel St PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 182
Wse Bourton Road PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 183
Haunton Manor Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 184
Elms Solar Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 185
Harborough Fields PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 186
Private Rd No5 Colwick (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 187
Gonerby Moor PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 188
Feldon Vale Solar (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 189
Spare EHV 181 | 1.023 | 1.022 | 1.018 | 1.019 | 190
Spare EHV 182 | 1.023 | 1.022 | 1.018 | 1.019 | 191
Spare EHV 183 | 1.023 | 1.022 | 1.018 | 1.019 | 192
Spare EHV 184 | 1.023 | 1.022 | 1.018 | 1.019 | 193
Spare EHV 185 | 1.023 | 1.022 | 1.018 | 1.019 | 194
Spare EHV 186 | 1.023 | 1.022 | 1.018 | 1.019 | 195
Spare EHV 187 | 1.023 | 1.022 | 1.018 | 1.019 | 196
Spare EHV 188 | 1.023 | 1.022 | 1.018 | 1.019 | 197
Spare EHV 189 | 1.023 | 1.022 | 1.018 | 1.019 | 198
Spare EHV 190 | 1.023 | 1.022 | 1.018 | 1.019 | 199
Spare EHV 191 | 1.023 | 1.022 | 1.018 | 1.019 | 202
Spare EHV 192 | 1.023 | 1.022 | 1.018 | 1.019 | 203
Spare EHV 193 | 1.023 | 1.022 | 1.018 | 1.019 | 204
Spare EHV 194 | 1.023 | 1.022 | 1.018 | 1.019 | 205
Spare EHV 195 | 1.023 | 1.022 | 1.018 | 1.019 | 206
Spare EHV 196 | 1.023 | 1.022 | 1.018 | 1.019 | 207
Spare EHV 197 | 1.023 | 1.022 | 1.018 | 1.019 | 208
Spare EHV 198 | 1.023 | 1.022 | 1.018 | 1.019 | 209
Spare 132/HV 3 | 1.02 | 1.019 | 1.016 | 1.017 | 210
Spare 132/HV 4 | 1.02 | 1.019 | 1.016 | 1.017 | 211
Spare 132/HV 5 | 1.02 | 1.019 | 1.016 | 1.017 | 212
Spare 132/HV 6 | 1.02 | 1.019 | 1.016 | 1.017 | 213
Spare 132/HV 7 | 1.02 | 1.019 | 1.016 | 1.017 | 214
Spare 132/HV 8 | 1.02 | 1.019 | 1.016 | 1.017 | 215
Spare 132/HV 9 | 1.02 | 1.019 | 1.016 | 1.017 | 216
Spare 132/HV 10 | 1.02 | 1.019 | 1.016 | 1.017 | 217
Spare LV 5 | 1.092 | 1.087 | 1.076 | 1.079 | 242
Spare LV 6 | 1.092 | 1.087 | 1.076 | 1.079 | 243
Spare LV 7 | 1.092 | 1.087 | 1.076 | 1.079 | 244
Spare LV 8 | 1.092 | 1.087 | 1.076 | 1.079 | 245
Spare LV 3 | 1.092 | 1.087 | 1.076 | 1.079 | 248
Spare LV 4 | 1.092 | 1.087 | 1.076 | 1.079 | 249
Spare 132/HV 1 | 1.02 | 1.019 | 1.016 | 1.017 | 250
Spare 132/HV 2 | 1.02 | 1.019 | 1.016 | 1.017 | 251
Branston Potato Fm PV (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 253
Cotham Grange 132 PV (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 254
Newhurst ERF 132 EFW (Import) | 1.009 | 1.008 | 1.006 | 1.003 | 255
Grafton Underwood PV (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 256
Desford Road BESS 132 (Import) | 1 | 1 | 1 | 1 | 257
Yelvertoft Solar Farm (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 258
Hayton Lakes PV 132 (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 259
Low Farm Solar Ltd PV (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 260
Inkersall Grange PV (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 261
Crifton Lodge 132 PV (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 262
Vicarage Drove 132kV (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 263
Halloughton Solar 132kV (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 264
Bagworth Road 132kV (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 265
Winkburn Solar 132KV (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 266
Spare 132kV 15 | 1.009 | 1.008 | 1.006 | 1.007 | 267
Spare 132/EHV 1 | 1.014 | 1.014 | 1.013 | 1.013 | 268
Spare 132/EHV 2 | 1.014 | 1.014 | 1.013 | 1.013 | 269
Spare 132kV 16 | 1.009 | 1.008 | 1.006 | 1.007 | 270
Spare 132kV 17 | 1.009 | 1.008 | 1.006 | 1.007 | 271
Spare 132kV 18 | 1.009 | 1.008 | 1.006 | 1.007 | 272
Spare 132kV 19 | 1.009 | 1.008 | 1.006 | 1.007 | 273
Spare 132kV 20 | 1.009 | 1.008 | 1.006 | 1.007 | 274
Rhodia STOR (Import) - now EDCM | 1.034 | 1.032 | 1.028 | 1.029 | 280
Jaguar Land Rover Whitley(Imp) | 1.034 | 1.032 | 1.028 | 1.029 | 281
HS2 Long Itchington (Import) | 1.034 | 1.032 | 1.028 | 1.029 | 282
Spare EHV/HV 14 | 1.034 | 1.032 | 1.028 | 1.029 | 283
Spare EHV/HV 15 | 1.034 | 1.032 | 1.028 | 1.029 | 284
Spare EHV/HV 16 | 1.034 | 1.032 | 1.028 | 1.029 | 285
Spare EHV/HV 17 | 1.034 | 1.032 | 1.028 | 1.029 | 286
Spare EHV/HV 18 | 1.034 | 1.032 | 1.028 | 1.029 | 287
Spare EHV/HV 19 | 1.034 | 1.032 | 1.028 | 1.029 | 288
Spare EHV/HV 20 | 1.034 | 1.032 | 1.028 | 1.029 | 289
Yew Tree Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 292
Cobb Farm Egmanton PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 293
Kelmarsh Wind Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 294
PebbleHall_Boundary_Import | 1.023 | 1.022 | 1.018 | 1.019 | 295
Copley Farm PV Claypole (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 296
Greatmoor EFW Calvert (Import) | 1 | 1 | 1 | 1 | 297
Lodge Farm (Calow) PV Import | 1.023 | 1.022 | 1.018 | 1.019 | 298
Arkwright Solar PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 299
Langar Commercial PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 300
Redfield Road 1 STOR (Imp)-CVA | 1.023 | 1.022 | 1.018 | 1.019 | 301
Averill Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 302
Marchington Solar PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 303
West End Fm Treswell PV (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 304
Fields Farm Southam PV (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 305
Canopus Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 306
Lindridge Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 307
Thornborough Grnds PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 308
Wymeswold Narrow Lane PV (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 309
Manor Farm Horton PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 310
Handley Park Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 311
Shelton Lodge PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 312
Brafield on the Green PV (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 313
Sywell PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 314
Holtwood Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 315
Drakelow Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 316
Stragglethorpe Rd PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 317
Oxcroft Solar Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 318
Derby Waste Sinfin EFW (Imp) | 1.017 | 1.017 | 1.017 | 1.017 | 319
Littlewood Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 320
Twin Yards Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 321
Tower Hayes Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 322
The Breck Solar PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 323
Barnby Moor Retford PV(Import) | 1.023 | 1.022 | 1.018 | 1.019 | 324
Lincoln Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 325
Drakelow Renewable BIO (Imp) | 1.002 | 1.002 | 1.002 | 1.002 | 326
Tetron Point ESS (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 327
Mill Fm Gt Ponton PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 328
(PHF) Welland Bio Power Imp | 1.011 | 1.011 | 1.011 | 1.011 | 329
Deepdale Solar Fm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 330
Burton Wolds South WF (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 331
Brafield_PV_Commercial (Imps) | 1.023 | 1.022 | 1.018 | 1.019 | 332
Brafield_PV_Community (Imps) | 1.023 | 1.022 | 1.018 | 1.019 | 333
Gawcott Flds PV Commercial Imp | 1.023 | 1.022 | 1.018 | 1.019 | 334
Gawcott Flds PV Community Imp | 1.023 | 1.022 | 1.018 | 1.019 | 335
Trafalgar Pk Gas STOR Imp-CVA | 1.023 | 1.022 | 1.018 | 1.019 | 336
John Brookes Sawmill BIO (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 337
Hawton Wind Farm WF (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 338
Blackbridge Farm BIO (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 339
Garnham Close STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 340
RAF Cranwell High G (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 341
Langar Community PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 342
Hermitage Lane STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 343
Fosse Way Radford Sem PV (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 344
Meadow Fm Thorpe Lang PV (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 345
Olney Hyde Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 346
Dayfields Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 347
Bolsovermoor Quarry PV(Import) | 1.023 | 1.022 | 1.018 | 1.019 | 348
Bilsthorpe PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 349
Carlton Forest STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 350
Sutton Bonnington PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 351
Alfreton Diesel Power (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 352
Green Lane Marchington PV(Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 353
Baddesley Park PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 354
Baddesley Park EFW (Import) | 1.023 | 1.022 | 1.028 | 1.028 | 355
Taylor Lane 33kV STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 356
Hill Farm ESS (Import) | 1.036 | 1.036 | 1.036 | 1.036 | 357
Leverton ESS (Import) | 1.037 | 1.037 | 1.037 | 1.037 | 358
Nottingham Rd STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 359
Spare EHV 139 | 1.023 | 1.022 | 1.018 | 1.019 | 360
Breach Farm ESS (Import) | 1.002 | 1.002 | 1.002 | 1.002 | 361
Boston Biomass Gen AD (Import) | 1.024 | 1.024 | 1.024 | 1.024 | 362
Twin Oaks Diesel STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 363
Colwick Private Rd STOR (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 364
Mill Fm Caythorpe ESS (Import) | 1.028 | 1.028 | 1.028 | 1.028 | 365
(PHF) Welland Waste Imp | 1.023 | 1.022 | 1.018 | 1.019 | 366
Spare EHV/HV 23 | 1.034 | 1.032 | 1.028 | 1.029 | 591
Spare EHV/HV 24 | 1.034 | 1.032 | 1.028 | 1.029 | 592
Spare EHV/HV 25 | 1.034 | 1.032 | 1.028 | 1.029 | 593
Spare EHV/HV 26 | 1.034 | 1.032 | 1.028 | 1.029 | 594
Spare EHV/HV 27 | 1.034 | 1.032 | 1.028 | 1.029 | 595
Spare EHV/HV 28 | 1.034 | 1.032 | 1.028 | 1.029 | 596
Spare EHV/HV 29 | 1.034 | 1.032 | 1.028 | 1.029 | 597
Spare EHV/HV 30 | 1.034 | 1.032 | 1.028 | 1.029 | 598
Spare EHV/HV 31 | 1.034 | 1.032 | 1.028 | 1.029 | 599
Spare HV 1 | 1.048 | 1.045 | 1.036 | 1.04 | 623
Spare HV 2 | 1.048 | 1.045 | 1.036 | 1.04 | 624
Spare HV 3 | 1.048 | 1.045 | 1.036 | 1.04 | 625
Spare HV 4 | 1.048 | 1.045 | 1.036 | 1.04 | 626
Spare HV 5 | 1.048 | 1.045 | 1.036 | 1.04 | 627
Spare HV 6 | 1.048 | 1.045 | 1.036 | 1.04 | 628
Spare EHV 199 | 1.023 | 1.022 | 1.018 | 1.019 | 721
Spare EHV 200 | 1.023 | 1.022 | 1.018 | 1.019 | 722
Spare EHV 201 | 1.023 | 1.022 | 1.018 | 1.019 | 723
Spare EHV 202 | 1.023 | 1.022 | 1.018 | 1.019 | 724
Spare EHV 203 | 1.023 | 1.022 | 1.018 | 1.019 | 725
Spare EHV 204 | 1.023 | 1.022 | 1.018 | 1.019 | 726
Spare EHV 205 | 1.023 | 1.022 | 1.018 | 1.019 | 727
Spare EHV 206 | 1.023 | 1.022 | 1.018 | 1.019 | 728
Spare EHV 207 | 1.023 | 1.022 | 1.018 | 1.019 | 729
Spare EHV 208 | 1.023 | 1.022 | 1.018 | 1.019 | 730
Spare EHV 209 | 1.023 | 1.022 | 1.018 | 1.019 | 731
Spare EHV 210 | 1.023 | 1.022 | 1.018 | 1.019 | 732
Spare EHV 211 | 1.023 | 1.022 | 1.018 | 1.019 | 733
Spare EHV 212 | 1.023 | 1.022 | 1.018 | 1.019 | 734
Spare EHV 213 | 1.023 | 1.022 | 1.018 | 1.019 | 735
Spare EHV 214 | 1.023 | 1.022 | 1.018 | 1.019 | 736
Spare EHV 215 | 1.023 | 1.022 | 1.018 | 1.019 | 737
Spare EHV 216 | 1.023 | 1.022 | 1.018 | 1.019 | 738
Spare EHV 217 | 1.023 | 1.022 | 1.018 | 1.019 | 739
Spare EHV 218 | 1.023 | 1.022 | 1.018 | 1.019 | 740
Spare EHV 219 | 1.023 | 1.022 | 1.018 | 1.019 | 741
Spare EHV 220 | 1.023 | 1.022 | 1.018 | 1.019 | 742
Spare EHV 221 | 1.023 | 1.022 | 1.018 | 1.019 | 743
Spare EHV 222 | 1.023 | 1.022 | 1.018 | 1.019 | 744
Spare EHV 223 | 1.023 | 1.022 | 1.018 | 1.019 | 745
Spare EHV 224 | 1.023 | 1.022 | 1.018 | 1.019 | 746
Spare EHV 225 | 1.023 | 1.022 | 1.018 | 1.019 | 747
Spare EHV 226 | 1.023 | 1.022 | 1.018 | 1.019 | 748
Spare EHV 227 | 1.023 | 1.022 | 1.018 | 1.019 | 749
Spare EHV 228 | 1.023 | 1.022 | 1.018 | 1.019 | 750
Spare EHV 229 | 1.023 | 1.022 | 1.018 | 1.019 | 751
Spare EHV 230 | 1.023 | 1.022 | 1.018 | 1.019 | 752
Spare EHV 231 | 1.023 | 1.022 | 1.018 | 1.019 | 753
Spare EHV 232 | 1.023 | 1.022 | 1.018 | 1.019 | 754
Spare EHV 233 | 1.023 | 1.022 | 1.018 | 1.019 | 755
Spare EHV 234 | 1.023 | 1.022 | 1.018 | 1.019 | 756
Spare EHV 235 | 1.023 | 1.022 | 1.018 | 1.019 | 757
Spare EHV 236 | 1.023 | 1.022 | 1.018 | 1.019 | 758
Spare EHV 237 | 1.023 | 1.022 | 1.018 | 1.019 | 759
Spare EHV 238 | 1.023 | 1.022 | 1.018 | 1.019 | 760
Spare EHV 239 | 1.023 | 1.022 | 1.018 | 1.019 | 761
Spare EHV 240 | 1.023 | 1.022 | 1.018 | 1.019 | 762
Spare EHV 241 | 1.023 | 1.022 | 1.018 | 1.019 | 763
Spare EHV 242 | 1.023 | 1.022 | 1.018 | 1.019 | 764
Spare EHV 243 | 1.023 | 1.022 | 1.018 | 1.019 | 765
Spare EHV 244 | 1.023 | 1.022 | 1.018 | 1.019 | 766
Spare EHV 245 | 1.023 | 1.022 | 1.018 | 1.019 | 767
Spare EHV 246 | 1.023 | 1.022 | 1.018 | 1.019 | 768
Spare EHV 247 | 1.023 | 1.022 | 1.018 | 1.019 | 769
Spare EHV 248 | 1.023 | 1.022 | 1.018 | 1.019 | 770
Spare EHV 249 | 1.023 | 1.022 | 1.018 | 1.019 | 771
Spare EHV 250 | 1.023 | 1.022 | 1.018 | 1.019 | 772
Spare EHV 251 | 1.023 | 1.022 | 1.018 | 1.019 | 773
Spare EHV 252 | 1.023 | 1.022 | 1.018 | 1.019 | 774
Spare EHV 253 | 1.023 | 1.022 | 1.018 | 1.019 | 775
Spare EHV 254 | 1.023 | 1.022 | 1.018 | 1.019 | 776
Spare EHV 255 | 1.023 | 1.022 | 1.018 | 1.019 | 777
Spare EHV 256 | 1.023 | 1.022 | 1.018 | 1.019 | 778
Spare EHV 257 | 1.023 | 1.022 | 1.018 | 1.019 | 779
Spare EHV Import 51 | 1.023 | 1.022 | 1.018 | 1.019 | 780
Spare EHV Import 52 | 1.023 | 1.022 | 1.018 | 1.019 | 781
Spare EHV Import 53 | 1.023 | 1.022 | 1.018 | 1.019 | 782
Spare EHV Import 54 | 1.023 | 1.022 | 1.018 | 1.019 | 783
Prestop Park Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 784
Smith Hall Farm Solar (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 785
Park Farm Solar Ashby (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 786
Aston House Solar Farm(Import) | 1.023 | 1.022 | 1.018 | 1.019 | 787
Normanton-le-Heath PV Fm (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 788
Elms Farm Solar Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 789
Morton Solar Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 790
Glebe Farm Podington PV-Import | 1.023 | 1.022 | 1.018 | 1.019 | 791
Rolleston Park Solar (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 792
Nowhere Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 793
Lockington Solar Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 794
Chelveston Renewable PV-Import | 1.023 | 1.022 | 1.018 | 1.019 | 795
Horsemoor Drove Solar (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 796
Decoy Farm Crowland PV-Import | 1.023 | 1.022 | 1.018 | 1.019 | 797
Decoy Farm Crowland Bio-Import | 1.023 | 1.022 | 1.018 | 1.019 | 798
Decoy Farm Crowland AD-Import | 1.023 | 1.022 | 1.018 | 1.019 | 799
Spare LV 9 | 1.092 | 1.087 | 1.076 | 1.079 | 805
Spare HV 7 | 1.048 | 1.045 | 1.036 | 1.04 | 815
Spare HV 8 | 1.048 | 1.045 | 1.036 | 1.04 | 816
Spare HV 9 | 1.048 | 1.045 | 1.036 | 1.04 | 817
Spare HV 10 | 1.048 | 1.045 | 1.036 | 1.04 | 818
Spare HV 11 | 1.048 | 1.045 | 1.036 | 1.04 | 819
Spare HV 12 | 1.048 | 1.045 | 1.036 | 1.04 | 820
Railtrack Bytham (Import) | 1.039 | 1.039 | 1.036 | 1.037 | 824
Railtrack Grantham (Import) | 1.008 | 1.008 | 1.025 | 1.008 | 825
Railtrack Staythorpe (Import) | 1 | 1 | 1 | 1 | 826
Railtrack Retford (Import) | 1.006 | 1.006 | 1.006 | 1.006 | 827
Railtrack Rugby (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 828
Railtrack Tamworth (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 829
Railtrack Wolverton (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 830
Jaguar Cars | 1.034 | 1.032 | 1.028 | 1.029 | 831
Alstom Frankton | 1.034 | 1.032 | 1.028 | 1.029 | 832
University of Warwick (Import) | 1.034 | 1.032 | 1.028 | 1.029 | 833
Dunlop Factory | 1.034 | 1.032 | 1.028 | 1.029 | 834
Bombardier | 1.017 | 1.017 | 1.017 | 1.017 | 835
Corus Corby (Import) | 1.01 | 1.01 | 1.01 | 1.01 | 836
Acordis (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 837
Derwent (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 838
GEC Alsthom (Import) | 1.033 | 1.034 | 1.018 | 1.033 | 839
St Gobain (Import) | 1.034 | 1.034 | 1.034 | 1.034 | 840
Toyota (Import) | 1.003 | 1.004 | 1.003 | 1.003 | 841
Derby Co-Generation (Imp)-CVA | 1.023 | 1.017 | 1.017 | 1.019 | 842
Rolls Royce Sinfin C (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 843
ABR Foods (Import) | 1.009 | 1.009 | 1.009 | 1.009 | 844
Petsoe Wind Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 845
Castle Cement (Import) | 1.047 | 1.047 | 1.048 | 1.047 | 846
Rugby Cement (Import) | 1.035 | 1.035 | 1.035 | 1.035 | 847
Cov & Sol Waste (Import) | 1.023 | 1.022 | 1.018 | 1.001 | 848
Bentinck (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 849
EHV Import | 1.023 | 1.022 | 1.018 | 1.019 | 851
Asfordby 132kv | 1.002 | 1.002 | 1.002 | 1.002 | 852
Calvert Landfill (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 853
Weldon Landfill (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 854
Goosy Lodge Power (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 855
BAR Honda (Import) | 1.015 | 1.015 | 1.015 | 1.015 | 856
Burton Wolds Wind Farm Import | 1.023 | 1.022 | 1.018 | 1.019 | 857
Railtrack Bretton (Import) | 1.048 | 1.048 | 1.048 | 1.048 | 858
Bambers Farm Wind Farm Import | 1.023 | 1.022 | 1.018 | 1.019 | 859
Vine House Wind Farm Import | 1.023 | 1.022 | 1.018 | 1.019 | 860
Red House Wind Farm Import | 1.023 | 1.022 | 1.018 | 1.019 | 861
Daneshill Landfill (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 862
Corby Power (Import) | 1.012 | 1.012 | 1.012 | 1.012 | 863
Newton Longville Import | 1.023 | 1.022 | 1.018 | 1.019 | 864
Hollies Wind Farm Import | 1.023 | 1.022 | 1.018 | 1.019 | 865
Lynn Wind Farm (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 866
Inner Dowsing Wind Farm Import | 1.009 | 1.008 | 1.006 | 1.007 | 867
Bicker Fen Wind Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 868
London Road CHP (Import) | 1.034 | 1.032 | 1.028 | 1.029 | 869
Lindhurst Wind Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 870
Staveley Works | 1.034 | 1.032 | 1.028 | 1.029 | 871
AP Drivelines | 1.034 | 1.032 | 1.028 | 1.029 | 872
Rolls Royce Coventry | 1.034 | 1.032 | 1.028 | 1.029 | 873
UK COAL MINING LTD | 1.034 | 1.032 | 1.028 | 1.029 | 874
Caterpillar | 1.034 | 1.032 | 1.028 | 1.029 | 875
Santander Carlton Park | 1.034 | 1.032 | 1.028 | 1.029 | 876
Brush | 1.034 | 1.032 | 1.028 | 1.029 | 877
JCB | 1.034 | 1.032 | 1.028 | 1.029 | 878
Cast Bar UK | 1.034 | 1.032 | 1.028 | 1.029 | 879
Bretby GP | 1.034 | 1.032 | 1.028 | 1.029 | 880
Holwell Works | 1.034 | 1.032 | 1.028 | 1.029 | 881
Pedigree Petfoods | 1.034 | 1.032 | 1.028 | 1.029 | 882
Alstom Wolverton | 1.034 | 1.032 | 1.028 | 1.029 | 883
Colworth Laboratory | 1.034 | 1.032 | 1.028 | 1.029 | 884
Boots Thane Road | 1.034 | 1.032 | 1.028 | 1.029 | 885
QMC | 1.034 | 1.032 | 1.028 | 1.029 | 886
British Gypsum | 1.034 | 1.032 | 1.028 | 1.029 | 887
Melbourne STW | 1.034 | 1.032 | 1.028 | 1.029 | 888
Whetstone | 1.034 | 1.032 | 1.028 | 1.029 | 889
Holbrook Works | 1.034 | 1.032 | 1.028 | 1.029 | 890
Astrazeneca Charnwood | 1.034 | 1.032 | 1.028 | 1.029 | 891
B&Q Manton (Import) | 1.034 | 1.032 | 1.028 | 1.029 | 892
Transco Churchover | 1.034 | 1.032 | 1.028 | 1.029 | 893
Alstom Rugby | 1.034 | 1.032 | 1.028 | 1.029 | 894
VSB Avenue | 1.023 | 1.022 | 1.018 | 1.019 | 895
Low Spinney Wind Farm | 1.023 | 1.022 | 1.018 | 1.019 | 896
SWINFORD WINDFARM (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 897
Yelvertoft Wind Farm | 1.023 | 1.022 | 1.018 | 1.019 | 898
Maxwell House Data Centre | 1.023 | 1.022 | 1.018 | 1.019 | 899
Burton Wolds Ext North Import | 1.023 | 1.022 | 1.018 | 1.019 | 902
Shacks Barn PV Import | 1.023 | 1.022 | 1.018 | 1.019 | 903
Hatton Gas Compressor | 1.012 | 1.012 | 1.012 | 1.012 | 904
North Hykeham EFW | 1.023 | 1.022 | 1.018 | 1.019 | 905
Sleaford Renewable (Import) | 1.04 | 1.04 | 1.04 | 1.04 | 906
Bilsthorpe Wind Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 907
Old Dalby Lodge WndFarm Import | 1.023 | 1.022 | 1.018 | 1.019 | 908
Willoughby STOR (Import) | 1.001 | 1.001 | 1.001 | 1.001 | 909
Rolls Royce AB&E 33kV (Import) | 1.017 | 1.017 | 1.017 | 1.017 | 910
The Grange Wind Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 911
Clay Lake STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 912
Balderton STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 913
Wymeswold Solar Park (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 914
French Farm Wind Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 915
Lilbourne Wind Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 916
Chelvaston Renewable (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 917
Beachampton Solar Farm Import | 1.023 | 1.022 | 1.018 | 1.019 | 918
Croft End Solar Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 919
M1 Wind Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 920
Leamington STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 921
Low Farm Anaerobic Dig (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 922
Turweston Airfield Solar (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 923
Burton Pedwardine Solar (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 924
Little Morton Farm Solar (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 925
Rockingham | 1.034 | 1.032 | 1.028 | 1.029 | 930
Santander Carlton Park 132/11 | 1.006 | 1.006 | 1.006 | 1.006 | 931
Delphi Diesel | 1.034 | 1.032 | 1.028 | 1.029 | 932
Univ of Warwick (do not use) | 1.034 | 1.032 | 1.028 | 1.029 | 933
Spare Import HV Sub 5 | 1.034 | 1.032 | 1.028 | 1.029 | 934
Spare Import HV Sub 6 | 1.034 | 1.032 | 1.028 | 1.029 | 935
Spare Import HV Sub 7 | 1.034 | 1.032 | 1.028 | 1.029 | 936
Spare Import HV Sub 8 | 1.034 | 1.032 | 1.028 | 1.029 | 937
Spare Import HV Sub 9 | 1.034 | 1.032 | 1.028 | 1.029 | 938
Spare Import HV Sub 10 | 1.034 | 1.032 | 1.028 | 1.029 | 939
Lodge Farm Solar Park (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 940
Ermine Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 941
Ridge Solar Park (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 942
Winwick Wind Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 943
Watford Lodge Wind Farm (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 944
Leverton Solar Park (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 945
Burton Pedwardine Phase 2 Imp | 1.023 | 1.022 | 1.018 | 1.019 | 946
Hartwell Solar Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 947
Eakley Lanes Solar North (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 948
Eakley Lanes Solar South (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 949
Welbeck Colliery PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 950
Newton Road PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 951
New Albion WF (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 952
Moat Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 953
Bilsthorpe Solar (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 954
Hall Farm PV (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 955
Gaultney Solar Park (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 956
Fiskerton Solar Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 957
Mount Mill Solar Park (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 958
Podington Airfield WF (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 959
Branston South PV Farm(Import) | 1.023 | 1.022 | 1.018 | 1.019 | 960
Eakring Solar Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 961
Ragdale PV Solar Park (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 962
Thoresby Solar Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 963
Welbeck Solar Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 964
Atherstone Solar Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 965
Babworth Estate PV Farm (Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 966
Gawcott Fields PV Boundary Imp | 1.023 | 1.022 | 1.018 | 1.019 | 967
Homestead Farm Solar Park(Imp) | 1.023 | 1.022 | 1.018 | 1.019 | 968
Grange Solar Farm (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 969
Spare EHV/HV 22 | 1.034 | 1.032 | 1.028 | 1.029 | 976
EHV site-specific LLFs
Export
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Spare 132/EHV Export 3 | 1.014 | 1.014 | 1.013 | 1.013 | 72
Spare 132/EHV Export 4 | 1.014 | 1.014 | 1.013 | 1.013 | 73
Spare 132/EHV Export 5 | 1.014 | 1.014 | 1.013 | 1.013 | 74
Spare 132/EHV Export 6 | 1.014 | 1.014 | 1.013 | 1.013 | 75
Spare 132/EHV Export 7 | 1.014 | 1.014 | 1.013 | 1.013 | 76
Spare 132/EHV Export 8 | 1.014 | 1.014 | 1.013 | 1.013 | 77
Spare 132/EHV Export 9 | 1.014 | 1.014 | 1.013 | 1.013 | 78
Spare 132/EHV Export 10 | 1.014 | 1.014 | 1.013 | 1.013 | 79
Spare 132/HV Export 3 | 1.02 | 1.019 | 1.016 | 1.017 | 218
Spare 132/HV Export 4 | 1.02 | 1.019 | 1.016 | 1.017 | 219
Spare 132/HV Export 5 | 1.02 | 1.019 | 1.016 | 1.017 | 220
Spare 132/HV Export 6 | 1.02 | 1.019 | 1.016 | 1.017 | 221
Spare 132/HV Export 7 | 1.02 | 1.019 | 1.016 | 1.017 | 222
Spare 132/HV Export 8 | 1.02 | 1.019 | 1.016 | 1.017 | 223
Spare 132/HV Export 9 | 1.02 | 1.019 | 1.016 | 1.017 | 224
Spare 132/HV Export 10 | 1.02 | 1.019 | 1.016 | 1.017 | 225
Spare HV For DCP137 Export 1 | 1.048 | 1.045 | 1.036 | 1.04 | 230
Spare HV For DCP137 Export 2 | 1.048 | 1.045 | 1.036 | 1.04 | 231
Spare HV For DCP137 Export 3 | 1.048 | 1.045 | 1.036 | 1.04 | 232
Spare HV For DCP137 Export 4 | 1.048 | 1.045 | 1.036 | 1.04 | 233
Spare HV For DCP137 Export 5 | 1.048 | 1.045 | 1.036 | 1.04 | 234
Spare HV For DCP137 Export 6 | 1.048 | 1.045 | 1.036 | 1.04 | 235
Spare HV For DCP137 Export 7 | 1.048 | 1.045 | 1.036 | 1.04 | 236
Spare HV For DCP137 Export 8 | 1.048 | 1.045 | 1.036 | 1.04 | 237
Spare HV For DCP137 Export 9 | 1.048 | 1.045 | 1.036 | 1.04 | 238
Spare HV For DCP137 Export 10 | 1.048 | 1.045 | 1.036 | 1.04 | 239
Spare HV For DCP137 Export 11 | 1.048 | 1.045 | 1.036 | 1.04 | 240
Spare HV For DCP137 Export 12 | 1.048 | 1.045 | 1.036 | 1.04 | 241
Spare 132kV Export 16 | 1.009 | 1.008 | 1.006 | 1.007 | 275
Spare 132kV Export 17 | 1.009 | 1.008 | 1.006 | 1.007 | 276
Spare 132kV Export 18 | 1.009 | 1.008 | 1.006 | 1.007 | 277
Spare 132kV Export 19 | 1.009 | 1.008 | 1.006 | 1.007 | 278
Spare 132kV Export 20 | 1.009 | 1.008 | 1.006 | 1.007 | 279
Yew Tree Farm PV (Export) | 1.023 | 1.052 | 1.018 | 1.05 | 367
Cobb Farm Egmanton PV (Export) | 1.023 | 1.049 | 1.018 | 1.045 | 368
Kelmarsh Wind Farm (Export) | 1.009 | 1.009 | 1.01 | 1.01 | 369
PebHall_Welland_Waste_Export | 1.008 | 1.008 | 1.008 | 1.008 | 370
Copley Farm PV Claypole (Exp) | 1.025 | 1.022 | 1.024 | 1.02 | 371
Greatmoor EFW Calvert (Export) | 0.99 | 0.99 | 0.991 | 0.992 | 372
Lodge Farm (Calow) PV Export | 1.023 | 1.005 | 1.018 | 1.005 | 373
Arkwright Solar PV (Export) | 1.023 | 1.009 | 1.018 | 1.009 | 374
Langar Commercial PV (Export) | 1.023 | 1.043 | 1.018 | 1.041 | 375
Redfield Road 1 STOR (Exp)-CVA | 1.023 | 1.022 | 1.018 | 1.019 | 376
Averill Farm PV (Export) | 1.023 | 1.014 | 1.018 | 1.014 | 377
Marchington Solar PV (Export) | 1.023 | 1.026 | 1.018 | 1.025 | 378
West End Fm Treswell PV (Exp) | 1.023 | 1.035 | 1.018 | 1.034 | 379
Fields Farm Southam PV (Exp) | 1.023 | 1.036 | 1.018 | 1.036 | 380
Canopus Farm PV (Export) | 1.023 | 1.022 | 1.018 | 1.03 | 381
Lindridge Farm PV (Export) | 1.023 | 1.04 | 1.018 | 1.04 | 382
Thornborough Grnds PV (Export) | 1.023 | 1.028 | 1.018 | 1.027 | 383
Wymeswold Narrow Lane PV (Exp) | 1.023 | 1.019 | 1.018 | 1.019 | 384
Manor Farm Horton PV (Export) | 1.023 | 1.012 | 1.018 | 1.012 | 385
Handley Park Farm PV (Export) | 1.023 | 1.04 | 1.018 | 1.04 | 386
Shelton Lodge PV (Export) | 1.023 | 1.041 | 1.018 | 1.04 | 387
Brafield on the Green PV (Exp) | 1.023 | 1.008 | 1.018 | 1.007 | 388
Sywell PV (Export) | 1.023 | 1.005 | 1.018 | 1.005 | 389
Holtwood Farm PV (Export) | 1.023 | 1.024 | 1.018 | 1.024 | 390
Drakelow Farm PV (Export) | 1.023 | 1.003 | 1.018 | 1.003 | 391
Stragglethorpe Rd PV (Export) | 1.023 | 1.014 | 1.018 | 1.014 | 392
Oxcroft Solar Farm PV (Export) | 1.023 | 1.014 | 1.018 | 1.013 | 393
Derby Waste Sinfin EFW (Exp) | 1.023 | 1.022 | 1.018 | 1.019 | 394
Littlewood Farm PV (Export) | 1.023 | 1.029 | 1.018 | 1.029 | 395
Twin Yards Farm PV (Export) | 1.023 | 1.027 | 1.018 | 1.026 | 396
Tower Hayes Farm PV (Export) | 1.023 | 1.023 | 1.018 | 1.023 | 397
The Breck Solar PV (Export) | 1.023 | 1.013 | 1.018 | 1.013 | 398
Barnby Moor Retford PV(Export) | 1.023 | 1.022 | 1.018 | 1.022 | 399
Lincoln Farm PV (Export) | 1.023 | 1.03 | 1.018 | 1.03 | 400
Drakelow Renewable BIO (Exp) | 1.023 | 1.022 | 1.018 | 1.019 | 401
Tetron Point ESS (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 402
Mill Fm Gt Ponton PV (Export) | 1.023 | 1.032 | 1.018 | 1.032 | 403
(PHF) Welland Bio Power Exp | 1.008 | 1.008 | 1.008 | 1.008 | 404
Deepdale Solar Fm PV (Export) | 1.023 | 1.03 | 1.018 | 1.03 | 405
Burton Wolds South WF (Export) | 1 | 1 | 1.001 | 1 | 406
Brafield_PV_Commercial (Exps) | 1.023 | 1.022 | 1.018 | 1.019 | 407
Brafield_PV_Community (Exps) | 1.023 | 1.022 | 1.018 | 1.019 | 408
Gawcott Flds PV Commercial Exp | 1.023 | 1.02 | 1.018 | 1.019 | 409
Gawcott Flds PV Community Exp | 1.023 | 1.02 | 1.018 | 1.019 | 410
Trafalgar Pk Gas STOR Exp-CVA | 1.023 | 1.022 | 1.018 | 1.019 | 411
John Brookes Sawmill BIO (Exp) | 1.012 | 1.012 | 1.012 | 1.013 | 412
Hawton Wind Farm WF (Export) | 1.011 | 1.011 | 1.012 | 1.011 | 413
Blackbridge Farm BIO (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 414
Garnham Close STOR (Export) | 1.019 | 1.019 | 1.022 | 1.022 | 415
Bombardier (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 416
Langar Community PV (Export) | 1.023 | 1.043 | 1.018 | 1.041 | 417
Hermitage Lane STOR (Export) | 1.023 | 1.025 | 1.026 | 1.025 | 418
Fosse Way Radford Sem PV (Exp) | 1.023 | 1.028 | 1.018 | 1.028 | 419
Meadow Fm Thorpe Lang PV (Exp) | 1.023 | 1.013 | 1.018 | 1.012 | 420
Olney Hyde Farm PV (Export) | 1.023 | 1.01 | 1.018 | 1.01 | 421
Dayfields Farm PV (Export) | 1.023 | 1.077 | 1.018 | 1.076 | 422
Bolsovermoor Quarry PV(Export) | 1.023 | 1.008 | 1.018 | 1.008 | 423
Bilsthorpe PV (Export) | 1.023 | 1.021 | 1.018 | 1.021 | 424
Carlton Forest STOR (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 425
Sutton Bonnington PV (Export) | 1.023 | 1.041 | 1.018 | 1.041 | 426
Alfreton Diesel Power (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 427
Green Lane Marchington PV(Exp) | 1.023 | 1.026 | 1.018 | 1.026 | 428
Baddesley Park PV (Export) | 1.023 | 1.028 | 1.018 | 1.027 | 429
Baddesley Park EFW (Export) | 1.022 | 1.021 | 1.022 | 1.022 | 430
Taylor Lane 33kV STOR (Export) | 1.019 | 1.019 | 1.022 | 1.022 | 431
Hill Farm ESS (Export) | 1.035 | 1.035 | 1.035 | 1.035 | 432
Leverton ESS (Export) | 1.036 | 1.037 | 1.037 | 1.037 | 433
Nottingham Rd STOR (Export) | 1.007 | 1.01 | 1.01 | 1.009 | 434
RAF Cranwell High G (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 435
Breach Farm ESS (Export) | 1.001 | 1.001 | 1.001 | 1.001 | 436
Boston Biomass Gen AD (Export) | 1.02 | 1.02 | 1.02 | 1.02 | 437
Twin Oaks Diesel STOR (Export) | 1.024 | 1.022 | 1.018 | 1.019 | 438
Colwick Private Rd STOR (Exp) | 1.012 | 1.012 | 1.014 | 1.014 | 439
Mill Fm Caythorpe ESS (Export) | 1.028 | 1.029 | 1.029 | 1.029 | 440
(PHF) Welland Waste Exp | 1.023 | 1.022 | 1.018 | 1.019 | 441
Rhodia STOR (Export) - now EDCM | 1.034 | 1.032 | 1.028 | 1.029 | 442
Spare EHV/HV Export 12 | 1.034 | 1.032 | 1.028 | 1.029 | 443
Spare EHV/HV Export 13 | 1.034 | 1.032 | 1.028 | 1.029 | 444
Spare EHV/HV Export 14 | 1.034 | 1.032 | 1.028 | 1.029 | 445
Spare EHV/HV Export 15 | 1.034 | 1.032 | 1.028 | 1.029 | 446
Spare EHV/HV Export 16 | 1.034 | 1.032 | 1.028 | 1.029 | 447
Spare EHV/HV Export 17 | 1.034 | 1.032 | 1.028 | 1.029 | 448
Spare EHV/HV Export 18 | 1.034 | 1.032 | 1.028 | 1.029 | 449
Spare EHV/HV Export 19 | 1.034 | 1.032 | 1.028 | 1.029 | 450
Spare EHV/HV Export 20 | 1.034 | 1.032 | 1.028 | 1.029 | 451
Branston Potato Fm PV (Export) | 1.018 | 1.017 | 1.018 | 1.017 | 452
Cotham Grange 132 PV (Export) | 1.001 | 1 | 1.001 | 1 | 453
Newhurst ERF 132 EFW (Export) | 0.999 | 0.999 | 0.999 | 0.999 | 454
Grafton Underwood PV (Export) | 1.009 | 1.008 | 1.006 | 1.007 | 455
Desford Road BESS 132 (Export) | 1 | 1 | 1 | 1 | 456
Yelvertoft Solar Farm (Export) | 1.009 | 1.008 | 1.006 | 1.007 | 457
Low Farm Solar Ltd PV (Export) | 1.009 | 1.008 | 1.006 | 1.007 | 458
Inkersall Grange PV (Export) | 1.009 | 1.008 | 1.006 | 1.007 | 459
Crifton Lodge 132 PV (Export) | 1.009 | 1.008 | 1.006 | 1.007 | 460
Vicarage Drove 132kV (Export) | 1.009 | 1.008 | 1.006 | 1.007 | 461
Halloughton Solar 132kV (Export) | 1.009 | 1.008 | 1.006 | 1.007 | 462
Bagworth Road 132kV (Export) | 1.009 | 1.008 | 1.006 | 1.007 | 463
Winkburn Solar 132KV (Export) | 1.009 | 1.008 | 1.006 | 1.007 | 464
Spare 132kV Export 14 | 1.009 | 1.008 | 1.006 | 1.007 | 465
Spare 132kV Export 15 | 1.009 | 1.008 | 1.006 | 1.007 | 466
Spare 132/EHV Export 1 | 1.014 | 1.014 | 1.013 | 1.013 | 467
Spare 132/EHV Export 2 | 1.014 | 1.014 | 1.013 | 1.013 | 468
Spare 132/HV Export 1 | 1.02 | 1.019 | 1.016 | 1.017 | 469
Spare 132/HV Export 2 | 1.02 | 1.019 | 1.016 | 1.017 | 470
Spare LV Export 1 | 1.092 | 1.087 | 1.076 | 1.079 | 471
Spare LV Export 2 | 1.092 | 1.087 | 1.076 | 1.079 | 472
Spare LV Export 3 | 1.092 | 1.087 | 1.076 | 1.079 | 473
Spare LV Export 4 | 1.092 | 1.087 | 1.076 | 1.079 | 474
Spare LV Export 5 | 1.092 | 1.087 | 1.076 | 1.079 | 475
Spare LV Export 6 | 1.092 | 1.087 | 1.076 | 1.079 | 476
Spare LV Export 7 | 1.092 | 1.087 | 1.076 | 1.079 | 477
Spare LV Export 8 | 1.092 | 1.087 | 1.076 | 1.079 | 478
Lyon Road Gas Gen (Export) | 1.024 | 1.026 | 1.026 | 1.026 | 479
Asher Lane 33kV STOR (Export) | 1.014 | 1.015 | 1.018 | 1.017 | 480
Spondon Peaking STOR (Export) | 1.021 | 1.022 | 1.022 | 1.022 | 481
Walworth Farm EES (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 482
Churchover Farm PV (Export) | 1.023 | 1.035 | 1.018 | 1.034 | 483
Hall Farm Phase 2 PV (Export) | 1.023 | 1.036 | 1.018 | 1.035 | 484
Back Lane Battery ESS (Export) | 1.002 | 1.002 | 1.002 | 1.002 | 485
Thornton Estate STOR (Export) | 1.011 | 1.012 | 1.013 | 1.012 | 486
Battery Ln Boston ESS (Export) | 1.022 | 1.022 | 1.022 | 1.022 | 487
Willowbrook Gen EFW (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 488
Airfield Fiskerton PV (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 489
White Cross Lane PV (Export) | 1.005 | 1.003 | 1.018 | 1.004 | 490
Streetfield Farm PV (Export) | 1.015 | 1.014 | 1.015 | 1.014 | 491
Gorse Lane PV (Export) | 1.023 | 1.004 | 1.005 | 1.002 | 492
Gorse Lane Ext PV (Export) | 1.023 | 1.004 | 1.005 | 1.002 | 493
Chelv Fed Int CB3 PV+Bat (Exp) | 1.023 | 1.022 | 1.018 | 1.019 | 494
Chelv Fed Dis CB3 PV+Bat (Exp) | 1.023 | 1.022 | 1.018 | 1.019 | 495
GEC Alsthom (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 496
Highgrounds Gen STOR (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 497
Hayton Lakes Battery (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 498
Hayton Lakes PV (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 499
Manor Farm PV (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 500
Potash Farm 30MW (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 501
Potash Farm 50MW (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 502
Goosey Lodge BESS Ext (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 503
Adstock Solar Farm PV (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 504
Eastfields PV+BESS (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 505
Chapel St PV (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 506
Wse Bourton Road PV (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 507
Haunton Manor Farm PV (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 508
Elms Solar Farm PV (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 509
Harborough Fields PV (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 510
Private Rd No5 Colwick (Exp) | 1.023 | 1.022 | 1.018 | 1.019 | 511
Gonerby Moor PV (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 512
Feldon Vale Solar (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 513
Spare EHV Export 181 | 1.023 | 1.022 | 1.018 | 1.019 | 514
Spare EHV Export 182 | 1.023 | 1.022 | 1.018 | 1.019 | 515
Spare EHV Export 183 | 1.023 | 1.022 | 1.018 | 1.019 | 516
Spare EHV Export 184 | 1.023 | 1.022 | 1.018 | 1.019 | 517
Spare EHV Export 185 | 1.023 | 1.022 | 1.018 | 1.019 | 518
Spare EHV Export 186 | 1.023 | 1.022 | 1.018 | 1.019 | 519
Spare EHV Export 187 | 1.023 | 1.022 | 1.018 | 1.019 | 520
Spare EHV Export 188 | 1.023 | 1.022 | 1.018 | 1.019 | 521
Spare EHV Export 189 | 1.023 | 1.022 | 1.018 | 1.019 | 522
Spare EHV Export 190 | 1.023 | 1.022 | 1.018 | 1.019 | 523
Spare EHV Export 191 | 1.023 | 1.022 | 1.018 | 1.019 | 524
Spare EHV Export 192 | 1.023 | 1.022 | 1.018 | 1.019 | 525
Spare EHV Export 193 | 1.023 | 1.022 | 1.018 | 1.019 | 526
Spare EHV Export 194 | 1.023 | 1.022 | 1.018 | 1.019 | 527
Spare EHV Export 195 | 1.023 | 1.022 | 1.018 | 1.019 | 528
Spare EHV Export 196 | 1.023 | 1.022 | 1.018 | 1.019 | 529
Spare EHV Export 197 | 1.023 | 1.022 | 1.018 | 1.019 | 530
Spare EHV Export 198 | 1.023 | 1.022 | 1.018 | 1.019 | 531
Spare EHV Export 199 | 1.023 | 1.022 | 1.018 | 1.019 | 532
Spare EHV Export 200 | 1.023 | 1.022 | 1.018 | 1.019 | 533
Spare EHV Export 201 | 1.023 | 1.022 | 1.018 | 1.019 | 534
Spare EHV Export 202 | 1.023 | 1.022 | 1.018 | 1.019 | 535
Spare EHV Export 203 | 1.023 | 1.022 | 1.018 | 1.019 | 536
Spare EHV Export 204 | 1.023 | 1.022 | 1.018 | 1.019 | 537
Spare EHV Export 205 | 1.023 | 1.022 | 1.018 | 1.019 | 538
Spare EHV Export 206 | 1.023 | 1.022 | 1.018 | 1.019 | 539
Spare EHV Export 207 | 1.023 | 1.022 | 1.018 | 1.019 | 540
Spare EHV Export 208 | 1.023 | 1.022 | 1.018 | 1.019 | 541
Spare EHV Export 209 | 1.023 | 1.022 | 1.018 | 1.019 | 542
Spare EHV Export 210 | 1.023 | 1.022 | 1.018 | 1.019 | 543
Spare EHV Export 211 | 1.023 | 1.022 | 1.018 | 1.019 | 544
Spare EHV Export 212 | 1.023 | 1.022 | 1.018 | 1.019 | 545
Spare EHV Export 213 | 1.023 | 1.022 | 1.018 | 1.019 | 546
Spare EHV Export 214 | 1.023 | 1.022 | 1.018 | 1.019 | 547
Spare EHV Export 215 | 1.023 | 1.022 | 1.018 | 1.019 | 548
Spare EHV Export 216 | 1.023 | 1.022 | 1.018 | 1.019 | 549
Spare EHV Export 217 | 1.023 | 1.022 | 1.018 | 1.019 | 550
Spare EHV Export 218 | 1.023 | 1.022 | 1.018 | 1.019 | 551
Spare EHV Export 219 | 1.023 | 1.022 | 1.018 | 1.019 | 552
Spare EHV Export 220 | 1.023 | 1.022 | 1.018 | 1.019 | 553
Spare EHV Export 221 | 1.023 | 1.022 | 1.018 | 1.019 | 554
Spare EHV Export 222 | 1.023 | 1.022 | 1.018 | 1.019 | 555
Spare EHV Export 223 | 1.023 | 1.022 | 1.018 | 1.019 | 556
Spare EHV Export 224 | 1.023 | 1.022 | 1.018 | 1.019 | 557
Spare EHV Export 225 | 1.023 | 1.022 | 1.018 | 1.019 | 558
Spare EHV Export 226 | 1.023 | 1.022 | 1.018 | 1.019 | 559
Spare EHV Export 227 | 1.023 | 1.022 | 1.018 | 1.019 | 560
Spare EHV Export 228 | 1.023 | 1.022 | 1.018 | 1.019 | 561
Spare EHV Export 229 | 1.023 | 1.022 | 1.018 | 1.019 | 562
Spare EHV Export 230 | 1.023 | 1.022 | 1.018 | 1.019 | 563
Spare EHV Export 231 | 1.023 | 1.022 | 1.018 | 1.019 | 564
Spare EHV Export 232 | 1.023 | 1.022 | 1.018 | 1.019 | 565
Spare EHV Export 233 | 1.023 | 1.022 | 1.018 | 1.019 | 566
Spare EHV Export 234 | 1.023 | 1.022 | 1.018 | 1.019 | 567
Spare EHV Export 235 | 1.023 | 1.022 | 1.018 | 1.019 | 568
Spare EHV Export 236 | 1.023 | 1.022 | 1.018 | 1.019 | 569
Spare EHV Export 237 | 1.023 | 1.022 | 1.018 | 1.019 | 570
Spare EHV Export 238 | 1.023 | 1.022 | 1.018 | 1.019 | 571
Spare EHV Export 239 | 1.023 | 1.022 | 1.018 | 1.019 | 572
Spare EHV Export 240 | 1.023 | 1.022 | 1.018 | 1.019 | 573
Spare EHV Export 241 | 1.023 | 1.022 | 1.018 | 1.019 | 574
Spare EHV Export 242 | 1.023 | 1.022 | 1.018 | 1.019 | 575
Spare EHV Export 243 | 1.023 | 1.022 | 1.018 | 1.019 | 576
Spare EHV Export 244 | 1.023 | 1.022 | 1.018 | 1.019 | 577
Spare EHV Export 245 | 1.023 | 1.022 | 1.018 | 1.019 | 578
Spare EHV Export 246 | 1.023 | 1.022 | 1.018 | 1.019 | 579
Spare EHV Export 247 | 1.023 | 1.022 | 1.018 | 1.019 | 580
Spare EHV Export 248 | 1.023 | 1.022 | 1.018 | 1.019 | 581
Spare EHV Export 249 | 1.023 | 1.022 | 1.018 | 1.019 | 582
Spare EHV Export 250 | 1.023 | 1.022 | 1.018 | 1.019 | 583
Spare EHV Export 251 | 1.023 | 1.022 | 1.018 | 1.019 | 584
Spare EHV Export 252 | 1.023 | 1.022 | 1.018 | 1.019 | 585
Spare EHV Export 253 | 1.023 | 1.022 | 1.018 | 1.019 | 586
Spare EHV Export 254 | 1.023 | 1.022 | 1.018 | 1.019 | 587
Spare EHV Export 255 | 1.023 | 1.022 | 1.018 | 1.019 | 588
Spare EHV Export 256 | 1.023 | 1.022 | 1.018 | 1.019 | 589
Spare EHV Export 257 | 1.023 | 1.022 | 1.018 | 1.019 | 590
Railtrack Bytham (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 600
Railtrack Grantham (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 601
Railtrack Staythorpe (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 602
Railtrack Retford (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 603
Railtrack Rugby (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 604
Railtrack Tamworth (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 605
Railtrack Wolverton (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 606
Acordis (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 607
QMC (Export) | 1.034 | 1.032 | 1.028 | 1.029 | 608
ABR Foods (Export) | 1.009 | 1.009 | 1.009 | 1.009 | 609
Derby Co-Generation (Exp)-CVA | 1.001 | 1.002 | 1.002 | 1.002 | 610
Bentinck (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 611
Calvert Landfill (Export) | 1.031 | 1.031 | 1.031 | 1.031 | 612
Weldon Landfill (Export) | 1.01 | 1.01 | 1.01 | 1.01 | 613
Goosy Lodge Power (Export) | 1 | 1 | 1 | 1 | 614
Burton Wolds Wind Farm Export | 0.998 | 0.997 | 1 | 0.999 | 615
Railtrack Bretton (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 616
Bambers Farm Wind Farm Export | 1.085 | 1.085 | 1.087 | 1.087 | 617
Vine House Wind Farm Export | 1.029 | 1.029 | 1.03 | 1.03 | 618
Red House Wind Farm Export | 1.056 | 1.056 | 1.059 | 1.059 | 619
Daneshill Landfill (Export) | 1.023 | 1.022 | 1.024 | 1.024 | 620
Newton Longville Export | 1.027 | 1.027 | 1.027 | 1.027 | 621
Hollies Wind Farm Export | 1.029 | 1.029 | 1.029 | 1.029 | 622
Lynn Wind Farm (Export) | 1.011 | 1.011 | 1.013 | 1.014 | 629
Inner Dowsing Wind Farm Export | 1.01 | 1.011 | 1.013 | 1.014 | 630
Bicker Fen Wind Farm (Export) | 1.025 | 1.026 | 1.029 | 1.027 | 631
Cov & Sol Waste (Export) | 1.034 | 1.032 | 1.028 | 1.029 | 632
Lindhurst Wind Farm (Export) | 1.028 | 1.028 | 1.029 | 1.029 | 633
London Road CHP (Export) | 1.016 | 1.016 | 1.015 | 1.015 | 634
Petsoe Wind Farm (Export) | 1.03 | 1.03 | 1.032 | 1.032 | 635
Boots Thane Road (Export) | 1.034 | 1.032 | 1.028 | 1.029 | 636
B&Q Manton (Export) | 1.034 | 1.032 | 1.028 | 1.029 | 637
Low Spinney Wind Farm (Export) | 1.043 | 1.044 | 1.044 | 1.045 | 638
SWINFORD WINDFARM (Export) | 1.036 | 1.036 | 1.037 | 1.037 | 639
Asfordby Generation | 1 | 1 | 1 | 1 | 640
Yelvertoft (Export) | 1.049 | 1.049 | 1.051 | 1.05 | 641
North Hykeham Export | 1.037 | 1.037 | 1.037 | 1.037 | 642
Sleaford Renewable (Export) | 1.035 | 1.035 | 1.029 | 1.028 | 643
Bilsthorpe Wind Farm (Export) | 1.032 | 1.033 | 1.033 | 1.033 | 644
Old Dalby Lodge WndFarm Export | 1.015 | 1.015 | 1.015 | 1.015 | 645
Lilbourne Wind Farm (Export) | 1.041 | 1.041 | 1.042 | 1.042 | 646
The Grange Wind Farm (Export) | 1.032 | 1.032 | 1.033 | 1.033 | 647
Clay Lake STOR (Export) | 1.035 | 1.022 | 1.018 | 1.019 | 648
Balderton STOR (Export) | 1.011 | 1.022 | 1.018 | 1.019 | 649
Burton Wolds Ext North Export | 0.999 | 0.999 | 1 | 1 | 650
Shacks Barn PV Export | 1.023 | 1.038 | 1.018 | 1.038 | 651
Willoughby STOR (Export) | 1 | 1.001 | 1.001 | 1.001 | 652
Wymeswold Solar Park (Export) | 1.017 | 1.016 | 1.017 | 1.015 | 653
French Farm Wind Farm (Export) | 1.042 | 1.042 | 1.042 | 1.042 | 654
Chelvaston Renewable (Export) | 0.999 | 0.997 | 1 | 0.996 | 655
Beachampton Solar Farm Export | 1.023 | 1.014 | 1.018 | 1.014 | 656
Croft End Solar Farm (Export) | 1.023 | 1.027 | 1.018 | 1.027 | 657
M1 Wind Farm (Export) | 1.01 | 1.01 | 1.01 | 1.01 | 658
Leamington STOR Export | 1.023 | 1.022 | 1.018 | 1.019 | 659
Low Farm Anaerobic Dig (Exp) | 1.022 | 1.022 | 1.022 | 1.022 | 660
Welbeck Colliery PV ( Export) | 1.023 | 1.028 | 1.018 | 1.027 | 661
Newton Road PV (Export) | 1.023 | 1.01 | 1.018 | 1.009 | 662
New Albion WF (Export) | 1.005 | 1.004 | 1.006 | 1.005 | 663
Moat Farm PV (Export) | 1.023 | 1.023 | 1.018 | 1.022 | 664
Bilsthorpe Solar (Export) | 1.023 | 1.044 | 1.018 | 1.042 | 665
Hall Farm PV (Export) | 1.023 | 1.036 | 1.018 | 1.035 | 666
Gaultney Solar Park (Export) | 1.023 | 1.008 | 1.009 | 1.007 | 667
Fiskerton Solar Farm (Export) | 1.023 | 1.034 | 1.018 | 1.033 | 668
Mount Mill Solar Park (Export) | 1.023 | 1.021 | 1.018 | 1.021 | 669
Podington Airfield WF (Export) | 1.002 | 1.002 | 1.002 | 1.002 | 670
Branston South PV Farm(Export) | 1.023 | 1.047 | 1.05 | 1.044 | 671
Eakring Solar Farm (Export) | 1.023 | 1.023 | 1.018 | 1.022 | 672
Ragdale PV Solar Park (Export) | 1.023 | 1.026 | 1.018 | 1.026 | 673
Thoresby Solar Farm (Export) | 1.023 | 1.044 | 1.018 | 1.042 | 674
Welbeck Solar Farm (Export) | 1.023 | 1.033 | 1.018 | 1.032 | 675
Atherstone Solar Farm (Export) | 1.023 | 1.038 | 1.018 | 1.036 | 676
Babworth Estate PV Farm (Exp) | 1.023 | 1.023 | 1.018 | 1.022 | 677
Gawcott Fields PV Boundary Exp | 1.023 | 1.022 | 1.018 | 1.019 | 678
Homestead Farm Solar Park(Exp) | 1.023 | 1.028 | 1.029 | 1.027 | 679
Grange Solar Farm (Export) | 1.023 | 1.085 | 1.018 | 1.082 | 680
Spare Export HV Sub 1 | 1.034 | 1.032 | 1.028 | 1.029 | 681
Spare Export HV Sub 2 | 1.034 | 1.032 | 1.028 | 1.029 | 682
Spare Export HV Sub 3 | 1.034 | 1.032 | 1.028 | 1.029 | 683
University of Warwick (Export) | 1.034 | 1.032 | 1.028 | 1.029 | 684
Spare Export HV Sub 5 | 1.034 | 1.032 | 1.028 | 1.029 | 685
Spare Export HV Sub 6 | 1.034 | 1.032 | 1.028 | 1.029 | 686
Spare Export HV Sub 7 | 1.034 | 1.032 | 1.028 | 1.029 | 687
Spare Export HV Sub 8 | 1.034 | 1.032 | 1.028 | 1.029 | 688
Spare Export HV Sub 9 | 1.034 | 1.032 | 1.028 | 1.029 | 689
Spare Export HV Sub 10 | 1.034 | 1.032 | 1.028 | 1.029 | 690
Turweston Airfield Solar (Exp) | 1.023 | 1.021 | 1.018 | 1.021 | 691
Burton Pedwardine Solar (Exp) | 1.023 | 1.028 | 1.018 | 1.028 | 692
Little Morton Farm Solar (Exp) | 1.023 | 1.016 | 1.018 | 1.016 | 693
Lodge Farm Solar Park (Export) | 1.023 | 1.038 | 1.018 | 1.037 | 694
Ermine Farm PV (Export) | 1.023 | 1.021 | 1.023 | 1.02 | 695
Ridge Solar Park (Export) | 1.023 | 1.004 | 1.018 | 1.004 | 696
Winwick Wind Farm (Export) | 1.039 | 1.039 | 1.039 | 1.039 | 697
Watford Lodge Wind Farm (Exp) | 1.04 | 1.04 | 1.04 | 1.04 | 698
Leverton Solar Park (Export) | 1.023 | 1.033 | 1.018 | 1.031 | 699
Castle Cement (Export) | 1.023 | 1.022 | 1.018 | 1.045 | 700
Burton Pedwardine Phase 2 Exp | 1.023 | 1.029 | 1.018 | 1.029 | 701
Hartwell Solar Farm (Export) | 1.023 | 1.009 | 1.018 | 1.008 | 702
Eakley Lanes Solar North (Exp) | 1.023 | 1.011 | 1.018 | 1.01 | 703
Eakley Lanes Solar South (Exp) | 1.023 | 1.011 | 1.018 | 1.01 | 704
Prestop Park Farm PV (Export) | 1.023 | 1.025 | 1.018 | 1.024 | 705
Smith Hall Farm Solar (Export) | 1.023 | 1.055 | 1.018 | 1.053 | 706
Park Farm Solar Ashby (Export) | 1.023 | 1.021 | 1.018 | 1.019 | 707
Aston House Solar Farm(Export) | 1.023 | 1.011 | 1.018 | 1.009 | 708
Normanton-le-Heath PV Fm (Exp) | 1.023 | 1.022 | 1.018 | 1.019 | 709
Elms Farm Solar Farm (Export) | 1.023 | 1.032 | 1.018 | 1.032 | 710
Morton Solar Farm (Export) | 1.023 | 1.015 | 1.016 | 1.015 | 711
Glebe Farm Podington PV-Export | 1.004 | 1.002 | 1.004 | 1.001 | 712
Rolleston Park Solar (Export) | 1.023 | 1.011 | 1.018 | 1.01 | 713
Nowhere Farm PV (Export) | 1.023 | 1.04 | 1.018 | 1.039 | 714
Lockington Solar Farm (Export) | 1.023 | 1.022 | 1.018 | 1.019 | 715
Chelveston Renewable PV-Export | 1.003 | 1.001 | 1.003 | 1 | 716
Horsemoor Drove Solar (Export) | 1.023 | 1.029 | 1.018 | 1.029 | 717
Decoy Farm Crowland PV-Export | 1.023 | 1.042 | 1.018 | 1.042 | 718
Decoy Farm Crowland Bio-Export | 1.023 | 1.022 | 1.018 | 1.019 | 719
Decoy Farm Crowland AD-Export | 1.041 | 1.041 | 1.041 | 1.041 | 720
Spare EHV/HV Export 23 | 1.034 | 1.032 | 1.028 | 1.029 | 806
Spare EHV/HV Export 24 | 1.034 | 1.032 | 1.028 | 1.029 | 807
Spare EHV/HV Export 25 | 1.034 | 1.032 | 1.028 | 1.029 | 808
Spare EHV/HV Export 26 | 1.034 | 1.032 | 1.028 | 1.029 | 809
Spare EHV/HV Export 27 | 1.034 | 1.032 | 1.028 | 1.029 | 810
Spare EHV/HV Export 28 | 1.034 | 1.032 | 1.028 | 1.029 | 811
Spare EHV/HV Export 29 | 1.034 | 1.032 | 1.028 | 1.029 | 812
Spare EHV/HV Export 30 | 1.034 | 1.032 | 1.028 | 1.029 | 813
Spare EHV/HV Export 31 | 1.034 | 1.032 | 1.028 | 1.029 | 814
Spare EHV/HV Export 22 | 1.034 | 1.032 | 1.028 | 1.029 | 978
site-specific LLFs
CVA
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Grendon/Huntingdon Interconnector | 1.009 | 1.009 | 1.009 | 1.009 | 2034
Banbury/East Claydon Internconnector | 1.001 | 1.001 | 1.001 | 1.001 | 2227
Glutton Bridge Interconnector | 1.048 | 1.045 | 1.036 | 1.04 | 2820
West Burton Power Station | 1 | 1 | 1 | 1 | 4010
Ratcliffe-on-Soar Power Station | 1 | 1 | 1 | 1 | 5016
Corby Power | 1.008 | 1.008 | 1.009 | 1.009 | 7015
Derwent Cogeneration | 1.009 | 1.008 | 1.006 | 1.007 | 7043
Redfield Road 1 STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 7315
Redfield Road 1 STOR (Export) | 1.014 | 1.015 | 1.015 | 1.015 | 7316
Trafalgar Pk Gas STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 7324
Trafalgar Pk Gas STOR (Export) | 1.016 | 1.016 | 1.018 | 1.016 | 7325
Redfield Road B STOR (Import) | 1.023 | 1.022 | 1.018 | 1.019 | 7326
Redfield Road B STOR (Export) | 1.009 | 1.01 | 1.01 | 1.01 | 7327
Staythorpe Power Station (Import) | 1.048 | 1.045 | 1.036 | 1.04 | 7410
Derby Power Station (Import) | 1.023 | 1.017 | 1.017 | 1.019 | 7443
Derby Power Station (Export) | 1.003 | 1.003 | 1.004 | 1.004 | 7444
Newton Wood Energy Storage (Import) | 1.009 | 1.008 | 1.006 | 1.007 | 7506
Newton Wood Energy Storage (Export) | 1.009 | 1.008 | 1.006 | 1.007 | 7507
Peak Gen Coventry (Import) | 1.048 | 1.045 | 1.036 | 1.04 | 7556
Peak Gen Coventry (Export) | 1.048 | 1.045 | 1.036 | 1.04 | 7557