## Sheet1
High Voltage Design - Design Submission form
Site Address
Designer |  |  |  |  | External Enquiry No
Company Name | National Grid Electricity Distribution |  |  |  | Internal Enquiry No
NGED Auditor
Managed Unit |  |  |  |  | Date | 2025-03-12
Requested load (demand only) |  |  | kW |  | Connecting onto circuit no -
Number of MPAN's to be created |  |  |  |  | Location / between
Power Factor |  | Unity
Load profile - cyclic or sustained? |  | Sustained |  |  | Relevant backfeed circuits -
Any motors / generators > 50kW? * |  | Yes | Fault Levels to be considered
Rating of primary transformers |  |  | MVA
Total Load on primary substation |  |  | MVA
Single transformer primary?** |  | No
Apportionment or Potential refund applicable? *** |  | No
Design Parameters
Date & Time of maximum demand
Network load profile - Cyclic or Sustained? |  |  |  |  | Load on Circuit |  |  | kVA
Season with highest utilsation factor |  |  | Summer
Design Voltage of System |  |  | 11000 | V | Key Loads, Agreed, Committed, Considered
Name of Primary Substation | [7 empty] | kVA
Target voltage of primary S/S |  |  |  | V |  |  |  | kVA
Tap positions available? E.g. +5% to -15% or ± 10% | [7 empty] | kVA
Tap position on distribution substations |  |  | 5 |  |  |  |  | kVA
Name of Backfeeding Primary ***** |  |  |  | % |  |  |  | kVA
Target voltage of alternative Primary S/S **** | [7 empty] | kVA
Tap positions available? E.g. +5% to -15% or ± 10% |  |  |  | V | Load on Backfeeds
kVA
kVA
kVA
Network analysis checks | [7 empty] | kVA
Normal running arrangement |  |  |  |  | Abnormal running arrangement |  |  |  |  | maximum |  |  | minimum |  |  | Absolute Minimum During Abnormal Running (not preffered)
Current flow at POC |  |  | A |  | Current flow at POC |  |  | A |  | 11000 | 6600 |  | 11000 | 6600 |  | 11000 | 6600
Voltage at new transformer / Connection |  | 10729 | V |  | Voltage at new transformer / Connection |  | 10500 | V | 8.4 | N/A | 7000 | 8.4 | N/A | 6610 | 8.4 | N/A | 6350
Lowest voltage on circuit |  |  | V |  | Lowest voltage on network |  |  | V | 7.5 | 11660 | N/A | 7.5 | 10930 | N/A | 7.5 | 10500 | N/A
Location of lowest volts |  |  |  |  | Location of lowest volts |  |  |  | 5 | 11590 | 6950 | 5 | 10680 | 6410 | 5 | 10250 | 6150
Lowest Voltage of HV Metered Customer |  |  |  |  | Lowest Voltage of HV Metered Customer |  | 10341
Highest utilisation Factor |  |  | % |  | Highest utilisation Factor |  |  | % | 4.2 | N/A | 6900 | 4.2 | N/A | 6360 | 4.2 | N/A | 6100
[9 empty] | 2.5 | 11310 | 6790 | 2.5 | 10420 | 6250 | 2.5 | 10010 | 6010
POL:SD4 Voltage Limits |  | Maximum (V) | Minimum (V) |  | Absolute Minimum During Abnormal Running (not preffered) (V) |  |  |  | 0 | 11040 | 6620 | 0 | 10170 | 6100 | 0 | 9770 | 5860
LV Metered connections |  | 11590 | 10680 |  | 10250 |  |  |  | -2.5 | 10760 | 6460 | -2.5 | 9920 | 5950 | -2.5 | 9520 | 5710
HV Metered Connections |  | 11660 | 10340 |  | 9900
[9 empty] | -4.2 | N/A | 6350 | -4.2 | N/A | 5850 | -4.2 | N/A | 5620
Security of Supply (ENA ER P2) | [8 empty] | -5 | 10490 | 6290 | -5 | 9660 | 5800 | -5 | 9280 | 5570
Individual Level of Security |  |  | Ringed
Is the group demand < 1MVA |  |  | Yes | [5 empty] | -8.4 | N/A | 6070 | -8.4 | N/A | 5590 | -8.4 | N/A | 5370
Does the whole circuit comply with ENA ER P2? |  |  | No |  | Augment the circuit for compliance
Is this circuit an essential backfeed? |  |  | No |  | → Backfeed for circuit
Does the circuit and connection comply with ST:SD4A? |  |  | No |  | Augment the circuit for compliance
Circuit Backfed from. Open point switched at
Earthing Arrangements
Primary Substation of normal running arrangement |  |  | Hot |  | 70mm² CU HDC earthing conductor required? |  |  | Yes
Distribution substation |  |  | Cold |  | Earthing Arrangements compliant with ST:TP21 series? |  |  | Yes
Attachments to be included
2 x HV schematic detailing the normal and abnormal circuit connectivity.
2x HV schematics detailing the Point of Connection including the customer equipment
Is reinforcement required?
comments
* Where motors or generators are installed with a rating > 50kW, consideration must be given to the fault rating of apparatus and a fault level study maybe required
** Only NGED to calculate the POC for connections on circuits with Single transformer primarys on the normal or abnormal feed
*** Only NGED to calculate the POC for connections where Apportionment or Potential Refund are applicable
**** Only required where the alternative backfeed is fed from an another Primary substation