## Annex 5 LLFs
Western Power Distribution (South West) plc - Illustrative LLFs for year beginning 1 April 2020
Time periods | Period 1 | Period 2 | Period 3 | Period 4
| Peak | Winter | Night | Other
Monday to Friday Mar to Oct |  |  | 00:00 - 06:30 23:30 - 24:00 | 06:30 - 23:30
Monday to Friday Nov to Feb | 16:00 - 19:00 | 06:30 - 16:00 | 00:00 - 06:30 23:30 - 24:00 | 19:00 - 23:30
Saturday and Sunday All Year |  |  | 00:00 - 06:30 23:30 - 24:00 | 06:30 - 23:30
Notes | All the above times are in UK Clock time
Generic demand and generation LLFs
Metered voltage, respective periods and associated LLFCs
Metered voltage | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
132kV connected | 1.002 | 1.001 | 1.001 | 1.001
132/EHV connected | 1.005 | 1.005 | 1.006 | 1.006
132/HV connected | 1.006 | 1.005 | 1.006 | 1.006
EHV connected | 1.014 | 1.014 | 1.012 | 1.014 | 670, 671
High Voltage Substation | 1.02 | 1.019 | 1.018 | 1.02 | 522, 523, 525
High Voltage Network | 1.038 | 1.035 | 1.029 | 1.033 | 95, 96, 510, 521, 524
Low Voltage Substation | 1.052 | 1.051 | 1.052 | 1.051 | 93, 94, 526, 540, 551
Low Voltage Network | 1.067 | 1.063 | 1.062 | 1.062 | 10, 20, 30, 40, 91, 92, 110, 202, 203, 210, 251, 430, 527, 570, 581, 970, 977, 978, 979, 980, L21, L22, L23, L24, L41, L42, L43, L44
EHV site specific LLFs
Demand
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Rolls Royce Filton HV Import | 1.02 | 1.019 | 1.018 | 1.02 | 198
Ashwater Auxiliary Import (LV) | 1.067 | 1.063 | 1.062 | 1.062 | 204
Otterham STOR Import | 1.005 | 1.005 | 1.006 | 1.006 | 250
Tregarrick Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 260
Freathy Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 261
Till House PV | 1.014 | 1.014 | 1.012 | 1.014 | 262
Outlands Wood PV | 1.014 | 1.014 | 1.012 | 1.014 | 263
Culmhead PV | 1.014 | 1.014 | 1.012 | 1.014 | 264
Whitchurch Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 265
Kingsland Barton PV | 1.014 | 1.014 | 1.012 | 1.014 | 266
Mendip Solar PV | 1.014 | 1.014 | 1.012 | 1.014 | 267
St Stephen PV | 1.014 | 1.014 | 1.012 | 1.014 | 268
Trewidland PV | 1.014 | 1.014 | 1.012 | 1.014 | 269
Watchfield Lawn PV | 1.014 | 1.014 | 1.012 | 1.014 | 270
Gover Park PV | 1.014 | 1.014 | 1.012 | 1.014 | 271
North Wayton PV | 1.014 | 1.014 | 1.012 | 1.014 | 272
Week Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 273
Cullompton PV | 1.014 | 1.014 | 1.012 | 1.014 | 274
Dinder Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 275
Kilmersdon Estate PV | 1.014 | 1.014 | 1.012 | 1.014 | 276
Pitts Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 277
Kerriers PV | 1.014 | 1.014 | 1.012 | 1.014 | 278
Ernesettle STOR | 1.014 | 1.014 | 1.012 | 1.014 | 279
Yew Tree Cottage PV | 1.014 | 1.014 | 1.012 | 1.014 | 280
Goonhilly PV | 1.014 | 1.014 | 1.012 | 1.014 | 281
Nanteague PV | 1.014 | 1.014 | 1.012 | 1.014 | 282
Bidwell Dartington PV | 1.014 | 1.014 | 1.012 | 1.014 | 283
New Row Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 284
Victoria (WBAR3) WF | 1.014 | 1.014 | 1.012 | 1.014 | 285
Four Barrows 2 PV | 1.014 | 1.014 | 1.012 | 1.014 | 286
Redlands Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 287
Tengore Lane PV | 1.014 | 1.014 | 1.012 | 1.014 | 288
Liverton Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 289
Yonder Parks PV | 1.014 | 1.014 | 1.012 | 1.014 | 290
Somerton Door PV | 1.014 | 1.014 | 1.012 | 1.014 | 291
Carditch Drove PV | 1.014 | 1.014 | 1.012 | 1.014 | 292
Capelands Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 293
East Youlstone WF | 1.014 | 1.014 | 1.012 | 1.014 | 294
Francis Court Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 295
Northwood PV | 1.014 | 1.014 | 1.012 | 1.014 | 296
Tricky Warren PV | 1.014 | 1.014 | 1.012 | 1.014 | 297
Iwood Lane PV | 1.014 | 1.014 | 1.012 | 1.014 | 298
Rydon Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 299
Balls Wood PV | 1.014 | 1.014 | 1.012 | 1.014 | 300
Ashlawn Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 301
Pencoose Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 302
Hawkers Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 303
Hurcott PV | 1.014 | 1.014 | 1.012 | 1.014 | 304
Garvinack Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 305
Newton Barton PV | 1.014 | 1.014 | 1.012 | 1.014 | 306
Coombeshead Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 307
Walland Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 308
Ashcombe PV | 1.014 | 1.014 | 1.012 | 1.014 | 309
Newnham Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 310
Roskrow Barton PV | 1.014 | 1.014 | 1.012 | 1.014 | 311
Parkview PV | 1.014 | 1.014 | 1.012 | 1.014 | 312
Towerhead Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 313
Rookery Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 314
Bystock Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 315
Pylle PVs Boundary Imports | 1.014 | 1.014 | 1.012 | 1.014 | 316
Burthy Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 317
Wilton Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 318
Coombe Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 319
Higher Bye Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 320
Wilton Farm WF | 1.014 | 1.014 | 1.012 | 1.014 | 321
Denzell Downs WF | 1.014 | 1.014 | 1.012 | 1.014 | 322
Puriton Landfill PV_1 | 1.014 | 1.014 | 1.012 | 1.014 | 323
Portworthy Dams PV Site 1 | 1.014 | 1.014 | 1.012 | 1.014 | 324
Wick Farm Boundary Imports | 1.014 | 1.014 | 1.012 | 1.014 | 325
Batsworthy Cross WF | 1.014 | 1.014 | 1.012 | 1.014 | 327
Portworthy Dams PV Site 2 | 1.014 | 1.014 | 1.012 | 1.014 | 328
Crewkerne PV Site 1 | 1.014 | 1.014 | 1.012 | 1.014 | 329
Crewkerne PV Site 2 | 1.014 | 1.014 | 1.012 | 1.014 | 330
Tonedale Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 331
Puriton Landfill PV_2 | 1.014 | 1.014 | 1.012 | 1.014 | 332
Red Hill Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 333
Chelwood PV | 1.014 | 1.014 | 1.012 | 1.014 | 334
West Carclaze Site 1 | 1.014 | 1.014 | 1.012 | 1.014 | 335
West Carclaze Site 2 | 1.014 | 1.014 | 1.012 | 1.014 | 336
Northmoor (embd) PV | 1.014 | 1.014 | 1.012 | 1.014 | 337
Nmoor Little Tinney WF | 1.014 | 1.014 | 1.012 | 1.014 | 338
Nmoor Little Balsdon WF | 1.014 | 1.014 | 1.012 | 1.014 | 339
Nmoor Hornacott PV | 1.014 | 1.014 | 1.012 | 1.014 | 340
Oakham Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 341
Carnemough Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 342
Ashwater WT Site 1 Import | 1.014 | 1.014 | 1.012 | 1.014 | 343
Makro Exeter STOR | 1.014 | 1.014 | 1.012 | 1.014 | 344
Great Hounbeare PV | 1.014 | 1.014 | 1.012 | 1.014 | 345
Withy Drove PV | 1.014 | 1.014 | 1.012 | 1.014 | 346
Water Lane STOR | 1.014 | 1.014 | 1.012 | 1.014 | 347
Montys Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 348
Lawrence Weston PV | 1.014 | 1.014 | 1.012 | 1.014 | 349
Dunsland Cross WF | 1.014 | 1.014 | 1.012 | 1.014 | 350
Trerule Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 351
Nancrossa Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 352
Wick Farm West | 1.014 | 1.014 | 1.012 | 1.014 | 353
LWestPNtWk SevernCom PV | 1.014 | 1.014 | 1.012 | 1.014 | 354
LWestPNtWk Site 2 PV | 1.014 | 1.014 | 1.012 | 1.014 | 355
Tamerton Bridge STOR | 1.014 | 1.014 | 1.012 | 1.014 | 356
Ashwater PV Site 2 Import | 1.014 | 1.014 | 1.012 | 1.014 | 357
Bodwen PV Import | 1.014 | 1.014 | 1.012 | 1.014 | 358
Sharland Farm PV Import | 1.014 | 1.014 | 1.012 | 1.014 | 359
Stoneshill PV Import | 1.014 | 1.014 | 1.012 | 1.014 | 360
Nmoor Parsonage Wood PV Import | 1.014 | 1.014 | 1.012 | 1.014 | 361
Axe View PV Import | 1.014 | 1.014 | 1.012 | 1.014 | 362
Place Barton PV Import | 1.014 | 1.014 | 1.012 | 1.014 | 363
Old Stone farm PV Import | 1.014 | 1.014 | 1.012 | 1.014 | 364
Cattedown STOR Import | 1.014 | 1.014 | 1.012 | 1.014 | 365
Barton Hill Way STOR Import | 1.014 | 1.014 | 1.012 | 1.014 | 366
Lockleaze Battery Import | 1.005 | 1.005 | 1.005 | 1.005 | 367
Imerys Blackpool | 1.02 | 1.019 | 1.018 | 1.02 | 600
Otterham WT Feeder1 | 1.005 | 1.005 | 1.006 | 1.006 | 603
Otterham WT Feeder2 | 1.005 | 1.005 | 1.006 | 1.006 | 604
Wyld Meadow PV Farm | 1.014 | 1.014 | 1.012 | 1.014 | 607
Prince Rock STOR | 1.014 | 1.014 | 1.012 | 1.014 | 608
Fulford Solar | 1.014 | 1.014 | 1.012 | 1.014 | 609
Bradon Farm | 1.014 | 1.042 | 1.042 | 1.042 | 612
Carland Cross | 1.014 | 1.014 | 1.012 | 1.014 | 613
Cold Northcott | 1.014 | 1.014 | 1.012 | 1.014 | 614
Forest Moor Wind 1 | 1.014 | 1.014 | 1.012 | 1.014 | 615
Forest Moor Wind 2 | 1.014 | 1.014 | 1.012 | 1.014 | 616
Four Burrows | 1.014 | 1.014 | 1.012 | 1.014 | 617
Canworthy PV | 1.002 | 1.001 | 1.007 | 1.001 | 618
St. Breock | 1.014 | 1.014 | 1.012 | 1.014 | 619
Babcock Marine Central Intake | 1.014 | 1.014 | 1.01 | 1.01 | 620
W4B Generation Seabank | 1.014 | 1.014 | 1.012 | 1.014 | 622
Denbrook Wind Farm | 1.014 | 1.014 | 1.012 | 1.014 | 623
Wavehub Hayle | 1.014 | 1.014 | 1.012 | 1.014 | 624
Marsh Barton | 1.002 | 1.001 | 1.001 | 1.001 | 625
Connon Bridge Landfill | 1.014 | 1.014 | 1.012 | 1.014 | 626
Chelson Generator | 1.014 | 1.014 | 1.012 | 1.014 | 627
Darracott | 1.014 | 1.014 | 1.012 | 1.014 | 628
Bears Down | 1.014 | 1.014 | 1.012 | 1.014 | 629
Untd Mns Redruth St.Day | 1.014 | 1.014 | 1.012 | 1.014 | 632
Shooter's Bottom | 1.014 | 1.014 | 1.012 | 1.014 | 633
Heathfield | 1.014 | 1.014 | 1.012 | 1.014 | 634
Goonhilly | 1.014 | 1.014 | 1.012 | 1.014 | 635
Delabole | 1.014 | 1.014 | 1.012 | 1.014 | 636
Fullabrook | 1.002 | 1.001 | 1.001 | 1.001 | 637
Hemerdon Mine | 1.019 | 1.019 | 1.021 | 1.021 | 638
Trenoweth Farm | 1.014 | 1.014 | 1.012 | 1.014 | 639
Rolls Royce Filton TT | 1.014 | 1.014 | 1.012 | 1.014 | 640
Woodland Barton Farm | 1.014 | 1.014 | 1.012 | 1.014 | 642
Manor Farm | 1.014 | 1.014 | 1.012 | 1.014 | 643
Churchtown Farm | 1.014 | 1.014 | 1.012 | 1.014 | 644
Trenouth Farm | 1.014 | 1.014 | 1.012 | 1.014 | 645
West Kingsmill | 1.014 | 1.014 | 1.012 | 1.014 | 646
Howton Farm | 1.014 | 1.014 | 1.012 | 1.014 | 647
Chynoweth Farm | 1.014 | 1.014 | 1.012 | 1.014 | 648
Newton Downs Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 649
ROF Puriton | 1.014 | 1.014 | 1.012 | 1.014 | 650
East Langford | 1.014 | 1.014 | 1.012 | 1.014 | 652
Ninnis Farm | 1.014 | 1.014 | 1.012 | 1.014 | 653
Willsland | 1.014 | 1.014 | 1.012 | 1.014 | 654
Eastcombe Farm | 1.014 | 1.014 | 1.012 | 1.014 | 655
Bratton Flemming | 1.014 | 1.014 | 1.012 | 1.014 | 656
Beaford Brook | 1.014 | 1.014 | 1.012 | 1.014 | 657
Park Wall | 1.014 | 1.014 | 1.012 | 1.014 | 658
Bradford | 1.014 | 1.014 | 1.012 | 1.014 | 659
Causilgey | 1.014 | 1.014 | 1.012 | 1.014 | 662
Beechgrove | 1.014 | 1.014 | 1.012 | 1.014 | 663
Isles of Scilly EHV | 1.02 | 1.019 | 1.018 | 1.02 | 664
Blackditch | 1.014 | 1.014 | 1.012 | 1.014 | 665
Helius Biomass | 1.002 | 1.001 | 1.001 | 1.001 | 667
Bristol Port Co Avonmouth Dock | 1.02 | 1.019 | 1.018 | 1.02 | 669
Northmoor PV | 1.002 | 1.001 | 1.001 | 1.001 | 672
CERC St Dennis | 1 | 1 | 1 | 1 | 673
Severnside ERC | 1.002 | 1.001 | 1.001 | 1 | 674
Alveston WF Import | 1.002 | 1.001 | 1.001 | 1.001 | 675
Nexfor Ltd (Caberboard) | 1.034 | 1.034 | 1.033 | 1.033 | 690
SWW Tamar | 1.014 | 1.014 | 1.061 | 1.061 | 692
SWW Roadford | 1.032 | 1.032 | 1.032 | 1.032 | 694
St. Regis, Watchet | 1.014 | 1.014 | 1.012 | 1.014 | 695
Tarmac Stancombe Quarry | 1.035 | 1.036 | 1.035 | 1.035 | 696
MOD Abbeywood | 1.02 | 1.019 | 1.018 | 1.02 | 697
Hewlett Packard | 1.02 | 1.019 | 1.018 | 1.02 | 698
Bristol Water Blagdon Pump Stn | 1.02 | 1.019 | 1.018 | 1.02 | 699
Bristol International Airport | 1.02 | 1.019 | 1.018 | 1.02 | 700
British Gas Hallen | 1.02 | 1.019 | 1.018 | 1.02 | 701
Bristol Port Co R.Portbury Doc | 1.02 | 1.019 | 1.018 | 1.02 | 702
Whatley Quarry | 1.02 | 1.019 | 1.018 | 1.02 | 703
Falmouth Docks | 1.02 | 1.019 | 1.018 | 1.02 | 704
Astra Zeneca Hallen | 1.02 | 1.019 | 1.018 | 1.02 | 705
Dairy Crest Davidstow | 1.02 | 1.019 | 1.018 | 1.02 | 706
Broadpath Landfill | 1.02 | 1.019 | 1.018 | 1.02 | 707
Imerys Torycombe | 1.02 | 1.019 | 1.018 | 1.02 | 708
RUH | 1.02 | 1.019 | 1.018 | 1.02 | 709
Hill Barton Business Park | 1.02 | 1.019 | 1.018 | 1.02 | 712
Avonmouth BCC Wind Farm | 1.014 | 1.014 | 1.012 | 1.014 | 713
Bodiniel PV Park | 1.014 | 1.014 | 1.012 | 1.014 | 714
Garlenick Wind Farm | 1.014 | 1.014 | 1.012 | 1.014 | 715
Warleigh Barton PV | 1.014 | 1.014 | 1.012 | 1.014 | 716
Winnard's Perch PV | 1.014 | 1.014 | 1.012 | 1.014 | 717
Galsworthy WF | 1.002 | 1.001 | 1.001 | 1.001 | 718
Otterham WF | 1.002 | 1.001 | 1.001 | 1.001 | 719
BAe Filton | 1.02 | 1.019 | 1.018 | 1.02 | 720
Bristol Energy | 1.001 | 1.001 | 1.001 | 1.001 | 750
LANGAGE | 1.014 | 1.014 | 1.012 | 1.014 | 759
Imerys Drinnick | 1.02 | 1.019 | 1.018 | 1.02 | 797
Imerys Bugle | 1.02 | 1.019 | 1.018 | 1.02 | 798
Imerys Trebal | 1.02 | 1.019 | 1.018 | 1.02 | 799
Imerys Par Harbour | 1.02 | 1.019 | 1.018 | 1.02 | 800
Babcock Marine North Intake | 1.014 | 1.014 | 1.012 | 1.014 | 805
Marley Thatch PV | 1.014 | 1.014 | 1.012 | 1.014 | 810
Bristol Royal Infirmary | 1.02 | 1.019 | 1.018 | 1.02 | 811
Bristol University 33/11kV | 1.02 | 1.019 | 1.018 | 1.02 | 812
Burrowton Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 815
Callington Solar | 1.014 | 1.014 | 1.012 | 1.014 | 816
Hope Solar | 1.014 | 1.014 | 1.012 | 1.014 | 817
Avonmouth Biogas | 1.014 | 1.014 | 1.012 | 1.014 | 818
Nether Mill Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 819
Slade Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 820
Rew Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 821
Higher Trenhayle PV | 1.014 | 1.014 | 1.012 | 1.014 | 822
Middle Treworder PV | 1.014 | 1.014 | 1.012 | 1.014 | 823
Penhale Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 824
Ayshford Court PV | 1.014 | 1.014 | 1.012 | 1.014 | 825
West Hill PV | 1.014 | 1.014 | 1.012 | 1.014 | 826
Knockworthy Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 827
University of Bath | 1.01 | 1.01 | 1.01 | 1.01 | 828
Trekenning Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 829
Four Burrows PV | 1.014 | 1.014 | 1.012 | 1.014 | 830
Glebe Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 831
Hurlingpot PV | 1.014 | 1.014 | 1.012 | 1.014 | 832
Halse Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 833
Hatchlands Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 834
Higher Trevartha PV | 1.014 | 1.014 | 1.012 | 1.014 | 835
High Down WF | 1.014 | 1.014 | 1.012 | 1.014 | 836
Ford Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 837
Lower Tinacre PV | 1.014 | 1.014 | 1.012 | 1.014 | 838
Trequite Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 839
Yonder Netherton PV | 1.014 | 1.014 | 1.012 | 1.014 | 840
Higher Tregarne PV | 1.014 | 1.014 | 1.012 | 1.014 | 841
Higher North Beer PV | 1.014 | 1.014 | 1.012 | 1.014 | 842
Horsacott Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 843
Langunnett Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 844
Trefinnick Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 845
Little Trevease PV | 1.014 | 1.014 | 1.012 | 1.014 | 846
Marksbury PV | 1.014 | 1.014 | 1.012 | 1.014 | 847
Cobbs Cross PV | 1.014 | 1.014 | 1.012 | 1.014 | 848
Newlands Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 849
Cricket St Thomas PV | 1.014 | 1.014 | 1.012 | 1.014 | 850
Parsonage Barn PV | 1.014 | 1.014 | 1.012 | 1.014 | 851
Hewas PV Farm | 1.014 | 1.014 | 1.012 | 1.014 | 852
Crinacott Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 853
Penare Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 854
Aller Court PV | 1.014 | 1.014 | 1.012 | 1.014 | 855
Webbery Barton WF | 1.014 | 1.014 | 1.012 | 1.014 | 856
Stonebarrow Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 857
Whitley Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 858
New Rendy Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 859
Tregassow Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 860
Pitworthy PV | 1.014 | 1.014 | 1.012 | 1.014 | 861
Foxcombe PV | 1.014 | 1.014 | 1.012 | 1.014 | 862
Rexon Cross PV | 1.014 | 1.014 | 1.012 | 1.014 | 863
Hazard Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 864
Luscott Barton PV | 1.014 | 1.014 | 1.012 | 1.014 | 865
Grange Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 866
Derriton Fields PV | 1.014 | 1.014 | 1.012 | 1.014 | 867
Cleave Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 868
Woolavington PV | 1.014 | 1.014 | 1.012 | 1.014 | 869
Trehawke Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 870
H Berechapel Biogas | 1.014 | 1.014 | 1.012 | 1.014 | 871
Bommertown PV | 1.014 | 1.014 | 1.012 | 1.014 | 872
Carloggas Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 873
Hexworthy Barton PV | 1.014 | 1.014 | 1.012 | 1.014 | 874
Chalhanger Farm PV | 1.014 | 1.014 | 1.012 | 1.014 | 875
Viridor Chittening EFW Import | 1.014 | 1.014 | 1.012 | 1.014 | 876
Alders Way STOR Import | 1.014 | 1.014 | 1.012 | 1.014 | 877
Rockingham South Imports | 1.014 | 1.014 | 1.012 | 1.014 | 878
Fideoak Mill ESS Import | 1.014 | 1.014 | 1.012 | 1.014 | 879
Hele Manor STOR Import | 1.014 | 1.014 | 1.012 | 1.014 | 880
Simms (AVMO7J imports) | 1.038 | 1.035 | 1.029 | 1.033 | 961
Flour Mills (AVMO7J imports) | 1.038 | 1.035 | 1.029 | 1.033 | 962
726: Indian Queens Standby Supply | 1.067 | 1.063 | 1.062 | 1.062 | 7049
763:Seabank Standby Supply | 1.038 | 1.035 | 1.029 | 1.033 | 7118
763:Seabank Standby Supply | 1.038 | 1.035 | 1.029 | 1.033 | 7122
Bridgwater District Energy | 1.008 | 1.009 | 1.01 | 1.009 | 7158
HammerlyDown | 1.005 | 1.005 | 1.006 | 1.006 | 7293
The Drove Imports | 1.038 | 1.035 | 1.029 | 1.033 | 7307
Water Lane Imports | 1.014 | 1.019 | 1.018 | 1.019 | 7319
Plymouth Rock Imports | 1.014 | 1.014 | 1.012 | 1.014 | 7341
Barton Hill Imports | 1.014 | 1.014 | 1.012 | 1.014 | 7317
EHV site specific LLFs
Generation
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Tregarrick Farm PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 371
Freathy Farm PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 372
Till House PV Export | 1.014 | 1.002 | 1.012 | 1.002 | 373
Outlands Wood PV Export | 1.014 | 1.026 | 1.012 | 1.026 | 374
Culmhead PV Export | 1.014 | 1.012 | 1.012 | 1.01 | 375
Whitchurch Farm PV Export | 1.014 | 1.037 | 1.012 | 1.036 | 376
Kingsland Barton PV Export | 1.014 | 1.037 | 1.012 | 1.037 | 377
Mendip Solar PV Export | 1.014 | 1.041 | 1.012 | 1.04 | 378
St Stephen PV Export | 1.014 | 1.012 | 1.012 | 1.011 | 379
Trewidland PV Export | 1.014 | 1.022 | 1.012 | 1.022 | 380
Watchfield Lawn PV Export | 1.014 | 1.06 | 1.012 | 1.06 | 381
Gover Park PV Export | 1.033 | 1.031 | 1.012 | 1.031 | 382
North Wayton PV Export | 1.014 | 1.007 | 1.012 | 1.007 | 383
Week Farm PV Export | 1.014 | 1.04 | 1.012 | 1.04 | 384
Cullompton PV Export | 1.014 | 1.035 | 1.012 | 1.034 | 385
Dinder Farm PV Export | 1.014 | 1.062 | 1.012 | 1.062 | 386
Rolls Royce Filton Export | 1.014 | 1.014 | 1.012 | 1.014 | 387
Pitts Farm PV Export | 1.014 | 1.062 | 1.012 | 1.062 | 388
Kerriers PV Export | 1.014 | 1.027 | 1.012 | 1.025 | 389
Ernesettle STOR Export | 1.006 | 1.014 | 1.012 | 1.014 | 390
Yew Tree Cottage PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 391
Goonhilly PV Export | 1.014 | 1.079 | 1.012 | 1.078 | 392
Nanteague PV Export | 1.014 | 1.015 | 1.012 | 1.015 | 393
Bidwell Dartington PV Export | 1.014 | 1.007 | 1.012 | 1.007 | 394
New Row Farm PV Export | 1.014 | 1.068 | 1.012 | 1.068 | 395
Victoria (WBAR3) WF Export | 1.016 | 1.016 | 1.017 | 1.017 | 396
Four Burrows 2 PV Export | 1.014 | 1.022 | 1.012 | 1.021 | 397
Redlands Farm PV Export | 1.014 | 1.012 | 1.012 | 1.012 | 398
Tengore Lane PV Export | 1.014 | 1.049 | 1.012 | 1.048 | 399
Liverton Farm PV Export | 1.014 | 1.016 | 1.012 | 1.015 | 400
Yonder Parks PV Export | 1.014 | 1.035 | 1.012 | 1.035 | 401
Somerton Door PV Export | 1.014 | 1.036 | 1.012 | 1.036 | 402
Carditch Drove PV Export | 1.014 | 1.018 | 1.012 | 1.017 | 403
Capelands Farm PV Export | 1.014 | 1.043 | 1.012 | 1.041 | 404
East Youlstone WF Export | 1.033 | 1.032 | 1.034 | 1.034 | 405
Francis Court Farm PV Export | 1.014 | 1.007 | 1.012 | 1.007 | 406
Northwood PV Export | 1.012 | 1.01 | 1.012 | 1.009 | 407
Tricky Warren PV Export | 1.014 | 1.013 | 1.012 | 1.012 | 408
Iwood Lane PV Export | 1.014 | 1.017 | 1.012 | 1.017 | 409
Rydon Farm PV Export | 1.014 | 1.017 | 1.012 | 1.016 | 410
Balls Wood PV Export | 1.014 | 1.011 | 1.012 | 1.011 | 411
Ashlawn Farm PV Export | 1.014 | 1.04 | 1.012 | 1.039 | 412
Pencoose Farm PV Export | 1.014 | 1.03 | 1.012 | 1.03 | 413
Hawkers Farm PV Export | 1.014 | 1.025 | 1.012 | 1.023 | 414
Hurcott PV Export | 1.014 | 1.033 | 1.012 | 1.032 | 415
Garvinack Farm PV Export | 1.014 | 1.019 | 1.012 | 1.019 | 416
Newton Barton PV Export | 1.007 | 1.005 | 1.012 | 1.004 | 417
Coombeshead Farm PV Export | 1.014 | 1.026 | 1.012 | 1.025 | 418
Walland Farm PV Export | 1.014 | 1.04 | 1.012 | 1.039 | 419
Ashcombe PV Export | 1.014 | 1.038 | 1.012 | 1.037 | 420
Newnham Farm PV Export | 1.012 | 1.011 | 1.012 | 1.011 | 421
Roskrow Barton PV Export | 1.014 | 1.039 | 1.012 | 1.038 | 422
Parkview PV Export | 1.014 | 1.026 | 1.012 | 1.026 | 423
Towerhead Farm PV Export | 1.014 | 1.018 | 1.012 | 1.018 | 424
Rookery Farm PV Export | 1.014 | 1.018 | 1.012 | 1.018 | 425
Bystock Farm PV Export | 1.014 | 1.012 | 1.012 | 1.012 | 426
Pylle PV Site 1 Export | 1.014 | 1.071 | 1.012 | 1.069 | 427
Burthy Farm PV Export | 1.008 | 1.007 | 1.012 | 1.007 | 428
Wilton Farm PV Export | 1.014 | 1.012 | 1.012 | 1.012 | 429
Coombe Farm PV Export | 1.014 | 1.015 | 1.012 | 1.014 | 431
Higher Bye Farm PV Export | 1.014 | 1.01 | 1.012 | 1.01 | 432
Wilton Farm WF Export | 1.012 | 1.012 | 1.012 | 1.012 | 433
Denzell Down WF Export | 0.997 | 0.997 | 0.998 | 0.998 | 434
Puriton Landfill PV_1 Export | 1.014 | 1.029 | 1.012 | 1.029 | 435
PortworthyDams PV Site1 Export | 1.014 | 1.023 | 1.012 | 1.022 | 436
Wick Farm Site 1 PV Export | 1.014 | 1.031 | 1.012 | 1.03 | 437
Wick Farm Site 2 PV Export | 1.014 | 1.031 | 1.012 | 1.03 | 438
Batsworthy Cross WF Export | 1.028 | 1.028 | 1.033 | 1.032 | 439
PortworthyDams PV Site2 Export | 1.014 | 1.023 | 1.012 | 1.022 | 440
Crewkerne PV Site 1 Export | 1.014 | 1.053 | 1.012 | 1.051 | 441
Crewkerne PV Site 2 Export | 1.014 | 1.053 | 1.012 | 1.051 | 442
Tonedale Farm PV Export | 1.014 | 1.019 | 1.012 | 1.018 | 443
Puriton Landfill PV_2 Export | 1.014 | 1.029 | 1.012 | 1.029 | 444
Pylle PV Site 2 Export | 1.014 | 1.071 | 1.012 | 1.069 | 445
Chelwood PV Export | 1.014 | 1.039 | 1.012 | 1.039 | 446
Red Hill Farm PV Export | 1.014 | 1.018 | 1.012 | 1.017 | 447
West Carclaze Site 1 Export | 1.014 | 1.014 | 1.012 | 1.014 | 448
West Carclaze Site 2 Export | 1.014 | 1.014 | 1.012 | 1.014 | 449
Northmoor (embd) PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 450
Nmoor Little Tinney WF Export | 1.014 | 1.014 | 1.012 | 1.014 | 451
Nmoor Little Balsdon WF Export | 1.014 | 1.014 | 1.012 | 1.014 | 452
Nmoor Hornacott PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 453
Oakham Farm PV Export | 1.014 | 1.004 | 1.012 | 1.003 | 454
Carnemough Farm PV Export | 1.014 | 1.014 | 1.012 | 1.013 | 455
Ashwater WT Site 1 Export | 1.028 | 1.027 | 1.028 | 1.026 | 456
Makro Exeter STOR Export | 1.017 | 1.019 | 1.012 | 1.019 | 457
Great Hounbeare PV Export | 1.014 | 1.029 | 1.012 | 1.029 | 458
Withy Drove PV Export | 1.014 | 1.04 | 1.012 | 1.04 | 459
Water Lane STOR Export | 1.014 | 1.014 | 1.012 | 1.014 | 460
Montys Farm PV Export | 1.014 | 1.006 | 1.012 | 1.006 | 461
Lawrence Weston PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 462
Dunsland Cross WF Export | 1.032 | 1.032 | 1.033 | 1.032 | 463
Trerule Farm PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 464
Nancrossa Farm PV Export | 1.014 | 1.022 | 1.012 | 1.022 | 465
Wick Farm West Export | 1.014 | 1.031 | 1.012 | 1.03 | 466
LWestPNtWk SevernCom PV Export | 1.014 | 1.008 | 1.012 | 1.008 | 467
LWestPNtWk Site 2 PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 468
Tamerton Bridge STOR Export | 1.006 | 1.014 | 1.012 | 1.014 | 469
Ashwater PV Site 2 Export | 1.028 | 1.027 | 1.028 | 1.026 | 470
Bodwen PV Export | 1.014 | 1.017 | 1.012 | 1.016 | 471
Sharland Farm PV Export | 1.014 | 1.089 | 1.012 | 1.088 | 472
Stoneshill PV Export | 1.014 | 1.024 | 1.012 | 1.023 | 473
Nmoor Parsonage Wood PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 474
Axe View PV Export | 1.014 | 1.017 | 1.012 | 1.017 | 475
Place Barton PV Export | 1.014 | 1.027 | 1.012 | 1.026 | 476
Old Stone Farm PV Export | 1.014 | 1.038 | 1.012 | 1.037 | 477
Cattedown STOR Export | 1.014 | 1.014 | 1.012 | 1.014 | 478
Barton Hill Way STOR Export | 1.014 | 1.014 | 1.012 | 1.014 | 479
Lockleaze Battery Export | 1.005 | 1.005 | 1.005 | 1.005 | 480
Viridor Chittening EFW Export | 1.014 | 1.014 | 1.012 | 1.014 | 481
Alders Way STOR Export | 1.014 | 1.014 | 1.012 | 1.014 | 482
Rockingham South Exports | 1.014 | 1.014 | 1.012 | 1.014 | 483
Fideoak Mill ESS Export | 1.014 | 1.014 | 1.012 | 1.014 | 484
Hele Manor STOR Export | 1.014 | 1.014 | 1.012 | 1.014 | 485
Otterham STOR Export | 1.005 | 1.005 | 1.006 | 1.006 | 529
Northmoor PV Export | 1.002 | 1.001 | 1.001 | 1.001 | 585
CERC St Dennis Export | 1.002 | 1.001 | 1 | 1 | 586
Severnside ERC Export | 1 | 1 | 1 | 1 | 587
Alveston WF Export | 1 | 1 | 1 | 1 | 588
Imerys Blackpool Export | 1.02 | 1.019 | 1.018 | 1.02 | 601
Blackditch Export | 1.014 | 1.037 | 1.012 | 1.037 | 666
Helius Biomass Export | 1.002 | 1.001 | 1.001 | 1.001 | 668
SWW Roadford Export | 1.014 | 1.014 | 1.012 | 1.014 | 693
RUH Export | 1.02 | 1.019 | 1.018 | 1.02 | 722
Babcock Marine Central Export | 1.013 | 1.013 | 1.013 | 1.013 | 723
Trenoweth Farm Export | 1.014 | 1.014 | 1.012 | 1.014 | 724
Woodland Barton Farm Export | 1.014 | 1.016 | 1.012 | 1.016 | 725
Manor Farm Export | 1.014 | 1.012 | 1.012 | 1.012 | 726
Churchtown Farm Export | 1.014 | 1.036 | 1.012 | 1.036 | 727
Trenouth Farm Export | 1.014 | 1.001 | 1.012 | 1.001 | 728
West Kingsmill Export | 1.014 | 1.014 | 1.012 | 1.014 | 729
Howton Farm Export | 1.014 | 1.022 | 1.012 | 1.022 | 732
Babcock Marine North Export | 1.014 | 1.014 | 1.014 | 1.014 | 733
Newton Downs Farm PV Export | 1.014 | 1.016 | 1.012 | 1.016 | 734
East Langford Export | 1.014 | 1.047 | 1.012 | 1.047 | 735
Ninnis Farm Export | 1.014 | 1.013 | 1.012 | 1.013 | 736
Willsland Export | 1.014 | 1.044 | 1.012 | 1.044 | 737
Eastcombe Farm Export | 1.014 | 1.026 | 1.012 | 1.025 | 738
Bratton Flemming Export | 1.014 | 1.043 | 1.012 | 1.043 | 739
Beaford Brook Export | 1.014 | 1.109 | 1.012 | 1.108 | 740
Exeter Power Export | 1.002 | 1.001 | 1.001 | 1.001 | 741
Park Wall Export | 1.014 | 1.007 | 1.012 | 1.007 | 742
Bradford Export | 1.014 | 1.021 | 1.012 | 1.021 | 743
Causilgey Export | 1.014 | 1.031 | 1.012 | 1.031 | 744
Beechgrove Export | 1.014 | 1.009 | 1.012 | 1.009 | 745
Hill Barton Bus Park Export | 1.02 | 1.019 | 1.018 | 1.02 | 746
Wavehub Hayle Export | 1.014 | 1.014 | 1.012 | 1.014 | 747
Denbrook Wind Farm Export | 1.006 | 1.006 | 1.008 | 1.008 | 748
W4B Generation Seabank Export | 1.014 | 1.014 | 1.012 | 1.014 | 749
Bristol Energy Export | 1.001 | 1.002 | 1.002 | 1.002 | 751
Connon Bridge Landfill export | 1.041 | 1.041 | 1.04 | 1.04 | 752
Chelson Generator Export | 1.014 | 1.014 | 1.012 | 1.014 | 753
Darracott Export | 1.074 | 1.074 | 1.074 | 1.074 | 754
Untd Mns Redruth St.Day Export | 1.014 | 1.014 | 1.012 | 1.014 | 757
Shooter's Bottom Export | 1.04 | 1.04 | 1.04 | 1.04 | 758
Heathfield Export | 1.033 | 1.033 | 1.032 | 1.032 | 760
Goonhilly Export | 1.064 | 1.065 | 1.069 | 1.069 | 761
Delabole EHV Export | 1.046 | 1.046 | 1.047 | 1.047 | 762
Fullabrook EHV Export | 1.005 | 1.005 | 1.006 | 1.006 | 763
Bear's Down Export | 0.999 | 0.999 | 1 | 1 | 764
Bradon Farm Export | 1.018 | 1.034 | 1.012 | 1.037 | 765
Carland Cross Export | 1.023 | 1.023 | 1.025 | 1.025 | 766
Cold Northcott Export | 1.073 | 1.073 | 1.073 | 1.073 | 767
Forest Moor Wind 1 Export | 1.052 | 1.052 | 1.052 | 1.052 | 768
Forest Moor Wind 2 Export | 1.052 | 1.052 | 1.053 | 1.052 | 769
Four Burrows Export | 1.041 | 1.041 | 1.041 | 1.041 | 770
Isles of Scilly EHV Export | 1.02 | 1.019 | 1.018 | 1.02 | 772
St Breock Export | 1.025 | 1.025 | 1.028 | 1.029 | 775
Avonmouth BCC Wind Farm Export | 1.002 | 1.002 | 1.002 | 1.002 | 776
Bodiniel PV Park Export | 1.014 | 1.026 | 1.012 | 1.026 | 777
Garlenick Wind Farm Export | 1.007 | 1.006 | 1.007 | 1.007 | 778
Warleigh Barton PV Export | 1.014 | 1.007 | 1.012 | 1.007 | 779
Winnard's Perch PV Export | 1.014 | 1.001 | 1.012 | 1.001 | 780
Galsworthy WF Export | 1.008 | 1.008 | 1.008 | 1.008 | 781
Otterham WF Export | 1.002 | 1.001 | 1.001 | 1.001 | 782
Canworthy PV Export | 1.007 | 1.006 | 1.001 | 1.005 | 783
Otterham WT Feeder1 Export | 1.005 | 1.005 | 1.006 | 1.006 | 785
Otterham WT Feeder2 Export | 1.005 | 1.005 | 1.006 | 1.006 | 786
Wyld Meadow PV Farm Export | 1.014 | 1.009 | 1.012 | 1.009 | 789
Marley Thatch PV Export | 1.014 | 1.021 | 1.012 | 1.021 | 790
Prince Rock STOR Export | 1.012 | 1.012 | 1.012 | 1.012 | 791
Burrowton Farm PV Export | 1.002 | 1.002 | 1.012 | 1.002 | 792
Bristol Royal Infirmary Export | 1.02 | 1.019 | 1.018 | 1.02 | 793
Imerys Torycombe export | 1.02 | 1.019 | 1.018 | 1.02 | 794
Whatley Quarry Export | 1.02 | 1.019 | 1.018 | 1.02 | 795
Imerys Trebal Export | 1.02 | 1.019 | 1.018 | 1.02 | 801
Imerys Par Harbour Export | 1.02 | 1.019 | 1.018 | 1.02 | 802
Imerys Bugle Export | 1.02 | 1.019 | 1.018 | 1.02 | 803
Imerys Drinnick Export | 1.02 | 1.019 | 1.018 | 1.02 | 804
Avonmouth Docks Export | 1.02 | 1.019 | 1.018 | 1.02 | 806
Portbury Dock Export | 1.02 | 1.019 | 1.018 | 1.02 | 807
BGAS Hallen Exports | 1.02 | 1.019 | 1.018 | 1.02 | 808
Broadpath Landfill Exports | 1.02 | 1.019 | 1.018 | 1.02 | 809
Callington Solar Export | 1.014 | 1.051 | 1.012 | 1.051 | 900
Hope Solar Export | 1.014 | 1.036 | 1.012 | 1.036 | 901
Fulford Solar Export | 1.014 | 1.014 | 1.012 | 1.014 | 902
Avonmouth Biogas Export | 1.014 | 1.014 | 1.012 | 1.014 | 903
Nether Mill Farm PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 904
Slade Farm PV Export | 1.014 | 1.044 | 1.012 | 1.043 | 905
Rew Farm PV Export | 1.014 | 1.033 | 1.012 | 1.032 | 906
Higher Trenhayle PV Export | 1.014 | 1.055 | 1.012 | 1.055 | 907
Middle Treworder PV Export | 1.014 | 1.034 | 1.012 | 1.034 | 908
Penhale Farm PV Export | 1.014 | 1.035 | 1.012 | 1.035 | 909
Ayshford Court PV Export | 1.014 | 1.034 | 1.012 | 1.034 | 910
West Hill PV Export | 1.037 | 1.035 | 1.012 | 1.034 | 911
Knockworthy Farm PV Export | 1.014 | 1.067 | 1.012 | 1.066 | 912
Trekenning Farm PV Export | 1.014 | 1.008 | 1.012 | 1.007 | 914
Four Burrows PV Export | 1.014 | 1.047 | 1.012 | 1.047 | 915
Glebe Farm PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 916
Hurlingpot PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 917
Halse Farm PV Export | 1.014 | 1.008 | 1.012 | 1.008 | 918
Hatchlands Farm PV Export | 1.014 | 1.015 | 1.012 | 1.015 | 919
Higher Trevartha PV Export | 1.014 | 1.034 | 1.012 | 1.034 | 920
High Down WF Export | 1.014 | 1.014 | 1.012 | 1.014 | 921
Ford Farm PV Export | 1.014 | 1.04 | 1.012 | 1.04 | 922
Lower Tinacre PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 923
Trequite Farm PV Export | 1.014 | 1.015 | 1.012 | 1.015 | 924
Yonder Netherton PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 925
Higher Tregarne PV Export | 1.014 | 1.034 | 1.012 | 1.033 | 926
Higher North Beer PV Export | 1.014 | 1.069 | 1.012 | 1.067 | 927
Horsacott Farm PV Export | 1.014 | 1.025 | 1.012 | 1.025 | 928
Langunnett Farm PV Export | 1.014 | 1.045 | 1.012 | 1.044 | 929
Trefinnick Farm PV Export | 1.014 | 1.056 | 1.012 | 1.055 | 930
Little Trevease PV Export | 1.014 | 1.024 | 1.012 | 1.024 | 931
Marksbury PV Export | 1.014 | 1.04 | 1.012 | 1.039 | 932
Cobbs Cross PV Export | 1.014 | 1.015 | 1.012 | 1.014 | 933
Newlands Farm PV Export | 1.014 | 1.012 | 1.012 | 1.012 | 934
Cricket St Thomas PV Export | 1.014 | 1.032 | 1.012 | 1.032 | 935
Parsonage Barn PV Export | 1.014 | 1.034 | 1.012 | 1.033 | 936
Hewas PV Farm Export | 1.014 | 1.006 | 1.012 | 1.006 | 937
Crinacott Farm PV Export | 1.014 | 1.021 | 1.012 | 1.021 | 938
Penare Farm PV Export | 1.016 | 1.015 | 1.012 | 1.015 | 939
Aller Court PV Export | 1.014 | 1.027 | 1.012 | 1.027 | 940
Webbery Barton WF Export | 1.014 | 1.014 | 1.012 | 1.014 | 941
Stonebarrow Farm PV Export | 1.014 | 1.009 | 1.012 | 1.009 | 942
Whitley Farm PV Export | 1.014 | 1.011 | 1.012 | 1.011 | 943
New Rendy Farm PV Export | 1.014 | 1.01 | 1.012 | 1.01 | 944
Tregassow Farm PV Export | 1.014 | 1.021 | 1.012 | 1.021 | 945
Pitworthy PV Export | 1.021 | 1.019 | 1.012 | 1.019 | 946
Foxcombe PV Export | 1.014 | 1.031 | 1.012 | 1.031 | 947
Rexon Cross PV Export | 1.014 | 1.034 | 1.012 | 1.033 | 948
Hazard Farm PV Export | 1.014 | 1.013 | 1.012 | 1.013 | 949
Luscott Barton PV Export | 1.014 | 1.032 | 1.012 | 1.032 | 950
Grange Farm PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 951
Derriton Fields PV Export | 1.014 | 1.02 | 1.012 | 1.02 | 952
Cleave Farm PV Export | 1.014 | 1.041 | 1.012 | 1.04 | 953
Woolavington PV Export | 1.014 | 1.039 | 1.012 | 1.038 | 954
Trehawke Farm PV Export | 1.014 | 1.012 | 1.012 | 1.012 | 955
H Berechapel Biogas Export | 1.033 | 1.033 | 1.034 | 1.033 | 956
Bommertown PV Export | 1.014 | 1.053 | 1.012 | 1.05 | 957
Carloggas Farm PV Export | 1.014 | 1.017 | 1.012 | 1.017 | 958
Hexworthy Barton PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 959
Chalhanger Farm PV Export | 1.014 | 1.014 | 1.012 | 1.014 | 960
Rolls Royce Filton HV Export | 1.02 | 1.019 | 1.018 | 1.02 | 963
The Drove Exports | 1.038 | 1.035 | 1.029 | 1.033 | 7306
Water Lane Exports | 1.016 | 1.018 | 1.018 | 1.018 | 7320
Plymouth Rock Exports | 1.011 | 1.012 | 1.012 | 1.012 | 7342
Barton Hill Exports | 1.006 | 1.007 | 1.007 | 1.006 | 7318