## Annex 5 LLFs
Western Power Distribution (East Midlands) plc - LLFs for year beginning 1 April 2020
Time periods | Period 1 | Period 2 | Period 3 | Period 4
| Peak | Winter | Night | Other
Monday to Friday Mar to Oct |  |  | 00:30 – 07:30 | 07:30 – 00:30
Monday to Friday Nov to Feb | 16:00 – 19:00 | 07:30 – 16:00 19:00 – 20:00 | 00:30 – 07:30 | 20:00 – 00:30
Saturday and Sunday All Year |  |  | 00:30 – 07:30 | 07:30 – 00:30
Notes | All the above times are in UK Clock time
Generic demand and generation LLFs
Metered voltage, respective periods and associated LLFCs
Metered voltage | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
132kV connected | 1.003 | 1.003 | 1.002 | 1.002
132/EHV connected | 1.006 | 1.006 | 1.008 | 1.007
132/HV connected | 1.008 | 1.008 | 1.009 | 1.008
EHV connected | 1.014 | 1.014 | 1.012 | 1.013 | 997
High Voltage Substation | 1.02 | 1.02 | 1.019 | 1.019
High Voltage Network | 1.036 | 1.034 | 1.027 | 1.03 | 60, 90, 91, 92, 93, 94, 95, 96, 97, 98, 99, 145, 146, 929, 975, 977, 991, 996
Low Voltage Substation | 1.047 | 1.047 | 1.048 | 1.046 | 59, 80, 143, 144, 970, 972, 974
Low Voltage Network | 1.078 | 1.073 | 1.065 | 1.067 | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 13, 16, 19, 22, 25, 28, 31, 34, 37, 40, 43, 46, 49, 52, 58, 81, 82, 83, 84, 85, 141, 142, 246, 247, 800, 801, 802, 803, 804, 821, 900, 901, 971, 973, 986, 987, 990, 993, 994, 995
EHV site specific LLFs
Demand
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Jaguar Land Rover Gaydon (Imp) | 1.02 | 1.02 | 1.019 | 1.019 | 61
Lyon Road Gas Gen (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 155
Asher Lane 33kV STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 156
Spondon Peaking STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 157
Walworth Farm EES (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 158
Churchover Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 159
Rhodia STOR (Import) | 1.02 | 1.02 | 1.019 | 1.019 | 280
Jaguar Land Rover Whitley(Imp) | 1.02 | 1.02 | 1.019 | 1.019 | 281
Yew Tree Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 292
Cobb Farm Egmanton PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 293
Kelmarsh Wind Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 294
PebbleHall_Boundary_Import | 1.012 | 1.012 | 1.012 | 1.012 | 295
Copley Farm PV Claypole (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 296
Greatmoor EFW Calvert (Import) | 1.001 | 1.001 | 1.001 | 1.001 | 297
Lodge Farm (Calow) PV Import | 1.014 | 1.014 | 1.012 | 1.013 | 298
Arkwright Solar PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 299
Langar Commercial PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 300
Redfield Road 1 STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 301
Averill Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 302
Marchington Solar PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 303
West End Fm Treswell PV (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 304
Fields Farm Southam PV (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 305
Canopus Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 306
Lindridge Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 307
Thornborough Grnds PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 308
Wymeswold Narrow Lane PV (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 309
Manor Farm Horton PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 310
Handley Park Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 311
Shelton Lodge PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 312
Brafield on the Green PV (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 313
Sywell PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 314
Holtwood Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 315
Drakelow Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 316
Stragglethorpe Rd PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 317
Oxcroft Solar Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 318
Derby Waste Sinfin EFW (Imp) | 1.017 | 1.017 | 1.017 | 1.017 | 319
Littlewood Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 320
Twin Yards Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 321
Tower Hayes Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 322
The Breck Solar PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 323
Barnby Moor Retford PV(Import) | 1.014 | 1.014 | 1.012 | 1.013 | 324
Lincoln Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 325
Drakelow Renewable BIO (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 326
Tetron Point ESS (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 327
Mill Fm Gt Ponton PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 328
(PHF) Welland Bio Power Imp | 1.014 | 1.014 | 1.012 | 1.013 | 329
Deepdale Solar Fm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 330
Burton Wolds South WF (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 331
Brafield_PV_Commercial (Imps) | 1.014 | 1.014 | 1.012 | 1.013 | 332
Brafield_PV_Community (Imps) | 1.014 | 1.014 | 1.012 | 1.013 | 333
Gawcott Flds PV Commercial Imp | 1.014 | 1.014 | 1.012 | 1.013 | 334
Gawcott Flds PV Community Imp | 1.014 | 1.014 | 1.012 | 1.013 | 335
Trafalgar Pk Gas STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 336
John Brookes Sawmill BIO (Imp) | 1.016 | 1.016 | 1.016 | 1.016 | 337
Hawton Wind Farm WF (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 338
Blackbridge Farm BIO (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 339
Garnham Close STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 340
RAF Cranwell High G (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 341
Langar Community PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 342
Hermitage Lane STOR (Import) | 1.026 | 1.026 | 1.026 | 1.026 | 343
Fosse Way Radford Sem PV (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 344
Meadow Fm Thorpe Lang PV (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 345
Olney Hyde Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 346
Dayfields Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 347
Bolsovermoor Quarry PV(Import) | 1.014 | 1.014 | 1.012 | 1.013 | 348
Bilsthorpe PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 349
Carlton Forest STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 350
Sutton Bonnington PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 351
Alfreton Diesel Power (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 352
Green Lane Marchington PV(Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 353
Baddesley Park PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 354
Baddesley Pk Biomass (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 355
Taylor Lane 33kV STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 356
Hill Farm ESS (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 357
Leverton ESS (Import) | 1.039 | 1.039 | 1.039 | 1.039 | 358
Nottingham Rd STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 359
Breach Farm ESS (Import) | 1.002 | 1.002 | 1.002 | 1.002 | 361
Boston Biomass Gen AD (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 362
Twin Oaks Diesel STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 363
Colwick Private Rd STOR (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 364
Mill Fm Caythorpe ESS (Import) | 1.029 | 1.03 | 1.029 | 1.029 | 365
(PHF) Welland Waste Imp | 1.014 | 1.014 | 1.012 | 1.013 | 366
Prestop Park Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 784
Smith Hall Farm Solar (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 785
Park Farm Solar Ashby (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 786
Aston House Solar Farm(Import) | 1.014 | 1.014 | 1.012 | 1.013 | 787
Normanton-le-Heath PV Fm (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 788
Elms Farm Solar Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 789
Morton Solar Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 790
Glebe Farm Podington PV-Import | 1.014 | 1.014 | 1.012 | 1.013 | 791
Rolleston Park Solar (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 792
Nowhere Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 793
Lockington Solar Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 794
Chelveston Renewable PV-Import | 1.014 | 1.014 | 1.012 | 1.013 | 795
Horsemoor Drove Solar (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 796
Decoy Farm Crowland PV-Import | 1.014 | 1.014 | 1.012 | 1.013 | 797
Decoy Farm Crowland Bio-Import | 1.014 | 1.014 | 1.012 | 1.013 | 798
Decoy Farm Crowland AD-Import | 1.014 | 1.014 | 1.012 | 1.013 | 799
Railtrack Bytham (Import) | 1.047 | 1.047 | 1.045 | 1.046 | 824
Railtrack Grantham (Import) | 1.016 | 1.016 | 1.015 | 1.016 | 825
Railtrack Staythorpe (Import) | 1 | 1 | 1 | 1 | 826
Railtrack Retford (Import) | 1.032 | 1.032 | 1.029 | 1.031 | 827
Railtrack Rugby (Import) | 1.017 | 1.016 | 1.016 | 1.017 | 828
Railtrack Tamworth (Import) | 1.01 | 1.01 | 1.01 | 1.01 | 829
Railtrack Wolverton (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 830
Jaguar Cars | 1.02 | 1.02 | 1.019 | 1.019 | 831
Alstom Frankton | 1.02 | 1.02 | 1.019 | 1.019 | 832
University of Warwick (Import) | 1.02 | 1.02 | 1.019 | 1.019 | 833
Dunlop Factory | 1.02 | 1.02 | 1.019 | 1.019 | 834
Bombardier | 1.017 | 1.017 | 1.017 | 1.017 | 835
Corus Corby (Import) | 1.013 | 1.013 | 1.013 | 1.013 | 836
Acordis (Import) | 1.022 | 1.022 | 1.022 | 1.022 | 837
Derwent (Import) | 1.003 | 1.003 | 1.002 | 1.002 | 838
GEC Alsthom (Import) | 1.033 | 1.033 | 1.012 | 1.033 | 839
St Gobain (Import) | 1.038 | 1.038 | 1.038 | 1.038 | 840
Toyota (Import) | 1.003 | 1.004 | 1.004 | 1.004 | 841
Derby Co-Generation (Import) | 1.008 | 1.008 | 1.008 | 1.008 | 842
Rolls Royce Sinfin C (Import) | 1.014 | 1.014 | 1.012 | 0.999 | 843
ABR Foods (Import) | 1.011 | 1.011 | 1.011 | 1.011 | 844
Petsoe Wind Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 845
Castle Cement (Import) | 1.065 | 1.064 | 1.067 | 1.066 | 846
Rugby Cement (Import) | 1.03 | 1.03 | 1.029 | 1.029 | 847
Cov & Sol Waste (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 848
Bentinck (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 849
EHV Import | 1.014 | 1.014 | 1.012 | 1.013 | 851
Asfordby 132kv | 1.001 | 1.001 | 1.001 | 1.001 | 852
Calvert Landfill (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 853
Weldon Landfill (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 854
Goosy Lodge Power (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 855
BAR Honda (Import) | 1.018 | 1.018 | 1.018 | 1.018 | 856
Burton Wolds Wind Farm Import | 1.014 | 1.014 | 1.012 | 1.013 | 857
Railtrack Bretton (Import) | 1.05 | 1.05 | 1.05 | 1.05 | 858
Bambers Farm Wind Farm Import | 1.014 | 1.014 | 1.012 | 1.013 | 859
Vine House Wind Farm Import | 1.014 | 1.014 | 1.012 | 1.013 | 860
Red House Wind Farm Import | 1.014 | 1.014 | 1.012 | 1.013 | 861
Daneshill Landfill (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 862
Corby Power (Import) | 1.014 | 1.014 | 1.014 | 1.014 | 863
Newton Longville Import | 1.014 | 1.014 | 1.012 | 1.013 | 864
Hollies Wind Farm Import | 1.014 | 1.014 | 1.012 | 1.013 | 865
Lynn Wind Farm (Import) | 1.003 | 1.003 | 1.002 | 1.002 | 866
Inner Dowsing Wind Farm Import | 1.003 | 1.003 | 1.002 | 1.002 | 867
Bicker Fen Wind Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 868
London Road CHP (Import) | 1.02 | 1.02 | 1.019 | 1.019 | 869
Lindhurst Wind Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 870
Staveley Works | 1.02 | 1.02 | 1.019 | 1.019 | 871
AP Drivelines | 1.02 | 1.02 | 1.019 | 1.019 | 872
Rolls Royce Coventry | 1.02 | 1.02 | 1.019 | 1.019 | 873
UK COAL MINING LTD | 1.02 | 1.02 | 1.019 | 1.019 | 874
Caterpillar | 1.02 | 1.02 | 1.019 | 1.019 | 875
Santander Carlton Park | 1.02 | 1.02 | 1.019 | 1.019 | 876
Brush | 1.02 | 1.02 | 1.019 | 1.019 | 877
JCB | 1.02 | 1.02 | 1.019 | 1.019 | 878
Cast Bar UK | 1.02 | 1.02 | 1.019 | 1.019 | 879
Bretby GP | 1.02 | 1.02 | 1.019 | 1.019 | 880
Holwell Works | 1.02 | 1.02 | 1.019 | 1.019 | 881
Pedigree Petfoods | 1.02 | 1.02 | 1.019 | 1.019 | 882
Alstom Wolverton | 1.02 | 1.02 | 1.019 | 1.019 | 883
Colworth Laboratory | 1.02 | 1.02 | 1.019 | 1.019 | 884
Boots Thane Road | 1.02 | 1.02 | 1.019 | 1.019 | 885
QMC | 1.02 | 1.02 | 1.019 | 1.019 | 886
British Gypsum | 1.02 | 1.02 | 1.019 | 1.019 | 887
Melbourne STW | 1.02 | 1.02 | 1.019 | 1.019 | 888
Whetstone | 1.02 | 1.02 | 1.019 | 1.019 | 889
Holbrook Works | 1.02 | 1.02 | 1.019 | 1.019 | 890
Astrazeneca Charnwood | 1.02 | 1.02 | 1.019 | 1.019 | 891
B&Q Manton (Import) | 1.02 | 1.02 | 1.019 | 1.019 | 892
Transco Churchover | 1.02 | 1.02 | 1.019 | 1.019 | 893
Alstom Rugby | 1.02 | 1.02 | 1.019 | 1.019 | 894
VSB Avenue | 1.014 | 1.014 | 1.012 | 1.013 | 895
Low Spinney Wind Farm | 1.014 | 1.014 | 1.012 | 1.013 | 896
SWINFORD WINDFARM (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 897
Yelvertoft Wind Farm | 1.014 | 1.014 | 1.012 | 1.013 | 898
Maxwell House Data Centre | 1.014 | 1.014 | 1.012 | 1.013 | 899
Burton Wolds Ext North Import | 1.014 | 1.014 | 1.012 | 1.013 | 902
Shacks Barn PV Import | 1.014 | 1.014 | 1.012 | 1.013 | 903
Hatton Gas Compressor | 1.015 | 1.015 | 1.014 | 1.013 | 904
North Hykeham EFW | 1.014 | 1.014 | 1.012 | 1.013 | 905
Sleaford Renewable (Import) | 1.042 | 1.042 | 1.042 | 1.042 | 906
Bilsthorpe Wind Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 907
Old Dalby Lodge WndFarm Import | 1.014 | 1.014 | 1.012 | 1.013 | 908
Willoughby STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 909
Rolls Royce AB&E 33kV (Import) | 1.018 | 1.018 | 1.018 | 1.018 | 910
The Grange Wind Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 911
Clay Lake STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 912
Balderton STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 913
Wymeswold Solar Park (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 914
French Farm Wind Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 915
Lilbourne Wind Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 916
Chelvaston Renewable (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 917
Beachampton Solar Farm Import | 1.014 | 1.014 | 1.012 | 1.013 | 918
Croft End Solar Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 919
M1 Wind Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 920
Leamington STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 921
Low Farm Anaerobic Dig (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 922
Turweston Airfield Solar (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 923
Burton Pedwardine Solar (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 924
Little Morton Farm Solar (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 925
Rockingham | 1.02 | 1.02 | 1.019 | 1.019 | 930
Santander Carlton Park 132/11 | 1.005 | 1.005 | 1.005 | 1.005 | 931
Delphi Diesel | 1.02 | 1.02 | 1.019 | 1.019 | 932
Lodge Farm Solar Park (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 940
Ermine Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 941
Ridge Solar Park (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 942
Winwick Wind Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 943
Watford Lodge Wind Farm (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 944
Leverton Solar Park (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 945
Burton Pedwardine Phase 2 Imp | 1.014 | 1.014 | 1.012 | 1.013 | 946
Hartwell Solar Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 947
Eakley Lanes Solar North (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 948
Eakley Lanes Solar South (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 949
Welbeck Colliery PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 950
Newton Road PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 951
New Albion WF (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 952
Moat Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 953
Bilsthorpe Solar (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 954
Hall Farm PV (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 955
Gaultney Solar Park (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 956
Fiskerton Solar Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 957
Mount Mill Solar Park (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 958
Podington Airfield WF (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 959
Branston South PV Farm(Import) | 1.014 | 1.014 | 1.012 | 1.013 | 960
Eakring Solar Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 961
Ragdale PV Solar Park (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 962
Thoresby Solar Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 963
Welbeck Solar Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 964
Atherstone Solar Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 965
Babworth Estate PV Farm (Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 966
Gawcott Fields PV Boundary Imp | 1.014 | 1.014 | 1.012 | 1.013 | 967
Homestead Farm Solar Park(Imp) | 1.014 | 1.014 | 1.012 | 1.013 | 968
Grange Solar Farm (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 969
Grendon | 1.003 | 1.003 | 1.01 | 1.01 | 2034
East Claydon | 1.001 | 1.001 | 1.001 | 1.001 | 2227
Glutton Bridge | 1.036 | 1.034 | 1.027 | 1.03 | 2820
West Burton Power Station | 1 | 1 | 1 | 1 | 4010
Ratcliffe-on-Soar Power Station | 1 | 1 | 1 | 1 | 5016
Corby Power | 1.008 | 1.009 | 1.01 | 1.01 | 7015
Derwent Cogeneration | 1.003 | 1.003 | 1.002 | 1.002 | 7043
Redfield Road 1 STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 7315
Redfield Road B STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 7326
Trafalgar Pk Gas STOR (Import) | 1.014 | 1.014 | 1.012 | 1.013 | 7324
EHV site specific LLFs
Generation
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Yew Tree Farm PV (Export) | 1.014 | 1.052 | 1.012 | 1.051 | 367
Cobb Farm Egmanton PV (Export) | 1.014 | 1.067 | 1.012 | 1.063 | 368
Kelmarsh Wind Farm (Export) | 1.012 | 1.012 | 1.012 | 1.012 | 369
PebHall_Welland_Waste_Export | 1.014 | 1.014 | 1.012 | 1.013 | 370
Copley Farm PV Claypole (Exp) | 1.023 | 1.019 | 1.023 | 1.018 | 371
Greatmoor EFW Calvert (Export) | 0.988 | 0.988 | 0.988 | 0.989 | 372
Lodge Farm (Calow) PV Export | 1.014 | 1.005 | 1.012 | 1.005 | 373
Arkwright Solar PV (Export) | 1.014 | 1.009 | 1.012 | 1.008 | 374
Langar Commercial PV (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 375
Redfield Road 1 STOR (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 376
Averill Farm PV (Export) | 1.014 | 1.014 | 1.012 | 1.014 | 377
Marchington Solar PV (Export) | 1.014 | 1.027 | 1.012 | 1.026 | 378
West End Fm Treswell PV (Exp) | 1.014 | 1.014 | 1.012 | 1.013 | 379
Fields Farm Southam PV (Exp) | 1.014 | 1.029 | 1.012 | 1.029 | 380
Canopus Farm PV (Export) | 1.014 | 1.033 | 1.012 | 1.032 | 381
Lindridge Farm PV (Export) | 1.014 | 1.041 | 1.012 | 1.04 | 382
Thornborough Grnds PV (Export) | 1.014 | 1.03 | 1.012 | 1.03 | 383
Wymeswold Narrow Lane PV (Exp) | 1.014 | 1.016 | 1.012 | 1.016 | 384
Manor Farm Horton PV (Export) | 1.014 | 1.012 | 1.012 | 1.012 | 385
Handley Park Farm PV (Export) | 1.014 | 1.03 | 1.012 | 1.03 | 386
Shelton Lodge PV (Export) | 1.014 | 1.045 | 1.012 | 1.044 | 387
Brafield on the Green PV (Exp) | 1.014 | 1.014 | 1.012 | 1.013 | 388
Sywell PV (Export) | 1.014 | 1.004 | 1.012 | 1.004 | 389
Holtwood Farm PV (Export) | 1.014 | 1.025 | 1.012 | 1.025 | 390
Drakelow Farm PV (Export) | 1.014 | 1.003 | 1.012 | 1.003 | 391
Stragglethorpe Rd PV (Export) | 1.014 | 1.089 | 1.012 | 1.088 | 392
Oxcroft Solar Farm PV (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 393
Derby Waste Sinfin EFW (Exp) | 1.018 | 1.018 | 1.018 | 1.018 | 394
Littlewood Farm PV (Export) | 1.014 | 1.029 | 1.012 | 1.029 | 395
Twin Yards Farm PV (Export) | 1.014 | 1.027 | 1.012 | 1.027 | 396
Tower Hayes Farm PV (Export) | 1.014 | 1.025 | 1.012 | 1.025 | 397
The Breck Solar PV (Export) | 1.014 | 1.01 | 1.012 | 1.01 | 398
Barnby Moor Retford PV(Export) | 1.014 | 1.022 | 1.012 | 1.021 | 399
Lincoln Farm PV (Export) | 1.014 | 1.027 | 1.012 | 1.026 | 400
Drakelow Renewable BIO (Exp) | 1.014 | 1.014 | 1.012 | 1.013 | 401
Tetron Point ESS (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 402
Mill Fm Gt Ponton PV (Export) | 1.014 | 1.035 | 1.012 | 1.034 | 403
(PHF) Welland Bio Power Exp | 1.014 | 1.014 | 1.012 | 1.013 | 404
Deepdale Solar Fm PV (Export) | 1.014 | 1.029 | 1.012 | 1.029 | 405
Burton Wolds South WF (Export) | 0.959 | 0.958 | 0.961 | 0.961 | 406
Brafield_PV_Commercial (Exps) | 1.014 | 1.014 | 1.012 | 1.013 | 407
Brafield_PV_Community (Exps) | 1.014 | 1.014 | 1.012 | 1.013 | 408
Gawcott Flds PV Commercial Exp | 1.014 | 1.014 | 1.012 | 1.013 | 409
Gawcott Flds PV Community Exp | 1.014 | 1.014 | 1.012 | 1.013 | 410
Trafalgar Pk Gas STOR (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 411
John Brookes Sawmill BIO (Exp) | 1.013 | 1.013 | 1.013 | 1.013 | 412
Hawton Wind Farm WF (Export) | 1.008 | 1.008 | 1.009 | 1.009 | 413
Blackbridge Farm BIO (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 414
Garnham Close STOR (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 415
Bombardier (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 416
Langar Community PV (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 417
Hermitage Lane STOR (Export) | 1.022 | 1.025 | 1.026 | 1.025 | 418
Fosse Way Radford Sem PV (Exp) | 1.014 | 1.035 | 1.012 | 1.035 | 419
Meadow Fm Thorpe Lang PV (Exp) | 1.014 | 1.014 | 1.012 | 1.014 | 420
Olney Hyde Farm PV (Export) | 1.014 | 1.01 | 1.012 | 1.01 | 421
Dayfields Farm PV (Export) | 1.014 | 1.079 | 1.012 | 1.078 | 422
Bolsovermoor Quarry PV(Export) | 1.014 | 1.008 | 1.012 | 1.008 | 423
Bilsthorpe PV (Export) | 1.014 | 1.021 | 1.012 | 1.02 | 424
Carlton Forest STOR (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 425
Sutton Bonnington PV (Export) | 1.014 | 1.042 | 1.012 | 1.042 | 426
Alfreton Diesel Power (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 427
Green Lane Marchington PV(Exp) | 1.014 | 1.026 | 1.012 | 1.025 | 428
Baddesley Park PV (Export) | 1.014 | 1.033 | 1.012 | 1.033 | 429
Baddesley Pk Biomass (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 430
Taylor Lane 33kV STOR (Export) | 1.051 | 1.052 | 1.052 | 1.052 | 431
Hill Farm ESS (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 432
Leverton ESS (Export) | 1.038 | 1.038 | 1.038 | 1.038 | 433
Nottingham Rd STOR (Export) | 1.023 | 1.026 | 1.027 | 1.026 | 434
RAF Cranwell High G (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 435
Breach Farm ESS (Export) | 1.001 | 1.001 | 1.001 | 1.001 | 436
Boston Biomass Gen AD (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 437
Twin Oaks Diesel STOR (Export) | 1.025 | 1.014 | 1.012 | 1.013 | 438
Colwick Private Rd STOR (Exp) | 1.014 | 1.014 | 1.012 | 1.013 | 439
Mill Fm Caythorpe ESS (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 440
(PHF) Welland Waste Exp | 1.014 | 1.014 | 1.012 | 1.013 | 441
Rhodia STOR (Export) | 1.02 | 1.02 | 1.019 | 1.019 | 442
Lyon Road Gas Gen (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 479
Asher Lane 33kV STOR (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 480
Spondon Peaking STOR (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 481
Walworth Farm EES (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 482
Churchover Farm PV (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 483
Railtrack Bytham (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 600
Railtrack Grantham (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 601
Railtrack Staythorpe (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 602
Railtrack Retford (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 603
Railtrack Rugby (Export) | 1.015 | 1.015 | 1.012 | 1.015 | 604
Railtrack Tamworth (Export) | 1.01 | 1.01 | 1.012 | 1.01 | 605
Railtrack Wolverton (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 606
Acordis (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 607
QMC (Export) | 1.02 | 1.02 | 1.019 | 1.019 | 608
ABR Foods (Export) | 1.011 | 1.011 | 1.011 | 1.011 | 609
Derby Co-Generation (Export) | 1.007 | 1.008 | 1.008 | 1.008 | 610
Bentinck (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 611
Calvert Landfill (Export) | 1.026 | 1.026 | 1.026 | 1.026 | 612
Weldon Landfill (Export) | 1.012 | 1.012 | 1.012 | 1.012 | 613
Goosy Lodge Power (Export) | 0.998 | 0.998 | 0.997 | 0.997 | 614
Burton Wolds Wind Farm Export | 1.007 | 1.007 | 1.008 | 1.007 | 615
Railtrack Bretton (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 616
Bambers Farm Wind Farm Export | 1.09 | 1.09 | 1.091 | 1.091 | 617
Vine House Wind Farm Export | 1.038 | 1.038 | 1.039 | 1.038 | 618
Red House Wind Farm Export | 1.067 | 1.067 | 1.068 | 1.068 | 619
Daneshill Landfill (Export) | 1.042 | 1.042 | 1.042 | 1.042 | 620
Newton Longville Export | 1.024 | 1.024 | 1.024 | 1.024 | 621
Hollies Wind Farm Export | 1.025 | 1.025 | 1.025 | 1.025 | 622
Lynn Wind Farm (Export) | 1.014 | 1.013 | 1.013 | 1.013 | 629
Inner Dowsing Wind Farm Export | 1.012 | 1.012 | 1.013 | 1.013 | 630
Bicker Fen Wind Farm (Export) | 1.029 | 1.029 | 1.031 | 1.03 | 631
Cov & Sol Waste (Export) | 1.02 | 1.02 | 1.019 | 1.019 | 632
Lindhurst Wind Farm (Export) | 1.028 | 1.028 | 1.029 | 1.029 | 633
London Road CHP (Export) | 1.019 | 1.019 | 1.019 | 1.019 | 634
Petsoe Wind Farm (Export) | 1.032 | 1.032 | 1.033 | 1.033 | 635
Boots Thane Road (Export) | 1.02 | 1.02 | 1.019 | 1.019 | 636
B&Q Manton (Export) | 1.02 | 1.02 | 1.019 | 1.019 | 637
Low Spinney Wind Farm (Export) | 1.034 | 1.034 | 1.034 | 1.035 | 638
SWINFORD WINDFARM (Export) | 1.026 | 1.025 | 1.026 | 1.026 | 639
Asfordby Generation | 0.999 | 1 | 1.002 | 1.002 | 640
Yelvertoft (Export) | 1.04 | 1.04 | 1.041 | 1.041 | 641
North Hykeham Export | 1.039 | 1.039 | 1.039 | 1.039 | 642
Sleaford Renewable (Export) | 1.029 | 1.029 | 1.03 | 1.031 | 643
Bilsthorpe Wind Farm (Export) | 1.033 | 1.033 | 1.034 | 1.034 | 644
Old Dalby Lodge WndFarm Export | 1.016 | 1.016 | 1.016 | 1.016 | 645
Lilbourne Wind Farm (Export) | 1.032 | 1.032 | 1.033 | 1.032 | 646
The Grange Wind Farm (Export) | 1.041 | 1.041 | 1.042 | 1.042 | 647
Clay Lake STOR (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 648
Balderton STOR (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 649
Burton Wolds Ext North Export | 1.001 | 1.002 | 1.002 | 1.002 | 650
Shacks Barn PV Export | 1.014 | 1.027 | 1.012 | 1.027 | 651
Willoughby STOR (Export) | 1.015 | 1.015 | 1.012 | 1.015 | 652
Wymeswold Solar Park (Export) | 1.026 | 1.024 | 1.026 | 1.024 | 653
French Farm Wind Farm (Export) | 1.046 | 1.046 | 1.047 | 1.046 | 654
Chelvaston Renewable (Export) | 1 | 0.999 | 1.001 | 0.997 | 655
Beachampton Solar Farm Export | 1.014 | 1.018 | 1.012 | 1.018 | 656
Croft End Solar Farm (Export) | 1.014 | 1.025 | 1.012 | 1.025 | 657
M1 Wind Farm (Export) | 1.013 | 1.013 | 1.013 | 1.013 | 658
Leamington STOR Export | 1.014 | 1.014 | 1.012 | 1.013 | 659
Low Farm Anaerobic Dig (Exp) | 1.04 | 1.04 | 1.041 | 1.041 | 660
Welbeck Colliery PV ( Export) | 1.014 | 1.028 | 1.012 | 1.026 | 661
Newton Road PV (Export) | 1.014 | 1.01 | 1.012 | 1.009 | 662
New Albion WF (Export) | 1.007 | 1.007 | 1.008 | 1.008 | 663
Moat Farm PV (Export) | 1.014 | 1.039 | 1.012 | 1.039 | 664
Bilsthorpe Solar (Export) | 1.014 | 1.046 | 1.012 | 1.044 | 665
Hall Farm PV (Export) | 1.014 | 1.039 | 1.012 | 1.038 | 666
Gaultney Solar Park (Export) | 1.014 | 1.01 | 1.012 | 1.01 | 667
Fiskerton Solar Farm (Export) | 1.014 | 1.04 | 1.012 | 1.039 | 668
Mount Mill Solar Park (Export) | 1.014 | 1.017 | 1.012 | 1.017 | 669
Podington Airfield WF (Export) | 1.001 | 1.001 | 1.002 | 1.002 | 670
Branston South PV Farm(Export) | 1.014 | 1.047 | 1.05 | 1.044 | 671
Eakring Solar Farm (Export) | 1.014 | 1.023 | 1.012 | 1.022 | 672
Ragdale PV Solar Park (Export) | 1.014 | 1.027 | 1.012 | 1.025 | 673
Thoresby Solar Farm (Export) | 1.014 | 1.041 | 1.044 | 1.039 | 674
Welbeck Solar Farm (Export) | 1.014 | 1.03 | 1.012 | 1.029 | 675
Atherstone Solar Farm (Export) | 1.014 | 1.048 | 1.012 | 1.046 | 676
Babworth Estate PV Farm (Exp) | 1.014 | 1.041 | 1.012 | 1.04 | 677
Gawcott Fields PV Boundary Exp | 1.014 | 1.014 | 1.012 | 1.013 | 678
Homestead Farm Solar Park(Exp) | 1.014 | 1.026 | 1.028 | 1.025 | 679
Grange Solar Farm (Export) | 1.014 | 1.099 | 1.012 | 1.096 | 680
University of Warwick (Export) | 1.02 | 1.02 | 1.019 | 1.019 | 684
Turweston Airfield Solar (Exp) | 1.014 | 1.018 | 1.012 | 1.018 | 691
Burton Pedwardine Solar (Exp) | 1.014 | 1.026 | 1.012 | 1.026 | 692
Little Morton Farm Solar (Exp) | 1.014 | 1.033 | 1.012 | 1.033 | 693
Lodge Farm Solar Park (Export) | 1.014 | 1.043 | 1.012 | 1.041 | 694
Ermine Farm PV (Export) | 1.023 | 1.021 | 1.023 | 1.02 | 695
Ridge Solar Park (Export) | 1.014 | 1.003 | 1.012 | 1.003 | 696
Winwick Wind Farm (Export) | 1.027 | 1.026 | 1.028 | 1.029 | 697
Watford Lodge Wind Farm (Exp) | 1.028 | 1.028 | 1.029 | 1.029 | 698
Leverton Solar Park (Export) | 1.014 | 1.036 | 1.012 | 1.035 | 699
Castle Cement (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 700
Burton Pedwardine Phase 2 Exp | 1.014 | 1.026 | 1.012 | 1.026 | 701
Hartwell Solar Farm (Export) | 1.014 | 1.012 | 1.012 | 1.009 | 702
Eakley Lanes Solar North (Exp) | 1.014 | 1.011 | 1.012 | 1.011 | 703
Eakley Lanes Solar South (Exp) | 1.012 | 1.011 | 1.012 | 1.011 | 704
Prestop Park Farm PV (Export) | 1.014 | 1.029 | 1.012 | 1.03 | 705
Smith Hall Farm Solar (Export) | 1.014 | 1.06 | 1.012 | 1.059 | 706
Park Farm Solar Ashby (Export) | 1.014 | 1.024 | 1.012 | 1.022 | 707
Aston House Solar Farm(Export) | 1.014 | 1.013 | 1.015 | 1.011 | 708
Normanton-le-Heath PV Fm (Exp) | 1.014 | 1.014 | 1.012 | 1.013 | 709
Elms Farm Solar Farm (Export) | 1.014 | 1.026 | 1.012 | 1.025 | 710
Morton Solar Farm (Export) | 1.016 | 1.016 | 1.016 | 1.015 | 711
Glebe Farm Podington PV-Export | 0.999 | 0.997 | 0.999 | 0.997 | 712
Rolleston Park Solar (Export) | 1.014 | 1.012 | 1.012 | 1.012 | 713
Nowhere Farm PV (Export) | 1.014 | 1.039 | 1.012 | 1.038 | 714
Lockington Solar Farm (Export) | 1.014 | 1.014 | 1.012 | 1.013 | 715
Chelveston Renewable PV-Export | 1.005 | 1.003 | 1.005 | 1.002 | 716
Horsemoor Drove Solar (Export) | 1.014 | 1.037 | 1.012 | 1.037 | 717
Decoy Farm Crowland PV-Export | 1.014 | 1.051 | 1.012 | 1.05 | 718
Decoy Farm Crowland Bio-Export | 1.014 | 1.014 | 1.012 | 1.013 | 719
Decoy Farm Crowland AD-Export | 1.049 | 1.05 | 1.05 | 1.05 | 720
Redfield Road 1 STOR (Export) | 1.013 | 1.015 | 1.012 | 1.015 | 7316
Redfield Road B STOR (Export) | 1.011 | 1.015 | 1.015 | 1.014 | 7327
Trafalgar Pk Gas STOR (Export) | 1.016 | 1.018 | 1.012 | 1.018 | 7325