## Annex 5 LLFs
These line loss factors are illustrative based on the latest calculated values and are published in good faith. However, the line loss factors that are approved by the BSC Panel for the applicable year and consequently published on the Elexon website will take precedence and be used in Settlement if they differ from these values.
Western Power Distribution (West Midlands) plc - Illustrative LLFs Effective between 1/4/2017 and 31/3/2018
Time periods | Period 1 | Period 2 | Period 3 | Period 4
| Peak | Winter | Night | Other
Monday to Friday Mar to Oct |  |  | 00:30 – 07:30 | 07:30 – 00:30
Monday to Friday Nov to Feb | 16:00 – 19:00 | 07:30 – 16:00 19:00 – 20:00 | 00:30 – 07:30 | 20:00 – 00:30
Saturday and Sunday All Year |  |  | 00:30 – 07:30 | 07:30 – 00:30
Notes | All the above times are in UK Clock time
Generic Demand and Generation LLFs
Metered voltage, respective periods and associated LLFCs
Metered Voltage | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Low Voltage Network | 1.087 | 1.081 | 1.067 | 1.072 | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 20, 21, 22, 24, 25, 26, 27, 30, 34, 35, 36, 40, 41, 42, 46, 47, 49, 85, 86, 87, 88, 95, 96, 97, 98, 99, 107, 108, 109, 110, 111, 112, 121, 124, 127, 129, 132, 571, 573, 625, 626, 632, 633
Low Voltage Substation | 1.07 | 1.066 | 1.056 | 1.06 | 19, 128, 570, 572, 574
High Voltage Network | 1.051 | 1.047 | 1.032 | 1.039 | 23, 322, 323, 365, 367, 575, 577
High Voltage Substation | 1.023 | 1.022 | 1.018 | 1.02
EHV connected | 1.016 | 1.015 | 1.012 | 1.013
132/EHV connected | 1.007 | 1.007 | 1.007 | 1.007
132/HV connected | 1.009 | 1.009 | 1.008 | 1.008
132kV connected | 1.002 | 1.002 | 1.002 | 1.002
EHV site specific LLFs
Demand
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Hayford Fm Substation (LV Imp) | 1.087 | 1.081 | 1.067 | 1.072 | 628
Troughton Farm PV (Import) | 1.002 | 1.002 | 1.002 | 1.002 | 636
Tyseley Waste Import | 1.002 | 1.002 | 1.001 | 1.001 | 702
Takao Europe | 1.016 | 1.022 | 1.012 | 1.022 | 704
Four Ashes Incinerator Import | 1.016 | 1.015 | 1.012 | 1.013 | 705
Witches Farm Solar Import | 1.016 | 1.015 | 1.012 | 1.013 | 706
Uni of Birmingham Import | 1.006 | 1.006 | 1.006 | 1.006 | 707
South Staffs Water Import | 1.016 | 1.075 | 1.077 | 1.075 | 709
Wolverhampton WS Import | 1.016 | 1.015 | 1.012 | 1.013 | 710
Stoke CHP Import | 1.005 | 1.005 | 1.005 | 1.005 | 711
WBB Minerals Import | 1.016 | 1.015 | 1.012 | 1.013 | 712
Cauldon Cement Import | 1.034 | 1.035 | 1.039 | 1.039 | 713
Abson Gas Compressor Import | 1.016 | 1.015 | 1.026 | 1.013 | 714
Ervin Amasteel Import | 1.001 | 1.001 | 1.001 | 1.001 | 715
Hanford Waste Services Import | 1.016 | 1.015 | 1.012 | 1.013 | 716
NR Kidsgrove Import | 1.015 | 1.015 | 1.015 | 1.015 | 717
NR Stafford Import | 1.037 | 1.037 | 1.037 | 1.037 | 718
NR Nechells/Washwood Heath Imp | 1.001 | 1.001 | 1.001 | 1.001 | 719
NR Winson Green Import | 1.002 | 1.002 | 1.002 | 1.002 | 720
NR Smethwick Import | 1 | 1 | 1 | 1 | 721
NR Willenhall Import | 1 | 1 | 1 | 1 | 722
Northwick Import | 1.023 | 1.022 | 1.018 | 1.02 | 723
Inco Alloys | 1.023 | 1.022 | 1.018 | 1.02 | 724
Swancote Energy Import | 1.016 | 1.015 | 1.012 | 1.013 | 725
Springhill Solar Park Import | 1.023 | 1.022 | 1.018 | 1.02 | 726
NG Gas Wormington | 1.023 | 1.022 | 1.018 | 1.02 | 727
Greenfrog STOR Import | 1.023 | 1.022 | 1.018 | 1.02 | 728
Union Road/EMR Oldbury Import | 1.001 | 1.001 | 1.001 | 1.001 | 729
Quatt Import | 1.023 | 1.022 | 1.018 | 1.02 | 730
Knypersley Import | 1.023 | 1.022 | 1.018 | 1.02 | 740
Simplex Import | 1.023 | 1.022 | 1.018 | 1.02 | 742
Northwick STOR sub supply | 1.023 | 1.022 | 1.018 | 1.02 | 743
Star Aluminium Import | 1.023 | 1.022 | 1.018 | 1.02 | 744
Goodyear | 1.006 | 1.006 | 1.006 | 1.006 | 747
Battlefield Generation Import | 1.019 | 1.019 | 1.012 | 1.013 | 770
Says Farm PV Import | 1.016 | 1.015 | 1.012 | 1.013 | 771
Hayford Fm PV Boundary Import | 1.016 | 1.015 | 1.012 | 1.013 | 772
Rotherdale Farm PV Import | 1.028 | 1.028 | 1.028 | 1.028 | 773
Lower Newton Solar Farm (Imp) | 1.016 | 1.015 | 1.012 | 1.013 | 774
Wrockwardine Solar Farm (Imp) | 1.016 | 1.015 | 1.012 | 1.013 | 775
Condover Solar Farm (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 776
Tower Hill Farm PV (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 777
Hill House Farm Solar (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 778
Pitchford Farm Solar (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 779
Sundorne Solar Park (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 780
Hartlebury EFW (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 781
Upper Huntingford PV (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 782
Ring O Bells Solar (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 783
Hall Farm PV Awre (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 784
Northwick 5 Mile Dr PV Import | 1.023 | 1.022 | 1.018 | 1.02 | 785
Northwick GF STOR Extn (Imps) | 1.023 | 1.022 | 1.018 | 1.02 | 786
Wickhamford PV (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 794
Yorkley Wood Farm PV (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 795
Awbridge Farm Diesel Gen (Imp) | 1.016 | 1.015 | 1.012 | 1.013 | 796
Bristol Rd Glos STOR (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 797
Actrees Farm PV (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 798
Sheriffhales Farm PV (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 799
Upper Wick Farm PV (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 801
Astley Solar Farm PV (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 866
Hayford Fm PV Embedded Import | 1.016 | 1.015 | 1.012 | 1.013 | 867
Sheriffhales CIC PV (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 868
Wolverhampton Power STOR (Imp) | 1.016 | 1.015 | 1.012 | 1.013 | 869
Moneystone Quarry PV (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 870
Heywood Grange Fm PV (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 871
Garreg Lwyd WF (Import) | 1.016 | 1.015 | 1.012 | 1.013 | 872
Havannah Mills | 1.051 | 1.047 | 1.032 | 1.039 | 39
Cellarhead - Meaford | 1.009 | 1.009 | 1.009 | 1.009 | 2226
Stanner | 1.051 | 1.047 | 1.032 | 1.039 | 2818
Ironbridge Power Station | 1 | 1 | 1 | 1 | 4003
Rugeley Power Station | 1 | 1 | 1 | 1 | 4018
Fort Dunlop LV Import | 1.087 | 1.081 | 1.067 | 1.072 | 7177
Cambridge Arms | 1.002 | 1.002 | 1.002 | 1.002 | 7294
EHV sites specific LLFs
Generation
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Tyseley Waste Export | 1.001 | 1.001 | 1.001 | 1.001 | 703
Uni of Birmingham Export | 1.002 | 1.002 | 1.002 | 1.002 | 708
Quatt Export | 1.023 | 1.022 | 1.018 | 1.02 | 731
Wolverhampton WS Export | 0.999 | 0.999 | 0.999 | 0.999 | 732
Stoke CHP Export | 1.016 | 1.015 | 1.012 | 1.013 | 733
Hanford Waste Services Export | 1.003 | 1.003 | 1.003 | 1.003 | 734
NR Kidsgrove Export | 1.015 | 1.015 | 1.015 | 1.015 | 735
NR Stafford Export | 1.037 | 1.037 | 1.012 | 1.037 | 736
NR Winson Green Export | 1.016 | 1.015 | 1.012 | 1.013 | 737
NR Smethwick Export | 1 | 1 | 1.012 | 1 | 738
NR Willenhall Export | 1 | 1 | 1.012 | 1 | 739
NR Nechells/Washwood Heath Exp | 1 | 1 | 1 | 1 | 741
Redditch Gas Turbine Export | 1.023 | 1.022 | 1.018 | 1.02 | 745
Knypersley Export | 1.023 | 1.022 | 1.018 | 1.02 | 746
Northwick Export | 1.023 | 1.022 | 1.018 | 1.02 | 748
Swancote Energy Export | 1.057 | 1.057 | 1.056 | 1.056 | 749
Four Ashes Incinerator Export | 0.994 | 0.994 | 0.994 | 0.994 | 750
Witches Farm Solar Export | 1.016 | 1.055 | 1.012 | 1.054 | 751
Springhill Solar Park Export | 1.023 | 1.022 | 1.018 | 1.02 | 752
Greenfrog STOR Export | 1.023 | 1.022 | 1.018 | 1.02 | 753
Union Road/EMR Oldbury Export | 1.001 | 1.001 | 1.012 | 1.013 | 754
Battlefield Generation Export | 1.017 | 1.017 | 1.017 | 1.017 | 755
Says Farms PV Export | 1.016 | 1.022 | 1.012 | 1.021 | 756
Hayford Fm PV Boundary Export | 1.016 | 1.015 | 1.012 | 1.013 | 757
Rotherdale Farm PV Export | 1.016 | 1.028 | 1.012 | 1.028 | 758
Lower Newton Solar Farm (Exp) | 1.016 | 1.03 | 1.012 | 1.029 | 759
Wrockwardine Solar Farm (Exp) | 1.016 | 1.047 | 1.012 | 1.045 | 760
Condover Solar Farm (Export) | 1.016 | 1 | 1.012 | 0.998 | 761
Tower Hill Farm PV (Export) | 1.016 | 1.052 | 1.012 | 1.052 | 762
Hill House Farm Solar (Export) | 1.016 | 1.038 | 1.04 | 1.037 | 763
Pitchford Farm Solar (Export) | 1.016 | 1.038 | 1.044 | 1.035 | 764
Sundorne Solar Park (Export) | 1.016 | 1.02 | 1.012 | 1.02 | 765
Hartlebury EFW (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 766
Upper Huntingford PV (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 767
Ring O Bells Solar (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 768
Hall Farm PV Awre (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 769
Northwick 5 Mile Dr PV Export | 1.023 | 1.022 | 1.018 | 1.02 | 805
Northwick GF STOR Extn (Exps) | 1.023 | 1.022 | 1.018 | 1.02 | 806
Wickhamford PV (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 815
Yorkley Wood Farm PV (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 816
Awbridge Farm Diesel Gen (Exp) | 1.016 | 1.015 | 1.012 | 1.013 | 817
Bristol Rd Glos STOR (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 818
Actrees Farm PV (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 819
Sheriffhales Farm PV (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 820
Upper Wick Farm PV (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 821
Astley Solar Farm PV (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 824
Hayford Fm PV Embedded Export | 1.016 | 1.015 | 1.012 | 1.013 | 825
Sheriffhales CIC PV (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 826
Wolverhampton Power STOR (Exp) | 1.016 | 1.015 | 1.012 | 1.013 | 827
Moneystone Quarry PV (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 828
Heywood Grange Fm PV (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 829
Garreg Lwyd WF (Export) | 1.016 | 1.015 | 1.012 | 1.013 | 830
Star Aluminium Export | 1.023 | 1.022 | 1.018 | 1.02 | 915
Troughton Farm PV (Export) | 1.002 | 1.002 | 1.002 | 1.002 | 933
Fort Dunlop 132kV Export | 1 | 1 | 1 | 1 | 7070