## Annex 5 LLFs
These line loss factors are illustrative based on the latest calculated values and are published in good faith. However, the line loss factors that are approved by the BSC Panel for the applicable year and consequently published on the Elexon website will take precedence and be used in Settlement if they differ from these values.
Western Power Distribution (East Midlands) plc - Illustrative LLFs Effective between 1/4/2017 and 31/3/2018
Time periods | Period 1 | Period 2 | Period 3 | Period 4
| Peak | Winter | Night | Other
Monday to Friday Mar to Oct |  |  | 00:30 – 07:30 | 07:30 – 00:30
Monday to Friday Nov to Feb | 16:00 – 19:00 | 07:30 – 16:00 19:00 – 20:00 | 00:30 – 07:30 | 20:00 – 00:30
Saturday and Sunday All Year |  |  | 00:30 – 07:30 | 07:30 – 00:30
Notes | All the above times are in UK Clock time
Generic Demand and Generation LLFs
Metered voltage, respective periods and associated LLFCs
Metered Voltage | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Low Voltage Network | 1.08 | 1.075 | 1.068 | 1.07 | 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 13, 16, 19, 22, 25, 28, 31, 34, 37, 40, 43, 46, 49, 52, 58, 81, 82, 83, 84, 85, 246, 247, 800, 801, 802, 803, 804, 821, 900, 901, 971, 973, 986, 987, 990, 993, 994, 995
Low Voltage Substation | 1.05 | 1.049 | 1.052 | 1.048 | 59, 80, 970, 972, 974
High Voltage Network | 1.034 | 1.032 | 1.029 | 1.03 | 60, 90, 91, 92, 93, 94, 95, 96, 97, 98, 99, 929, 975, 977, 991, 996
High Voltage Substation | 1.018 | 1.018 | 1.021 | 1.019
EHV connected | 1.01 | 1.011 | 1.012 | 1.011 | 997
132/EHV connected | 1.008 | 1.008 | 1.01 | 1.009
132/HV connected | 1.008 | 1.008 | 1.01 | 1.009
132kV connected | 1.002 | 1.002 | 1.002 | 1.002
EHV site specific LLFs
Demand
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
S.Leverton Sub St Treswell Rd | 1.018 | 1.018 | 1.021 | 1.019 | 61
Yew Tree Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 292
Cobb Farm Egmanton PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 293
Kelmarsh Wind Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 294
PebbleHall_Boundary_Import | 1.01 | 1.011 | 1.012 | 1.011 | 295
Copley Farm PV Claypole (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 296
Greatmoor EFW Calvert (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 297
Lodge Farm (Calow) PV Import | 1.01 | 1.011 | 1.012 | 1.011 | 298
Arkwright Solar PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 299
Langar Solar PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 300
Redfield Road 1 STOR (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 301
Averill Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 302
Marchington Solar PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 303
West End Fm Treswell PV (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 304
Fields Farm Southam PV (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 305
Canopus Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 306
Lindridge Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 307
Thornborough Grnds PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 308
Wymeswold Narrow Lane PV (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 309
Manor Farm Horton PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 310
Handley Park Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 311
Shelton Lodge PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 312
Brafield on the Green PV (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 313
Sywell PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 314
Holtwood Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 315
Drakelow Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 316
Stragglethorpe Rd PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 317
Oxcroft Solar Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 318
Derby Waste Sinfin EFW (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 319
Littlewood Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 320
Twin Yards Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 321
Tower Hayes Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 322
The Breck Solar PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 323
Barnby Moor Retford PV(Import) | 1.01 | 1.011 | 1.012 | 1.011 | 324
Lincoln Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 325
Drakelow Renewable BIO (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 326
Tetron Point ESS (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 327
Mill Fm Gt Ponton PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 328
Deepdale Solar Fm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 330
Burton Wolds South WF (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 331
Brafield_PV_Commercial (Imps) | 1.01 | 1.011 | 1.012 | 1.011 | 332
Brafield_PV_Community (Imps) | 1.01 | 1.011 | 1.012 | 1.011 | 333
Gawcott Flds PV Commercial Imp | 1.01 | 1.011 | 1.012 | 1.011 | 334
Gawcott Flds PV Community Imp | 1.01 | 1.011 | 1.012 | 1.011 | 335
Trafalgar Pk Gas STOR (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 336
John Brookes Sawmill BIO (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 337
Hawton Wind Farm WF (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 338
Blackbridge Farm BIO (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 339
Garnham Close STOR (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 340
RAF Cranwell High G Facility | 1.01 | 1.011 | 1.012 | 1.011 | 341
Langar Community PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 342
Hermitage Lane STOR (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 343
Prestop Park Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 784
Smith Hall Farm Solar (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 785
Park Farm Solar Ashby (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 786
Aston House Solar Farm(Import) | 1.01 | 1.011 | 1.012 | 1.011 | 787
Normanton-le-Heath PV Fm (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 788
Elms Farm Solar Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 789
Morton Solar Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 790
Glebe Farm Podington PV-Import | 1.01 | 1.011 | 1.012 | 1.011 | 791
Rolleston Park Solar (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 792
Nowhere Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 793
Lockington Solar Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 794
Chelveston Renewable PV-Import | 1.01 | 1.011 | 1.012 | 1.011 | 795
Horsemoor Drove Solar (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 796
Decoy Farm Crowland PV-Import | 1.01 | 1.011 | 1.012 | 1.011 | 797
Decoy Farm Crowland Bio-Import | 1.01 | 1.011 | 1.012 | 1.011 | 798
Decoy Farm Crowland AD-Import | 1.01 | 1.011 | 1.012 | 1.011 | 799
Railtrack Bytham (Import) | 1.009 | 1.009 | 1.008 | 1.009 | 824
Railtrack Grantham (Import) | 1.016 | 1.016 | 1.015 | 1.015 | 825
Railtrack Staythorpe (Import) | 1 | 1 | 1 | 1 | 826
Railtrack Retford (Import) | 1.027 | 1.027 | 1.026 | 1.027 | 827
Railtrack Rugby (Import) | 1.014 | 1.014 | 1.013 | 1.014 | 828
Railtrack Tamworth (Import) | 1.009 | 1.009 | 1.009 | 1.009 | 829
Railtrack Wolverton (Import) | 1.013 | 1.013 | 1.013 | 1.013 | 830
Jaguar Cars | 1.018 | 1.018 | 1.021 | 1.019 | 831
Alstom Frankton | 1.018 | 1.018 | 1.021 | 1.019 | 832
University of Warwick | 1.018 | 1.018 | 1.021 | 1.019 | 833
Dunlop Factory | 1.018 | 1.018 | 1.021 | 1.019 | 834
Bombardier | 1.012 | 1.012 | 1.012 | 1.012 | 835
Corus Corby (Import) | 1.012 | 1.012 | 1.012 | 1.012 | 836
Acordis (Import) | 1.025 | 1.025 | 1.025 | 1.025 | 837
Derwent (Import) | 1.002 | 1.002 | 1.002 | 1.002 | 838
GEC Alsthom (Import) | 1.039 | 1.039 | 1.012 | 1.011 | 839
St Gobain (Import) | 1.038 | 1.038 | 1.038 | 1.038 | 840
Toyota (Import) | 1.002 | 1.003 | 1.003 | 1.003 | 841
Derby Co-Generation (Import) | 1.003 | 1.003 | 1.003 | 1.003 | 842
Rolls Royce Sinfin C (Import) | 1 | 1 | 1.012 | 1 | 843
ABR Foods (Import) | 1.01 | 1.011 | 1.013 | 1.013 | 844
Petsoe Wind Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 845
Castle Cement (Import) | 1.055 | 1.055 | 1.055 | 1.055 | 846
Rugby Cement (Import) | 1.033 | 1.034 | 1.034 | 1.034 | 847
Cov & Sol Waste (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 848
Bentinck (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 849
EHV Import | 1.01 | 1.011 | 1.012 | 1.011 | 851
Asfordby 132kv | 1 | 1.001 | 1 | 1 | 852
Calvert Landfill (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 853
Weldon Landfill (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 854
Goosy Lodge Power (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 855
BAR Honda (Import) | 1.021 | 1.021 | 1.021 | 1.021 | 856
Burton Wolds Wind Farm Import | 1.01 | 1.011 | 1.012 | 1.011 | 857
Railtrack Bretton (Import) | 1.012 | 1.012 | 1.012 | 1.012 | 858
Bambers Farm Wind Farm Import | 1.01 | 1.011 | 1.012 | 1.011 | 859
Vine House Wind Farm Import | 1.01 | 1.011 | 1.012 | 1.011 | 860
Red House Wind Farm Import | 1.01 | 1.011 | 1.012 | 1.011 | 861
Daneshill Landfill (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 862
Corby Power (Import) | 1.01 | 1.04 | 1.04 | 1.04 | 863
Newton Longville Import | 1.01 | 1.011 | 1.012 | 1.011 | 864
Hollies Wind Farm Import | 1.01 | 1.011 | 1.012 | 1.011 | 865
Lynn Wind Farm (Import) | 1.002 | 1.002 | 1.002 | 1.002 | 866
Inner Dowsing Wind Farm Import | 1.002 | 1.002 | 1.002 | 1.002 | 867
Bicker Fen Wind Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 868
London Road CHP (Import) | 1.018 | 1.018 | 1.021 | 1.019 | 869
Lindhurst Wind Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 870
Staveley Works | 1.018 | 1.018 | 1.021 | 1.019 | 871
AP Drivelines | 1.018 | 1.018 | 1.021 | 1.019 | 872
Rolls Royce Coventry | 1.018 | 1.018 | 1.021 | 1.019 | 873
UK COAL MINING LTD | 1.018 | 1.018 | 1.021 | 1.019 | 874
Caterpillar | 1.018 | 1.018 | 1.021 | 1.019 | 875
Santander Carlton Park | 1.018 | 1.018 | 1.021 | 1.019 | 876
Brush | 1.018 | 1.018 | 1.021 | 1.019 | 877
JCB | 1.018 | 1.018 | 1.021 | 1.019 | 878
Cast Bar UK | 1.018 | 1.018 | 1.021 | 1.019 | 879
Bretby GP | 1.018 | 1.018 | 1.021 | 1.019 | 880
Holwell Works | 1.018 | 1.018 | 1.021 | 1.019 | 881
Pedigree Petfoods | 1.018 | 1.018 | 1.021 | 1.019 | 882
Alstom Wolverton | 1.018 | 1.018 | 1.021 | 1.019 | 883
Colworth Laboratory | 1.018 | 1.018 | 1.021 | 1.019 | 884
Boots Thane Road | 1.018 | 1.018 | 1.021 | 1.019 | 885
QMC | 1.018 | 1.018 | 1.021 | 1.019 | 886
British Gypsum | 1.018 | 1.018 | 1.021 | 1.019 | 887
Melbourne STW | 1.018 | 1.018 | 1.021 | 1.019 | 888
Whetstone | 1.018 | 1.018 | 1.021 | 1.019 | 889
Holbrook Works | 1.018 | 1.018 | 1.021 | 1.019 | 890
Astrazeneca Charnwood | 1.018 | 1.018 | 1.021 | 1.019 | 891
B&Q Manton (Import) | 1.018 | 1.018 | 1.021 | 1.019 | 892
Transco Churchover | 1.018 | 1.018 | 1.021 | 1.019 | 893
Alstom Rugby | 1.018 | 1.018 | 1.021 | 1.019 | 894
VSB Avenue | 1.01 | 1.011 | 1.012 | 1.011 | 895
Low Spinney Wind Farm | 1.01 | 1.011 | 1.012 | 1.011 | 896
SWINFORD WINDFARM (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 897
Yelvertoft Wind Farm | 1.01 | 1.011 | 1.012 | 1.011 | 898
Maxwell House Data Centre | 1.01 | 1.011 | 1.012 | 1.011 | 899
Burton Wolds Ext North Import | 1.01 | 1.011 | 1.012 | 1.011 | 902
Shacks Barn PV Import | 1.01 | 1.011 | 1.012 | 1.011 | 903
Hatton Gas Compressor | 1.012 | 1.012 | 1.002 | 1.011 | 904
North Hykeham EFW | 1.045 | 1.045 | 1.045 | 1.045 | 905
Sleaford Renewable (Import) | 1.039 | 1.039 | 1.039 | 1.039 | 906
Bilsthorpe Wind Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 907
Old Dalby Lodge WndFarm Import | 1.01 | 1.011 | 1.012 | 1.011 | 908
Willoughby STOR (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 909
Rolls Royce AB&E 33kV (Import) | 1.013 | 1.013 | 1.013 | 1.013 | 910
The Grange Wind Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 911
Clay Lake STOR (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 912
Balderton STOR (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 913
Wymeswold Solar Park (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 914
French Farm Wind Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 915
Lilbourne Wind Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 916
Chelvaston Renewable (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 917
Beachampton Solar Farm Import | 1.01 | 1.011 | 1.012 | 1.011 | 918
Croft End Solar Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 919
M1 Wind Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 920
Leamington STOR (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 921
Low Farm Anaerobic Dig (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 922
Turweston Airfield Solar (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 923
Burton Pedwardine Solar (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 924
Little Morton Farm Solar (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 925
Rockingham | 1.018 | 1.018 | 1.021 | 1.019 | 930
Santander Carlton Park 132/11 | 1.008 | 1.008 | 1.01 | 1.009 | 931
Delphi Diesel | 1.018 | 1.018 | 1.021 | 1.019 | 932
Lodge Farm Solar Park (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 940
Ermine Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 941
Ridge Solar Park (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 942
Winwick Wind Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 943
Watford Lodge Wind Farm (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 944
Leverton Solar Park (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 945
Burton Pedwardine Phase 2 Imp | 1.01 | 1.011 | 1.012 | 1.011 | 946
Hartwell Solar Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 947
Eakley Lanes Solar North (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 948
Eakley Lanes Solar South (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 949
Welbeck Colliery PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 950
Newton Road PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 951
New Albion WF (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 952
Moat Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 953
Bilsthorpe Solar (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 954
Hall Farm PV (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 955
Gaultney Solar Park (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 956
Fiskerton Solar Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 957
Mount Mill Solar Park (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 958
Podington Airfield WF (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 959
Branston South PV Farm(Import) | 1.01 | 1.011 | 1.012 | 1.011 | 960
Eakring Solar Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 961
Ragdale PV Solar Park (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 962
Thoresby Solar Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 963
Welbeck Solar Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 964
Atherstone Solar Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 965
Babworth Estate PV Farm (Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 966
Gawcott Fields PV Boundary Imp | 1.01 | 1.011 | 1.012 | 1.011 | 967
Homestead Farm Solar Park(Imp) | 1.01 | 1.011 | 1.012 | 1.011 | 968
Grange Solar Farm (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 969
Grendon | 1.004 | 1.004 | 1.004 | 1.004 | 2034
East Claydon | 1 | 1 | 1 | 1 | 2227
Glutton Bridge | 1.034 | 1.032 | 1.029 | 1.03 | 2820
West Burton Power Station | 1 | 1 | 1 | 1 | 4010
Ratcliffe-on-Soar Power Station | 1 | 1 | 1 | 1 | 5016
Corby Power | 1.012 | 1.024 | 1.028 | 1.026 | 7015
Derwent Cogeneration | 1.002 | 1.002 | 1.002 | 1.002 | 7043
Redfield Road 1 STOR (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 7315
Redfield Road B STOR (Import) | 1.01 | 1.011 | 1.012 | 1.011 | 7326
EHV sites specific LLFs
Generation
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Yew Tree Farm PV (Export) | 1.01 | 1.046 | 1.012 | 1.045 | 367
Cobb Farm Egmanton PV (Export) | 1.01 | 1.072 | 1.012 | 1.069 | 368
Kelmarsh Wind Farm (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 369
PebHall_Welland_Waste_Export | 1.01 | 1.011 | 1.012 | 1.011 | 370
Copley Farm PV Claypole (Exp) | 1.01 | 1.011 | 1.012 | 1.011 | 371
Greatmoor EFW Calvert (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 372
Lodge Farm (Calow) PV Export | 1.01 | 1.011 | 1.012 | 1.011 | 373
Arkwright Solar PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 374
Langar Solar PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 375
Redfield Road 1 STOR (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 376
Averill Farm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 377
Marchington Solar PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 378
West End Fm Treswell PV (Exp) | 1.01 | 1.011 | 1.012 | 1.011 | 379
Fields Farm Southam PV (Exp) | 1.01 | 1.011 | 1.012 | 1.011 | 380
Canopus Farm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 381
Lindridge Farm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 382
Thornborough Grnds PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 383
Wymeswold Narrow Lane PV (Exp) | 1.01 | 1.011 | 1.012 | 1.011 | 384
Manor Farm Horton PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 385
Handley Park Farm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 386
Shelton Lodge PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 387
Brafield on the Green PV (Exp) | 1.01 | 1.011 | 1.012 | 1.011 | 388
Sywell PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 389
Holtwood Farm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 390
Drakelow Farm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 391
Stragglethorpe Rd PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 392
Oxcroft Solar Farm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 393
Derby Waste Sinfin EFW (Exp) | 1.01 | 1.011 | 1.012 | 1.011 | 394
Littlewood Farm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 395
Twin Yards Farm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 396
Tower Hayes Farm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 397
The Breck Solar PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 398
Barnby Moor Retford PV(Export) | 1.01 | 1.011 | 1.012 | 1.011 | 399
Lincoln Farm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 400
Drakelow Renewable BIO (Exp) | 1.01 | 1.011 | 1.012 | 1.011 | 401
Tetron Point ESS (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 402
Mill Fm Gt Ponton PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 403
PebHall_Welland_AD_Export | 1.01 | 1.011 | 1.012 | 1.011 | 404
Deepdale Solar Fm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 405
Burton Wolds South WF (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 406
Brafield_PV_Commercial (Exps) | 1.01 | 1.011 | 1.012 | 1.011 | 407
Brafield_PV_Community (Exps) | 1.01 | 1.011 | 1.012 | 1.011 | 408
Gawcott Flds PV Commercial Exp | 1.01 | 1.011 | 1.012 | 1.011 | 409
Gawcott Flds PV Community Exp | 1.01 | 1.011 | 1.012 | 1.011 | 410
Trafalgar Pk Gas STOR (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 411
John Brookes Sawmill BIO (Exp) | 1.01 | 1.011 | 1.012 | 1.011 | 412
Hawton Wind Farm WF (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 413
Blackbridge Farm BIO (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 414
Garnham Close STOR (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 415
Bombardier (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 416
Langar Community PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 417
Hermitage Lane STOR (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 418
Railtrack Bytham (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 600
Railtrack Grantham (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 601
Railtrack Staythorpe (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 602
Railtrack Retford (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 603
Railtrack Rugby (Export) | 1.017 | 1.017 | 1.012 | 1.016 | 604
Railtrack Tamworth (Export) | 1.009 | 1.009 | 1.012 | 1.009 | 605
Railtrack Wolverton (Export) | 1.02 | 1.019 | 1.012 | 1.019 | 606
Acordis (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 607
QMC (Export) | 1.018 | 1.018 | 1.021 | 1.019 | 608
ABR Foods (Export) | 1.012 | 1.012 | 1.012 | 1.012 | 609
Derby Co-Generation (Export) | 1.002 | 1.002 | 1.002 | 1.003 | 610
Bentinck (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 611
Calvert Landfill (Export) | 1.005 | 1.007 | 1.005 | 1.006 | 612
Weldon Landfill (Export) | 1.009 | 1.009 | 1.009 | 1.009 | 613
Goosy Lodge Power (Export) | 1.015 | 1.015 | 1.015 | 1.015 | 614
Burton Wolds Wind Farm Export | 1.017 | 1.017 | 1.02 | 1.019 | 615
Railtrack Bretton (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 616
Bambers Farm Wind Farm Export | 1.009 | 1.009 | 1.009 | 1.009 | 617
Vine House Wind Farm Export | 1.029 | 1.029 | 1.032 | 1.031 | 618
Red House Wind Farm Export | 1.056 | 1.056 | 1.06 | 1.06 | 619
Daneshill Landfill (Export) | 1.03 | 1.04 | 1.036 | 1.044 | 620
Newton Longville Export | 1.022 | 1.022 | 1.022 | 1.022 | 621
Hollies Wind Farm Export | 1.001 | 1.001 | 1.001 | 1.001 | 622
Lynn Wind Farm (Export) | 1.015 | 1.014 | 1.02 | 1.02 | 629
Inner Dowsing Wind Farm Export | 1.015 | 1.015 | 1.019 | 1.02 | 630
Bicker Fen Wind Farm (Export) | 1.043 | 1.042 | 1.047 | 1.045 | 631
Cov & Sol Waste (Export) | 1.018 | 1.018 | 1.021 | 1.019 | 632
Lindhurst Wind Farm (Export) | 1.005 | 1.005 | 1.007 | 1.006 | 633
London Road CHP (Export) | 1.016 | 1.016 | 1.016 | 1.016 | 634
Petsoe Wind Farm (Export) | 1.024 | 1.023 | 1.027 | 1.026 | 635
Boots Thane Road (Export) | 1.018 | 1.018 | 1.021 | 1.019 | 636
B&Q Manton (Export) | 1.018 | 1.018 | 1.021 | 1.019 | 637
Low Spinney Wind Farm (Export) | 1.031 | 1.03 | 1.032 | 1.032 | 638
SWINFORD WINDFARM (Export) | 1.024 | 1.024 | 1.025 | 1.025 | 639
Asfordby Generation | 1.001 | 1.001 | 1.002 | 1.001 | 640
Yelvertoft (Export) | 1.046 | 1.046 | 1.048 | 1.048 | 641
North Hykeham Export | 1.033 | 1.034 | 1.035 | 1.035 | 642
Sleaford Renewable (Export) | 1.035 | 1.035 | 1.037 | 1.037 | 643
Bilsthorpe Wind Farm (Export) | 0.996 | 0.996 | 0.998 | 0.998 | 644
Old Dalby Lodge WndFarm Export | 1.01 | 1.011 | 1.012 | 1.011 | 645
Lilbourne Wind Farm (Export) | 1.028 | 1.028 | 1.031 | 1.03 | 646
The Grange Wind Farm (Export) | 1.033 | 1.033 | 1.035 | 1.035 | 647
Clay Lake STOR (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 648
Balderton STOR (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 649
Burton Wolds Ext North Export | 1.025 | 1.025 | 1.029 | 1.03 | 650
Shacks Barn PV Export | 1.01 | 1.061 | 1.012 | 1.062 | 651
Willoughby STOR (Export) | 1.012 | 1.011 | 1.012 | 1.011 | 652
Wymeswold Solar Park (Export) | 1.024 | 1.023 | 1.025 | 1.022 | 653
French Farm Wind Farm (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 654
Chelvaston Renewable (Export) | 1.008 | 1.006 | 1.012 | 1.009 | 655
Beachampton Solar Farm Export | 1.01 | 1.012 | 1.012 | 1.012 | 656
Croft End Solar Farm (Export) | 1.01 | 1.035 | 1.012 | 1.035 | 657
M1 Wind Farm (Export) | 1.042 | 1.042 | 1.043 | 1.043 | 658
Leamington STOR Export | 1.01 | 1.011 | 1.012 | 1.011 | 659
Low Farm Anaerobic Dig (Exp) | 1.053 | 1.053 | 1.053 | 1.052 | 660
Welbeck Colliery PV ( Export) | 1.01 | 1.026 | 1.012 | 1.026 | 661
Newton Road PV (Export) | 1.01 | 1.045 | 1.012 | 1.045 | 662
New Albion WF (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 663
Moat Farm PV (Export) | 1.01 | 1.044 | 1.012 | 1.044 | 664
Bilsthorpe Solar (Export) | 1.01 | 1.022 | 1.012 | 1.022 | 665
Hall Farm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 666
Gaultney Solar Park (Export) | 1.01 | 1.046 | 1.048 | 1.045 | 667
Fiskerton Solar Farm (Export) | 1.01 | 1.027 | 1.012 | 1.027 | 668
Mount Mill Solar Park (Export) | 1.01 | 1.016 | 1.012 | 1.015 | 669
Podington Airfield WF (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 670
Branston South PV Farm(Export) | 1.01 | 1.041 | 1.044 | 1.039 | 671
Eakring Solar Farm (Export) | 1.01 | 1.024 | 1.012 | 1.023 | 672
Ragdale PV Solar Park (Export) | 1.01 | 1.025 | 1.026 | 1.024 | 673
Thoresby Solar Farm (Export) | 1.01 | 1.038 | 1.042 | 1.036 | 674
Welbeck Solar Farm (Export) | 1.01 | 1.029 | 1.012 | 1.028 | 675
Atherstone Solar Farm (Export) | 1.01 | 1.045 | 1.012 | 1.043 | 676
Babworth Estate PV Farm (Exp) | 1.01 | 1.046 | 1.012 | 1.045 | 677
Gawcott Fields PV Boundary Exp | 1.01 | 1.011 | 1.012 | 1.011 | 678
Homestead Farm Solar Park(Exp) | 1.01 | 1.026 | 1.028 | 1.025 | 679
Grange Solar Farm (Export) | 1.01 | 1.1 | 1.012 | 1.097 | 680
Turweston Airfield Solar (Exp) | 1.01 | 1.021 | 1.012 | 1.021 | 691
Burton Pedwardine Solar (Exp) | 1.01 | 1.03 | 1.012 | 1.029 | 692
Little Morton Farm Solar (Exp) | 1.01 | 1.041 | 1.012 | 1.041 | 693
Lodge Farm Solar Park (Export) | 1.01 | 1.042 | 1.012 | 1.041 | 694
Ermine Farm PV (Export) | 1.025 | 1.023 | 1.012 | 1.024 | 695
Ridge Solar Park (Export) | 1.01 | 1.011 | 1.012 | 1.009 | 696
Winwick Wind Farm (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 697
Watford Lodge Wind Farm (Exp) | 1.01 | 1.011 | 1.012 | 1.011 | 698
Leverton Solar Park (Export) | 1.01 | 1.076 | 1.012 | 1.075 | 699
Castle Cement (Export) | 1.01 | 1.054 | 1.012 | 1.011 | 700
Burton Pedwardine Phase 2 Exp | 1.01 | 1.03 | 1.012 | 1.03 | 701
Hartwell Solar Farm (Export) | 1.01 | 1.057 | 1.012 | 1.055 | 702
Eakley Lanes Solar North (Exp) | 1.01 | 1.049 | 1.012 | 1.048 | 703
Eakley Lanes Solar South (Exp) | 1.01 | 1.049 | 1.012 | 1.048 | 704
Prestop Park Farm PV (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 705
Smith Hall Farm Solar (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 706
Park Farm Solar Ashby (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 707
Aston House Solar Farm(Export) | 1.01 | 1.014 | 1.012 | 1.012 | 708
Normanton-le-Heath PV Fm (Exp) | 1.01 | 1.011 | 1.012 | 1.011 | 709
Elms Farm Solar Farm (Export) | 1.01 | 1.025 | 1.012 | 1.025 | 710
Morton Solar Farm (Export) | 1.039 | 1.038 | 1.039 | 1.037 | 711
Glebe Farm Podington PV-Export | 1.014 | 1.012 | 1.014 | 1.011 | 712
Rolleston Park Solar (Export) | 1.01 | 1.011 | 1.012 | 1.009 | 713
Nowhere Farm PV (Export) | 1.01 | 1.051 | 1.012 | 1.05 | 714
Lockington Solar Farm (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 715
Chelveston Renewable PV-Export | 1.024 | 1.021 | 1.024 | 1.02 | 716
Horsemoor Drove Solar (Export) | 1.01 | 1.037 | 1.012 | 1.037 | 717
Decoy Farm Crowland PV-Export | 1.01 | 1.011 | 1.012 | 1.011 | 718
Decoy Farm Crowland Bio-Export | 1.01 | 1.011 | 1.012 | 1.011 | 719
Decoy Farm Crowland AD-Export | 1.01 | 1.011 | 1.012 | 1.011 | 720
Redfield Road 1 STOR (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 7316
Redfield Road B STOR (Export) | 1.01 | 1.011 | 1.012 | 1.011 | 7327