## Annex 5 LLFs
The line loss factors contained in this statement are published in good faith. However, the line loss factors that are approved by the BSC Panel and published on the Elexon website will take precedence and be used in Settlement if they differ from these values.
Western Power Distribution (South West) plc - Illustrative LLFs Effective between 1/4/2017 and 31/3/2018
Time periods | Period 1 | Period 2 | Period 3 | Period 4
| Peak | Winter | Night | Other
Monday to Friday Mar to Oct |  |  | 00:00 - 06:30 23:30 - 24:00 | 06:30 - 23:30
Monday to Friday Nov to Feb | 16:00 - 19:00 | 06:30 - 16:00 | 00:00 - 06:30 23:30 - 24:00 | 19:00 - 23:30
Saturday and Sunday All Year |  |  | 00:00 - 06:30 23:30 - 24:00 | 06:30 - 23:30
Notes | All the above times are in UK Clock time
Generic Demand and Generation LLFs
Metered voltage, respective periods and associated LLFCs
Metered Voltage | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Low Voltage Network | 1.062 | 1.058 | 1.056 | 1.056 | 10, 20, 30, 40, 110, 202, 203, 210, 251, 430, 527, 570, 581, 970, 977, 978, 979, 980
Low Voltage Substation | 1.049 | 1.047 | 1.047 | 1.047 | 526, 540, 551
High Voltage Network | 1.038 | 1.034 | 1.027 | 1.031 | 510, 521, 524
High Voltage Substation | 1.021 | 1.02 | 1.018 | 1.019 | 522, 523, 525
EHV connected | 1.012 | 1.012 | 1.01 | 1.011 | 670, 671
132/EHV connected | 1.006 | 1.005 | 1.006 | 1.006
132/HV connected | 1.007 | 1.007 | 1.006 | 1.007
132kV connected | 1.002 | 1.002 | 1.002 | 1.002
EHV site specific LLFs
Demand
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Ashwater auxillary import (LV) | 1.062 | 1.058 | 1.056 | 1.056 | 204
Tregarrick Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 260
Freathy Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 261
Till House PV | 1.012 | 1.012 | 1.01 | 1.011 | 262
Outlands Wood PV | 1.012 | 1.012 | 1.01 | 1.011 | 263
Culmhead PV | 1.012 | 1.012 | 1.01 | 1.011 | 264
Whitchurch Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 265
Kingsland Barton PV | 1.012 | 1.012 | 1.01 | 1.011 | 266
Mendip Solar PV | 1.012 | 1.012 | 1.01 | 1.011 | 267
St Stephen PV | 1.012 | 1.012 | 1.01 | 1.011 | 268
Trewidland PV | 1.012 | 1.012 | 1.01 | 1.011 | 269
Watchfield Lawn PV | 1.012 | 1.012 | 1.01 | 1.011 | 270
Gover Park PV | 1.012 | 1.012 | 1.01 | 1.011 | 271
North Wayton PV | 1.012 | 1.012 | 1.01 | 1.011 | 272
Week Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 273
Cullompton PV | 1.012 | 1.012 | 1.01 | 1.011 | 274
Dinder Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 275
Kilmersdon Estate PV | 1.012 | 1.012 | 1.01 | 1.011 | 276
Pitts Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 277
Kerriers PV | 1.012 | 1.012 | 1.01 | 1.011 | 278
Ernesettle STOR | 1.012 | 1.012 | 1.01 | 1.011 | 279
Yew Tree Cottage PV | 1.012 | 1.012 | 1.01 | 1.011 | 280
Goonhilly PV | 1.012 | 1.012 | 1.01 | 1.011 | 281
Nanteague PV | 1.012 | 1.012 | 1.01 | 1.011 | 282
Bidwell Dartington PV | 1.012 | 1.012 | 1.01 | 1.011 | 283
New Row Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 284
Victoria (WBAR3) WF | 1.012 | 1.012 | 1.01 | 1.011 | 285
Four Barrows 2 PV | 1.012 | 1.012 | 1.01 | 1.011 | 286
Redlands Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 287
Tengore Lane PV | 1.012 | 1.012 | 1.01 | 1.011 | 288
Liverton Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 289
Yonder Parks PV | 1.012 | 1.012 | 1.01 | 1.011 | 290
Somerton Door PV | 1.012 | 1.012 | 1.01 | 1.011 | 291
Carditch Drove PV | 1.012 | 1.012 | 1.01 | 1.011 | 292
Capelands Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 293
East Youlstone WF | 1.012 | 1.012 | 1.01 | 1.011 | 294
Francis Court Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 295
Northwood PV | 1.012 | 1.012 | 1.01 | 1.011 | 296
Tricky Warren PV | 1.012 | 1.012 | 1.01 | 1.011 | 297
Iwood Lane PV | 1.012 | 1.012 | 1.01 | 1.011 | 298
Rydon Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 299
Balls Wood PV | 1.012 | 1.012 | 1.01 | 1.011 | 300
Ashlawn Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 301
Pencoose Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 302
Hawkers Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 303
Hurcott PV | 1.012 | 1.012 | 1.01 | 1.011 | 304
Garvinack Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 305
Newton Barton PV | 1.012 | 1.012 | 1.01 | 1.011 | 306
Coombeshead Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 307
Walland Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 308
Ashcombe PV | 1.012 | 1.012 | 1.01 | 1.011 | 309
Newnham Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 310
Roskrow Barton PV | 1.012 | 1.012 | 1.01 | 1.011 | 311
Parkview PV | 1.012 | 1.012 | 1.01 | 1.011 | 312
Towerhead Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 313
Rookery Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 314
Bystock Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 315
Pylle PVs Boundary Imports | 1.012 | 1.012 | 1.01 | 1.011 | 316
Burthy Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 317
Wilton Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 318
Coombe Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 319
Higher Bye Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 320
Wilton Farm WF | 1.012 | 1.012 | 1.01 | 1.011 | 321
Denzell Downs WF | 1.012 | 1.012 | 1.01 | 1.011 | 322
Puriton Landfill PV_1 | 1.012 | 1.012 | 1.01 | 1.011 | 323
Portworthy Dams PV Site 1 | 1.012 | 1.012 | 1.01 | 1.011 | 324
Wick Farm Boundary Imports | 1.012 | 1.012 | 1.01 | 1.011 | 325
Batsworthy Cross WF | 1.012 | 1.012 | 1.01 | 1.011 | 327
Portworthy Dams PV Site 2 | 1.012 | 1.012 | 1.01 | 1.011 | 328
Crewkerne PV Site 1 | 1.012 | 1.012 | 1.01 | 1.011 | 329
Crewkerne PV Site 2 | 1.012 | 1.012 | 1.01 | 1.011 | 330
Tonedale Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 331
Puriton Landfill PV_2 | 1.012 | 1.012 | 1.01 | 1.011 | 332
Red Hill Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 333
Chelwood PV | 1.012 | 1.012 | 1.01 | 1.011 | 334
West Carclaze Site 1 | 1.012 | 1.012 | 1.01 | 1.011 | 335
West Carclaze Site 2 | 1.012 | 1.012 | 1.01 | 1.011 | 336
Northmoor (embd) PV | 1.012 | 1.012 | 1.01 | 1.011 | 337
Nmoor Little Tinney WF | 1.012 | 1.012 | 1.01 | 1.011 | 338
Nmoor Little Balsdon WF | 1.012 | 1.012 | 1.01 | 1.011 | 339
Nmoor Hornacott PV | 1.012 | 1.012 | 1.01 | 1.011 | 340
Oakham Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 341
Carnemough Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 342
Ashwater WT Site 1 Import | 1.012 | 1.012 | 1.01 | 1.011 | 343
Makro Exeter STOR | 1.012 | 1.012 | 1.01 | 1.011 | 344
Great Hounbeare PV | 1.012 | 1.012 | 1.01 | 1.011 | 345
Withy Drove PV | 1.012 | 1.012 | 1.01 | 1.011 | 346
Water Lane STOR | 1.012 | 1.012 | 1.01 | 1.011 | 347
Montys Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 348
Lawrence Weston PV | 1.012 | 1.012 | 1.01 | 1.011 | 349
Dunsland Cross WF | 1.012 | 1.012 | 1.01 | 1.011 | 350
Trerule Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 351
Nancrossa Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 352
Wick Farm West | 1.012 | 1.012 | 1.01 | 1.011 | 353
LWestPNtWk SevernCom PV | 1.012 | 1.012 | 1.01 | 1.011 | 354
LWestPNtWk Site 2 PV | 1.012 | 1.012 | 1.01 | 1.011 | 355
Tamerton Bridge STOR | 1.012 | 1.012 | 1.01 | 1.011 | 356
Ashwater PV Site 2 Import | 1.012 | 1.012 | 1.01 | 1.011 | 357
Bodwen PV Import | 1.012 | 1.012 | 1.01 | 1.011 | 358
Imerys Blackpool | 1.021 | 1.02 | 1.018 | 1.019 | 600
Otterham WT Feeder1 | 1.006 | 1.005 | 1.006 | 1.006 | 603
Otterham WT Feeder2 | 1.006 | 1.005 | 1.006 | 1.006 | 604
Wyld Meadow PV Farm | 1.012 | 1.012 | 1.01 | 1.011 | 607
Prince Rock STOR | 1.012 | 1.012 | 1.01 | 1.011 | 608
Fulford Solar | 1.012 | 1.012 | 1.01 | 1.011 | 609
Bradon Farm | 1.012 | 1.053 | 1.052 | 1.053 | 612
Carland Cross | 1.012 | 1.012 | 1.01 | 1.011 | 613
Cold Northcott | 1.012 | 1.012 | 1.01 | 1.011 | 614
Forest Moor Wind 1 | 1.012 | 1.012 | 1.01 | 1.011 | 615
Forest Moor Wind 2 | 1.012 | 1.012 | 1.01 | 1.011 | 616
Four Burrows | 1.012 | 1.012 | 1.01 | 1.011 | 617
Canworthy PV | 1.002 | 1.002 | 1.002 | 1.002 | 618
St. Breock | 1.012 | 1.012 | 1.01 | 1.011 | 619
Babcock Marine Central Intake | 1.014 | 1.014 | 1.014 | 1.014 | 620
W4B Generation Seabank | 1.012 | 1.012 | 1.01 | 1.011 | 622
Denbrook Wind Farm | 1.012 | 1.012 | 1.01 | 1.011 | 623
Wavehub Hayle | 1.012 | 1.012 | 1.01 | 1.011 | 624
Marsh Barton | 1.011 | 1.011 | 1.011 | 1.011 | 625
Connon Bridge Landfill | 1.012 | 1.012 | 1.01 | 1.011 | 626
Chelson Generator | 1.012 | 1.012 | 1.01 | 1.011 | 627
Darracott | 1.012 | 1.012 | 1.01 | 1.011 | 628
Bears Down | 1.012 | 1.012 | 1.01 | 1.011 | 629
Untd Mns Redruth St.Day | 1.012 | 1.012 | 1.01 | 1.011 | 632
Shooter's Bottom | 1.012 | 1.012 | 1.01 | 1.011 | 633
Heathfield | 1.012 | 1.012 | 1.01 | 1.011 | 634
Goonhilly | 1.012 | 1.012 | 1.01 | 1.011 | 635
Delabole | 1.012 | 1.012 | 1.01 | 1.011 | 636
Fullabrook | 1.002 | 1.002 | 1.009 | 1.002 | 637
Hemerdon Mine | 1.026 | 1.026 | 1.025 | 1.025 | 638
Trenoweth Farm | 1.012 | 1.012 | 1.01 | 1.011 | 639
Rolls Royce Filton TT | 1.012 | 1.012 | 1.01 | 1.011 | 640
Woodland Barton Farm | 1.012 | 1.012 | 1.01 | 1.011 | 642
Manor Farm | 1.012 | 1.012 | 1.01 | 1.011 | 643
Churchtown Farm | 1.012 | 1.012 | 1.01 | 1.011 | 644
Trenouth Farm | 1.012 | 1.012 | 1.01 | 1.011 | 645
West Kingsmill | 1.012 | 1.012 | 1.01 | 1.011 | 646
Howton Farm | 1.012 | 1.012 | 1.01 | 1.011 | 647
Chynoweth Farm | 1.012 | 1.012 | 1.01 | 1.011 | 648
Newton Downs Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 649
ROF Puriton | 1.012 | 1.012 | 1.01 | 1.011 | 650
East Langford | 1.012 | 1.012 | 1.01 | 1.011 | 652
Ninnis Farm | 1.012 | 1.012 | 1.01 | 1.011 | 653
Willsland | 1.012 | 1.012 | 1.01 | 1.011 | 654
Eastcombe Farm | 1.012 | 1.012 | 1.01 | 1.011 | 655
Bratton Flemming | 1.012 | 1.012 | 1.01 | 1.011 | 656
Beaford Brook | 1.012 | 1.012 | 1.01 | 1.011 | 657
Park Wall | 1.012 | 1.012 | 1.01 | 1.011 | 658
Bradford | 1.012 | 1.012 | 1.01 | 1.011 | 659
Causilgey | 1.012 | 1.012 | 1.01 | 1.011 | 662
Beechgrove | 1.012 | 1.012 | 1.01 | 1.011 | 663
Isles of Scilly EHV | 1.021 | 1.02 | 1.018 | 1.019 | 664
Blackditch | 1.012 | 1.012 | 1.01 | 1.011 | 665
Helius Biomass | 1.002 | 1.002 | 1.002 | 1.002 | 667
Bristol Port Co Avonmouth Dock | 1.021 | 1.02 | 1.018 | 1.019 | 669
Northmoor PV | 1.002 | 1.002 | 1.002 | 1.002 | 672
CERC St Dennis | 1.002 | 1.002 | 1.002 | 1.002 | 673
Severnside ERC | 1.002 | 1.002 | 1.002 | 1.002 | 674
Nexfor Ltd (Caberboard) | 1.041 | 1.041 | 1.039 | 1.039 | 690
SWW Tamar | 1.012 | 1.012 | 1.067 | 1.067 | 692
SWW Roadford | 1.037 | 1.037 | 1.037 | 1.037 | 694
St. Regis, Watchet | 1.01 | 1.01 | 1.01 | 1.01 | 695
Tarmac Stancombe Quarry | 1.036 | 1.037 | 1.036 | 1.036 | 696
MOD Abbeywood | 1.021 | 1.02 | 1.018 | 1.019 | 697
Hewlett Packard | 1.021 | 1.02 | 1.018 | 1.019 | 698
Bristol Water Blagdon Pump Stn | 1.021 | 1.02 | 1.018 | 1.019 | 699
Bristol International Airport | 1.021 | 1.02 | 1.018 | 1.019 | 700
British Gas Hallen | 1.021 | 1.02 | 1.018 | 1.019 | 701
Bristol Port Co R.Portbury Doc | 1.021 | 1.02 | 1.018 | 1.019 | 702
Whatley Quarry | 1.021 | 1.02 | 1.018 | 1.019 | 703
Falmouth Docks | 1.021 | 1.02 | 1.018 | 1.019 | 704
Astra Zeneca Hallen | 1.021 | 1.02 | 1.018 | 1.019 | 705
Dairy Crest Davidstow | 1.021 | 1.02 | 1.018 | 1.019 | 706
Broadpath Landfill | 1.021 | 1.02 | 1.018 | 1.019 | 707
Imerys Torycombe | 1.021 | 1.02 | 1.018 | 1.019 | 708
RUH | 1.021 | 1.02 | 1.018 | 1.019 | 709
Hill Barton Business Park | 1.021 | 1.02 | 1.018 | 1.019 | 712
Avonmouth BCC Wind Farm | 1.012 | 1.012 | 1.01 | 1.011 | 713
Bodiniel PV Park | 1.012 | 1.012 | 1.01 | 1.011 | 714
Garlenick Wind Farm | 1.012 | 1.012 | 1.01 | 1.011 | 715
Warleigh Barton PV | 1.012 | 1.012 | 1.01 | 1.011 | 716
Winnard's Perch PV | 1.012 | 1.012 | 1.01 | 1.011 | 717
Galsworthy WF | 1.002 | 1.002 | 1.002 | 1.002 | 718
Otterham WF | 1.002 | 1.002 | 1.002 | 1.002 | 719
BAe Filton | 1.021 | 1.02 | 1.018 | 1.019 | 720
Bristol Energy | 1.002 | 1.002 | 1.002 | 1.002 | 750
LANGAGE | 1.012 | 1.012 | 1.01 | 1.011 | 759
Imerys Drinnick | 1.021 | 1.02 | 1.018 | 1.019 | 797
Imerys Bugle | 1.021 | 1.02 | 1.018 | 1.019 | 798
Imerys Trebal | 1.021 | 1.02 | 1.018 | 1.019 | 799
Imerys Par Harbour | 1.021 | 1.02 | 1.018 | 1.019 | 800
Babcock Marine North Intake | 1.013 | 1.013 | 1.012 | 1.012 | 805
Marley Thatch PV | 1.012 | 1.012 | 1.01 | 1.011 | 810
Bristol Royal Infirmary | 1.021 | 1.02 | 1.018 | 1.019 | 811
Bristol University 33/11kV | 1.021 | 1.02 | 1.018 | 1.019 | 812
Burrowton Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 815
Callington Solar | 1.012 | 1.012 | 1.01 | 1.011 | 816
Hope Solar | 1.012 | 1.012 | 1.01 | 1.011 | 817
Avonmouth Biogas | 1.009 | 1.009 | 1.009 | 1.009 | 818
Nether Mill Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 819
Slade Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 820
Rew Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 821
Higher Trenhayle PV | 1.012 | 1.012 | 1.01 | 1.011 | 822
Middle Treworder PV | 1.012 | 1.012 | 1.01 | 1.011 | 823
Penhale Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 824
Ayshford Court PV | 1.012 | 1.012 | 1.01 | 1.011 | 825
West Hill PV | 1.012 | 1.012 | 1.01 | 1.011 | 826
Knockworthy Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 827
University of Bath | 1.012 | 1.012 | 1.011 | 1.011 | 828
Trekenning Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 829
Four Burrows PV | 1.012 | 1.012 | 1.01 | 1.011 | 830
Glebe Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 831
Hurlingpot PV | 1.012 | 1.012 | 1.01 | 1.011 | 832
Halse Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 833
Hatchlands Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 834
Higher Trevartha PV | 1.012 | 1.012 | 1.01 | 1.011 | 835
High Down WF | 1.012 | 1.012 | 1.01 | 1.011 | 836
Ford Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 837
Lower Tinacre PV | 1.012 | 1.012 | 1.01 | 1.011 | 838
Trequite Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 839
Yonder Netherton PV | 1.012 | 1.012 | 1.01 | 1.011 | 840
Higher Tregarne PV | 1.012 | 1.012 | 1.01 | 1.011 | 841
Higher North Beer PV | 1.012 | 1.012 | 1.01 | 1.011 | 842
Horsacott Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 843
Langunnett Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 844
Trefinnick Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 845
Little Trevease PV | 1.012 | 1.012 | 1.01 | 1.011 | 846
Marksbury PV | 1.012 | 1.012 | 1.01 | 1.011 | 847
Cobbs Cross PV | 1.012 | 1.012 | 1.01 | 1.011 | 848
Newlands Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 849
Cricket St Thomas PV | 1.012 | 1.012 | 1.01 | 1.011 | 850
Parsonage Barn PV | 1.012 | 1.012 | 1.01 | 1.011 | 851
Hewas PV Farm | 1.012 | 1.012 | 1.01 | 1.011 | 852
Crinacott Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 853
Penare Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 854
Aller Court PV | 1.012 | 1.012 | 1.01 | 1.011 | 855
Webbery Barton WF | 1.012 | 1.012 | 1.01 | 1.011 | 856
Stonebarrow Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 857
Whitley Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 858
New Rendy Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 859
Tregassow Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 860
Pitworthy PV | 1.012 | 1.012 | 1.01 | 1.011 | 861
Foxcombe PV | 1.012 | 1.012 | 1.01 | 1.011 | 862
Rexon Cross PV | 1.012 | 1.012 | 1.01 | 1.011 | 863
Hazard Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 864
Luscott Barton PV | 1.012 | 1.012 | 1.01 | 1.011 | 865
Grange Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 866
Derriton Fields PV | 1.012 | 1.012 | 1.01 | 1.011 | 867
Cleave Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 868
Woolavington PV | 1.012 | 1.012 | 1.01 | 1.011 | 869
Trehawke Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 870
H Berechapel Biogas | 1.012 | 1.012 | 1.01 | 1.011 | 871
Bommertown PV | 1.012 | 1.012 | 1.01 | 1.011 | 872
Carloggas Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 873
Hexworthy Barton PV | 1.012 | 1.012 | 1.01 | 1.011 | 874
Chalhanger Farm PV | 1.012 | 1.012 | 1.01 | 1.011 | 875
Simms (AVMO7J embedded) | 1.038 | 1.034 | 1.027 | 1.031 | 961
Flour Mills (AVMO7J imports) | 1.038 | 1.034 | 1.027 | 1.031 | 962
726: Indian Queens Standby Supply | 1.062 | 1.058 | 1.056 | 1.056 | 7049
763:Seabank Standby Supply | 1.038 | 1.034 | 1.027 | 1.031 | 7118
763:Seabank Standby Supply | 1.038 | 1.034 | 1.027 | 1.031 | 7122
Bridgwater District Energy | 1.009 | 1.01 | 1.01 | 1.01 | 7158
HammerlyDown | 1.006 | 1.005 | 1.006 | 1.006 | 7293
The Drove Imports | 1.038 | 1.034 | 1.027 | 1.031 | 7307
Water Lane Imports | 1.012 | 1.012 | 1.01 | 1.011 | 7319
EHV sites specific LLFs
Generation
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Tregarrick Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 371
Freathy Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 372
Till House PV Export | 1.012 | 0.998 | 1.01 | 0.998 | 373
Outlands Wood PV Export | 1.012 | 1.029 | 1.01 | 1.029 | 374
Culmhead PV Export | 1.012 | 1.014 | 1.01 | 1.013 | 375
Whitchurch Farm PV Export | 1.012 | 1.036 | 1.01 | 1.036 | 376
Kingsland Barton PV Export | 1.012 | 1.046 | 1.01 | 1.046 | 377
Mendip Solar PV Export | 1.012 | 1.041 | 1.01 | 1.04 | 378
St Stephen PV Export | 1.012 | 1.013 | 1.01 | 1.013 | 379
Trewidland PV Export | 1.012 | 1.022 | 1.01 | 1.022 | 380
Watchfield Lawn PV Export | 1.012 | 1.071 | 1.01 | 1.069 | 381
Gover Park PV Export | 1.012 | 1.033 | 1.01 | 1.031 | 382
North Wayton PV Export | 1.012 | 1.008 | 1.01 | 1.008 | 383
Week Farm PV Export | 1.012 | 1.043 | 1.01 | 1.042 | 384
Cullompton PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 385
Dinder Farm PV Export | 1.012 | 1.061 | 1.01 | 1.061 | 386
Rolls Royce Filton Export | 1.012 | 1.012 | 1.01 | 1.011 | 387
Pitts Farm PV Export | 1.012 | 1.061 | 1.01 | 1.061 | 388
Kerriers PV Export | 1.012 | 1.028 | 1.01 | 1.027 | 389
Ernesettle STOR Export | 1.009 | 1.012 | 1.01 | 1.011 | 390
Yew Tree Cottage PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 391
Goonhilly PV Export | 1.012 | 1.075 | 1.01 | 1.074 | 392
Nanteague PV Export | 1.012 | 1.014 | 1.01 | 1.013 | 393
Bidwell Dartington PV Export | 1.012 | 1.007 | 1.01 | 1.007 | 394
New Row Farm PV Export | 1.012 | 1.069 | 1.01 | 1.069 | 395
Victoria (WBAR3) WF Export | 1.017 | 1.016 | 1.017 | 1.017 | 396
Four Burrows 2 PV Export | 1.012 | 1.02 | 1.01 | 1.019 | 397
Redlands Farm PV Export | 1.012 | 1.014 | 1.01 | 1.013 | 398
Tengore Lane PV Export | 1.012 | 1.058 | 1.01 | 1.057 | 399
Liverton Farm PV Export | 1.012 | 1.017 | 1.01 | 1.017 | 400
Yonder Parks PV Export | 1.012 | 1.04 | 1.01 | 1.04 | 401
Somerton Door PV Export | 1.012 | 1.046 | 1.01 | 1.045 | 402
Carditch Drove PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 403
Capelands Farm PV Export | 1.012 | 1.046 | 1.01 | 1.043 | 404
East Youlstone WF Export | 1.034 | 1.035 | 1.037 | 1.038 | 405
Francis Court Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 406
Northwood PV Export | 1.012 | 1.013 | 1.01 | 1.012 | 407
Tricky Warren PV Export | 1.012 | 1.015 | 1.01 | 1.014 | 408
Iwood Lane PV Export | 1.012 | 1.017 | 1.01 | 1.016 | 409
Rydon Farm PV Export | 1.012 | 1.02 | 1.01 | 1.019 | 410
Balls Wood PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 411
Ashlawn Farm PV Export | 1.012 | 1.038 | 1.01 | 1.036 | 412
Pencoose Farm PV Export | 1.012 | 1.031 | 1.01 | 1.031 | 413
Hawkers Farm PV Export | 1.012 | 1.032 | 1.01 | 1.029 | 414
Hurcott PV Export | 1.012 | 1.036 | 1.01 | 1.035 | 415
Garvinack Farm PV Export | 1.012 | 1.018 | 1.01 | 1.017 | 416
Newton Barton PV Export | 1.012 | 1.007 | 1.01 | 1.005 | 417
Coombeshead Farm PV Export | 1.012 | 1.026 | 1.01 | 1.025 | 418
Walland Farm PV Export | 1.012 | 1.045 | 1.01 | 1.043 | 419
Ashcombe PV Export | 1.012 | 1.043 | 1.01 | 1.042 | 420
Newnham Farm PV Export | 1.012 | 1.017 | 1.01 | 1.016 | 421
Roskrow Barton PV Export | 1.012 | 1.04 | 1.01 | 1.039 | 422
Parkview PV Export | 1.012 | 1.025 | 1.01 | 1.024 | 423
Towerhead Farm PV Export | 1.012 | 1.019 | 1.01 | 1.018 | 424
Rookery Farm PV Export | 1.012 | 1.018 | 1.01 | 1.018 | 425
Bystock Farm PV Export | 1.012 | 1.013 | 1.01 | 1.013 | 426
Pylle PV Site 1 Export | 1.012 | 1.012 | 1.01 | 1.011 | 427
Burthy Farm PV Export | 1.012 | 1.017 | 1.018 | 1.017 | 428
Wilton Farm PV Export | 1.012 | 1.013 | 1.01 | 1.013 | 429
Coombe Farm PV Export | 1.012 | 1.017 | 1.01 | 1.016 | 431
Higher Bye Farm PV Export | 1.012 | 1.013 | 1.01 | 1.013 | 432
Wilton Farm WF Export | 1.012 | 1.012 | 1.01 | 1.011 | 433
Denzell Down WF Export | 1.012 | 1.012 | 1.01 | 1.011 | 434
Puriton Landfill PV_1 Export | 1.012 | 1.012 | 1.01 | 1.011 | 435
PortworthyDams PV Site1 Export | 1.012 | 1.012 | 1.01 | 1.011 | 436
Wick Farm Site 1 PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 437
Wick Farm Site 2 PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 438
Batsworthy Cross WF Export | 1.012 | 1.012 | 1.01 | 1.011 | 439
PortworthyDams PV Site2 Export | 1.012 | 1.012 | 1.01 | 1.011 | 440
Crewkerne PV Site 1 Export | 1.012 | 1.012 | 1.01 | 1.011 | 441
Crewkerne PV Site 2 Export | 1.012 | 1.012 | 1.01 | 1.011 | 442
Tonedale Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 443
Puriton Landfill PV_2 Export | 1.012 | 1.012 | 1.01 | 1.011 | 444
Pylle PV Site 2 Export | 1.012 | 1.012 | 1.01 | 1.011 | 445
Chelwood PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 446
Red Hill Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 447
West Carclaze Site 1 Export | 1.012 | 1.012 | 1.01 | 1.011 | 448
West Carclaze Site 2 Export | 1.012 | 1.012 | 1.01 | 1.011 | 449
Northmoor (embd) PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 450
Nmoor Little Tinney WF Export | 1.012 | 1.012 | 1.01 | 1.011 | 451
Nmoor Little Balsdon WF Export | 1.012 | 1.012 | 1.01 | 1.011 | 452
Nmoor Hornacott PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 453
Oakham Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 454
Carnemough Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 455
Ashwater WT Site 1 Export | 1.012 | 1.012 | 1.01 | 1.011 | 456
Makro Exeter STOR Export | 1.012 | 1.012 | 1.01 | 1.011 | 457
Great Hounbeare PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 458
Withy Drove PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 459
Water Lane STOR Export | 1.012 | 1.012 | 1.01 | 1.011 | 460
Montys Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 461
Lawrence Weston PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 462
Dunsland Cross WF Export | 1.012 | 1.012 | 1.01 | 1.011 | 463
Trerule Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 464
Nancrossa Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 465
Wick Farm West Export | 1.012 | 1.012 | 1.01 | 1.011 | 466
LWestPNtWk SevernCom PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 467
LWestPNtWk Site 2 PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 468
Tamerton Bridge STOR Export | 1.012 | 1.012 | 1.01 | 1.011 | 469
Ashwater PV Site 2 Export | 1.012 | 1.012 | 1.01 | 1.011 | 470
Bodwen PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 471
Northmoor PV Export | 1.002 | 1.002 | 1.002 | 1.002 | 585
CERC St Dennis Export | 1.002 | 1.002 | 1.002 | 1.002 | 586
Severnside ERC Export | 1.002 | 1.002 | 1.002 | 1.002 | 587
Imerys Blackpool Export | 1.021 | 1.02 | 1.018 | 1.019 | 601
Blackditch Export | 1.012 | 1.044 | 1.01 | 1.044 | 666
Helius Biomass Export | 1.002 | 1.002 | 1.002 | 1.002 | 668
SWW Roadford Export | 1.012 | 1.012 | 1.01 | 1.011 | 693
RUH Export | 1.021 | 1.02 | 1.018 | 1.019 | 722
Babcock Marine Central Export | 1.012 | 1.012 | 1.01 | 1.011 | 723
Trenoweth Farm Export | 1.012 | 1.015 | 1.01 | 1.014 | 724
Woodland Barton Farm Export | 1.012 | 1.016 | 1.01 | 1.016 | 725
Manor Farm Export | 1.012 | 1.012 | 1.01 | 1.012 | 726
Churchtown Farm Export | 1.012 | 1.037 | 1.01 | 1.037 | 727
Trenouth Farm Export | 1.012 | 1.049 | 1.01 | 1.049 | 728
West Kingsmill Export | 1.012 | 1.012 | 1.01 | 1.011 | 729
Howton Farm Export | 1.012 | 1.025 | 1.01 | 1.025 | 732
Babcock Marine North Export | 1.012 | 1.012 | 1.01 | 1.011 | 733
Newton Downs Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 734
East Langford Export | 1.012 | 1.055 | 1.01 | 1.055 | 735
Ninnis Farm Export | 1.012 | 1.012 | 1.01 | 1.012 | 736
Willsland Export | 1.012 | 1.051 | 1.01 | 1.051 | 737
Eastcombe Farm Export | 1.012 | 1.03 | 1.01 | 1.029 | 738
Bratton Flemming Export | 1.012 | 1.048 | 1.01 | 1.046 | 739
Beaford Brook Export | 1.012 | 1.105 | 1.01 | 1.104 | 740
Exeter Power Export | 1.01 | 1.011 | 1.002 | 1.011 | 741
Park Wall Export | 1.012 | 1.007 | 1.01 | 1.007 | 742
Bradford Export | 1.012 | 1.025 | 1.01 | 1.024 | 743
Causilgey Export | 1.012 | 1.028 | 1.01 | 1.028 | 744
Beechgrove Export | 1.012 | 1.01 | 1.01 | 1.01 | 745
Hill Barton Bus Park Export | 1.021 | 1.02 | 1.018 | 1.019 | 746
Wavehub Hayle Export | 1.012 | 1.012 | 1.01 | 1.011 | 747
Denbrook Wind Farm Export | 1.012 | 1.012 | 1.01 | 1.011 | 748
W4B Generation Seabank Export | 1.012 | 1.012 | 1.01 | 1.011 | 749
Bristol Energy Export | 1.002 | 1.002 | 1.002 | 1.003 | 751
Connon Bridge Landfill export | 1.038 | 1.038 | 1.039 | 1.039 | 752
Chelson Generator Export | 1.012 | 1.012 | 1.01 | 1.011 | 753
Darracott Export | 1.072 | 1.072 | 1.073 | 1.073 | 754
Untd Mns Redruth St.Day Export | 1.035 | 1.035 | 1.035 | 1.035 | 757
Shooter's Bottom Export | 1.04 | 1.04 | 1.04 | 1.04 | 758
Heathfield Export | 1.037 | 1.037 | 1.037 | 1.037 | 760
Goonhilly Export | 1.058 | 1.058 | 1.064 | 1.065 | 761
Delabole EHV Export | 1.044 | 1.044 | 1.047 | 1.047 | 762
Fullabrook EHV Export | 1.005 | 1.005 | 1.006 | 1.007 | 763
Bear's Down Export | 1.037 | 1.038 | 1.04 | 1.04 | 764
Bradon Farm Export | 1.036 | 1.048 | 1.01 | 1.051 | 765
Carland Cross Export | 1.024 | 1.024 | 1.027 | 1.027 | 766
Cold Northcott Export | 1.065 | 1.064 | 1.068 | 1.068 | 767
Forest Moor Wind 1 Export | 1.06 | 1.06 | 1.061 | 1.061 | 768
Forest Moor Wind 2 Export | 1.061 | 1.061 | 1.062 | 1.062 | 769
Four Burrows Export | 1.036 | 1.036 | 1.037 | 1.037 | 770
Isles of Scilly EHV Export | 1.021 | 1.02 | 1.018 | 1.019 | 772
St Breock Export | 1.024 | 1.024 | 1.028 | 1.03 | 775
Avonmouth BCC Wind Farm Export | 1.002 | 1.002 | 1.002 | 1.002 | 776
Bodiniel PV Park Export | 1.012 | 1.029 | 1.01 | 1.029 | 777
Garlenick Wind Farm Export | 1.007 | 1.007 | 1.008 | 1.008 | 778
Warleigh Barton PV Export | 1.012 | 1.012 | 1.01 | 1.012 | 779
Winnard's Perch PV Export | 1.012 | 1.041 | 1.01 | 1.041 | 780
Galsworthy WF Export | 1.009 | 1.009 | 1.009 | 1.009 | 781
Otterham WF Export | 1.002 | 1.002 | 1.002 | 1.002 | 782
Canworthy PV Export | 1.007 | 1.006 | 1.002 | 1.006 | 783
Otterham WT Feeder1 Export | 1.006 | 1.005 | 1.006 | 1.006 | 785
Otterham WT Feeder2 Export | 1.006 | 1.005 | 1.006 | 1.006 | 786
Wyld Meadow PV Farm Export | 1.012 | 1.01 | 1.01 | 1.01 | 789
Marley Thatch PV Export | 1.012 | 1.022 | 1.01 | 1.022 | 790
Prince Rock STOR Export | 1.015 | 1.012 | 1.01 | 1.011 | 791
Burrowton Farm PV Export | 1.012 | 0.998 | 1.01 | 0.998 | 792
Bristol Royal Infirmary Export | 1.021 | 1.02 | 1.018 | 1.019 | 793
Imerys Torycombe export | 1.021 | 1.02 | 1.018 | 1.019 | 794
Whatley Quarry Export | 1.021 | 1.02 | 1.018 | 1.019 | 795
Imerys Trebal Export | 1.021 | 1.02 | 1.018 | 1.019 | 801
Imerys Par Harbour Export | 1.021 | 1.02 | 1.018 | 1.019 | 802
Imerys Bugle Export | 1.021 | 1.02 | 1.018 | 1.019 | 803
Imerys Drinnick Export | 1.021 | 1.02 | 1.018 | 1.019 | 804
Avonmouth Docks Export | 1.021 | 1.02 | 1.018 | 1.019 | 806
Portbury Dock Export | 1.021 | 1.02 | 1.018 | 1.019 | 807
BGAS Hallen Exports | 1.021 | 1.02 | 1.018 | 1.019 | 808
Broadpath Landfill Exports | 1.021 | 1.02 | 1.018 | 1.019 | 809
Callington Solar Export | 1.012 | 1.058 | 1.01 | 1.057 | 900
Hope Solar Export | 1.012 | 1.038 | 1.01 | 1.037 | 901
Fulford Solar Export | 1.012 | 1.012 | 1.01 | 1.011 | 902
Avonmouth Biogas Export | 1.008 | 1.008 | 1.008 | 1.008 | 903
Nether Mill Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 904
Slade Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 905
Rew Farm PV Export | 1.012 | 1.03 | 1.01 | 1.03 | 906
Higher Trenhayle PV Export | 1.012 | 1.061 | 1.01 | 1.061 | 907
Middle Treworder PV Export | 1.012 | 1.037 | 1.01 | 1.037 | 908
Penhale Farm PV Export | 1.012 | 1.04 | 1.01 | 1.039 | 909
Ayshford Court PV Export | 1.012 | 1.037 | 1.01 | 1.037 | 910
West Hill PV Export | 1.012 | 1.039 | 1.01 | 1.037 | 911
Knockworthy Farm PV Export | 1.012 | 1.065 | 1.01 | 1.065 | 912
Trekenning Farm PV Export | 1.012 | 1.01 | 1.01 | 1.009 | 914
Four Burrows PV Export | 1.012 | 1.042 | 1.01 | 1.041 | 915
Glebe Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 916
Hurlingpot PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 917
Halse Farm PV Export | 1.012 | 1.01 | 1.01 | 1.01 | 918
Hatchlands Farm PV Export | 1.012 | 1.016 | 1.01 | 1.016 | 919
Higher Trevartha PV Export | 1.012 | 1.038 | 1.01 | 1.038 | 920
High Down WF Export | 1.012 | 1.012 | 1.01 | 1.011 | 921
Ford Farm PV Export | 1.012 | 1.045 | 1.01 | 1.044 | 922
Lower Tinacre PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 923
Trequite Farm PV Export | 1.012 | 1.017 | 1.01 | 1.017 | 924
Yonder Netherton PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 925
Higher Tregarne PV Export | 1.012 | 1.037 | 1.01 | 1.036 | 926
Higher North Beer PV Export | 1.012 | 1.08 | 1.01 | 1.079 | 927
Horsacott Farm PV Export | 1.012 | 1.026 | 1.01 | 1.026 | 928
Langunnett Farm PV Export | 1.012 | 1.041 | 1.01 | 1.039 | 929
Trefinnick Farm PV Export | 1.012 | 1.063 | 1.01 | 1.063 | 930
Little Trevease PV Export | 1.012 | 1.025 | 1.01 | 1.025 | 931
Marksbury PV Export | 1.012 | 1.042 | 1.01 | 1.041 | 932
Cobbs Cross PV Export | 1.012 | 1.018 | 1.01 | 1.018 | 933
Newlands Farm PV Export | 1.012 | 1.014 | 1.01 | 1.014 | 934
Cricket St Thomas PV Export | 1.012 | 1.035 | 1.01 | 1.035 | 935
Parsonage Barn PV Export | 1.012 | 1.038 | 1.01 | 1.037 | 936
Hewas PV Farm Export | 1.012 | 1.008 | 1.01 | 1.008 | 937
Crinacott Farm PV Export | 1.012 | 1.025 | 1.01 | 1.025 | 938
Penare Farm PV Export | 1.012 | 1.014 | 1.01 | 1.014 | 939
Aller Court PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 940
Webbery Barton WF Export | 1.012 | 1.012 | 1.01 | 1.011 | 941
Stonebarrow Farm PV Export | 1.012 | 1.01 | 1.01 | 1.01 | 942
Whitley Farm PV Export | 1.012 | 1.013 | 1.01 | 1.013 | 943
New Rendy Farm PV Export | 1.012 | 1.011 | 1.01 | 1.01 | 944
Tregassow Farm PV Export | 1.012 | 1.024 | 1.01 | 1.023 | 945
Pitworthy PV Export | 1.012 | 1.023 | 1.01 | 1.023 | 946
Foxcombe PV Export | 1.012 | 1.036 | 1.01 | 1.036 | 947
Rexon Cross PV Export | 1.012 | 1.039 | 1.01 | 1.038 | 948
Hazard Farm PV Export | 1.012 | 1.014 | 1.01 | 1.014 | 949
Luscott Barton PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 950
Grange Farm PV Export | 1.012 | 1.014 | 1.01 | 1.014 | 951
Derriton Fields PV Export | 1.012 | 1.024 | 1.01 | 1.023 | 952
Cleave Farm PV Export | 1.012 | 1.043 | 1.01 | 1.042 | 953
Woolavington PV Export | 1.012 | 1.022 | 1.01 | 1.021 | 954
Trehawke Farm PV Export | 1.012 | 1.013 | 1.01 | 1.013 | 955
H Berechapel Biogas Export | 1.041 | 1.041 | 1.041 | 1.041 | 956
Bommertown PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 957
Carloggas Farm PV Export | 1.012 | 1.018 | 1.01 | 1.018 | 958
Hexworthy Barton PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 959
Chalhanger Farm PV Export | 1.012 | 1.012 | 1.01 | 1.011 | 960
The Drove Exports | 1.038 | 1.034 | 1.027 | 1.031 | 7306
Water Lane Exports | 1.012 | 1.012 | 1.01 | 1.011 | 7320