## EMEB
MSID/LLFC | Site Name | Connection Voltage (kV) | Voltage of circuit to which the Meter is connected (primary voltage) (kV) | Winter Peak | Winter Week Day | Night | Other | Import / Export and Agreed Capacity | When were the LLFs last calculated for the MSID? | Are the LLFs Site Specific? | Was the site included in the previous approved submission? | Have any of the MSIDs undergone a relevant change since the previous approved submission?
133 | LDNO EHV: Domestic Unrestricted | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
134 | LDNO EHV: Domestic Two Rate | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
135 | LDNO EHV: Domestic Off Peak (related MPAN) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
136 | LDNO EHV: Small Non Domestic Unrestricted | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
137 | LDNO EHV: Small Non Domestic Two Rate | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
138 | LDNO EHV: Small Non Domestic Off Peak (related MPAN) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
139 | LDNO EHV: LV Medium Non-Domestic | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
140 | LDNO EHV: LV HH Metered | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
141 | LDNO EHV: LV Sub HH Metered | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
142 | LDNO EHV: HV HH Metered | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
143 | LDNO EHV: NHH UMS Cat B | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
144 | LDNO EHV: LV Sub Medium Non-Domestic | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
145 | LDNO EHV: NHH UMS Cat A | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
146 | LDNO EHV: NHH UMS Cat C | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
147 | LDNO EHV: NHH UMS Cat D | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
148 | LDNO EHV: LV UMS | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | IDNO Import | Aug 13 for Apr 14 | No - Billing LLFC | No | No
200 | Huntingdon (MSID 2034) | 132kV | 132kV | 0.986 | 0.994 | 1.01 | 1 | Import | Aug 13 for Apr 14 | Yes - Billing LLFC | No | No
201 | Corby (MSID 7015) | 132kV | 132kV | 1.01 | 1.009 | 0.998 | 1 | Export | Aug 13 for Apr 14 | Yes - Billing LLFC | No | No
600 | Railtrack Bytham (Export) | 25kV | 25kV | 1 | 1 | 1 | 1 | Export | Dec 2009 for 2010 | Yes | Yes | No
601 | Railtrack Grantham (Export) | 25kV | 25kV | 1 | 1 | 1 | 1.005 | Export | Dec 2009 for 2010 | Yes | Yes | No
602 | Railtrack Staythorpe (Export) | 25kV | 25kV | 1 | 1 | 1 | 1 | Export | Dec 2009 for 2010 | Yes | Yes | No
603 | Railtrack Retford (Export) | 25kV | 25kV | 1 | 1 | 1 | 1 | Export | Dec 2009 for 2010 | Yes | Yes | No
604 | Railtrack Rugby (Export) | 25kV | 25kV | 1.026 | 1.026 | 1.028 | 1.026 | Export | Aug 2012 for 2013 | Yes | Yes | No
605 | Railtrack Tamworth (Export) | 25kV | 25kV | 1.008 | 1.007 | 1.004 | 1.006 | Export | Dec 2009 for 2010 | Yes | Yes | No
606 | Railtrack Wolverton (Export) | 25kV | 25kV | 1.003 | 1.004 | 1.002 | 1.003 | Export | Dec 2009 for 2010 | Yes | Yes | No
607 | Acordis (Export) | 33kV | 33kV | 1.002 | 1.003 | 0.999 | 1 | Export | Dec 2009 for 2010 | Yes | Yes | No
608 | QMC (Export) | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | Yes | No
609 | ABR Foods (Export) | 33kV | 33kV | 0.988 | 0.995 | 1.004 | 0.99 | Export | Dec 2009 for 2010 | Yes | Yes | No
610 | Rolls Royce Derby CHP Exp | 132kV | 132kV | 1 | 1 | 0.999 | 1 | Export | Dec 2009 for 2010 | Yes | Yes | No
611 | Bentinck (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No - insufficient data | Yes | No
612 | Calvert Landfill (Export) | 33kV | 33kV | 1.002 | 1.002 | 0.994 | 1.002 | Export | Dec 2009 for 2010 | Yes | Yes | No
613 | Weldon Landfill (Export) | 33kV | 33kV | 0.991 | 0.998 | 1.006 | 0.993 | Export | Dec 2009 for 2010 | Yes | Yes | No
614 | Goosy Lodge Power (Export) | 33kV | 33kV | 1.003 | 1.003 | 0.997 | 1.002 | Export | Dec 2009 for 2010 | Yes | Yes | No
615 | Burton Wolds Wind Farm Export | 33kV | 33kV | 1.002 | 1.003 | 1.005 | 1.003 | Export | Dec 2009 for 2010 | Yes | Yes | No
616 | Railtrack Bretton (Export) | 25kV | 25kV | 1 | 1 | 1 | 1 | Export | Dec 2009 for 2010 | Yes | Yes | No
617 | Bambers Farm Wind Farm Export | 33kV | 33kV | 0.97 | 0.971 | 0.97 | 0.99 | Export | Dec 2009 for 2010 | Yes | Yes | No
618 | Vine House Wind Farm Export | 33kV | 33kV | 1.011 | 1.008 | 1.002 | 1.005 | Export | Dec 2009 for 2010 | Yes | Yes | No
619 | Red House Wind Farm Export | 33kV | 33kV | 1.032 | 1.025 | 1.014 | 1.019 | Export | Dec 2009 for 2010 | Yes | Yes | No
620 | Daneshill Landfill (Export) | 33kV | 33kV | 1.024 | 1.022 | 1.011 | 1.016 | Export | Dec 2009 for 2010 | Yes | Yes | No
621 | Newton Longville (Export) | 33kV | 33kV | 1.015 | 1.015 | 1.009 | 1.014 | Export | Dec 2009 for 2010 | Yes | Yes | No
622 | Hollies Wind Farm (Export) | 33kV | 33kV | 0.956 | 0.956 | 0.961 | 0.97 | Export | Dec 2009 for 2010 | Yes | Yes | No
629 | Lynn Wind Farm (Export) | 132kV | 132kV | 0.97 | 0.971 | 0.972 | 0.977 | Export | Dec 2009 for 2010 | Yes | Yes | No
630 | Inner Dowsing Wind Farm Export | 132kV | 132kV | 0.973 | 0.974 | 0.976 | 0.982 | Export | Dec 2009 for 2010 | Yes | Yes | No
631 | Bicker Fen Wind Farm (Export) | 33kV | 33kV | 1.023 | 1.018 | 1.011 | 1.013 | Export | Dec 2009 for 2010 | Yes | Yes | No
632 | Cov & Sol Waste (Export) | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | Yes | No
633 | Lindhurst Wind Farm (Export) | 33kV | 33kV | 1.021 | 1.021 | 1.023 | 1.023 | Export | Aug 2012 for 2013 | Yes | Yes | No
634 | London Road CHP (Export) | 33kV | 33kV | 1.014 | 1.013 | 1.006 | 1.009 | Export | Dec 2009 for 2010 | Yes | Yes | No
635 | Petsoe Wind Farm (Export) | 33kV | 33kV | 1.021 | 1.022 | 1.026 | 1.026 | Export | Aug 2012 for 2013 | Yes | Yes | No
636 | Boots Thane Road (Export) | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | Yes | No
637 | B&Q Manton (Export) | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | Yes | No
638 | Low Spinney Wind Farm (Export) | 33kV | 33kV | 1.029 | 1.029 | 1.03 | 1.03 | Export | Jul 2013 for 2014 | Yes | Yes | No
639 | SWINFORD WINDFARM (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No - insufficient data | Yes | No
640 | Asfordby Generation | 132kV | 132kV | 0.999 | 1 | 1.001 | 1 | Export | Jul 2013 for 2014 | Yes | Yes | No
641 | Yelvertoft (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No - insufficient data | Yes | No
642 | North Hykeham Export | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No - insufficient data | Yes | No
643 | Sleaford Renewable (Export) | 132kV | 132kV | 1.001 | 1.001 | 1.001 | 1.001 | Export | Aug 13 for Apr 14 | No - insufficient data | Yes | No
644 | Bilsthorpe Wind Farm (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No - insufficient data | Yes | No
645 | Old Dalby Lodge WndFarm Export | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No - insufficient data | Yes | No
646 | Lilbourne Wind Farm (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No - insufficient data | No | No
647 | The Grange Wind Farm (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No - insufficient data | Yes | No
648 | Clay Lake STOR (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No - insufficient data | Yes | No
649 | Balderton STOR (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No - insufficient data | No | No
650 | Burton Wolds Ext North Export | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | Not yet energised | No | No
651 | Shacks Barn PV Export | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | Not yet energised | No | No
652 | Willoughby STOR (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | Not yet energised | No | No
653 | Wymeswold Solar Park (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | Not yet energised | No | No
654 | French Farm Wind Farm (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | Not yet energised | No | No
655 | Chelvaston Renewable (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | Not yet energised | No | No
656 | Beachampton Solar Farm Export | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | Not yet energised | No | No
657 | Croft End Solar Farm (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | Not yet energised | No | No
658 | M1 Wind Farm (Export) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | Not yet energised | No | No
659 | Spare EHV Export 19 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
660 | Spare EHV Export 20 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
661 | Spare EHV Export 21 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
662 | Spare EHV Export 22 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
663 | Spare EHV Export 23 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
664 | Spare EHV Export 24 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
665 | Spare EHV Export 25 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
666 | Spare EHV Export 26 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
667 | Spare EHV Export 27 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
668 | Spare EHV Export 28 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
669 | Spare EHV Export 29 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
670 | Spare EHV Export 30 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
671 | Spare EHV Export 31 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
672 | Spare EHV Export 32 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
673 | Spare EHV Export 33 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
674 | Spare EHV Export 34 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
675 | Spare EHV Export 35 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
676 | Spare EHV Export 36 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
677 | Spare EHV Export 37 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
678 | Spare EHV Export 38 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
679 | Spare EHV Export 39 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
680 | Spare EHV Export 40 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
681 | Spare Export HV Sub 1 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | No | No
682 | Spare Export HV Sub 2 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | No | No
683 | Spare Export HV Sub 3 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | No | No
684 | Spare Export HV Sub 4 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | No | No
685 | Spare Export HV Sub 5 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | No | No
686 | Spare Export HV Sub 6 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | No | No
687 | Spare Export HV Sub 7 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | No | No
688 | Spare Export HV Sub 8 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | No | No
689 | Spare Export HV Sub 9 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | No | No
690 | Spare Export HV Sub 10 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | No | No
691 | Spare EHV Export 41 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
692 | Spare EHV Export 42 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
693 | Spare EHV Export 43 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
694 | Spare EHV Export 44 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
695 | Spare EHV Export 45 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
696 | Spare EHV Export 46 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
697 | Spare EHV Export 47 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
698 | Spare EHV Export 48 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
699 | Spare EHV Export 49 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
700 | Spare EHV Export 50 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
701 | Spare EHV Export 51 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | No | No
702 | Spare EHV Export 52 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 15 | No | No | No
703 | Spare EHV Export 53 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 16 | No | No | No
704 | Spare EHV Export 54 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 17 | No | No | No
705 | Spare EHV Export 55 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 18 | No | No | No
706 | Spare EHV Export 56 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 19 | No | No | No
707 | Spare EHV Export 57 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 20 | No | No | No
708 | Spare EHV Export 58 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 21 | No | No | No
709 | Spare EHV Export 59 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 22 | No | No | No
710 | Spare EHV Export 60 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 23 | No | No | No
711 | Spare EHV Export 61 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 24 | No | No | No
712 | Spare EHV Export 62 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 25 | No | No | No
713 | Spare EHV Export 63 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 26 | No | No | No
714 | Spare EHV Export 64 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 27 | No | No | No
715 | Spare EHV Export 65 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 28 | No | No | No
716 | Spare EHV Export 66 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 29 | No | No | No
717 | Spare EHV Export 67 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 30 | No | No | No
718 | Spare EHV Export 68 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 31 | No | No | No
719 | Spare EHV Export 69 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 32 | No | No | No
720 | Spare EHV Export 70 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 33 | No | No | No
780 | Spare EHV Import 51 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
781 | Spare EHV Import 52 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
782 | Spare EHV Import 53 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
783 | Spare EHV Import 54 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
784 | Spare EHV Import 55 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
785 | Spare EHV Import 56 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
786 | Spare EHV Import 57 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
787 | Spare EHV Import 58 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
788 | Spare EHV Import 59 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
789 | Spare EHV Import 60 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
790 | Spare EHV Import 61 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
791 | Spare EHV Import 62 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
792 | Spare EHV Import 63 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
793 | Spare EHV Import 64 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
794 | Spare EHV Import 65 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
795 | Spare EHV Import 66 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
796 | Spare EHV Import 67 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
797 | Spare EHV Import 68 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
798 | Spare EHV Import 69 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
799 | Spare EHV Import 70 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 33 | No | No | No
824 | Railtrack Bytham (Import) | 25kV | 25kV | 1.03 | 1.029 | 1.015 | 1.022 | Import | Dec 2009 for 2010 | Yes | Yes | No
825 | Railtrack Grantham (Import) | 25kV | 25kV | 1.019 | 1.02 | 1.012 | 1.017 | Import | Dec 2009 for 2010 | Yes | Yes | No
826 | Railtrack Staythorpe (Import) | 25kV | 25kV | 1.001 | 1.001 | 1 | 1 | Import | Dec 2009 for 2010 | Yes | Yes | No
827 | Railtrack Retford (Import) | 25kV | 25kV | 1.013 | 1.011 | 1.005 | 1.009 | Import | Dec 2009 for 2010 | Yes | Yes | No
828 | Railtrack Rugby (Import) | 25kV | 25kV | 1.026 | 1.026 | 1.018 | 1.022 | Import | Dec 2009 for 2010 | Yes | Yes | No
829 | Railtrack Tamworth (Import) | 25kV | 25kV | 1.009 | 1.007 | 1.005 | 1.006 | Import | Dec 2009 for 2010 | Yes | Yes | No
830 | Railtrack Wolverton (Import) | 25kV | 25kV | 1.016 | 1.016 | 1.01 | 1.015 | Import | Dec 2009 for 2010 | Yes | Yes | No
831 | Jaguar Cars | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
832 | Alstom Frankton | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
833 | University of Warwick | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
834 | Dunlop Factory | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
835 | Bombardier (Import) | 33kV | 33kV | 1.022 | 1.02 | 1.01 | 1.015 | Import | Dec 2009 for 2010 | Yes | Yes | No
836 | British Steel (Import) | 33kV | 33kV | 0.992 | 0.999 | 1.007 | 0.993 | Import | Dec 2009 for 2010 | Yes | Yes | No
837 | Acordis (Import) | 33kV | 33kV | 1.004 | 1.003 | 0.998 | 1 | Import | Dec 2009 for 2010 | Yes | Yes | No
838 | Derwent (Import) | 132kV | 132kV | 1.001 | 1.001 | 1.001 | 1.001 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
839 | GEC Alsthom (Import) | 33kV | 33kV | 1.025 | 1.026 | 1.009 | 1.017 | Import | Dec 2009 for 2010 | Yes | Yes | No
840 | St Gobain (Import) | 33kV | 33kV | 1.018 | 1.017 | 1.004 | 1.01 | Import | Dec 2009 for 2010 | Yes | Yes | No
841 | Toyota (Import) | 11kV | 11kV | 1.004 | 1.005 | 1.003 | 1.003 | Import | Dec 2009 for 2010 | Yes | Yes | No
842 | Derby Co-Gen (Import) | 33kV | 33kV | 1.003 | 1.003 | 1.001 | 1.002 | Import | Dec 2009 for 2010 | Yes | Yes | No
843 | RR Sinfin C (Import) | 33kV | 33kV | 1.002 | 1.002 | 1.002 | 1.002 | Import | Dec 2009 for 2010 | Yes | Yes | No
844 | ABR Foods (Import) | 33kV | 33kV | 1.003 | 1.016 | 1.012 | 0.991 | Import | Dec 2009 for 2010 | Yes | Yes | No
845 | Petsoe Wind Farm (Import) | 33kV | 33kV | 1.008 | 1.008 | 1.026 | 1.032 | Import | Aug 2012 for 2013 | Yes | Yes | No
846 | Castle Cement (Import) | 33kV | 33kV | 1.02 | 1.023 | 1.016 | 1.017 | Import | Dec 2009 for 2010 | Yes | Yes | No
847 | Rugby Cement (Import) | 33kV | 33kV | 1.045 | 1.049 | 1.034 | 1.043 | Import | Dec 2009 for 2010 | Yes | Yes | No
848 | Cov & Sol Waste (Import) | 33kV | 33kV | 1.009 | 1.01 | 1.004 | 1.006 | Import | Dec 2009 for 2010 | Yes | Yes | No
849 | Bentinck (Import) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
851 | EHV Import | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
852 | Asfordby 132kv | 132kV | 132kV | 1.001 | 1.001 | 1 | 1 | Import | Dec 2009 for 2010 | Yes | Yes | No
853 | Calvert Landfill (Import) | 33kV | 33kV | 1 | 1.017 | 1.017 | 1.017 | Import | Dec 2009 for 2010 | Yes | Yes | No
854 | Weldon Landfill (Import) | 33kV | 33kV | 0.97 | 1.017 | 1.018 | 0.981 | Import | Dec 2009 for 2010 | Yes | Yes | No
855 | Goosy Lodge Power (Import) | 33kV | 33kV | 1 | 1.11 | 1.01 | 1.017 | Import | Dec 2009 for 2010 | Yes | Yes | No
856 | BAR Honda (Import) | 33kV | 33kV | 1.051 | 1.051 | 1.036 | 1.044 | Import | Dec 2009 for 2010 | Yes | Yes | No
857 | Burton Wolds Wind Farm Import | 33kV | 33kV | 1.063 | 1.054 | 1.04 | 1.048 | Import | Dec 2009 for 2010 | Yes | Yes | No
858 | Railtrack Bretton (Import) | 25kV | 25kV | 1.009 | 1.008 | 1.002 | 1.005 | Import | Dec 2009 for 2010 | Yes | Yes | No
859 | Bambers Farm Wind Farm Import | 33kV | 33kV | 1.053 | 1.068 | 1.001 | 1.109 | Import | Dec 2009 for 2010 | Yes | Yes | No
860 | Vine House Wind Farm Import | 33kV | 33kV | 1.01 | 1.029 | 1.019 | 1.038 | Import | Dec 2009 for 2010 | Yes | Yes | No
861 | Red House Wind Farm Import | 33kV | 33kV | 1.012 | 1.08 | 1.052 | 1.076 | Import | Dec 2009 for 2010 | Yes | Yes | No
862 | Daneshill Landfill (Import) | 33kV | 33kV | 1.028 | 1.039 | 1.013 | 1.018 | Import | Dec 2009 for 2010 | Yes | Yes | No
863 | Corby Power (Import) | 33kV | 33kV | 1.008 | 1.016 | 1.014 | 1 | Import | Dec 2009 for 2010 | Yes | Yes | No
864 | Newton Longville (Import) | 33kV | 33kV | 1.026 | 1.01 | 1.018 | 1.028 | Import | Dec 2009 for 2010 | Yes | Yes | No
865 | Hollies Wind Farm (Import) | 33kV | 33kV | 1.009 | 1.01 | 1.014 | 1.03 | Import | Dec 2009 for 2010 | Yes | Yes | No
866 | Lynn Wind Farm (Import) | 132kV | 132kV | 0.986 | 0.989 | 0.978 | 1.013 | Import | Dec 2009 for 2010 | Yes | Yes | No
867 | Inner Dowsing Wind Farm Import | 132kV | 132kV | 1.085 | 1.102 | 1.084 | 1.127 | Import | Dec 2009 for 2010 | Yes | Yes | No
868 | Bicker Fen Wind Farm (Import) | 33kV | 33kV | 1.075 | 1.058 | 1.038 | 1.07 | Import | Dec 2009 for 2010 | Yes | Yes | No
869 | London Road CHP (Import) | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
870 | Lindhurst Wind Farm (Import) | 33kV | 33kV | 1.03 | 1.052 | 1.025 | 1.022 | Import | Aug 2012 for 2013 | Yes | Yes | No
871 | Staveley Works | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
872 | AP Drivelines | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
873 | Rolls Royce Coventry | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
874 | Daw Mill UK Coal | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
875 | Caterpillar | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
876 | Santander Carlton Park | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
877 | Brush | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
878 | JCB | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
879 | Cast Bar UK | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
880 | Bretby GP | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
881 | Holwell Works | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
882 | Pedigree Petfoods | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
883 | Alstom Wolverton | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
884 | Colworth Laboratory | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
885 | Boots Thane Road | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
886 | QMC | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
887 | British Gypsum | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
888 | Melbourne STW | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
889 | Whetstone | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
890 | Holbrook Works | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
891 | Astrazeneca Charnwood | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
892 | B&Q Manton | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
893 | Transco Churchover | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
894 | Alstom Rugby | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | Yes | No
895 | VSB Avenue | 33kV | 33kV | 1.029 | 1.029 | 1.029 | 1.029 | Import | Aug 2012 for 2013 | Yes | Yes | No
896 | Low Spinney Wind Farm | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - demand too low | Yes | No
897 | SWINFORD WINDFARM (Import) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
898 | Yelvertoft Wind Farm | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
899 | Maxwell House Data Centre | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
902 | Burton Wolds Ext North Import | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
903 | Shacks Barn PV Import | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
904 | Hatton Gas Compressor | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - demand too low | Yes | No
905 | North Hykeham EFW | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
906 | Sleaford Renewable (Import) | 132kV | 132kV | 1.001 | 1.001 | 1.001 | 1.001 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
907 | Bilsthorpe Wind Farm (Import) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
908 | Old Dalby Lodge WndFarm Import | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
909 | Willoughby STOR (Import) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | No | No
910 | RR AB&E 33kV (Import) | 33kV | 33kV | 1 | 1 | 1 | 1 | Import | Jul 2013 for 2014 | Yes | Yes | No
911 | The Grange Wind Farm (Import) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
912 | Clay Lake STOR (Import) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
913 | Balderton STOR (Import) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | Yes | No
914 | Wymeswold Solar Park (Import) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | No | No
915 | French Farm Wind Farm (Import) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | No | No
916 | Lilbourne Wind Farm (Import) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | No | No
917 | Chelvaston Renewable (Import) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | No | No
918 | Beachampton Solar Farm Import | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | No | No
919 | Croft End Solar Farm (Import) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | No | No
920 | M1 Wind Farm (Import) | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No - insufficient data | No | No
921 | Spare EHV Import 16 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
922 | Spare EHV Import 17 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
923 | Spare EHV Import 18 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
924 | Spare EHV Import 19 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
925 | Spare EHV Import 20 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
930 | Rockingham | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | No | No
931 | Santander Carlton Park 132/11 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | No | No
932 | Delphi Diesel | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | No | No
933 | Spare Import HV Sub 4 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | No | No
934 | Spare Import HV Sub 5 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | No | No
935 | Spare Import HV Sub 6 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | No | No
936 | Spare Import HV Sub 7 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | No | No
937 | Spare Import HV Sub 8 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | No | No
938 | Spare Import HV Sub 9 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | No | No
939 | Spare Import HV Sub 10 | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Import | Aug 13 for Apr 14 | No | No | No
940 | Spare EHV Import 41 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
941 | Spare EHV Import 42 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
942 | Spare EHV Import 43 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
943 | Spare EHV Import 44 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
944 | Spare EHV Import 45 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
945 | Spare EHV Import 46 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
946 | Spare EHV Import 47 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
947 | Spare EHV Import 48 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
948 | Spare EHV Import 49 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
949 | Spare EHV Import 50 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
950 | Spare EHV Import 21 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
951 | Spare EHV Import 22 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
952 | Spare EHV Import 23 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
953 | Spare EHV Import 24 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
954 | Spare EHV Import 25 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
955 | Spare EHV Import 26 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
956 | Spare EHV Import 27 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
957 | Spare EHV Import 28 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
958 | Spare EHV Import 29 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
959 | Spare EHV Import 30 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
960 | Spare EHV Import 31 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
961 | Spare EHV Import 32 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
962 | Spare EHV Import 33 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
963 | Spare EHV Import 34 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
964 | Spare EHV Import 35 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
965 | Spare EHV Import 36 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
966 | Spare EHV Import 37 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
967 | Spare EHV Import 38 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
968 | Spare EHV Import 39 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
969 | Spare EHV Import 40 | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Import | Aug 13 for Apr 14 | No | No | No
976 | HV Sub Gen Intermittent | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | Yes | No
978 | HV Sub Gen Non-Intermittent | 11kV | 11kV | 1.028 | 1.026 | 1.02 | 1.023 | Export | Aug 13 for Apr 14 | No | Yes | No
997 | EHV Export | 33kV | 33kV | 1.006 | 1.005 | 1.003 | 1.004 | Export | Aug 13 for Apr 14 | No | Yes | No
2034 | Huntingdon Interconnector | 132kV | 132kV | 0.986 | 0.994 | 1.01 | 1 | Export | Dec 2009 for 2010 | Yes | Yes | No
2227 | Banbury/East Claydon Internconnector | 132kV | 132kV | 1 | 1 | 1 | 1 | Export | Aug 13 for Apr 14 | Yes | Yes | No
4010 | West Burton St load | 132kV | 132kV | 1 | 1 | 1 | 1 | Import | Aug 13 for Apr 14 | Yes | No | No
5016 | Ratcliffe ST | 132kV | 132kV | 1 | 1 | 1 | 1 | Import | Aug 13 for Apr 14 | No | Yes | No
7015 | Corby | 132kV | 132kV | 1.01 | 1.009 | 0.998 | 1 | Export | Dec 2009 for 2010 | Yes | Yes | No
7043 | Derwent | 132kV | 132kV | 1.01 | 1.008 | 1.002 | 1.005 | Import | Dec 2009 for 2010 | Yes | No | No