## SWEB
MSID/LLFC | Site Name | Connection Voltage (kV) | Voltage of circuit to which the Meter is connected (primary voltage) (kV) | Winter Peak | Winter Week Day | Night | Other | Import / Export and Agreed Capacity | When were the LLFs last calculated for the MSID? | Are the LLFs Site Specific? | Was the site included in the previous approved submission? | Have any of the MSIDs undergone a relevant change since the previous approved submission?
260 | Tregarrick Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
261 | Freathy Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
262 | Spare EHV 33kV 68 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
263 | Spare EHV 33kV 69 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
264 | Spare EHV 33kV 70 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
265 | Spare EHV 33kV 71 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
266 | Spare EHV 33kV 72 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
267 | Spare EHV 33kV 73 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
268 | Spare EHV 33kV 74 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
269 | Spare EHV 33kV 75 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
270 | Spare EHV 33kV 76 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
271 | Spare EHV 33kV 77 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
272 | Spare EHV 33kV 78 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
273 | Spare EHV 33kV 79 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
274 | Spare EHV 33kV 80 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
275 | Spare EHV 33kV 81 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
276 | Spare EHV 33kV 82 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
277 | Spare EHV 33kV 83 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
278 | Spare EHV 33kV 84 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
279 | Spare EHV 33kV 85 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
280 | Spare EHV 33kV 86 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
281 | Spare EHV 33kV 87 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
282 | Spare EHV 33kV 88 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
283 | Spare EHV 33kV 89 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
284 | Spare EHV 33kV 90 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
285 | Spare EHV 33kV 91 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
286 | Spare EHV 33kV 92 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
287 | Spare EHV 33kV 93 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
288 | Spare EHV 33kV 94 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
289 | Spare EHV 33kV 95 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
290 | Spare EHV 33kV 96 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
291 | Spare EHV 33kV 97 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
292 | Spare EHV 33kV 98 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
293 | Spare EHV 33kV 99 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
294 | Spare EHV 33kV 100 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
295 | Spare EHV 33kV 101 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
296 | Spare EHV 33kV 102 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
297 | Spare EHV 33kV 103 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
298 | Spare EHV 33kV 104 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
299 | Spare EHV 33kV 105 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
300 | Spare EHV 33kV 106 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
301 | Spare EHV 33kV 107 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
302 | Spare EHV 33kV 108 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
303 | Spare EHV 33kV 109 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
304 | Spare EHV 33kV 110 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
305 | Spare EHV 33kV 111 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
306 | Spare EHV 33kV 112 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
307 | Spare EHV 33kV 113 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
308 | Spare EHV 33kV 114 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
309 | Spare EHV 33kV 115 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
310 | Spare EHV 33kV 116 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
311 | Spare EHV 33kV 117 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
312 | Spare EHV 33kV 118 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
313 | Spare EHV 33kV 119 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
314 | Spare EHV 33kV 120 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
315 | Spare EHV 33kV 121 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
316 | Spare EHV 33kV 122 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
317 | Spare EHV 33kV 123 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
318 | Spare EHV 33kV 124 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
319 | Spare EHV 33kV 125 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
320 | Spare EHV 33kV 126 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
321 | Spare EHV 33kV 127 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
322 | Spare EHV 33kV 128 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
323 | Spare EHV 33kV 129 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
324 | Spare EHV 33kV 130 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
325 | Spare EHV 33kV 131 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
326 | Spare EHV 33kV 132 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
327 | Spare EHV 33kV 133 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
328 | Spare EHV 33kV 134 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
329 | Spare EHV 33kV 135 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
330 | Spare EHV 33kV 136 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
331 | Spare EHV 33kV 137 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
332 | Spare EHV 33kV 138 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
333 | Spare EHV 33kV 139 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
334 | Spare EHV 33kV 140 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
335 | Spare EHV 33kV 141 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
336 | Spare EHV 33kV 142 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
337 | Spare EHV 33kV 143 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
338 | Spare EHV 33kV 144 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
339 | Spare EHV 33kV 145 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
340 | Spare EHV 33kV 146 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
341 | Spare EHV 33kV 147 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
342 | Spare EHV 33kV 148 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
343 | Spare EHV 33kV 149 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
344 | Spare EHV 33kV 150 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
345 | Spare EHV 33kV 151 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
346 | Spare EHV 33kV 152 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
347 | Spare EHV 33kV 153 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
348 | Spare EHV 33kV 154 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
349 | Spare EHV 33kV 155 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
350 | Spare EHV 33kV 156 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
351 | Spare EHV 33kV 157 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
352 | Spare EHV 33kV 158 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
353 | Spare EHV 33kV 159 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
354 | Spare EHV 33kV 160 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
355 | Spare EHV 33kV 161 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
356 | Spare EHV 33kV 162 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
357 | Spare EHV 33kV 163 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
358 | Spare EHV 33kV 164 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
359 | Spare EHV 33kV 165 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
360 | Spare EHV 33kV 166 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
361 | Spare EHV 33kV 167 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
362 | Spare EHV 33kV 168 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
363 | Spare EHV 33kV 169 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
364 | Spare EHV 33kV 170 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
365 | Spare EHV 33kV 171 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
366 | Spare EHV 33kV 172 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
367 | Spare EHV 33kV 173 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
368 | Spare EHV 33kV 174 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
369 | Spare EHV 33kV 175 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
370 | Spare EHV 33kV 176 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | No | No
371 | Tregarrick Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
372 | Freathy Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
373 | Spare EHV33kV Export 68 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
374 | Spare EHV33kV Export 69 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
375 | Spare EHV33kV Export 70 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
376 | Spare EHV33kV Export 71 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
377 | Spare EHV33kV Export 72 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
378 | Spare EHV33kV Export 73 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
379 | Spare EHV33kV Export 74 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
380 | Spare EHV33kV Export 75 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
381 | Spare EHV33kV Export 76 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
382 | Spare EHV33kV Export 77 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
383 | Spare EHV33kV Export 78 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
384 | Spare EHV33kV Export 79 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
385 | Spare EHV33kV Export 80 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
386 | Spare EHV33kV Export 81 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
387 | Spare EHV33kV Export 82 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
388 | Spare EHV33kV Export 83 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
389 | Spare EHV33kV Export 84 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
390 | Spare EHV33kV Export 85 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
391 | Spare EHV33kV Export 86 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
392 | Spare EHV33kV Export 87 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
393 | Spare EHV33kV Export 88 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
394 | Spare EHV33kV Export 89 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
395 | Spare EHV33kV Export 90 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
396 | Spare EHV33kV Export 91 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
397 | Spare EHV33kV Export 92 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
398 | Spare EHV33kV Export 93 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
399 | Spare EHV33kV Export 94 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
400 | Spare EHV33kV Export 95 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
401 | Spare EHV33kV Export 96 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
402 | Spare EHV33kV Export 97 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
403 | Spare EHV33kV Export 98 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
404 | Spare EHV33kV Export 99 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
405 | Spare EHV33kV Export 100 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
406 | Spare EHV33kV Export 101 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
407 | Spare EHV33kV Export 102 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
408 | Spare EHV33kV Export 103 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
409 | Spare EHV33kV Export 104 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
410 | Spare EHV33kV Export 105 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
411 | Spare EHV33kV Export 106 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
412 | Spare EHV33kV Export 107 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
413 | Spare EHV33kV Export 108 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
414 | Spare EHV33kV Export 109 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
415 | Spare EHV33kV Export 110 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
416 | Spare EHV33kV Export 111 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
417 | Spare EHV33kV Export 112 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
418 | Spare EHV33kV Export 113 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
419 | Spare EHV33kV Export 114 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
420 | Spare EHV33kV Export 115 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
421 | Spare EHV33kV Export 116 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
422 | Spare EHV33kV Export 117 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
423 | Spare EHV33kV Export 118 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
424 | Spare EHV33kV Export 119 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
425 | Spare EHV33kV Export 120 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
426 | Spare EHV33kV Export 121 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
427 | Spare EHV33kV Export 122 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
428 | Spare EHV33kV Export 123 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
429 | Spare EHV33kV Export 124 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
431 | Spare EHV33kV Export 126 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
432 | Spare EHV33kV Export 127 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
433 | Spare EHV33kV Export 128 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
434 | Spare EHV33kV Export 129 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
435 | Spare EHV33kV Export 130 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
436 | Spare EHV33kV Export 131 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
437 | Spare EHV33kV Export 132 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
438 | Spare EHV33kV Export 133 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
439 | Spare EHV33kV Export 134 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
440 | Spare EHV33kV Export 135 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
441 | Spare EHV33kV Export 136 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
442 | Spare EHV33kV Export 137 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
443 | Spare EHV33kV Export 138 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
444 | Spare EHV33kV Export 139 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
445 | Spare EHV33kV Export 140 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
446 | Spare EHV33kV Export 141 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
447 | Spare EHV33kV Export 142 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
448 | Spare EHV33kV Export 143 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
449 | Spare EHV33kV Export 144 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
450 | Spare EHV33kV Export 145 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
451 | Spare EHV33kV Export 146 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
452 | Spare EHV33kV Export 147 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
453 | Spare EHV33kV Export 148 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
454 | Spare EHV33kV Export 149 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
455 | Spare EHV33kV Export 150 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
456 | Spare EHV33kV Export 151 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
457 | Spare EHV33kV Export 152 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
458 | Spare EHV33kV Export 153 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
459 | Spare EHV33kV Export 154 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
460 | Spare EHV33kV Export 155 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
461 | Spare EHV33kV Export 156 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
462 | Spare EHV33kV Export 157 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
463 | Spare EHV33kV Export 158 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
464 | Spare EHV33kV Export 159 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
465 | Spare EHV33kV Export 160 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
466 | Spare EHV33kV Export 161 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
467 | Spare EHV33kV Export 162 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
468 | Spare EHV33kV Export 163 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
469 | Spare EHV33kV Export 164 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
470 | Spare EHV33kV Export 165 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
471 | Spare EHV33kV Export 166 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
472 | Spare EHV33kV Export 167 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
473 | Spare EHV33kV Export 168 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
474 | Spare EHV33kV Export 169 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
475 | Spare EHV33kV Export 170 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
476 | Spare EHV33kV Export 171 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
477 | Spare EHV33kV Export 172 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
478 | Spare EHV33kV Export 173 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
479 | Spare EHV33kV Export 174 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
480 | Spare EHV33kV Export 175 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
481 | Spare EHV33kV Export 176 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
482 | Spare EHV33kV Export 177 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
483 | Spare EHV33kV Export 178 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
484 | Spare EHV33kV Export 179 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
485 | Spare EHV33kV Export 180 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
486 | Spare EHV33kV Export 181 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
487 | Spare EHV33kV Export 182 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
488 | Spare EHV33kV Export 183 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
489 | Spare EHV33kV Export 184 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
490 | Spare EHV33kV Export 185 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
491 | Spare EHV33kV Export 186 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
492 | Spare EHV33kV Export 187 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
493 | Spare EHV33kV Export 188 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
494 | Spare EHV33kV Export 189 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
495 | Spare EHV33kV Export 190 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
496 | Spare EHV33kV Export 125 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | No | No
585 | Spare EHV 132kV Export 5 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
586 | Spare EHV 132kV Export 6 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
587 | Spare EHV 132kV Export 7 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
588 | Spare EHV 132kV Export 8 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
589 | Spare EHV 132kV Export 9 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
590 | Spare EHV 132kV Export 10 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
591 | Spare EHV 132kV Export 11 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
592 | Spare EHV 132kV Export 12 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
593 | Spare EHV 132kV Export 13 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
594 | Spare EHV 132kV Export 14 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
595 | Spare EHV 132kV Export 15 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
596 | Spare EHV 132kV Export 16 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
597 | Spare EHV 132kV Export 17 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
598 | Spare EHV 132kV Export 18 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
599 | Spare EHV 132kV Export 19 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
600 | Imerys Blackpool | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
601 | Imerys Blackpool Export | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
602 | Spare EHV 132kV 4 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No | Yes | No
603 | Spare EHV 132/33kV 1 | 132/33kV | 33kV | 1.017 | 1.015 | 1.013 | 1.014 | Import | Sept 2012 for 2013 | No | Yes | No
604 | Spare EHV 132/33kV 2 | 132/33kV | 33kV | 1.017 | 1.015 | 1.013 | 1.014 | Import | Sept 2012 for 2013 | No | Yes | No
605 | Spare EHV 132/HV 1 | 132/11kV | 11kV | 1.019 | 1.017 | 1.014 | 1.015 | Import | Sept 2012 for 2013 | No | Yes | No
606 | Spare EHV 132/HV 2 | 132/11kV | 11kV | 1.019 | 1.017 | 1.014 | 1.015 | Import | Sept 2012 for 2013 | No | Yes | No
607 | Wyld Meadow PV Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
608 | Prince Rock STOR | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
609 | Fulford Solar | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
612 | Bradon Farm | 33kV | 33kV | 1.032 | 1.073 | 1.073 | 1.073 | Import | Sept 2010 for 2011 | Yes, where load sufficient | Yes | No
613 | Carland Cross | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient load. | Yes | No
614 | Cold Northcott | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient load. | Yes | No
615 | Forest Moor Wind 1 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient load. | Yes | No
616 | Forest Moor Wind 2 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient load. | Yes | No
617 | Four Burrows | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient load. | Yes | No
618 | Spare EHV 132kV 3 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
619 | St. Breock | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient load. | Yes | No
620 | Babcock Marine Central Intake | 33kV | 33kV | 1.02 | 1.02 | 1.02 | 1.02 | Import | Sept 2010 for 2011 | Yes | Yes | No
622 | W4B Generation Seabank | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
623 | Denbrook Wind Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
624 | Wavehub Hayle | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
625 | Marsh Barton | 132kV | 132kV | 1.012 | 1.012 | 1.012 | 1.012 | Import | Sept 2010 for 2011 | Yes | Yes | No
626 | Connon Bridge Landfill | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient load. | Yes | No
627 | Chelson Generator | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient load. | Yes | No
628 | Darracott | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient load. | Yes | No
629 | Bears Down | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient load. | Yes | No
632 | Untd Mns Redruth St.Day | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient load. | Yes | No
633 | Shooter's Bottom | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient load. | Yes | No
634 | Heathfield | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient load. | Yes | No
635 | Goonhilly | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
636 | Delabole | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
637 | Fullabrook | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
638 | North Petherwin | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
639 | Trenoweth Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
640 | Rolls Royce Filton TT | 33kV | 33kV | 1.008 | 1.008 | 1.008 | 1.008 | Import | Sept 2010 for 2011 | Yes | Yes | No
642 | Woodland Barton Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
643 | Manor Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
644 | Churchtown Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
645 | Trenouth Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
646 | West Kingsmill | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
647 | Howton Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
648 | Chynoweth Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
649 | Newlyn Downs | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
650 | ROF Puriton | 33kV | 33kV | 1.041 | 1.041 | 1.041 | 1.041 | Import | Sept 2010 for 2011 | Yes | Yes | No
652 | East Langford | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
653 | Ninnis Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
654 | Willsland | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
655 | Eastcombe Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
656 | Bratton Flemming | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
657 | Beaford Brook | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
658 | Park Wall | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
659 | Bradford | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
662 | Causilgey | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
663 | Beechgrove | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
664 | Isles of Scilly EHV | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
665 | Blackditch | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
666 | Blackditch Export | 33kV | 33kV | 1.032 | 1.049 | 1.022 | 1.049 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
667 | Helius Biomass | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
668 | Helius Biomass Export | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
669 | Bristol Port Co Avonmouth Dock | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
670 | EHV 33KV Import | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
671 | EHV 33KV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
672 | Spare EHV 132kV 5 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
673 | Spare EHV 132kV 6 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
674 | Spare EHV 132kV 7 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
675 | Spare EHV 132kV 8 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
676 | Spare EHV 132kV 9 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
677 | Spare EHV 132kV 10 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
678 | Spare EHV 132kV 11 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
679 | Spare EHV 132kV 12 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
680 | Spare EHV 132kV 13 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
681 | Spare EHV 132kV 14 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
682 | Spare EHV 132kV 15 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
683 | Spare EHV 132kV 16 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
684 | Spare EHV 132kV 17 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
685 | Spare EHV 132kV 18 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
686 | Spare EHV 132kV 19 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
690 | Nexfor Ltd (Caberboard) | 33kV | 33kV | 1.038 | 1.038 | 1.038 | 1.038 | Import | Sept 2010 for 2011 | Yes | Yes | No
692 | SWW Tamar | 33kV | 33kV | 1.077 | 1.077 | 1.077 | 1.077 | Import | Sept 2010 for 2011 | Yes | Yes | No
693 | SWW Roadford Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
694 | SWW Roadford | 33kV | 33kV | 1.035 | 1.035 | 1.031 | 1.031 | Import | Sept 2010 for 2011 | Yes | Yes | No
695 | St. Regis, Watchet | 33kV | 33kV | 1.024 | 1.024 | 1.025 | 1.025 | Import | Sept 2010 for 2011 | Yes | Yes | No
696 | Tarmac Stancombe Quarry | 33kV | 33kV | 1.03 | 1.039 | 1.03 | 1.033 | Import | Sept 2010 for 2011 | Yes | Yes | No
697 | MOD Abbeywood | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
698 | Hewlett Packard | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
699 | Bristol Water Blagdon Pump Stn | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
700 | Bristol International Airport | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
701 | British Gas Hallen | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
702 | Bristol Port Co R.Portbury Doc | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
703 | Whatley Quarry | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
704 | Falmouth Dock | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
705 | Astra Zeneca Hallen | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
706 | Dairy Crest Davidstow | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
707 | Broadpath Landfill | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
708 | Imerys Torycombe | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
709 | RUH | 33/6.6kV | 6.6kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
712 | Hill Barton Business Park | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
713 | Avonmouth BCC Wind Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
714 | Bodiniel PV Park | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
715 | Garlenick Wind Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
716 | Warleigh Barton PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
717 | Winnards Perch PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
718 | Spare EHV 132kV 1 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No | Yes | No
719 | Spare EHV 132kV 2 | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Import | Sept 2012 for 2013 | No | Yes | No
720 | BAe Filton | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
722 | RUH Export | 33/6.6kV | 6.6kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No - 33/11 generic | Yes | No
723 | North Petherwin Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
724 | Trenoweth Farm Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
725 | Woodland Barton Farm Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
726 | Manor Farm Export | 33kV | 33kV | 1.032 | 1.011 | 1.022 | 1.011 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
727 | Churchtown Farm Export | 33kV | 33kV | 1.032 | 1.036 | 1.022 | 1.035 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
728 | Trenouth Farm Export | 33kV | 33kV | 1.032 | 1.053 | 1.022 | 1.053 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
729 | West Kingsmill Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
732 | Howton Farm Export | 33kV | 33kV | 1.032 | 1.023 | 1.022 | 1.023 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
733 | Chynoweth Farm Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
734 | Newlyn Downs Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
735 | East Langford Export | 33kV | 33kV | 1.032 | 1.048 | 1.022 | 1.047 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
736 | Ninnis Farm Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
737 | Willsland Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
738 | Eastcombe Farm Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
739 | Bratton Flemming Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
740 | Beaford Brook Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
741 | Exeter Power Export | 132kV | 132kV | 1.004 | 1.009 | 1.008 | 1.011 | Export | Sept 2010 for 2011 | Yes-where load sufficient | Yes | No
742 | Park Wall Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
743 | Bradford Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
744 | Causilgey Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
745 | Beechgrove Export | 33kV | 33kV | 1.032 | 1.01 | 1.022 | 1.01 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
746 | Hill Barton Bus Park Export | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No - 33/11 generic | Yes | No
747 | Wavehub Hayle Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
748 | Denbrook Wind Farm Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
749 | W4B Generation Seabank Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
750 | Bristol Energy | 132kV | 132kV | 1.002 | 1.003 | 1.002 | 1.003 | Import | Sept 2010 for 2011 | Yes | Yes | No
751 | Bristol Energy Export | 132kV | 132kV | 1.002 | 1.004 | 1.008 | 1.004 | Export | Sept 2010 for 2011 | Yes-where load sufficient | Yes | No
752 | Connon Bridge Landfill export | 33kV | 33kV | 1.056 | 1.056 | 1.055 | 1.055 | Export | Sept 2010 for 2011 | Yes | Yes | No
753 | Chelson Generator Export | 33kV | 33kV | 1.028 | 1.028 | 1.027 | 1.027 | Export | Sept 2010 for 2011 | Yes | Yes | No
754 | Darracott Export | 33kV | 33kV | 1.07 | 1.07 | 1.07 | 1.07 | Export | Sept 2010 for 2011 | Yes | Yes | No
757 | Untd Mns Redruth St.Day Export | 33kV | 33kV | 1.035 | 1.035 | 1.035 | 1.035 | Export | Sept 2010 for 2011 | Yes | Yes | No
758 | Shooter's Bottom Export | 33kV | 33kV | 1.033 | 1.032 | 1.032 | 1.032 | Export | Sept 2010 for 2011 | Yes | Yes | No
759 | LANGAGE | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
760 | Heathfield Export | 33kV | 33kV | 1.035 | 1.034 | 1.034 | 1.034 | Export | Sept 2010 for 2011 | Yes | Yes | No
761 | Goonhilly Export | 33kV | 33kV | 1.062 | 1.064 | 1.07 | 1.07 | Export | Sept 2010 for 2011 | Yes | Yes | No
762 | Delabole EHV Export | 33kV | 33kV | 1.045 | 1.046 | 1.047 | 1.047 | Export | Sept 2010 for 2011 | Yes | Yes | No
763 | Fullabrook EHV Export | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
764 | Bear's Down Export | 33kV | 33kV | 1.037 | 1.034 | 1.038 | 1.038 | Export | Sept 2010 for 2011 | Yes | Yes | No
765 | Bradon Farm Export | 33kV | 33kV | 1.045 | 1.061 | 1.032 | 1.06 | Export | Sept 2010 for 2011 | Yes | Yes | No
766 | Carland Cross Export | 33kV | 33kV | 1.036 | 1.031 | 1.037 | 1.036 | Export | Sept 2010 for 2011 | Yes | Yes | No
767 | Cold Northcott Export | 33kV | 33kV | 1.066 | 1.062 | 1.072 | 1.069 | Export | Sept 2010 for 2011 | Yes | Yes | No
768 | Forest Moor Wind 1 Export | 33kV | 33kV | 1.06 | 1.06 | 1.064 | 1.064 | Export | Sept 2010 for 2011 | Yes | Yes | No
769 | Forest Moor Wind 2 Export | 33kV | 33kV | 1.064 | 1.064 | 1.065 | 1.065 | Export | Sept 2010 for 2011 | Yes | Yes | No
770 | Four Burrows Export | 33kV | 33kV | 1.039 | 1.039 | 1.045 | 1.045 | Export | Sept 2010 for 2011 | Yes | Yes | No
772 | Isles of Scilly EHV Export | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
775 | St Breock Export | 33kV | 33kV | 1.034 | 1.035 | 1.035 | 1.035 | Export | Sept 2010 for 2011 | Yes | Yes | No
776 | Avonmouth BCC Wind Farm Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
777 | Bodiniel PV Park Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
778 | Garlenick Wind Farm Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
779 | Warleigh Barton PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
780 | Winnards Perch PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
781 | Spare EHV 132kV 1 Export | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No | Yes | No
782 | Spare EHV 132kV 2 Export | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No | Yes | No
783 | Spare EHV 132kV 3 Export | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No | Yes | No
784 | Spare EHV 132kV 4 Export | 132kV | 132kV | 1.013 | 1.011 | 1.008 | 1.009 | Export | Sept 2012 for 2013 | No | Yes | No
785 | Spare EHV 132/33kV 1 Export | 132/33kV | 33kV | 1.017 | 1.015 | 1.013 | 1.014 | Export | Sept 2012 for 2013 | No | Yes | No
786 | Spare EHV 132/33kV 2 Export | 132/33kV | 33kV | 1.017 | 1.015 | 1.013 | 1.014 | Export | Sept 2012 for 2013 | No | Yes | No
787 | Spare EHV 132/HV 1 Export | 132/11kV | 11kV | 1.019 | 1.017 | 1.014 | 1.015 | Export | Sept 2012 for 2013 | No | Yes | No
788 | Spare EHV 132/HV 2 Export | 132/11kV | 11kV | 1.019 | 1.017 | 1.014 | 1.015 | Export | Sept 2012 for 2013 | No | Yes | No
789 | Wyld Meadow PV Farm Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
790 | Marley Thatch PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
791 | Prince Rock STOR Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
792 | Burrowton Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
793 | Bristol Royal Infirmary Export | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
794 | Imerys Torycombe export | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
795 | Spare EHV 33/HV 3 Export | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
796 | Spare EHV 33/HV 4 Export | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
797 | Imerys Drinnick | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
798 | Imerys Bugle | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
799 | Imerys Trebal | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
800 | Imerys Par Harbour | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
801 | Imerys Trebal Export | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
802 | Imerys Par Harbour Export | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
803 | Imerys Bugle Export | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
804 | Imerys Drinnick Export | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
805 | Babcock Marine North Intake | 33/11kV | 11kV | 1.016 | 1.016 | 1.016 | 1.016 | Import | Sept 2010 for 2011 | Yes | Yes | No
806 | Avonmouth Docks Export | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
807 | Portbury Dock Export | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
808 | BGAS Hallen Exports | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
809 | Broadpath Landfill Exports | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Export | Sept 2012 for 2013 | No-33/11 generic | Yes | No
810 | Marley Thatch PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
811 | Bristol Royal Infirmary | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
812 | Bristol University 33/11kV | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
813 | Spare EHV 33/HV 3 | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
814 | Spare EHV 33/HV 4 | 33/11kV | 11kV | 1.042 | 1.038 | 1.03 | 1.034 | Import | Sept 2012 for 2013 | No-33/11 generic | Yes | No
815 | Burrowton Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
816 | Callington Solar | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
817 | Hope Solar | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
818 | Avonmouth Biogas | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
819 | Nether Mill Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
820 | Slade Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
821 | Rew Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
822 | Higher Trenhayle PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
823 | Middle Treworder PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
824 | Penhale Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
825 | Ayshford Court PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
826 | West Hill PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
827 | Knockworthy Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
828 | University of Bath | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
829 | Trekenning Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
830 | Four Burrows PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
831 | Glebe Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
832 | Hurlingpot PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
833 | Halse Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
834 | Hatchlands Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
835 | Higher Trevartha PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
836 | High Down WF | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
837 | Ford Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
838 | Lower Tinacre PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
839 | Trequite Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
840 | Yonder Netherton PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
841 | Higher Tregarne PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
842 | Higher North Beer PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
843 | Horsacott Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
844 | Langunnett Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
845 | Trefinnick Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
846 | Little Trevease PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
847 | Marksbury PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
848 | Cobbs Cross PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
849 | Newlands Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
850 | Cricket St Thomas PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
851 | Parsonage Barn PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
852 | Hewas PV Farm | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
853 | Crinacott Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
854 | Penare Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
855 | Aller Court PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
856 | Webbery Barton WF | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
857 | Stonebarrow Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
858 | Whitley Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
859 | New Rendy Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
860 | Tregassow Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
861 | Pitworthy PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
862 | Foxcombe PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
863 | Rexon Cross PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
864 | Hazard Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
865 | Luscott Barton PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
866 | Grange Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
867 | Derriton Fields PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
868 | Cleave Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
869 | Woolavington PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
870 | Trehawke Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
871 | H Berechapel Biogas | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
872 | Bommertown PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
873 | Carloggas Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
874 | Hexworthy Barton PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
875 | Chalhanger Farm PV | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
876 | Spare EHV 33kV 177 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
877 | Spare EHV 33kV 178 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
878 | Spare EHV 33kV 179 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
879 | Spare EHV 33kV 180 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
880 | Spare EHV 33kV 181 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
881 | Spare EHV 33kV 182 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
882 | Spare EHV 33kV 183 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
883 | Spare EHV 33kV 184 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
884 | Spare EHV 33kV 185 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
885 | Spare EHV 33kV 186 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
886 | Spare EHV 33kV 187 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
887 | Spare EHV 33kV 188 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
888 | Spare EHV 33kV 189 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
889 | Spare EHV 33kV 190 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Import | Sept 2012 for 2013 | No | Yes | No
900 | Callington Solar Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
901 | Hope Solar Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
902 | Fulford Solar Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
903 | Avonmouth Biogas Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No-Insufficient Data | Yes | No
904 | Nether Mill Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
905 | Slade Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
906 | Rew Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
907 | Higher Trenhayle PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
908 | Middle Treworder PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
909 | Penhale Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
910 | Ayshford Court PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
911 | West Hill PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
912 | Knockworthy Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
913 | Spare EHV33kV Export 18 | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
914 | Trekenning Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
915 | Four Burrows PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
916 | Glebe Farm PV Exports | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
917 | Hurlingpot PV Exports | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
918 | Halse Farm PV Exports | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
919 | Hatchlands Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
920 | Higher Trevartha PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
921 | High Down WF Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
922 | Ford Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
923 | Lower Tinacre PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
924 | Trequite Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
925 | Yonder Netherton PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
926 | Higher Tregarne PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
927 | Higher North Beer PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
928 | Horsacott Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
929 | Langunnett Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
930 | Trefinnick Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
931 | Little Trevease PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
932 | Marksbury PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
933 | Cobbs Cross PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
934 | Newlands Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
935 | Cricket St Thomas PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
936 | Parsonage Barn PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
937 | Hewas PV Farm Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
938 | Crinacott Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
939 | Penare Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
940 | Aller Court PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
941 | Webbery Barton WF Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
942 | Stonebarrow Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
943 | Whitley Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
944 | New Rendy Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
945 | Tregassow Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
946 | Pitworthy PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
947 | Foxcombe PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
948 | Rexon Cross PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
949 | Hazard Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
950 | Luscott Barton PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
951 | Grange Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
952 | Derriton Fields PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
953 | Cleave Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
954 | Woolavington PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
955 | Trehawke Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
956 | H Berechapel Biogas Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
957 | Bommertown PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
958 | Carloggas Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
959 | Hexworthy Barton PV Exports | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
960 | Chalhanger Farm PV Export | 33kV | 33kV | 1.032 | 1.029 | 1.022 | 1.025 | Export | Sept 2012 for 2013 | No | Yes | No
7049 | Indian Queens Standby Supply | LV | LV | 1.087 | 1.08 | 1.071 | 1.074 | Import | Sept 2012 for 2013 | No-LV Net | Yes | No
7118 | Seabank Standby Supply | 11kV | 11kV | 1.065 | 1.058 | 1.044 | 1.05 | Import | Sept 2012 for 2013 | No-HV Net | Yes | No
7122 | Seabank Standby Supply | 11kV | 11kV | 1.065 | 1.058 | 1.044 | 1.05 | Import | Sept 2012 for 2013 | No-HV Net | Yes | No
7158 | Bridgwater District Energy | 33kV | 33kV | 1.02 | 1.02 | 1 | 1.019 | Export | Sept 2010 for 2011 | Yes | Yes | No